## Sheet1
Log for OLI TBS flights with turbulence pod |  |  | (helikite = smaller white balloon ; aerostat = larger red balloon)
(winch speed = ~100ft/min)
TS=Turb Sonde, VIPS=Video Ice Particle Sensor, POPS=aerosol sampler
GS=ground station, DTS=fiber optic temperature profiler
All install heights are relative to balloon height and are distances along tether
Date | Time (Z) | Event | Notes
20161013 | 18:22 | Near-surface Test
| 18:22 | runlogger on GS
| 18:39 | runlogger on TS | Instrument set up near ECOR site at ~1m off the ground. Hanging but tethered down. First 10min are impacted by set up.
| 19:53 | stoplogger on TS
| 20:04 | stoplogger on GS
20161015 | 17:02 | Flight 1 | Helikite
| 17:02 | runlogger on GS
| 17:30 | launch balloon
| 18:27 | runlogger on TS
| ~18:30 | install TS | Install on tether took about 5 min total, then started moving up slowly. TS mounted just below VIPS from a <2m tether. * Just below balloon: iMet, SLWC * ~-30m: tethersonde-wind, SLWC * ~-91m: tethersonde-wind, SLWC * ~-180m: tethersonde-wind, SLWC * ~-275m: tehtersonde-wind * ~-375m: VIPS, TS After reaching the max lift capacity on the balloon (580m), we parked for an extended period of time. Tether was at a relatively low angle. Potentially good ice case for VIPS
| 19:30 | DTS started
| 20:32 | Removed TS, VIPS
| 20:36 | stoplogger onTS | Shut down to swap out TS battery
| 20:40 | Flight 2
| 20:40 | runlogger on TS
| ?? | install TS | Same installation as above (i.e., continuous for upper level equipment), but TS and VIPS re-installed at about -280m from balloon.
| 21:45 | parked baloon at 530m. | Took a while to get up to height. No extra tether added, so TS was <1m below the balloon tether. With balloon at about 530m, the TS was at about 250m.
| ~22:00 | DTS started
| 0:20 | DTS stopped
| 0:25 | start descent
| 0:55 | stoplogger on TS
| 1:02 | stoplogger on GS
20161017 | 19:55 | Flight #3 | flew Aerostat balloon, 15 cylinders H2, then topped off with straight air.
| 19:55 | runlogger on GS
| 19:58 | runlogger on TS | Very short test flight at low levels
| 20:12 | stoplogger on TS
| 21:29 | runlogger on TS
| 21:32 | install TS | Instrument installed in formation with other measurements. ~20m tether * Just below balloon: iMet, SLWC, moisture sensor * ~ -100m: tethersonde-wind * ~ -200m: tethersonde-wind * ~ -300m: iMet, SLWC,moisture, radar calibration sphere * ~ -400m: tethersonde-wind * ~ -540m: tethersonde-wind, moisture, VIPS, TS (~-23m below level) * ~ -630m: radar calibration sphere * ~ -660m: tethersonde-wind * ~ -760m: tethersonde-wind * ~ -860m: tethersonde-wind
| 22:09 | Balloon lifed to 1020m | Shortly thereafter it began to descent slowly, with some intermittent lifting at times. General descent.
| 22:50 |  | Too much lost altitude. Fear of larger problem with the balloon. Start pulling system in.
| 22:57 |  | Short term stop in pulling the system down, but then continued pulling down.
| 23:35 | stoplogger on TS
| 23:38 | stoplogger on GS
20161018 | 19:20 | Flight #4 | Multilevel flight in shallow liquid cloud. Aerostat.
| 19:42 | battery in TS
| 19:44 | runlogger on GS
| 19:47 | runlogger on TS
| 19:53 | system mounted on tether | 5m drop line only. * Just below balloon: iMet, SLWC, moisture sensor, tethersonde-wind, DTS * ~ -50m: Radar calibration sphere * ~ -100m: tethersonde-wind, moisture sensor * ~ -210m: tethersonde-wind, moisture sensor * ~ -330m: tethersonde-wind, VIPS, TS (~-5m below level) * ~ -420m: tethersonde-wind
| 20:12 | balloon parked at 500m | TS initially at about 170m. From the radar reflectivity the cloud appears to be mostly liquid water with low reflectivities over a thin layer. Radar velocities appear to still show turbulent eddies. DTS appears to not be working.
| 21:05 | balloon moved up to 550m | TS at about 220m. Note more tether was spooled out than height was gained.
| 21:35 | balloon moved up to ~610m | Note: The balloon lifted quite a bit during this, potentially taking up some of the extra slack from the tether at last height adjustment
| 22:10 | balloon moved up to ~777m | TS at about 450m. This stage should be within the cloud layer, although the layer is relatively thin and at times the balloon can be seen
| 22:45 | balloon moved up to 880m | TS at about 550m. Nominally above the cloud level. A few minutes after this point the radiosonde launch showed cloud top to be at about 530m
| 23:45 | start moving the balloon down
| 24:13 | unmount TS | Some riming on the leading edges and on the lower forward looking sonic point.
| 24:17 | stoplogger on TS
| 24:20 | stoplogger on GS
20161019 |  | Flight #5 | Multilevel flight with no cloud. Stable BL all day, looking at turbulence and aerosol layering interaction. Aerostat
| 17:30 | turned on POPS
| 19:29 | runlogger on GS
| 19:30 | TS battery connected
| 19:32 | runlogger on TS
| 20:10 | TS mounted on tether | Some delays due to issues with iMet communications. The ground station for the tethersonde-wind was also not working, so we did a modified set up for the day. * Just below balloon: iMet, SLWC, moisture sensor, short DTS. * -80m: radar calibration sphere * -155m: iMet, SLWC, moisture sensor, POPS, TS (~5 m below)
| 20:19 | Balloon stop at 180m | TS at ~20m
| 20:27 | DTS start | Stopped at 20:47
| 21:00 | Balloon stop at 240m | TS at ~80m
| 21:06 | DTS start | Stopped at 21:40
| 22:00 | Balloon stop at 410m | TS at ~250m
| 22:23 | Balloon stop at 660m | TS at ~500m
| 22:29 | DTS start | Stopped at 23:15
| 23:35 | Balloon stop at 410m | TS at ~250m
| 23:55 | Balloon stop at 230m | TS at ~75m
| 24:19 | stoplogger on TS
| 24:23 | stoplogger on GS
20161020 | POPS test | *****Note: data was not pulled off and likely overwritten
| 15:40 | POPS battery on
| 15:50 | POPS installed on AOS roof for comparison with AOS
| 19:00 | POPS pulled down from roof.
20161020 |  | Flight #6 | Overcast, but patchy at times, clouds. VIPS, POPS, Turb flight. Multiple level flight to exampline coupling between cloud and surface. Aerostat
| 19:25 | POPS battery on
| 19:25 | TS battery connected
| 19:29 | runlogger on GS
| 19:31 | runlogger on TS
| 19:45 | TS mounted on tether | Added a little longer drop line (8m) * Just below balloon: iMet, SLWC, moisture *-220m: moisture, POPS, VIPS, TS (-10m) * Multiple levels to explore the surface layer and decoupled cloud-driven mixed layer
| 19:50 | Balloon at 267m | TS at ~40m
| 20:09 | Balloon at 340m | TS at ~120m
| 20:40 | Balloon at 672m | TS at ~450m. some drop over time
| 22:58 | Balloon at 340m | TS down to 110m
| 23:15 | Balloon at 267m | TS down to 40m
| 23:38 | removed TS from tether
| 23:44 | stoplogger on TS
| 23:50 | POPS off
20161021 |  | Flight #7 | Primary VIPS flight with increasing ice crystal precipitation, with POPS and Turb
| 0:00 | POPS on with new battery
| 0:08 | TS battery connected
| 0:21 | runlogger on TS
| 0:25 | instrument on tether | On 8m drop line * Just below balloon: iMet, SLWC, moisture *-200m: moisture, POPS, VIPS, TS (-10m) * Bands of light precipitation coming through, intention is to sample these to cloud radar retrievals
| 0:40 | Balloon up to 650m | TS at ~450m. Intend to stay at this height until we have to come down
Great difficulty bringing the balloon down, winch motor stopped on numerous occasions and we had to manually help pull. This made for a slow descent with the possibility for some sampling at a few different stages coming down. Typical stop was for only a few minutes at a time.
| 0:49 | DTS start | DTS stop 02:03
| 2:35 | removed TS from tether
| 3:10 | stoplogger on TS
| 4:42 | stoplogger on GS
POPS off
20161021 | 16:13 | POPS on with new battery | Installed on the AOS roof for intercomparison
| 19:20 | POPS off
| 19:20 | POPS calibration activities