Aethalometer Log File

08214 1555 to 1655 UT Station planned power outage to switch to backup generator during generator rebuild project. Back online at 1655. SWM
08228 1600-1603 Planned power outage. Aethalometer down from 1600-1700UT as date/time and menu problems encountered while rebooting.   SWM
21aug08	2300	UT  Power outage 2300 to 2308 (scheduled)  UPS protected. ac
28aug08 1310	UT  Cleaned frost off of tower instruments.  kk
03sep08 1315	UT  Cleaned hard rime off tower instruments.  kk
07sep08	1515	UT  Cleaned rime off tower instruments.  AC
19Sep08 1325    UT  Cleaned frost off of tower instruments. kk
22Sep08 1350	UT  Windbird frosted and not turning.  Cleaned frost from all tower instruments.  ac
23Sep08 1400	UT  Cleaned frost from all tower instruments. ac
27sep08 1200	UT  Cleaned frost from all tower instruments.  ac
29Sep08 1427    UT cleaned tower instruments.  AC
30sep08 1405	UT  Cleaned frost from all tower instruments.  ac

October 2008

01Oct08 1230	UT Cleaned all tower instruments and intakes.  AC
02Oct08 1740	UT Cleaned all tower instruments and intakes.  AC
04oct08 1555    UT Cleaned tower instruments.  ac
05Oct08 1349    UT Cleaned tower instruments.  KK
08Oct08 1330	UT Cleaned all tower intstruments and intakes. AC
10Oct08 1300	UT Cleaned heavy frost from tower instruments and intakes. ac
13Oct08 1310	UT Cleaned all tower instruments and intakes. AC
17Oct08 1625	UT Cleaned all tower instruments and intakes. KK
18Oct08 1450	UT Cleaned all tower instruments and intakes. ac
19Oct08 1835	UT Cleaned frost off tower instruments.  ADC
21Oct08 1325	UT Cleaned frost off tower instruments and inlets. ac
24Oct08 1640	UT Rebooted Aethalometer, reset clock. Was off five minutes. ac
25Oct08 1450	UT Cleaned snow from temperature sensors, and inlets.  ac
26Oct08 1658    UT Cleaned all tower instruments and intakes.  ADC
28Oct08 1525    UT Cleaned frost from Black Carbon inlet.  KK

November 2008

03Nov08 1453    UT Cleaned frost from Black Carbon inlet.  kk
04Nov08 1430    UT Cleaned inlet.  ac
07Nov08 1520	UT Cleaned inlet  lk
08Nov08 1302	UT Cleaned inlet lk
10Nov08 1630	UT Cleaned inlet kh
11Nov08  1909	UT Cleaned frost from inlet. LK
12Nov08 1722 	UT Cleaned frost from inlet KH
13Nov08 1340  	UT Cleaned frost from inlet LK
14Nov08 1325	UT Cleaned frost from inlet KH
15Nov08 1328	UT Cleaned frost from inlet LK
16Nov08 1240	UT Visual inspected clear inlet LK
17Nov08 1317	UT Cleaned frost from inlet LK
18Nov08 1830	UT 30 kt winds.  rime not removed. LK
19Nov08  1030	UT clean upon visual inspection
20Nov08 2035 	UT cleaned frost from inlet LK
21Nov08  1245	UT cleaned frost from inlet KH 
22Nov08  1500	UT clean upon visual inspection	KH
23Nov08  1445 	UT Cleaned frost from inlet LK
25Nov08  1838	UT Cleaned frost from inlet KH
26Nov08  1402   UT Cleaned frost from inlet LK
27Nov08  1558	UT Cleaned frost from inlet KH
28Nov08  1805  UT Cleaned frost frm inlet  KH 
29Nov08  1250  UT Cleaned frost from inlet LK	
30Nov08  1535 UT Cleaned frost from inlet. LK	

December 2008

01Dec08 1355-1410 UT Cleaned frost from inlet and on tower changing filters. LK
02Dec08 1610 UT Cleaned frost from inlet. LK
03Dec08 1518 UT cleaned frost from inlet. KH
04Dec08 1507 UT cleaned frost from inlet LK
06Dec08 1416 UT cleaned frost from inlet KH
07Dec08 1220 UT cleaned frost from inlet KH
08Dec08 1450 UT Inlet clear LK	
09Dec08 Condition 1, no daily check. LK
10Dec08 1315 UT Inlet clear upon visual inspection. LK
11Dec08 1250 UT cleaned frost from inlet LK
12Dec08 1410 UT Inlet clear upon visual inspection. LK
13Dec08 1630 UT Inlet clear upon visual inspection. LK
14Dec08 1548 UT Inlet clear upon visual inspection. LK
15Dec08 2105 UT Cleaned frost from inlet. KH
16Dec08 1520 UT Cleaned frost from inlet KH
17Dec08 1530 UT CLeaned frost from inlet. LK
18Dec08 1940 UT Cleaned frost from inlet. Lk
19Dec08 2125 UT cleaned frost from inlet. LK
20Dec08 1535 UT cleaned frost from inlet. LK
21Dec08 1310 UT Cleaned frost from inlet. LK
22Dec08 1445 UT Cleaned frost from inlet. LK
23Dec08 1845 UT Inlet clear upon visual inspection. LK
24Dec08 1310 UT Inlet clear upon visual inspection. KH
25Dec08 1535 UT cleaned frost from inlet KH 
26Dec08 1530 UT Inlet Clear upon visual inspection. LK
27Dec08 Condition 1, no daily check. LK
28Dec08 1320 UT Inlet clear upon visual inspection. LK
29Dec08 1440 UT Cleaned frost  from inlet. LK
30Dec08 1326 UT cleaned frost from inlet KH
31Dec08 1745 UT cleaned heavy frost from inlet lk

January 2009

01Jan09 1505 and 1720 UT Cleaned heavy frost from inlet. Kh and Lk
02Jan09 1358 UT Frost was bumped off from inlet
03Jan09 1315 UT Cleaned heavy frost from inlet. LK
04Jan09 2020 UT Cleaned heavy frost from inlet. LK
05Jan09 1425 UT Cleaned frost from inlet. LK
06Jan09 1145 UT inlet clean upon inspection KH
07Jan09 1323 UT cleaned frost from inlet KH
08Jan09 1300 UT Clear upon visual inspection. LK
09Jan09 1408 UT Cleaned frost from inlet. LK
10Jan09 1432 UT Cleaned frost from inlet LK
11Jan09 1500 UT Cleaned frost from inlet KH
11Jan09 2005 UT Cleaned frost from inlet. LK
12Jan09 1125 UT cleaned frost from inlet. LK
13Jan09 1325 UT Cleaned frost from inlet. LK
14Jan09 1315 UT cleaned frost from inlet. Lk
15Jan09 1955 UT Clear upon visual inspection. LK
16Jan09 1400 UT Clear upon visual inspection. LK
17Jan09 1840 UT Clear upon visual inspection. KH
18Jan09 1315 UT Cleaned frost from inlet. KH
19Jan09 1320 UT Clear upon visual inspection. LK
20Jan09 1330 UT Clear upon visual inspection. LK
21Jan09 1515 UT Cleaned frost from inlet. LK
21Jan09 2133 UT Cleaned frost from inlet lk
22Jan09 1905 UT cleaned frost from inlet. KH
23Jan09 1415 UT cleaned frost from inlet kh	
24Jan09 1512 UT  cleaned frost from inlet kh
25Jan09 1405 UT cleaned frost from inlet -LK	
26Jan09 1515 UT cleaned frost from inlet -KH 
27Jan09 1420 UT Clear upon visual inspection. LK
28Jan09 1305 UT cleaned frost from inlet. LK
29Jan09 1315 UT cleaned frost from inlet. LK
30Jan09 1300 UT clear upon visual inspection. LK
31Jan09 1337 UT cleaned frost from inlet. LK

Feburary 2009

01Feb09 1342 UT cleaned frost from inlet -LK	
02Feb09 1435 UT cleaned frost from inlet. LK
03Feb09	1525 UT cleaned frost from inlet. LK
04Feb09 1410 UT Cleaner upon visual inspection. LK
05Feb09 1416 UT cleaned frost from inlet -KH
06Feb09 1120 UT cleaned froms from inlet -KH
07Feb09 1123 UT cleaned frost from inlet -LK
08Feb09 1120 UT cleaned frost from inlet -LK
09Feb09 1125 UT Cleaned frost from inlet LK
10Feb09 1345 UT Cleaned frost from inlet LK
12Feb09 1855 UT Cleaned frost from inlet LK
13Feb09 1415 UT cleaned frost from inlet abc
14Feb09 1300 UT Clean upon visual inspection. abc
15Feb09 1235 cleaned frost from inlet. kh
16Feb09 1230 UT Clean upon visual inspection. kh/abc
17Feb09 1250 UT cleaned frost from inlet. kh/abc
19Feb09 1315 UT cleaned frost from inlet -ABC
20Feb09  1408 UT cleaned frost from inlet -kh
21Feb09 1430 UT cleaned frost from inlet -abc
22Feb09 1500 UT clean upon visual inspection. Abc
23Feb09 1323 UT cleaned frost from inlet -KH
24Feb09 1540 UT cleaned frost from inlet -abc
25Feb09 1312 UT cleaned frost from inlet -abc
26Feb09 1300 UT cleand frost from inlet -abc
27Feb09 1307 UT cleaned frost from inlet -abc
28Feb09 1330 UT cleaned frost from inlet -abc

March 2009

01Mar09 1400 UT cleaned frost from inlet -abc
02Mar09 1350 UT inlet clean upon visual inspection -kh