## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191024 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: |  | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | No change | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | 11m Tower raising. First official day of routine operations at MOSAIC. | Any daily activities or special operations that would possibly impact daily schedule or operations
Command Center
Utilities: | NR | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | NR | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | NR
Workstation Computer: | NR
Communications Mode(s): | Radio, Iridum, and Cable | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | NR | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | Rime on the starboard radio antenna on the Crow's nest, but the port side antenna is clean. We are considering a way to mitigate rime build up. | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
| Set up Finnish radiometer suite, calibrate Max's VISSS | List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
| Schuko to US adapters, Tie wraps | Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | No major change in conditions. | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | None | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | up and stable | [up or down, comment on stability]
Network connectivity | up and stable | [up or down, comment on stability]
Utility cables | Good | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | NR | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | NR | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | Stable and level. | Stability of the base, including any potential ablation
Guy Anchors | Solid | Any sign of anchor instability?
Guy Tightness | Even | Even tightness? If not adjust.
Structural Integrity | Not problems identified | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | Tower is standing but plumbness not yet evaluated because of a missing guy line | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | Solid | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | NA | Stability of the base, including any potential ablation
Guy Anchors | NA | Any sign of anchor instability?
Guy Tightness | NA | Even tightness? If not adjust.
Structural Integrity | NA | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NA | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NA | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | NA | Include the timing and any details related to cleaning
PTU_2m | Tower raised today at ~0530 UTC, system is operational, mounted at 1.62 m above the bottom of the tower base | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | Tower raised today, system is operational. Mounted at about 5.5m above the bottom of the tower. | "
HMT_10m | Tower raised today, system is operational | "
WXT_30m | Not yet installed | "
Sonic_2m | Tower raised today, system is operational. Height is 262cm above the bottom of the tower base(229 cm above tower metal base + 33 cm of wood base); sonics N oriented to GPS "north" (parallel to GPS axis & approx parallel to NW guy wire). | "
Sonic_6m | Tower raised today, system is operational. Height is 640cm above the bottom of the tower base | "
Sonic_10m | Tower raised today, system is operational, height is 10.34m above the bottom of the tower base | "
Sonic_30m | Not yet installed | "
Licor | Tower raised today, system is operational. Height is at 6-m level (~35 cm below sonic center, or 590 cm above the bottom of the tower base) | "
SR50 | Tower raised today, system is operational, SR50 at about 1.70 m above surface level | "
IRT | Tower raised today, system is operational, IRT at about 1.75 m above surface level | "
Flux Plates | 0545 UTC installed flux plate ~5m to the SSW of the tower, across the other side of the small crack that is now frozen over. | "
CLASP | Not yet operational | "
SPCs (multiple) | Upper SPC is at 8.91m above the bottom of the tower base | "
GPS | ~0100 UTC rotated/calibrated GPS
Data Files
Clasp02m |  | hourly files with size 3,095kB
CR1000X |  | daily file with size ~22500kB,
Licor02m |  | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone |  | ????
Picarro |  | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | 12V solid, 24V solid | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | inclinations are 0.46 and 0.66 deg, heading is about 351 deg | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | consistent with clouds for most of the day with intermittent clearing later in the day, fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | consistent with LWD and T surface, fan good | "
SWD | near 0, fan and heat good | "
SWU | near 0, fan and heat good | "
IRT | following T_2m but delayed by a few minutes and colder by about 0.1-0.2 C | "
SR50 | ?? Decrease in surface height?? | "
PTU | some pretty big swings in RH towards the later part of the day might indicate some influence from exhaust | "
Sonic | reasonable | "
Licor | NA | "
Flux Plates | following but offset by 5-7 W/m2 | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan < 4000 with periodic behavior, Ptemp=1 to 11C | Max scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow |  | daily files of ~1120kB
ASFS_40_met |  | daily files of ~1740kB
ASFS_40_fast |  | daily files of ~5280kB
ASFS_40_Iridium_sumfile | NA | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | EFOY voltage and current profiles are steady over time. EFOY is charging for 8-10 hours typically and then off (on battery) for 6-8 hours. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level |  | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Follows LWU very closely, indicative of full rime coverage of the system. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Looks reasonable | "
SWD | ~0, heat good, fan good | "
SWU | ~0, heat good, fan good | "
IRT | generally follows the Vaisala T-2m very closely with only up to about 0.2 C difference. | "
SR50 | Distance getting larger? | "
PTU | All looks reasonable | "
Sonic | reasonable | "
Licor | NA | "
Flux Plates | reasonable | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan <3500, Ptemp = 0-5C | Max scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | good | daily files of ~1120kB
ASFS_30_met | good | daily files of ~1740kB
ASFS_30_fast |  | daily files of ~5280kB
ASFS_30_Iridium_sumfile | NA | accumulating file with time stamp [include time stamp]

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | Iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | apparently fine. Expected information came through | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | 24V charge appears fine, with one major cycle of the system during the day where that EFOY appeared to be not on for about 6 hours, but on otherwise | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | heading about 246 deg, no major change in sonic inclination | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Consistent with cloudy most of the day, fan is good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Consistent with LWD, fan is good | "
SWD | Near 0, heater is good, fantach is more variable than for SWU but appears good | "
SWU | Near 0, heater is good, fantach appears good | "
IRT | Follows Vaisala T very closely | "
SR50 | Appears to be some variability in SR50 related to temperature variability. | "
PTU | Looks reasonable | "
Sonic | reasonable | "
Licor | NA | "
Flux Plates | Plates are similar but of opposite sign with A being positive and B being negative | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | main counts ~120, Ptemp=0-2C | Max scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow |  | daily files of ~1120kB
ASFS_50_met |  | daily files of ~1740kB
ASFS_50_fast |  | daily files of ~5280kB
ASFS_50_Iridium_sumfile |  | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | Operational and healthy.
Power balance on two PDUs? | Good balance, although still not much usage
Back-up generator test (/month) | NR
Precip VISSS - Met City (Maahn)
Did some tests to diagnose the problem with the VISSS by swapping the network cables for the Master and Slave cameras into the back of the computers. Upon restarting of the cameras (power cycle) this appeared to solve the issue. The lights are now visible and the cameras appear to be functional.
Doppler Lidar - Met City (Brooks)
Doppler Lidar - Polarstern (Brooks)
Doppler Lidar - Polarstern (Heinemann)
Sodar - Met City (Brooks)
Radiation Suite - Met City (Pirazzini)
Not yet installed