## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191030 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | Some new icing build up | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | A few small cracks moved through camp today. The crack near the met tower (~2m south) re-openned to about 5 cm. There was also a hairline crack coming into Met City, going under one leg of ARM's swingset radiometers, over by the Met Hut, near Max's VISSS, and under our tower cables. | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit 9-11:30am local | Any daily activities or special operations that would possibly impact daily schedule or operations
Command Center
Utilities: | We are working to dial in the heating as the near floor temperatures are about 0C but it is relatively warm higher up. | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | NR | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | NR
Workstation Computer: | NR
Communications Mode(s): | Radio, Iridum, and Cable | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | NR | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR, have not assessed in the last couple of days | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
| Set up Finnish radiometer suite, calibrate Max's VISSS | List things that need to be accomplished in the coming days, developing issues, etc.
Need to deal with the faulty fan at ASFS30 (L2)
Supplies
| Schuko to US adapters, Tie wraps | Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | No major change in the ice other than the crack near the tower base opening again to about 5 cm and a hairline crack going under the tether of power/data cables back towards the Met Hut | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | None | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | up and stable | [up or down, comment on stability]
Network connectivity | up and stable | [up or down, comment on stability]
Utility cables | Good,bundled the WXT and Blomquist cables with the others today. | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | Opened box shortly today to install Blomquist network cable, causing internal T to dip from 18 to 14C, but it has since recovered.. | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | NR | Any comments on Frey's power and control box.
Structural Assessment - 11m
Tower Base | Stable and level. | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | Not problems identified | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | The tower is leaning to the North (towards the bear guard outpost on the ridge) and away from the location with the missing guy line. | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | Reasonable level, but some tilt consistent with the overall tower tilt. | Assess stability and level of booms
Cabling | Solid | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | NR | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | Ian adjusted the guy lines a bit to account for the change in winds. This helped to bring the mast into better vertical alignment | Even tightness? If not adjust.
Structural Integrity | Not problems identified | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | No numbers, but improved based on the guy adjustment | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NR | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | General cleaning at 0:55-1:10 UTC. Cleaned all accessible instruments. | Include the timing and any details related to cleaning
PTU_2m | Removed frost | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | Removed frost | "
HMT_11m | Some frost observed but not cleaned | "
WXT_30m | NR | "
Sonic_2m | Clear of rime | "
Sonic_6m | Clear of rime | "
Sonic_11m | Clear of rime | "
Sonic_30m | checked mast heading with binoculars & GPS; heading(pin at base of sonic) determined to be 40.7 deg true at the same time as tower GPS was reading 291.4 deg; 65 deg heading determined on Oct 28 considered wrong; hence the 40.7 deg value considered good retroactive to time of mast raising on Oct 26 | "
Licor | Cleaned frost of the instrument with the extention bruch but unable to get all of the frost such that the error light continued to blink. | "
SR50 | Slight frost on the edge cleared. | "
IRT | Removed frost | "
Flux Plates | One flux plate is installed on the other side of the crack near the tower. So far no impact on the plate. | "
CLASP | Removed frost | "
SPCs (multiple) | Appear to be operational, but still working to get the data archival functional. Removed some frosting from the arms of the 2m sensor | "
Data Files
Clasp02m |  | hourly files with size 3,095kB
CR1000X |  | daily file with size ~22500kB,
Licor02m |  | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone |  | ????
Picarro |  | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | Radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | ?? | Current remaining fuel available
Comments | voltages look good both on the 24 and 12V sides. Looks like EFOY keeps batteries at 28.4 VDC most of the time, with a periodic (4-5 hour) period when it dips down to 22+ VDC, but then charges back up relatively quickly | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | Sonic inclinometer generally stable, heading remains in the 347-352 deg range, 85d 37' N, 123d 42' E | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Consistent with optically thick cloud arriving at about 01:30 until about 19:00 | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Consistent with LWD | "
SWD | NA | "
SWU | NA | "
IRT | nicely follows the LW radiation and inferred cloudiness, <-20C in clear and ~-17C in cloudy | "
SR50 | Appears to be a relationship between the SR50 reading and the temperature. When clouds appeared the surface distance decreased from 2.154 to 2.134 but then as the cloud disappeard the distance then increased again up to 2.164. Look a lot like the temperature curve. | "
PTU | T consistent with IRT, with slightly colder T at 2+ m. | "
Sonic | reasonable | "
Licor | NA | "
Flux Plates | follow eachother well with same sign but offset by about 9 W/m2 | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan ~3600, Ptemp=+/- 3C | Max scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow |  | daily files of ~1120kB
ASFS_40_met |  | daily files of ~1740kB
ASFS_40_fast |  | daily files of ~5280kB
ASFS_40_Iridium_sumfile | NA | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | EFOY power profile similar to 10/24 | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | Tilt looks the same, no rapid changes but overall the sonic X axis has changed by about 0.1 degrees over the past week. 85d39' N, 125d40'E, heading 172-177 deg, sonic X stable at 0.5deg, Y stable at -1.5deg | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Consistent with being totally rimed over, fan is -21 | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Reasonable | "
SWD | NA | "
SWU | Fantach is 0 while the SWD fantach is 162 | "
IRT | about 0.1C warmer than 2m T | "
SR50 | Looks like a consistency | "
PTU | T consistent with IRT, RH has a bit of a spike, possibly consistent with sampling the EFOY exhaust | "
Sonic | reasonable | "
Licor | NA | "
Flux Plates | two plates are consistent but of opposite sign, FP B is positive. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | Ptemp=-5 to 3 C; Mainscans ~3000 | Max scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow |  | daily files of ~1120kB
ASFS_30_met |  | daily files of ~1740kB
ASFS_30_fast |  | daily files of ~5280kB
ASFS_30_Iridium_sumfile | NA | accumulating file with time stamp [include time stamp]

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | Iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | Robust | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | 24V looks reasonable compared to recent past | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | Heading is steady; 85d57.5'N, 123d35'E, , no major change in sonic inclination | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | reasonable | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | consistent with LWD | "
SWD | NA | "
SWU | NA | "
IRT | continued close tracking with Vaisala T | "
SR50 | clear temperature sensitivity in the SR50 reading | "
PTU | reasonable | "
Sonic | reasonable | "
Licor | NA | "
Flux Plates | Reasonable but two plates of opposite sign. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | main countes ~120, Ptemp = -2 to -4C | Max scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow |  | daily files of ~1120kB
ASFS_50_met |  | daily files of ~1740kB
ASFS_50_fast |  | daily files of ~5280kB
ASFS_50_Iridium_sumfile |  | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | Operational and healthy.
Power balance on two PDUs? | Good balance. System 1 is at 20% (Blomquist Picarro, monitor, and temperature measurement, Polashenski LSA, and Maahn VISSS) while System 2 is at 12% (Shupe flux tower + network switch)
Back-up generator test (/month) | NR
Precip VISSS - Met City (Maahn)
At about 08:00 UTC there was significant snow. This led to some pictures on the VISSS. The snowflakes themselves appear very small in the pictures, hardly enough to identify habit. There are also some fixed-position features that look like watermarks.
Doppler Lidar - Met City (Brooks)
Doppler Lidar - Polarstern (Brooks)
Doppler Lidar - Polarstern (Heinemann)
Sodar - Met City (Brooks)
Radiation Suite - Met City (Pirazzini)
Not yet installed