## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191106 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | cold with mild winds | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | mostly unchanged with some very slight opening of small cracks | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit today 01:00-02:00. Visit to L2 (ASFS30) site today at 06:40 - 09:50 UTC to fix the LWD ventilator and to perform standard maintenance | Any daily activities or special operations that would possibly impact daily schedule or operations
Command Center
Utilities: | No change | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | No change | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | Good
Workstation Computer: | Good
Communications Mode(s): | Radio,Iridium, and Cable | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | OK generally. Radio comms to both 30 and 40 are getting worse, but most data makes it. There was a brief period of radio connection with 50 today for the first time, but not enough to transfer any data. | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NR | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
| Schuko to US adapters, Tie wraps | Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | Monitoring some very small cracks that have openned slightly. No snow drifting. | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | None | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | Good | [up or down, comment on stability]
Network connectivity | Good | [up or down, comment on stability]
Utility cables | Good | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | Good | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | NR | Any comments on Frey's power and control box.
Structural Assessment - 11m
Tower Base | NR | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | NR | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | NR | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | NR | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | NR | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NR | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | Met Cty visit today 01:00-02:00. Basic cleaning but not much needed. | Include the timing and any details related to cleaning
PTU_2m | No icing | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | No icing | "
HMT_11m |  | "
WXT_30m |  | "
Sonic_2m | No icing | "
Sonic_6m | No icing | "
Sonic_11m | No icing | "
Sonic_30m | No icing | "
Licor | Cleaned with ethanol at 01:36 UTC and the red light stopped blinking. | "
SR50 | No icing | "
IRT | No icing | "
Flux Plates | NR | "
CLASP | No icing | "
SPCs (multiple) | No icing | "
Data Files
Clasp02m | good | hourly files with size 3,095kB
CR1000X | good | daily file with size ~22500kB,
Licor02m | good | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone | not operational | ????
Picarro | missing files for a couple hours | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | EFOY power profile normal with 6 cycles, 24 and 12 V good. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | y inclinometer has an interesting oscillation over the day, no other changes | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | consistent with partial clear, partial cloudy, fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | consistent with LWD, fan good | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | similar to T_2m with IRT sometimes up to 0.3C colder but variable offsets | "
SR50 |  | "
PTU | reasonable | "
Sonic | reasonable | "
Licor | NA | "
Flux Plates | offset by about 9 W/m2 | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan <4000, Ptemp = -3 to 5C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met |  | daily files of ~1740kB
ASFS_40_fast |  | daily files of >100MB
ASFS_40_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good in general. There were a few more dropped connections than typical | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | based on site visit: exhaust was generally clear of all ice build up, there was an ice block on the ground, although loose from the ground, that likely weighed about 15 lbs. No concern about general icing on exhaust. | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | Maximum capacity on two cartridges after site visit | Current remaining fuel available
Comments | EFOY power profile consistent with previous except during the site visit when there was a bit of different behavior, likely related to the cooling down of the box. Generally 24V and 12V are good. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc. | Additional comment: The returned methanol cartridge was initially installed on 10/7 with 60L (19.5" from the base), checked on 10/16 at 15.3" (47.1L), and then on 11/6 was 8.5" (26.1L). Neglecting the slight taper to the base of the cartridge this equates to about 1.43 L/day for the first period and 1.00 L/day for the second period. 1.00/1.43 = 70%. This savings is due to removing the Licor from the system.
Conditions
Structural | no visible issues. "freakin' bomber" said Costa upon his return | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change, even as a result of the work done on the system | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | some local snow drifts but not right at the site. Directly around the site the snowpack was firm with no post-holing | Any useful information on local surface conditions from camera
Sky-Weather | mostly clear sky during the site visit, but transition to cloudy sky afterward. Winds were weak, aiding the site visit. | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | fan good after about 09:00, the data started looking good then as well, with early indication of clear skies moving towards cloudy skies, consistent wit observatoins. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | consistent measurements, fan good after about 08:00. | "
SWD | fan and heat good | "
SWU | heat good. Fantach=0 | "
IRT | consistent with T_2m but IRT lags and is up to 0.2C warmer | "
SR50 | see some spikes when site visit was occuring ; snow depth measurements: (10,10,20 30,9.5,11,28,9.5,10,10,17.5) avg=15.0 cm, 0846 UTC | "
PTU | good. See some erratic behavior in RH during the maintenance on site. Also see a strong increase shortly after the visit as the mild weather change occurred (consistent with other measurmeents) | "
Sonic | reasonable and no real sign of impact from the site visit. Distinct increase in wind speed shortly after the visit | "
Licor | NA | "
Flux Plates | opposite sign and ofset by up to 6 W/m2 and slightly different daily variability at each site | "
Camera_Rad |  | Any pictures available?
Camera_EFOY |  | Any pictures available?
Data Logger | mainscan<4000, Ptemp=-9 to 1 C except for during work on system when it reached -23C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | good | daily files of ~1120kB
ASFS_30_met | good | daily files of ~1740kB
ASFS_30_fast | good | daily files of >100MB
ASFS_30_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium, had a couple hour period with some radio contact, but not enough to update the tables and actually get data. | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good, but missed iridium transmission when the radio was partially working | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | not getting much information but appears to be functional 24V. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | heading has been slowing movly from 250 to 243 | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Partial clear, partial cloudy, good fan | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | consistent with LWD, good fan | "
SWD | good fan and heat | "
SWU | good fan and heat | "
IRT | NR | "
SR50 | NR | "
PTU | reasonable | "
Sonic | reasonable | "
Licor | NA | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | main scan 120, Ptemp=-7 to -3C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments |  | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR | removed the RHI scan that was set up for 210 degrees (between the stack and crow's nest) to limit potential accusations of the SACR harming ship instrumentation
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests |  | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | Good
Power balance on two PDUs? | NR
Back-up generator test (/month) | Not done
Precip VISSS - Met City (Maahn)
VISS backllights with a little icing on the bottom. Cleared slightly at 01:50 UTC. All checks good except slave camera had errors and apparently hadn't been checked in a couple days. Restarted at 01:54 UTC but still had lots of "missed frame" statements in logs. Restarted both cameras at 02:00 UTC, but still the same issue with "missed frames" on slave.
Doppler Lidar - Met City (Brooks)
Brooks onsite
Doppler Lidar - Polarstern (Brooks)
Brooks onsite
Doppler Lidar - Polarstern (Heinemann)
Brooks onsite
Sodar - Met City (Brooks)
Brooks onsite
Radiation Suite - Met City (Pirazzini)
radiometers all iced. Cleaned the PIR at 01:47 UTC with a bit of ethanol and Kimwipes