## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191107 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | Pretty mellow with light winds | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | No major changes, all cracks are stable and unchanged from yesterday | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit at 05:00-07:00 UTC. | Any daily activities or special operations that would possibly impact daily schedule or operations
Command Center
Utilities: | good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium, cable | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | No radio to L3, but solid iridium. Working on improving the iridium system. | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | No concern | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | No concern | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
| Fix time issue on FMI radiometers, FMI compass calibration, VISSS calibration | List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
| Schuko to US adapters, Tie wraps | Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | No major changes. Small cracks still visible but no change from yesterday | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | No new drifting, but did some drift management around the tower base to keep things from building up. | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | Up and stable | [up or down, comment on stability]
Network connectivity | Up and stable | [up or down, comment on stability]
Utility cables | good | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | good | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | good | Any comments on Frey's power and control box.
Structural Assessment - 11m
Tower Base | solid | Stability of the base, including any potential ablation
Guy Anchors | solid | Any sign of anchor instability?
Guy Tightness | mostly even. Tightened the SE anchor slightly | Even tightness? If not adjust.
Structural Integrity | no problems | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | Looks good | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | solid | Stability of the base, including any potential ablation
Guy Anchors | solid | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | no problems | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NR | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | minor cleaning at 05:40 UTC. There was very little icing build up and actually some improvement over previous times where there was now a decrease in the amount of rime. | Include the timing and any details related to cleaning
PTU_2m | little icing | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | little icing | "
HMT_11m | some residual icing, but a decrease from previously | "
WXT_30m | NR | "
Sonic_2m | clear of icing | "
Sonic_6m | clear of icing | "
Sonic_11m | clear of icing | "
Sonic_30m | clear of icing | "
Licor | no icing and no blinking red light. | "
SR50 | clear of icing | "
IRT | clear of icing | "
Flux Plates | NR | "
CLASP | clear of icing | "
SPCs (multiple) | might have observed some ice during the cleaning of the tower. | "
Data Files
Clasp02m | good | hourly files with size 3,095kB
CR1000X | good | daily file with size ~22500kB,
Licor02m | good | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m | good | hourly files, raw with size ~5335kB, stats with size 21kb
Ozone | not operational | ????
Picarro | good | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | mostly good with some decrease in quality recently | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | questionable | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | Concerns about EFOY system. It should have been out of fuel in the first cartridge about now. There was a transition at about 04:15 UTC where the fuel level went to 100, perhaps indicating a swap of fuel. But then the battery voltage started dropping continuously and has flatlined at 18.9VDC. The Ptemp decrease substantially to -16 C by the end of the day. No charge current. 12V still appears to be good and the system continues to operate. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no major changes | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Partial thin cloudiness during the day with periods of clearing, fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Consistent with LW and Tsurf, fan good | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | following T_2m but about 0.1-0.3C colder | "
SR50 | NR | "
PTU | reasonable | "
Sonic | reasonable | "
Licor | NA | "
Flux Plates | following eachother with ofset of about 10-11 W/m2 | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan < 4000, Ptemp= +6 down to -16!!! | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met | good | daily files of ~1740kB
ASFS_40_fast | good | daily files of >100MB
ASFS_40_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | quality getting slightly worse | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good except for SWU fan | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | EFOY has typical power profile as before, 24V good, 12 V good | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Periodic cloudiness during the day with a rapid cloud transition in the last 1/2 hour of the day, fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | consistent with LWD and T surface, fan good | "
SWD | good fan and heat | "
SWU | bad fan, good heat | "
IRT | tracking T_2m but typically colder by 0.1 - 0.2 C | "
SR50 |  | "
PTU | reasonable, with big spike in RH in the last 1/2 hour of the day that corresponds with a warming and incoming clouds | "
Sonic | reasonable | "
Licor | NA | "
Flux Plates | opposite signs and offset by up to 4 W/m2 | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan<4000, Ptemp=-12 to -1.5C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | good | daily files of ~1120kB
ASFS_30_met | good | daily files of ~1740kB
ASFS_30_fast | good | daily files of >100MB
ASFS_30_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | Not getting much data from the EFOY so it is difficult to know its status. Looks like the variability of the Ptemp suggests that the EFOY is working as expected. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no major change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Periodic clouds early, moving towards clear sky late, fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | consistent with LWD and Tsurface, fan good | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | follows T_2m within 0.1C, temporal lag of IRT behind T_2m appears to change over time. | "
SR50 | NR | "
PTU | reasonable | "
Sonic | reasonable | "
Licor | NA | "
Flux Plates | opposite signs, offset by up to 12 W/m2 in clear skies but only different by about 6 W/m2 in cloudy skies | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | main scan = 120, Ptemp=-6 to -1 C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | good
Power balance on two PDUs? | 13% on each side (~0.3 kW)
Back-up generator test (/month) | Not done yet
Precip VISSS - Met City (Maahn)
Basically the sameas yesterday. Mast value is 147+/-9, while slave is 143 +/- 8. Backlights and camera windows are icing free
Doppler Lidar - Met City (Brooks)
Brooks onsite
Doppler Lidar - Polarstern (Brooks)
Brooks onsite
Doppler Lidar - Polarstern (Heinemann)
Brooks onsite
Sodar - Met City (Brooks)
Brooks onsite
Radiation Suite - Met City (Pirazzini)
SW radiometers are still iced (i.e. have not recovered) PIR is ice free so did not build up more ice overnight, but all other instruments have shown that there was no additional icing overnight as well. Finally got Putty on the tablet and logged into the MOXA to find some observations: 1) The date is off. Says Jan 6 2000 04:23:57 when it is really Nov 7 2019 06:17:40 UTC. 2) There are files being collected with the timestamp from 2000. 3) the data looks ok with some instantaneous cecks although I really need to look in more detail at the PIR measurements as the values do not seem to be entirely consistent between LWU and LWD. More assessment is needed. 4) We have not done the compass calibration and need to find python 3 to do that. Not sure where we will find that but will ask some others.