## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191109 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | occasional low thin clouds but otherwise cloudfree, getting colder as the clouds thin and go away. | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | No major changes | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit ***. Attempted site visit to L1 (ASFS40), but were unsuccessful at finding the landing pad. A later helicopter flight was successful at finding the pad and installing new landing lights. | Any daily activities or special operations that would possibly impact daily schedule or operations
Command Center
Utilities: | good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium, cable | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | generally good, although no comms with L1 since the station is down. | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
| Schuko to US adapters, Tie wraps | Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | [up or down, comment on stability]
Network connectivity | [up or down, comment on stability]
Utility cables | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | Any comments on Frey's power and control box.
Structural Assessment - 11m
Tower Base | Stability of the base, including any potential ablation
Guy Anchors | Any sign of anchor instability?
Guy Tightness | Even tightness? If not adjust.
Structural Integrity | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | Assess stability and level of booms
Cabling | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | Stability of the base, including any potential ablation
Guy Anchors | Any sign of anchor instability?
Guy Tightness | Even tightness? If not adjust.
Structural Integrity | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | Include the timing and any details related to cleaning
PTU_2m | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | "
HMT_11m | "
WXT_30m | "
Sonic_2m | "
Sonic_6m | "
Sonic_11m | "
Sonic_30m | "
Licor | "
SR50 | "
IRT | "
Flux Plates | "
CLASP | "
SPCs (multiple) | "
Data Files
Clasp02m | hourly files with size 3,095kB
CR1000X | daily file with size ~22500kB,
Licor02m | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone | ????
Picarro | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | None. | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | NA | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Hard down. System failed yesteday for unknown reason | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | EFOY not operational for unknown reason. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | No observations | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | No observations | "
SWD | No observations | "
SWU | No observations | "
IRT | No observations | "
SR50 | No observations | "
PTU | No observations | "
Sonic | No observations | "
Licor | No observations | "
Flux Plates | No observations | "
Camera_Rad | No observations | Any pictures available?
Camera_EFOY | No observations | Any pictures available?
Data Logger | No observations | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | No data | daily files of ~1120kB
ASFS_40_met | No data | daily files of ~1740kB
ASFS_40_fast | No data | daily files of >100MB
ASFS_40_Iridium_sumfile | No data | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | Standard EFOY power profile with good data recovery of voltage and current values. Good 12 and 24V. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no major changes | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | A few periodic periods of clouds with mostly clear skies. Fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | consistent with LWD, fan good | "
SWD | fan and heat good | "
SWU | heat good, fan failed | "
IRT | follows T_2m without much lag. The "apogee_body_T_avg" actually appears to be a better representation of the surface temperature, being more variable relative to T-2m, sometimes colder by 1.5 deg (clear skies) and sometimes the same or even a bit warmer (cloudy skies). | "
SR50 | NR | "
PTU | Generally reasonable | "
Sonic | reasonable | "
Licor | NA | "
Flux Plates | opposite and ofset by 1-5 W/m2 | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan ~ 3600, Ptemp=-11 to -3 C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | good | daily files of ~1120kB
ASFS_30_met | good | daily files of ~1740kB
ASFS_30_fast | missing the first 2:45 of data | daily files of >100MB
ASFS_30_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | EFOY data only reporting at the very beginning of the day and 24V looks good. EFOy not reporting for most of the day. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no major change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Mostly clear with some thin clouds, fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | consistent with LWD, fan good | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | nearly identical to T_2m, this seems to be wrong and I think we have the wrong parameter specified as the apogee_targ_T_Avg. | "
SR50 | NR | "
PTU | reasonable | "
Sonic | consistent with the changing wind direction | "
Licor | NA | "
Flux Plates | opposite and and offset by ~8 W/m2 | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=120, Ptemp=-7 to 0C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status
Power balance on two PDUs?
Back-up generator test (/month)
Precip VISSS - Met City (Maahn)
Doppler Lidar - Met City (Brooks)
Brooks onsite
Doppler Lidar - Polarstern (Brooks)
Brooks onsite
Doppler Lidar - Polarstern (Heinemann)
Brooks onsite
Sodar - Met City (Brooks)
Brooks onsite
Radiation Suite - Met City (Pirazzini)