## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191110 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | Mostly good. Shupe tweaked back lifting box during helicopter operations. Costa got cold toes but no frostbite. | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | clear and cold, reaching down below -30C for the first time | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | mostly unchanged | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit ~07:00-8:00 UTC. Helicopter visit to site L1 ~4:00-7:30 UTC | Any daily activities or special operations that would possibly impact daily schedule or operations
Command Center
Utilities: | good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium, cable | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | generally good, but radio communications to L2 started to fail right when communications with L1 started up. ??? | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
| Schuko to US adapters, Tie wraps | Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions |  | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | cleaned light riming from tower | Anything required for physical maintenance of local area
Utility Status
Power line connectivity |  | [up or down, comment on stability]
Network connectivity |  | [up or down, comment on stability]
Utility cables |  | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box |  | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box |  | Any comments on Frey's power and control box.
Structural Assessment - 11m
Tower Base |  | Stability of the base, including any potential ablation
Guy Anchors |  | Any sign of anchor instability?
Guy Tightness |  | Even tightness? If not adjust.
Structural Integrity |  | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness |  | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability |  | Assess stability and level of booms
Cabling |  | Secure with no rubbing.
Structural Assessment - 30m
Tower Base |  | Stability of the base, including any potential ablation
Guy Anchors |  | Any sign of anchor instability?
Guy Tightness |  | Even tightness? If not adjust.
Structural Integrity |  | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness |  | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling |  | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning |  | Include the timing and any details related to cleaning
PTU_2m |  | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m |  | "
HMT_11m |  | "
WXT_30m |  | "
Sonic_2m |  | "
Sonic_6m |  | "
Sonic_11m |  | "
Sonic_30m |  | "
Licor | 0715 UTC licor moderately rimed | "
SR50 |  | "
IRT |  | "
Flux Plates |  | "
CLASP |  | "
SPCs (multiple) |  | "
NPS Imager & Spar
Data Files
Clasp02m | good | hourly files with size 3,095kB
CR1000X | good | daily file with size ~22500kB,
Licor02m | Data shows good signal after cleaning | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone | not operational | ????
Picarro | good | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good after site visit | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | down until site visit about 04:00-07:30 UTC. Data was not collected until the logging program could be sent to the system after returning, which was at about 08:00 UTC. | [Good, Questionable, Unknown]
Assessment of Exhaust | Frozen exhaust line was the cause of the system failure. There was a large ice accumulation on the end of the exhaust outlet including ice up into the copper tube at the end of the tube. The EFOY LCD screen indicated an error due to exhaust pluggage. There was also some buid up of ice on the surface below, although not much and this broke away easily. The build up on the exhaust was difficult to break free and took some hammering with tools. It appears to have been pretty solidly attached to the foam tube sticking out. As a result, we trimmed this foam back and made the copper nozzle and heat tape extend further beyond the end. To get the copper pipe unfrozen we connected a new EFOY and batteries and fired up the system with a spare exhaust line. This enabled the heat trace to help warm up the original exhaust line, eventually enabling a screw driver to help break free the ice blockage. The system could then be connected back to that exhaust line and it cleared it out the rest of the way. | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | Cartridge #1 was nearly empty upon arrival, Cartridge #2 was about 1 cm down from the level of the new full cartridge we brought. Thus, it is unclear if the system had swapped over to the new cartridge. Upon leaving the site visit, there were to nearly full cartridges, with the one that was down slightly as #2. | Current remaining fuel available
Comments | Removed old power system (EFOY serial number 302314-1831-44176 with Discovery batteries) and replaced with new power system (EFOY serial number ??????? with Yuasa batteries). The new power system started right up, but it was important that we had this and the batteries fired up prior to leaving on the helicopter, and then got it fired up right after arriving onsite and before preparing the box for installation of the new system. Upon arrival back at Polarstern and uploading of the logging progam, the EFOY was not reporting any values. We believe that it was connected properly. No values were reported until the last hour of the day, when realistic voltages cam in for about an hour. The Ptemp profile seems a bit strange thereafter but does seem consistent with the EFOY being on. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc. | Additional comments on fuel consumption: The fuel cartridge that was removed was installed on 10/5 at 60L (19.25" from bottom), checked on 10/15 (13.7" or about 42.7L), and then on 11/10 it was 3.75" or about 11.7L. Based on these, and neglecting the slight taper in the bottom of the cartridge, the burn rate for the first period was 1.73L/day and the second period was 1.19 L/day. The change is related to removing the Licor. This is significantly more than for the recent L2 site visit, which had 1.43 and 1.00 L/day for the two periods. The ratio of the burn rates (after Licor / before Licor) are about 70% for each. The higher burn rates for L1 could be related to the older batteries installed on that system. Now that the batteries and fuel cell have been changed we might expect a slower burn rate as less exhaust by 16%.
Conditions
Structural | Solid and no concerns. Removed as much icing from the structural members as possible. | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | After site visit there was a change where X_incl decreased to 0.43 deg and Y_incl increased to 0.65 deg, both from about 0.56 deg. No major change in heading. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | The local surface around the site was clear. No bear tracks or other key features. A couple of low ridges in the vicinity and a frozen over crack about 10-15 m to the side. | Any useful information on local surface conditions from camera
Sky-Weather | Clear sky and beautiful. Stars, and a rising near full moon on the horizon looking very orange. | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Radiometer was lightly rimed on the dome and the ventilator. Cleaned dome with ethanol. Cleaned out snow accumulation underneath the fan with a screwdriver and blowing. Data after visit are consistent with the clear skies and cold conditions at the time, but with a transition to some clouds later in the day. fan good after visit. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Radiometer was mostly clear with some icing on the ventilator. Cleaned out snow accumulation above the fan with a screwdriver and blowing. Data after visit are consistent with the clear skies and cold condition, with some transitions to cloudiness later in the day. fan good after visit. | "
SWD | dome was rimed up lightly; this was cleaned with ethanol. fan and heat good | "
SWU | dome was rimed up lightly; this was cleaned with ethanol. fan and heat good | "
IRT | icing built up around the housing, but the sensor view path was unobstructed to the surface. Icing all cleared. Data is somewhat following T_2m, with a slight lag and an offset of about 0.4 deg colder. The Apogee_body temperature seems to be a better representation of the actual surface temperature relative to the T_2m; under highly stable conditions the T surface is up to 3 C colder than T_2m, but under cloudy conditions these two temperatures are similar. | "
SR50 | icing built up around the housing, but the sensor view path was unobstructed to the surface. Icing all cleared. Measured snow depth under the sensor was 5 5/8" = 14.3cm. Measured height of sensor was 81.5" = 207cm. Data after the visit show that the distance to the surface increased substantially, but this is due to the large decrease in temperature. | "
PTU | Sensor housings were covered with icing and snow. RH housing was cleared, RH sensor was not impacted much by icing. Temperature housing was cleared as good as possible, but accumulation of water ice in the slats was hard to remove fully. Used a screwdriver to try and remove as much as possible. Used screwdriver to remove icing from pressure housing as well. Data after the visit look reasonable, with outside temperatures colder than -30C. | "
Sonic | Sonic was mostly clear of icing during site visit. Signs of very light ice buildup. The arms were all brushed off with feather duster. The transducers were already cleared by their heaters by the time we left the site visit. Post-visit data looks reasonable and consistent with the relatively low winds encountered. Increase in winds later in the day. | "
Licor | Totally covered in icing. This was brushed off somewhat, but will save a good cleaning until we decide to turn the licor on. | "
Flux Plates | significant increase in the flux after the site visit, likely due to the colder temperatures. One plate was measuring about 4 W/m2. Offset between sensors is about 9 W/m2. State of the sensors was not assessed during the site visit. | "
Camera_Rad | Was entirely covered with icing and snow during site vist. This was brushed away to reveal a thin layer of ice on the lens. This ice was removed with a warm hand and light rubbing. Clear view when leaving the site. Green lights indicated some successful pictures being taken. | Any pictures available?
Camera_EFOY | Camera was iced but the middle of the lense was not totally covered. General snow was removed and the ice over the camera lens body was chipped off and cleared completely. Green lights indicated periodic successful pictures being taken. | Any pictures available?
Data Logger | main scan=4000, Ptemp=-12 to +3C. Strong recovery in internal temperature after the site visit. | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good after start of system. | daily files of ~1120kB
ASFS_40_met | good after start of system. | daily files of ~1740kB
ASFS_40_fast | good after start of system. | daily files of >100MB
ASFS_40_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good until failure at 07:30 UTC | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | system was operational, although we had no connection with it after the radio failed at 07:30 UTC | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | Normal EFOY power profile before failure. Abrupt increase in the data logger 12V from 12.005 to 12.055 V just before the failure. This type of change is not typical. EFOY lost voltage over the rest of the day. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | steady all day, but just before the system failure there was an abrupt change in the X_incl by 0.1 deg and the Y_incl by 0.4 deg. This could be related to the failure and is a much bigger change than that experienced at L1 with Costa and Shupe climbing all over the sled. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Looks like clear sky! Good fan with abrupt change in fantach just before the failure. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Clear sky and cold. Some small spikes in the 15 min before the failure. Good fan, but an identical jump in the fantach to the LWD just before the failure | "
SWD | good fan and heat prior to bear attack, then these went out. | "
SWU | bad fan. | "
IRT | Difficult to interpret. Damaged by the bear | "
SR50 | abrupt change in height from 2.04 to 2.052 just before failure. Such an abrupt change is not common. | "
PTU | good measurements after the loss of radio comms, in spite of he met mount being pulled downward by the bear. A spike in RH in the later part of the day could be from exhaust. | "
Sonic | rapidly changing wind speed and direction over the couple hours prior to the failure. Sonic failed at 07:20 while other systems failed at 07:30. | "
Licor | NA | "
Flux Plates | opposite and offset by about 5 W/m2 | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan <4000 and decreasing steadily over the time until the failure, Ptemp=-12 to -3 C but increasing in this range at the time of failure. After the failure the temperature plunged to -25C. | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | good | daily files of ~1120kB
ASFS_30_met | good | daily files of ~1740kB
ASFS_30_fast | good until failure at 07:30 | daily files of >100MB
ASFS_30_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | EFOY not reporting for the full day. However, the Ptemp variability shows the typical EFOY power profile behavior such that we can infer that the EFOY is functional. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no major change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | mostly clear all day, fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | consistent with LWD and the cold temperatures, fan good | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | nearly identical to T_2m | "
SR50 | NR | "
PTU | big jump/spike in RH at about 07:00, possibly due to exhaust. T_2m down below -30C for the first time during the project. | "
Sonic | consistent with changing wind direction | "
Licor | NA | "
Flux Plates | opposite and offset by about 10 W/m2 | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=120, Ptemp=-10 to -5 C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments |  | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice) | 0725 UTC - visibly inspected ARM radiometers (crystal clear) Other sensors look OK. No cracks or signs of ice deformation.
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests |  | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status
Power balance on two PDUs?
Back-up generator test (/month)
Precip VISSS - Met City (Maahn)
Doppler Lidar - Met City (Brooks)
Brooks onsite
Doppler Lidar - Polarstern (Brooks)
Brooks onsite
Doppler Lidar - Polarstern (Heinemann)
Brooks onsite
Sodar - Met City (Brooks)
Brooks onsite
Radiation Suite - Met City (Pirazzini)
0721 UTC cleaned Finnish radiometers- moderate riming