## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: |  | [YYYYMMDD]
Operator1: |  | [name]
Operator2: |  | [name]
Status of Operators: |  | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: |  | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: |  | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: |  | Any daily activities or special operations that would possibly impact daily schedule or operations
Command Center
Utilities: |  | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: |  | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer:
Workstation Computer:
Communications Mode(s): |  | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: |  | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container |  | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest |  | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest |  | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
| Schuko to US adapters, Tie wraps | Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions |  | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management |  | Anything required for physical maintenance of local area
Utility Status
Power line connectivity |  | [up or down, comment on stability]
Network connectivity |  | [up or down, comment on stability]
Utility cables |  | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box |  | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box |  | Any comments on Frey's power and control box.
Structural Assessment - 11m
Tower Base |  | Stability of the base, including any potential ablation
Guy Anchors |  | Any sign of anchor instability?
Guy Tightness |  | Even tightness? If not adjust.
Structural Integrity |  | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness |  | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability |  | Assess stability and level of booms
Cabling |  | Secure with no rubbing.
Structural Assessment - 30m
Tower Base |  | Stability of the base, including any potential ablation
Guy Anchors |  | Any sign of anchor instability?
Guy Tightness |  | Even tightness? If not adjust.
Structural Integrity |  | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness |  | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling |  | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning |  | Include the timing and any details related to cleaning
PTU_2m |  | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m |  | "
HMT_11m |  | "
WXT_30m |  | "
Sonic_2m |  | "
Sonic_6m |  | "
Sonic_11m |  | "
Sonic_30m |  | "
Licor |  | "
SR50 |  | "
IRT |  | "
Flux Plates |  | "
CLASP |  | "
SPCs (multiple) |  | "
Data Files
Clasp02m | good | hourly files with size 3,095kB
CR1000X | good | daily file with size ~22500kB,
Licor02m | good | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone | not operational | ????
Picarro | good | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | marginal to good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | EFOY did not report all day. 12 V looks fine but no other indicator. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | the inclination changes from the previous day have mostly gone away. Otherwise no major change. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Mostly cloudy with a few periods of clearing. During cloud time periods the LWD is sometimes larger than LWU indicating a strong inversion in between cloud and surface. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Consistent with LWD and surface T. Fan good. | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | Now considering the "body" temperature to actually be the surface temperature. The "targ" temperature is the body temperature and follows the 2m air temperature very well. IRT follows the general features of T_2m, but often when it is colder the Tsurf is lower by 1 C | "
SR50 | NR | "
PTU | good in general | "
Sonic | reasonable. Major increase in wind over the day. | "
Licor | NA | "
Flux Plates | Follow each other closely with an offset of about 9 W/m2 early, but by the end of the day there is a marked difference between the two plates with plate A losing its short period variability and becoming mostly smooth and not related to plate B. This is possibly due to drifting snow piling up over the flux plate (similar behavior at the met tower where one plate was drifted). | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan < 4000, Ptemp=-10 to +3 C, with a strange new behavior where there is no longer the short time-scale variability that has previously been associated with the EFOY turning off and on over short periods. | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met | good | daily files of ~1740kB
ASFS_40_fast | good | daily files of >100MB
ASFS_40_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | None | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | none | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Unknown, system has not been communicating since yesterday. | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | 24V decreased during the day down to about 23V. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant changes | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | mostly cloudy all day | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | similar values to LWD | "
SWD | Damaged by the bear and not functional | "
SWU | NR | "
IRT | Damaged by the bear and not functional | "
SR50 | operational | "
PTU | good measurements | "
Sonic | Damaged by the bear and not functional | "
Licor | cleaned licors, moderate rime over entire receptor lens. Melted off with liner-glove covered finger & then wiped clean with dry KimWipe. 0342 UTC wiped clean again with KimWipe dabbed with ethanol. | "
Flux Plates | following each other. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan>4000; Ptemp=-23 to -14C (system has been compromised by bear attack). | Main scan time. Reasonable temperature range? Fans working?
NPS Imager & Spar | spar program had bombed with "Matlab error" on Nov 7; restarted OK. Backed up Nov spar data on USB flash drive
Data Files
ASFS_30_slow | good | daily files of ~1120kB
ASFS_30_met | good | daily files of ~1740kB
ASFS_30_fast | sonic down | daily files of >100MB
ASFS_30_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good generally | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | periodic reports from the EFOY showing good 24V. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | X incl is slowly increasing. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Mostly cloudy with LWD larger than LWU periodically, fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | consistent with LWD, fan good | "
SWD | heat and fan good, fantach had a big decrease but still at 120 instead of 160. | "
SWU | heat and fan good | "
IRT | NR | "
SR50 | NR | "
PTU | reasonable | "
Sonic | missing data, but clear indication of increased wind speeds | "
Licor | NA | "
Flux Plates | opposite but th behavior is changing relative to each other, possibly due to snow build up. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan = 120, Ptemp=-11 to 0 C, variability shows EFOY cycles | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | missing some data that didn't report | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments |  | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice) | 0325 UTC ARM radiometers are clean; nothing done
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests |  | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | NR
Power balance on two PDUs? | NR
Back-up generator test (/month) | NR
Precip VISSS - Met City (Maahn)
NR
Doppler Lidar - Met City (Brooks)
brooks onsite
Doppler Lidar - Polarstern (Brooks)
brooks onsite
Doppler Lidar - Polarstern (Heinemann)
brooks onsite
Sodar - Met City (Brooks)
brooks onsite
Radiation Suite - Met City (Pirazzini)
cleaned Finnish radiometers-light to moderate riming