## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191113 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | Warm (~-13C) and windy. Clouds. | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | No major changes or cracks. Snow drifting is leading to different sastrugi features across the ice. Many areas are totally scoured, including around Met City area, while others have long drift structures, particularly around any surface objects/features. | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit today at about 2:20-4:20 UTC. | Any daily activities or special operations that would possibly impact daily schedule or operations
Command Center
Utilities: | Good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | Good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium, cable | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | good at the receiving end. | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | no problem | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
| Schuko to US adapters, Tie wraps | Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | No local cracks or changes in the ice. There has been some light snow and a significant amount of snow drifting. A large drift extending from the base of the tower towards the Met Hut. This impacts the measurement area for the SR50 and one of the flux plates. | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | Cleared some of the drift around the base of the tower, but mostly on the north side where the data system boxes are. Also dealt with general Met City snow management, freeing up numerous cables and power lines. Snow pit sampling by rocket traps by ice/snow team. Imager CAT5 connection filled with snow. Cleared, but this made no difference in functionality. | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | good | [up or down, comment on stability]
Network connectivity | good | [up or down, comment on stability]
Utility cables | good. Did a little repair to a couple of power poles. | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | Good. Drift management around the box | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | Good. Drift management around the box | Any comments on Frey's power and control box.
Structural Assessment - 11m
Tower Base | Solid | Stability of the base, including any potential ablation
Guy Anchors | solid | Any sign of anchor instability?
Guy Tightness | even | Even tightness? If not adjust.
Structural Integrity | solid | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | No change | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | Good | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | Solid | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | Looks good | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | Looks good, although did not measure | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | pulled from snow | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | Onsite from 02:20-04:20 UTC today. Tower assessment was done starting right at 02:20 for the following 10min. Generally the tower was very clean; the warm winds have done great ice mitigation for us. Significant snow drifting is impacting measurements. Examined snow depth distribution around our site and around the SIMB (Perovich) installation. SIMB had 8-10cm of snow around, but mostly the harder packed snow from previously. Was not really accumulating new drifting snow in that area. | Include the timing and any details related to cleaning
PTU_2m | clear of icing | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | clear of icing | "
HMT_11m | clear of icing | "
WXT_30m | NR | "
Sonic_2m | clear of icing | "
Sonic_6m | clear of icing | "
Sonic_11m | clear of icing | "
Sonic_30m | NR | "
Licor | 0224 UTC, cleaned licor - light ice coating. Used only finger heat & KimWipe - no ethanol. | "
SR50 | clear of icing. Observation area is impacted by drifting from the tower base with spatial variability. Snow dune is artificial, downwind from box. | "
IRT | clear of icing | "
Flux Plates | South plate (Flx A) is in an area where the new snow is all scoured. North plate is in an area with new drifting that is variable spatially. Snow depths at FlxA are 7.5, 11, & 13 cm; at Flx B are 19,12,11,20 (0240 UTC). Snow is getting hard, so thee depths might be underestimates (broke ruler) | "
CLASP | clear of icing | "
SPCs (multiple) | clear of icing. Checked the SD cards to see if the caps removed yesterday did anything. Same behavior. New files on each card, but the new file 000A.LOG on the 1104 system had a 0 kB size. Full assessment inside the box and it looks like all cables are connected, all connections are tight. Lights on both data loggers are consistent with eachother and all on, including the disk writing light. Repowered the full system in order to check the SD cards so this might have reset something. Will have to check tomorrow to see if there is any data. | "
NPS Imager & Spar | F3 on spar still flatlined; Imager still stuck on "Starting Run Number 1". Imager light not on outside, but 25 V going to outside connector. Spar showing very small values for some parameters.
Data Files
Clasp02m | good | hourly files with size 3,095kB
CR1000X | good | daily file with size ~22500kB,
Licor02m | good | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone | not operational | ????
Picarro | good. Filesize changed from typically 7 MB to less than 5 MB at about 12 UTC | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | able to keep up with the data but marginal | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | Limited EFOY data but the available data shows good charge and voltage. Inferred EFOY power cycle (from Ptemp) suggests a power profile that looks more like that from L2/ASFS30, with about two major cycles per day. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no major changes | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Clouds early and late in the day with clear sky in between., fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Consistent with LWD and T_surface. Fan good | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | Nice variable difference between T_surf (apogee body now) and T_2m | "
SR50 | NR | "
PTU | looks good | "
Sonic | reasonable | "
Licor | NA | "
Flux Plates |  | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan<4000, Ptemp=-3 to +9C. Variability shows the typical EFOY cycle. | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow |  | daily files of ~1120kB
ASFS_40_met |  | daily files of ~1740kB
ASFS_40_fast |  | daily files of >100MB
ASFS_40_Iridium_sumfile |  | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | no comms | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | NA | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Unknown | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | NR | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | NR | "
SWD | NR | "
SWU | NR | "
IRT | NR | "
SR50 | NR | "
PTU | NR | "
Sonic | NR | "
Licor | NR | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | NR | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | no data | daily files of ~1120kB
ASFS_30_met | no data | daily files of ~1740kB
ASFS_30_fast | no data | daily files of >100MB
ASFS_30_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | Iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | only a little EFOY data, showing good 24V. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no major change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Some clouds with a clear sky in the middle of the day, transitioning to clouds again at the end of the day. Fan good, with some decrease in the fantach towards the end of the day. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Consistent with LWD and Tsurf. Fan good, with some decrease in the fantach towards the end of the day. | "
SWD | fan and heat good. Fantach low for a while then high. Not clear why there is the variability. | "
SWU | fan and heat good. Fantach low for a while then high. Not clear why there is the variability. | "
IRT | NR | "
SR50 | NR | "
PTU | Pressure data stream is very low resolution, only recording in whole integers as usual. | "
Sonic | reasonable | "
Licor | NA | "
Flux Plates | opposite. Now more smoothly varying than in the past. Offset by about 2 W/m2. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=120, Ptemp=-6 to 0C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments |  | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation | Pulled up the cables on the ice for all systems
LDIS/PARS2 (ice) | lots of ice/snow buildup on Altar shield
LDIS/PARS2 (ship)
PWD (ice) | lots of ice/snow buildup on Altar shield
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice) | lots of ice/snow buildup on Altar shield
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice) | clear of rime
GndRad - PIR, PSP (ice) | clear of rime
MFR (ice) | clear of rime
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests |  | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | good
Power balance on two PDUs? | 14% (378 W) and 12% (270W). Both systems passed battery checks
Back-up generator test (/month) | not yet installed
Precip VISSS - Met City (Maahn)
Brushed some snow off of the structure and boxes, and removed a little icing from the backlights. But generally clear of icing. The Master is 142+/-10, Slave is 131+/-7. Slave still has some frame errors and Master has a few infrequent errors. Data files are coming in as expected.
Doppler Lidar - Met City (Brooks)
Brooks onsite
Doppler Lidar - Polarstern (Brooks)
Brooks onsite
Doppler Lidar - Polarstern (Heinemann)
Brooks onsite
Sodar - Met City (Brooks)
Brooks onsite
Radiation Suite - Met City (Pirazzini)
working on getting the parts together for calibrating the compass. Need to find a serial converter. Cleaned at 0228 UTC, moderate riming.