## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191114 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | warm, mid-level clouds, modest winds | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | no major changes in the local ice. During the flight today there were a number of cracks in the ice. | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit today at 02:00-03:00. Helicopter operations at L2: 5:00-7:00 and L3: 7:30-7:45 UTC. | Any daily activities or special operations that would possibly impact daily schedule or operations
Command Center
Utilities: | good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium, cable | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | no change. We tried to improve the radio communicatoins to L3 by raising the antenna there, but this did not improve the radio comms yet. | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
| Schuko to US adapters, Tie wraps | Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | no major changes, with no additional significant drift build up. Small cracks re-opened near Met City but not impacting any of the installations. | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | None | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | good | [up or down, comment on stability]
Network connectivity | good | [up or down, comment on stability]
Utility cables | good | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | NR | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | NR | Any comments on Frey's power and control box.
Structural Assessment - 11m
Tower Base |  | Stability of the base, including any potential ablation
Guy Anchors |  | Any sign of anchor instability?
Guy Tightness |  | Even tightness? If not adjust.
Structural Integrity |  | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness |  | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability |  | Assess stability and level of booms
Cabling |  | Secure with no rubbing.
Structural Assessment - 30m
Tower Base |  | Stability of the base, including any potential ablation
Guy Anchors |  | Any sign of anchor instability?
Guy Tightness |  | Even tightness? If not adjust.
Structural Integrity |  | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness |  | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling |  | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | Site visit today at 02:00-03:00 UTC. | Include the timing and any details related to cleaning
PTU_2m |  | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m |  | "
HMT_11m |  | "
WXT_30m |  | "
Sonic_2m |  | "
Sonic_6m |  | "
Sonic_11m |  | "
Sonic_30m |  | "
Licor | 0234 UTC - licor cleaned, moderate riming. No ethanol, just finger heat & KimWipes | "
SR50 |  | "
IRT |  | "
Flux Plates |  | "
CLASP |  | "
SPCs (multiple) |  | "
NPS Imager & Spar | 0224 UTC spar program had bombed -Matlab error; restarted OK
Data Files
Clasp02m | good | hourly files with size 3,095kB
CR1000X | good | daily file with size ~22500kB,
Licor02m | good | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone | not operational | ????
Picarro | good | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | moderate | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | EFOY power profile looks good, for the data that is coming through. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no major change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | mostly cloudy during the day, fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | little change over the day. Fan good | "
SWD | heat and fan good. | "
SWU | heat and fan good. | "
IRT | apogee_body temperature follows T_2m nicely with a variable offset. | "
SR50 |  | "
PTU | relatively little variability over the day | "
Sonic | reasonable observations with modest winds | "
Licor |  | "
Flux Plates | little small scale variability for plate A, which is also 2-6 W/m2 different from plate B | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan<4000, Ptemp=0-10C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met | good | daily files of ~1740kB
ASFS_40_fast | good | daily files of >100MB
ASFS_40_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | System is down. The cable connecting the radio antenna appears to be totally pulled apart. | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | NA | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | System is down. Taken out by a polar bear. | [Good, Questionable, Unknown]
Assessment of Exhaust | No sign of major exhaust issues. | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | Both fuel cartridges are nearly full. | Current remaining fuel available
Comments | EFOY was in a state where it indicated that the data cable needed to be connected. It is not clear why this was the error, unless there was some internal damage to the cabling associated with the interface box resulting from the cable being jerked on. The EFOY was brought back to Polarstern. Serial number: 302314-1906-45599, along with two Yuasa batteries | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | No major damage from the bear. The met mount bar was twisted down on the RH sensor side. | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | Some bear tracks drifted over. | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Instrument looked undamaged | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Instrument looked undamaged | "
SWD | Instrument looked undamaged. Cable is damaged and was pulled out of the internal connector, which was damaged. | "
SWU | Instrument looked undamaged | "
IRT | Instrument looked undamaged | "
SR50 | Instrument looked undamaged | "
PTU | instruments looked undamaged. The mount was twisted down but did not appear to be majorly damaged. | "
Sonic | Instrument looked undamaged except for one connector at the remote sonic box. This system will need to be changed. | "
Licor | Instrument looked undamaged | "
Flux Plates | Instrument looked undamaged | "
Camera_Rad | Looked undamaged | Any pictures available?
Camera_EFOY | Looked undamaged | Any pictures available?
Data Logger | It appears that the GPS cable was destroyed. | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | no data | daily files of ~1120kB
ASFS_30_met | no data | daily files of ~1740kB
ASFS_30_fast | no data | daily files of >100MB
ASFS_30_Iridium_sumfile | no data | accumulating file with time stamp [include time stamp]

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium. One task for our visit was to raise the height of the radio antenna to hopefully get better signals back to Polarstern. We raise the antenna about 1.5 m more. Note: it is no longer possible to lower the antenna mast without first lowering the extention down vertically and then dismounting (or disconnecting) the radio antenna. | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good on iridium, but still not connection with radios even after lifting the antenna. | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good, site visit today so have detailed information on operational status | [Good, Questionable, Unknown]
Assessment of Exhaust | small beard built up on exhaust (4-5" across), with some indication on the surface below of previous beards that had broken/melted off as well as some surface buildup from dripping water. Total amount of water ice on the surface was not much and easily removed from the surface. | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | Cartridge #2 was almost entirely empty upon arrival at the site, but was still the source. Estimated that about 3 L of methanol was left. Cartridge #1 was 100% full still. Upon leaving the site both cartridges were totally full. | Current remaining fuel available
Comments | Power system appeared to be functioning properly. When we removed the nearly empty fuel cartridge, we thought it had already switched to the other cartridge, however, it apparently had not. It then gave an error that said we needed to connect fuel. This was a demonstration of the 30min buffer over which the system can operate without a fuel connection. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | Good shape. No visible issues with stability. | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | No major change even as a result of the site visit. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | ice and snow consistent with no recent cracks in the local area. There was a frozen over crack (~1.5m across) about 100 m off to the side over by the Chinese buoys. Some indication of drifting locally, but not impacting the ASFS significantly. | Any useful information on local surface conditions from camera
Sky-Weather | Relatively warm with mid-level clouds. Periodic breaks in the clouds allowed for seeing some moonlight through these breaks. Good visibility at low levels. | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | clear of icing. Cloudy skies for most of the day. Fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | clear of icing. Some snow built up between the fan and the plate was removed. Consistent with LWD and T_surface. Fan good | "
SWD | clear of icing. Level was assessed and was still good. Fan and heat good. | "
SWU | clear of icing. Level was assessed and was still good. Fan and heat good. | "
IRT | icing built up on one side, but not significantly on the sensor viewing area. This was removed. From the time of this site visit forward, the IRT_body and IRT_target temperatures are swapped in the data files. The data shows a decoupling now between the IRT and T_2m that makes more sense. | "
SR50 | icing build up on one side with slight icing on the bottom surface. This was all removed. An unexplained rapid decrease in the distance shortly after 15:00 UTC. Measurements of 8, 6, 10, and 7 cm under SR50 (Avg 7.8 cm) | "
PTU | mostly clear of icing. Removed some from the temperature probe and RH probe housings. Also removed some snow from between the plates of the pressure head. | "
Sonic | totally clear of icing. Winds seem to be ok after the site visit. | "
Licor | mostly clear of ice. We mistakenly left this operational, even though we uploaded a program that does not record the data! | "
Flux Plates | No real assessment as we could not see these. The plate to the right (with radiation boom as forward) is in an area that was likely impacted by foot traffic during our visit. The other side was less impacted. Flux plate A underwent a significant change during the site visit that increased the flux, while over the same time the flux at plate B decreased slightly. After the transition the two followed each other, with a different offset (3 W/m2, to 9 W/m2). This might be the impact of the site visit as it is difficult to know where the plates are. Marking would be good. | "
Camera_Rad | clear of ice on the lens | Any pictures available?
Camera_EFOY | had very slight amount of ice on the lens. | Any pictures available?
Data Logger | Changed the data logger program to: ASFS50_602_nolicor_apogeeswitch.CR1X. Mainscan=120, Ptemp=-2to+5C. Looks like the EFOY was on for a very long time, pretty much extending from the site visit through nearly the end of the day. | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | missed the first 6 hour chunk of the day. | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | NR
Power balance on two PDUs? | NR
Back-up generator test (/month) | NR
Precip VISSS - Met City (Maahn)
Both cameras collecting data with similar errors on Slave. Mild icing on the backlights but camera windows clear
Doppler Lidar - Met City (Brooks)
Brooks on site
Doppler Lidar - Polarstern (Brooks)
Brooks on site
Doppler Lidar - Polarstern (Heinemann)
Brooks on site
Sodar - Met City (Brooks)
Brooks on site
Radiation Suite - Met City (Pirazzini)
Finnish pyrgeometers cleaned 0243 UTC
Others
Ian Rafael installed Don Perovich's ablation stake array between the 30m mast and the SIMB. This is comprised of a large X with a stake in the middle and two stakes along each of the 4 legs emanating out from that X