## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191115 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | Warm, cloudy, light snowfall at times, weak winds | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | No major changes, consistent ice with few local cracks | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit at 02:20-04:15 UTC. | Any daily activities or special operations that would possibly impact daily schedule or operations
Command Center
Utilities: | Good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | no concerns | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium, cable | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | good in general, radio is modest | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
| Schuko to US adapters, Tie wraps | Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | no major changes from yesterday. Little change in drifting although the drifts have solidified somewhat. No additional cracks. | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | shoveled out some of the prior drifts from around the base of the tower and the tower box | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | good | [up or down, comment on stability]
Network connectivity | good | [up or down, comment on stability]
Utility cables | good, cleared off ice/snow buildup | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | NR | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | cleared off snow buildup | Any comments on Frey's power and control box.
Structural Assessment - 11m
Tower Base | solid | Stability of the base, including any potential ablation
Guy Anchors | solid | Any sign of anchor instability?
Guy Tightness | even and cleared of icing buildup | Even tightness? If not adjust.
Structural Integrity | no concerns. Climbed the lower rungs to work on CLASP | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | still slanted | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | the 2m boom was slightly adjusted to help bring the lower sonic into better vertical alignment at about 03:10UTC | Assess stability and level of booms
Cabling | good, cleared of snow/ice buildup | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | NR | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | NR | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NR | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | Site visit: 02:20-4:15 UTC. Tower physical cleaning 02:20-02:35 included removal of extensive frost buildup on tower members, guy lines, cables, instrument bodies, etc. | Include the timing and any details related to cleaning
PTU_2m | flakey icing removed | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | flakey icing removed | "
HMT_11m | flakey icing built up by did not remove | "
WXT_30m | NR | "
Sonic_2m | no icing, vertical alignment was adjusted by adjusting the rotation around the boom and the level of the boom [03:10UTC]. Should be more upright now. | "
Sonic_6m | no icing | "
Sonic_11m | no icing | "
Sonic_30m | NR | "
Licor | flakey icing removed, warm hand and soft glove to clean off lenses; 0236 UTC light riming | "
SR50 | flakey icing removed, likely did not impact measurements | "
IRT | flakey icing removed, likely did not impact measurements | "
Flux Plates | no major change in the snow coverage over the flux plate areas. | "
CLASP | flakey icing removed, also removed some ice buildup from inside the inlet [03:30 UTC]. | "
SPCs (multiple) | flakey icing removed, did not impact measurements. Again checked on the files and continued to find only files with zero size for the 1104 SPC. The GPS light for the 1206 unit is blinking once it acquires signal, but on the 1104 it never starts blinking. I followed the cable all the way from the back of the logger to outside and did not see anything wrong with it. But there could be a faulty GPS antenna, or connection internally? | "
NPS Imager & spar | spar running but with F3=0; imager CurrentPitch=4750, sidtilt=4886, pitchMoving=1
Data Files
Clasp02m | good | hourly files with size 3,095kB
CR1000X | good | daily file with size ~22500kB,
Licor02m | good | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m | good | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone | not operational | ????
Picarro | good | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | enough to get the data | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | limited data but EFOY power profile looks fine. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no major change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Cloudy skies for most of the day. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | High values with LWD sometimes being larger than LWU, Fan good. | "
SWD | heat and fan good | "
SWU | heat and fan good | "
IRT | reasonable compared to T_2m | "
SR50 | NR | "
PTU | reasonable and very warm (>-8C) | "
Sonic | winds consistent and getting very fast. | "
Licor | NA | "
Flux Plates | Two plates are doing different things. The sign on one turned around. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan<4000, Ptemp=1-7 C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met | good | daily files of ~1740kB
ASFS_40_fast | good | daily files of >100MB
ASFS_40_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | Out | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | NA | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | System is not operational | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | NR | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | NR | "
SWD | NR | "
SWU | NR | "
IRT | NR | "
SR50 | NR | "
PTU | NR | "
Sonic | NR | "
Licor | NR | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | NR | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | NR | daily files of ~1120kB
ASFS_30_met | NR | daily files of ~1740kB
ASFS_30_fast | NR | daily files of >100MB
ASFS_30_Iridium_sumfile | NR | accumulating file with time stamp [include time stamp]

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | EFOY power profile a bit strange. The cycle at the end of yesterday peaked above 28V while the cycle today peaked at about 26.4 V. Otherwise good. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no major change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Mostly cloudy with some clearing. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | At times the LWD is larger than LWU, which seems to be happening a bit too much. Fan good. | "
SWD | fan and heat good. | "
SWU | fan and heat good. | "
IRT | reasaonable compared to T_2m | "
SR50 | NR | "
PTU | reasonable | "
Sonic | Generally good data but started to lose some as the winds picked up late in the day. | "
Licor | NA | "
Flux Plates | Following each other with an offset of up to 12 W/m2. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=120, Ptemp=-2 to 5C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments |  | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C | Appears to be issues for the past number of days
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice) | Cleared altar shield of ice and snow
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice) | Cleared altar shield of ice and snow
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice) | comparison between downlooking IRT and LWU was bad but got better on the 14th and 15th
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC | low concentrations on 11/15
CPCU | low concentrations on 11/15
SMPS | some spikes?
HTDMA
UHSAS | some spikes?
CCNC | Nice to have the quicklook working now
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests |  | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | good
Power balance on two PDUs? | good balance
Back-up generator test (/month) | Not done
Precip VISSS - Met City (Maahn)
Persistent state with Master running well, Slave having the missed frames errors. Both systems have large files being produced.
In looking back at date, 11/10/19 at 02:18:58 shows some interesting ice crystals that are fluttering as they fall.
Many images are of crystals that are not in focus, but there are some that are in focus.
Doppler Lidar - Met City (Brooks)
Brooks on site
Doppler Lidar - Polarstern (Brooks)
Brooks on site
Doppler Lidar - Polarstern (Heinemann)
Brooks on site
Sodar - Met City (Brooks)
Brooks on site
Radiation Suite - Met City (Pirazzini)
icing on PIR domes removed [02:33 UTC]
ethanol on KimWipe
light riming