## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191116 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | Very warm (-6C!) and windy (19 m/s). | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | Ice is cracking around camp. A larger crack formed over near Ocean City / Remote Sensing that cut off the road to Met City; ~1m across at the road. This crack extends into the Fortress. There is another crack towards Met City from that point, but it is only a couple inches across. One other smaller crack is out beyond Met City out by the bear trip wire. So far Met City is doing ok. | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit today 02:15-03:15 UTC | Any daily activities or special operations that would possibly impact daily schedule or operations
Command Center
Utilities: | good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium, cable | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | sufficient for getting data through | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
| Schuko to US adapters, Tie wraps | Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | 0215 UTC Strong winds; Two cracks crossing road. Some cracking around the main camp area, but Met City looks pretty good. Closest active crack to Met City is 30m or more away. Some additional drifting. | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | None | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | up | [up or down, comment on stability]
Network connectivity | up | [up or down, comment on stability]
Utility cables | good | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | good | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | good | Any comments on Frey's power and control box.
Structural Assessment - 11m
Tower Base | solid | Stability of the base, including any potential ablation
Guy Anchors | solid | Any sign of anchor instability?
Guy Tightness | good | Even tightness? If not adjust.
Structural Integrity | solid | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | NR | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | solid | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | NR | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | dug out of snow | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | daily cleaning at met City starting at about 02:15 | Include the timing and any details related to cleaning
PTU_2m | No icing, no cleaning | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | No icing, no cleaning | "
HMT_11m | limited icing, decreasing due to conditions | "
WXT_30m | NR | "
Sonic_2m | No icing, no cleaning | "
Sonic_6m | No icing, no cleaning | "
Sonic_11m | No icing, no cleaning | "
Sonic_30m | NR | "
Licor | Very light riming, hand cleaned [~0220 UTC] | "
SR50 | No icing, view continues to be impacted by drifting | "
IRT | No icing, view continues to be impacted by drifting | "
Flux Plates | NR | "
CLASP | No icing | "
SPCs (multiple) | No icing on either. 10m SPC is spinning in circles in the wind. This suggests some sort of imbalance and/or the impact of turbulence coming off of the tower since it is now downwind of the tower structure. | "
INPS imager & spar | applied code changes to Imager iceimage_1. e View came on showing slices being taken during Run 1. Then waiting for Run 2. Seems to be working with these mods to yaw.
Data Files
Clasp02m | everything except the last 30min | hourly files with size 3,095kB
CR1000X | everything except the last 30min | daily file with size ~22500kB,
Licor02m | everything except the last 30min | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | everything except the last 30min | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | everything except the last 30min | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | everything except the last 30min | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m | everything except the last 30min | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone | not operational | ????
Picarro | everything except the last 30min | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System |  | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality |  | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status |  | [Good, Questionable, Unknown]
Assessment of Exhaust |  | Any notes about the buildup of ice that may be visible from the camera
Fuel Available |  | Current remaining fuel available
Comments | Good data from the EFOY for nearly the whole day, with just periodic dropouts. Data shows a good power profile in general although the system is operating up at 28+ V for quite a while before taking a 7-hour break. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural |  | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | see some changes of the inclination over the day, likely due to winds. Also see a slight rotation of the heading | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface |  | Any useful information on local surface conditions from camera
Sky-Weather |  | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Variable cloudy conditions most of the day, with some sign of clearing right at the end of the day. Fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Following LWD, fan good. | "
SWD | heat and fan good | "
SWU | heat and fan good | "
IRT | colder than T-2m by 0.5-1 C with variable structure | "
SR50 | NR | "
PTU | Some big jumps in the RH towards the end of the day, possibly related to exhaust. Pressure down to 993 mb. Temperatures up to -4.5C, with cold front going through at about 20:30, with a rapid drop in temperture down to -13.5C by the end of the day. | "
Sonic | some data losses during the highest winds in the middle of the day, then see a change in wind direction with the approach and passage of the cold front. | "
Licor | NA | "
Flux Plates | One plate shows heat going into the surface for most of the day, until the very end of the day when the atmos temperatures decrease rapidly and the heat flux turns back around towards up. The second plate (the one in the deeper snow) only experienced a downward heat flux for a brief period just before the cold front. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan<4000, Ptemp=3-11C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met |  | daily files of ~1740kB
ASFS_40_fast |  | daily files of >100MB
ASFS_40_Iridium_sumfile |  | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | none | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | NR | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | System dead | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | NR | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | NR | "
SWD | NR | "
SWU | NR | "
IRT | NR | "
SR50 | NR | "
PTU | NR | "
Sonic | NR | "
Licor | NR | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | NR | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | not operational | daily files of ~1120kB
ASFS_30_met | not operational | daily files of ~1740kB
ASFS_30_fast | not operational | daily files of >100MB
ASFS_30_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | EFOY appears to be operating for about 24hr and then off for about 6-8hr. The power information is coming in very consistently right now, with both voltage and current. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | See a change in the inclination and in the heading of the system, likely in response to the big winds as these decrease when the winds subside. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | mostly cloudy all day, with a clearing right at the end of the day as the cold front passes. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | consistent with LWD and T-surf, fan good. | "
SWD | heat and fan good | "
SWU | heat and fan good | "
IRT | surface typically 0.5-1C colder than T_2m, but at the passage of the cold front the atmosphere cools off faster than the surface and they are about the same at the end of the day. | "
SR50 | NR | "
PTU | pressure down to 992mb. | "
Sonic | Wind data appears to have a lot of gaps/lost data in the high winds. See a change in the wind direction with the passage of the cold front and the data collection gets somewhat better as the winds slow a little. | "
Licor | NA | "
Flux Plates | Heat fluxes turned around briefly such that heat is going downward! But then at the end of the day with the cold front passage the fluxes again go upward and very strongly, peaking at about 80W/m2! | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=120, Ptemp=0-5C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments |  | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice) | Further cleaning of Altar shield
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice) | Further cleaning of Altar shield
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice) | Radiometers looking clean
GndRad - PIR, PSP (ice) | Radiometers looking clean
MFR (ice) | Radiometers looking clean
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests |  | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | NR
Power balance on two PDUs? | NR
Back-up generator test (/month) | NA
Precip VISSS - Met City (Maahn)
data being collected. Sa issues on the SLAVE. I actually saw it go into a mode of Camera Time Out, but then recovered to its typical mode of "missed frames". Backlights and camera windows were clear of icing.
Doppler Lidar - Met City (Brooks)
Brooks on site
Doppler Lidar - Polarstern (Brooks)
Brooks on site
Doppler Lidar - Polarstern (Heinemann)
Brooks on site
Sodar - Met City (Brooks)
Brooks on site
Radiation Suite - Met City (Pirazzini)
Radiometers cleaned at 02:30. Light-moderate riming.
Checked power at the data logger and it was 12.5V. Also, each heater line has a voltage of about 12.1V. Fans spin slowly when they are rimed up; clearing the rime appears to help them spin faster.