## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191117 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | General "day off" today | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | very windy, north winds, and snowy | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | major ice breakup in the area over the past day, with initially a 1m crack going through the spine road / power line area. Remote sensing and Met City on one side, Ocean City/Balloon Town/Polarstern on the other. This opened up yesterday evening, with the far side moving south relative to the ship side, but then by the morning the far side had moved back and more to the north. Lead was perhaps 20m at times. | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | No on ice activities today other than people rescuing power lines. | Any daily activities or special operations that would possibly impact daily schedule or operations
Command Center
Utilities: | onboard power is good. | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium. | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | good for the functional modes. The cable to the ice broke over the night with the ice dynamics. | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | good | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
| Schuko to US adapters, Tie wraps | Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | Major ice breakup in between the ship and Met City, causing an outage of the power and data lines at about 23:30 on 11/16. The operations at Met City likely continued for some time after that, operating on the UPS power backup system. But then everything ran out of power. | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | None | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | Down | [up or down, comment on stability]
Network connectivity | Down | [up or down, comment on stability]
Utility cables | NR | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | NR | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | NR | Any comments on Frey's power and control box.
Structural Assessment - 11m
Tower Base | From a distance the tower is still standing and all of the basic infrastructure is still in place. | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | NR | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | NR | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | From a distance the tower is still standing. | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | NR | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NR | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | No daily maintenance on any installations at Met City | Include the timing and any details related to cleaning
PTU_2m | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | NR | "
HMT_11m | NR | "
WXT_30m | NR | "
Sonic_2m | NR | "
Sonic_6m | NR | "
Sonic_11m | NR | "
Sonic_30m | NR | "
Licor | NR | "
SR50 | NR | "
IRT | NR | "
Flux Plates | NR | "
CLASP | NR | "
SPCs (multiple) | NR | "
Data Files
Clasp02m | Tower down | hourly files with size 3,095kB
CR1000X | Tower down | daily file with size ~22500kB,
Licor02m | Tower down | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | Tower down | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | Tower down | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | Tower down | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m | Tower down | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone | Not operational | ????
Picarro | Tower down | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good enough to transfer all data | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | EFOY power profile looks pretty good in general, good 24V and 12 V | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | No major change in inclination, heading has changed from about 352 to 346 by the end of the day. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Clear early, but then cloudy continuously. Fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Very consistently tracks with LWD wth an offset of about 10 W/m2. Fan good | "
SWD | heat and fan good | "
SWU | heat and fan good | "
IRT | good. | "
SR50 | NR | "
PTU | good. | "
Sonic | see highly variable wind with very high speeds, a little data loss at times, likely due to the winds | "
Licor | NA | "
Flux Plates | tracking each other but offset by 5-13 W/m2. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan<4000, Ptemp=-6 to 10C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met | good | daily files of ~1740kB
ASFS_40_fast | good | daily files of >100MB
ASFS_40_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | none | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | NR | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Down due to bear attack | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | NR | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | NR | "
SWD | NR | "
SWU | NR | "
IRT | NR | "
SR50 | NR | "
PTU | NR | "
Sonic | NR | "
Licor | NR | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | NR | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | system down | daily files of ~1120kB
ASFS_30_met | system down | daily files of ~1740kB
ASFS_30_fast | system down | daily files of >100MB
ASFS_30_Iridium_sumfile | system down | accumulating file with time stamp [include time stamp]

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | EFOY power profile is consistent recently with the system off for only 3 hours today, but more like 5 hours yesterday. 24V looks good | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | some changes in tilt, mostly following the high winds, change in heading with the high winds as well, but this returned back to the original heading. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Clear early then cloudy the rest of the day. Fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Follows LWD with an offset of about 10 W/m2 in cloudy periods. Fan good | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | NR | "
SR50 | NR | "
PTU | variable, but generally looks reasonable | "
Sonic | high winds and lots of missing data in the iridium files, but we will have to see with the full res data. | "
Licor | NA | "
Flux Plates | Very large heat fluxes, reaching up to 80 W/m2 at one flux plate. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=120, Ptemp=-3 to 5 C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | NR
Power balance on two PDUs? | NR
Back-up generator test (/month) | NR
Precip VISSS - Met City (Maahn)
NR
Doppler Lidar - Met City (Brooks)
NR
Doppler Lidar - Polarstern (Brooks)
Brooks onsite
Doppler Lidar - Polarstern (Heinemann)
Brooks onsite
Sodar - Met City (Brooks)
NR
Radiation Suite - Met City (Pirazzini)
NR