## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191122 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | Variable clouds with intermittent snowfall and mild winds | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | Generally quiet but some additional lead opening that cut off Met City in the afternoon | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit 03:30-05:30 UTC. Helicopter operations to L2 for extracting some key components for repair, at approx. 16:15-18:15 UTC | Any daily activities or special operations that would possibly impact daily schedule or operations
Command Center
Utilities: | good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium. Cable is not connected to Met City | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | good for the operational systems | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | Unchanged in the early hours UTC but with a rather large lead to the south of Met City as a previously smaller crack openned to more than 20m across. This will give Met City the opportunity to sample a lead. By the middle of the day UTC additional cracks had openned that cut off Met City from Polarstern. | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | Cleared out significant drift snow from around the Met Hut. | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | No line power. Have been operating on generators. The larger 3kW generator installed yesterday was still nearly half full of fuel at the time of our visit this morning, giving a total of 16.5 hours on a little more than half the fuel. The load included our tower plugged into a UPS, this included charging up the UPS batteries from dead. | [up or down, comment on stability]
Network connectivity | none | [up or down, comment on stability]
Utility cables | local cables are good | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | good | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | good | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | Solid | Stability of the base, including any potential ablation
Guy Anchors | all solid. Temporarily used the old anchors to support the tower climbing | Any sign of anchor instability?
Guy Tightness | solid and even | Even tightness? If not adjust.
Structural Integrity | solid. Supported a climb all the way to the top with about 15min of work at the top. | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | not evaluated but presumably no cange. | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | good. | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | Not installed | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | NR | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NR | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | Visit Met City 03:30-05:30 UTC. Included fueling generators, some routine instrument cleaning , and a tower climbing. | Include the timing and any details related to cleaning
PTU_2m | some icing with some cleaning | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | some icing | "
HMT_10m | some icing with a lot of cleaning to remove old, built up icing. | "
WXT_30m | not operational | "
Sonic_2m | clear of ice | "
Sonic_6m | clear of ice | "
Sonic_10m | clear of ice. Worked to adjust the level of the sonic by re-orienting the central support bar for it. This was a challenge and it is not clear how successful it was, although a bubble level suggested that it was somewhat better but not plumb. | "
Sonic_30m | not operational | "
Licor | clear of ice with a solid red light. | "
SR50 | mostly clear of icing | "
IRT | mostly clear of icing | "
Flux Plates | undisturbed | "
CLASP | NR | "
SPCs (multiple) | Attempted to make the upper SPC more plumb. This was a bit of a challenge as the hose clamp was formed into its orientation, but was able to make some improvements. Upper SPC is at 8.91 m height; Lower SPC is at 0.24m height. | "
Data Files
Clasp02m |  | hourly files with size 3,095kB
CR1000X |  | daily file with size ~22500kB,
Licor02m |  | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone |  | ????
Picarro |  | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio and iridium (for one cycle) | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | Little data making it through. But the limited data shows 24V are ok. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | mostly cloudy with an afternoon period of clearing. Fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | follows LWD and Tsurf well. Fan good. | "
SWD | fan and heat good. Do not see the temperature response in the fan tach that is seen at ASFS50. | "
SWU | fan and heat good | "
IRT | Tsurf is 3-4C colder than T_2m during the clear sky period in the afternoon, otherwise it is typically a bit warmer. | "
SR50 | NR | "
PTU | measurements appear good. Rapid T_2m drop with the clearing. Then a 10C warming when clouds return. | "
Sonic | data looks reasonable | "
Licor | NA | "
Flux Plates | following each other and responsive to the clear sky and surface cooling. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan<4000, Ptemp=-6 to 5C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met | good | daily files of ~1740kB
ASFS_40_fast | good | daily files of >100MB
ASFS_40_Iridium_sumfile | one 6hr chunk of data through iridium, although we also ended up getting this through radio. Radio connection must have been bad at the time of the iridium call. | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | The bear bit the RF radio antenna cable. It was removed from the interface box panel to the bear bite. | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | system off | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | off | [Good, Questionable, Unknown]
Assessment of Exhaust | The entire exhaust system was removed and needs to be fixed or replaced. Bear bit the end off of the heating wire. | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | I didn’t notice.sorry. | Current remaining fuel available
Comments | EFOY had been removed on a previous visit. The batteries and EFOY test good and are at the ship. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | Met boom will need to be releveled. | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | no cracks were noticed near the site. Oloff the bear guard walked several times under the radiometers. | Any useful information on local surface conditions from camera
Sky-Weather | Clear | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | off, no power | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | off, no power | "
SWD | removed cable that a bear pulled out of the interface box connector | "
SWU | off, no power | "
IRT | removed cable that a bear pulled apart in the middle | "
SR50 | off, no power | "
PTU | off, no power. Boom needs to be releveled | "
Sonic | A bear ripped out the Sensor Head cable and broke the connector for the senor Head on the snic box.The box and head were replaced, S/N 0111067256 (broken) with S/N 0111067255 (new) and set the following parameters AZA=0 DHC=0 DM1=, FR1=1 HTM=1 NLC=0 NLD=0 OI1=96 OI2=96 SFR=20000 IPA=192.168.202.35 GWY=192.168.202.254 | "
Licor | off, no power | "
Flux Plates | off, no power | "
Camera_Rad | off, no power | Any pictures available?
Camera_EFOY | off, no power | Any pictures available?
Data Logger | microSD card was swapped out | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | NR | daily files of ~1120kB
ASFS_30_met | NR | daily files of ~1740kB
ASFS_30_fast | NR | daily files of >100MB
ASFS_30_Iridium_sumfile | NR | accumulating file with time stamp [include time stamp]

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | not all data came in, but otherwise looks like a stable EFOY power profile with good 24 V. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | mostly cloudy with a clear sky period in the middle of the day. Fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | follows SWD and Tsurf, fan good | "
SWD | fan and heat good. Fan continues to go through relatively large swings in Tach; these appear to be temperature dependent. Tach is higher when it is colder outside and visa versa. See some of this behavior out of the SWU, but the shifts in Tach are quite small. For some reason the SWD has more of a change in response to T. | "
SWU | fan and heat good | "
IRT | 5C difference between Tsurf and T_2m during clear sky period. | "
SR50 | NR | "
PTU | Rapid cooling of 10C in the mid-afternoon as the skies cleared, followed by some rapid RH changes at about 18:00 could be exhaust related. | "
Sonic | reasonable | "
Licor | NA | "
Flux Plates | following each other an responsive to temperature changes | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=120, Ptemp=-6 to 3C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments |  | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR | good. Still do not like how the MD mode is about 5 dB lower than the GE mode.
MWACR
Ka-SACR
X-SACR
HSRL
MPL | good
Ceilometer | good
MWR2C | good. Still with some spikes in the retrievals.
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Operated ARM ice instruments on generators starting at about 03:45 UTC.
Data Requests |  | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | operating on generator. Was charged to 87% by the visit at 03:30UTC, with only our tower load on it overnight (220W). At about 04:30 UTC we added the Doppler lidar and sodar, as well as Chris Polashenski's laser scanner to the power load.
Power balance on two PDUs? | Only one operational.
Back-up generator test (/month) | Backup Generator is functional.
Precip VISSS - Met City (Maahn)
not operational
Doppler Lidar - Met City (Brooks)
warm up cycle.
Doppler Lidar - Polarstern (Brooks)
Brooks onsite
Doppler Lidar - Polarstern (Heinemann)
Brooks onsite
Sodar - Met City (Brooks)
Not yet operational.
Radiation Suite - Met City (Pirazzini)
Appears to be operational on battery power, but was heavily rimed. Rime was cleaned at about 04:30 UTC.