## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191123 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | generally mild with weak winds. Thin low clouds. | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | Not many changes from previous days. Small changes in some of the leads, with thin ice forming over many of the cracks/leads. Some small accumulation of snow. The larger ice changes appear to have stabilized somewhat with the Met City being forward of the ship | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit 03:30-05:30 UTC. | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation | Met City is 0.2nm forward of Polarstern. Met City is at a 195 deg absolute heading from Polarstern. | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | Good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium. Cable to Met City continues to be down. | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | systems that are functional are good | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | no new cracks in met City | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | no snow management | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | down, power provided by generators; both had stopped overnight. Restarted ~0400 UTC. Bottom UPS battery won't accept charge; top battery works; tower powered ~0420 UTC | [up or down, comment on stability]
Network connectivity | down | [up or down, comment on stability]
Utility cables | good | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | NR | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | NR | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | NR | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | NR | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | NR | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | Not operational | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | NR | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NR | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning |  | Include the timing and any details related to cleaning
PTU_2m |  | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m |  | "
HMT_10m |  | "
WXT_30m |  | "
Sonic_2m |  | "
Sonic_6m |  | "
Sonic_10m |  | "
Sonic_30m |  | "
Licor | cleaned 0420 UTC, cleaned 1010 UTC | "
SR50 |  | "
IRT |  | "
Flux Plates |  | "
CLASP |  | "
SPCs (multiple) |  | "
Finnish/ARM radiometers | cleaned radiometers 0410-0440 UTC & 1010 UTC
Data Files
Clasp02m | Day 327 complete except missing 32700 through 32704 | hourly files with size 3,095kB
CR1000X | Data gap 326_2228-327_0419 | daily file with size ~22500kB,
Licor02m | Day 327 complete except missing 32700 through 32704 | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | Day 327 complete except missing 32700 through 32704 | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | Day 327 complete except missing 32700 through 32704 | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | Day 327 complete except missing 32700 through 32704 | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m | system off | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone | system off | ????
Picarro | system off | hourly files with size 3586kB
data collected

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | Not getting much data from the EFOY, but periodic snapshots show reasonable 24V performance. Ptemp variability is strange relative to the EFOY information. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | intermittent and variable cloud cover. Fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | consistent with T-surf. Fan good | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | many features similar to T-2m but colder by typically up to 1 C, but early there are periods that are up to 3.5C colder. | "
SR50 | a couple abrupt changes in the distance, but it is not clear why | "
PTU | reasonable. Temperatures are cooling off again. | "
Sonic | significant increase in the winds over the course of the day with increasing offset of the w from 0. | "
Licor | NA | "
Flux Plates | Looks like a change in the drifting between the two plates. During the first 10 hours they track eachother consistently with an offset of about 3.5 W/m2, but then transition to different temporal variability. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=3550-4000, Ptemp=-5.5 to 7C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met | good | daily files of ~1740kB
ASFS_40_fast | good | daily files of >100MB
ASFS_40_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | none | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | NR | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Down due to bear attack | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | NR | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | NR | "
SWD | NR | "
SWU | NR | "
IRT | NR | "
SR50 | NR | "
PTU | NR | "
Sonic | NR | "
Licor | NR | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | NR | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | system down | daily files of ~1120kB
ASFS_30_met | system down | daily files of ~1740kB
ASFS_30_fast | system down | daily files of >100MB
ASFS_30_Iridium_sumfile | system down | accumulating file with time stamp [include time stamp]

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | EFOY power profile is fairly consistent and good, although some data is lacking. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | small changes only. Heading is starting to move back towards 243deg from 238deg. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | some clouds but they appear to be thin. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | consistent with Tsurface. Fan good. | "
SWD | Fan and heat good | "
SWU | Fan and heat good | "
IRT | near surface inversion strengthens in periods when the sky clears. | "
SR50 | Strange spikes in the data, similar to | "
PTU | reasonable measurements | "
Sonic | mostly reasonable data showing increasing wind speeds. Some missing data at times | "
Licor | NA | "
Flux Plates | following each other with offset | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | Mainscan=120, Ptemp=-8 to 0 C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | Not operational. The systems have both quit over the course of the day, possibly related to the cold in the Met Hut. Not sure about the lower system, but the upper system was unplugged and went straight down (i.e., no battery) and there was a burned smell. Possibly something burned out? Not clear.
Power balance on two PDUs?
Back-up generator test (/month)
Precip VISSS - Met City (Maahn)
not operational
Doppler Lidar - Met City (Brooks)
attempted to get operational, but will not work without network
Doppler Lidar - Polarstern (Brooks)
Brooks onsite
Doppler Lidar - Polarstern (Heinemann)
Brooks onsite
Sodar - Met City (Brooks)
attempted to get operationa, but will not work without network
Radiation Suite - Met City (Pirazzini)
operational, but up and down. Looks like the batteries have been keeping the system running when the Met City generator is off. Rime ice cleared today.