## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191124 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | Windy with blowing snow | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | Some new smaller cracks but no major changes in the ice pack | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Local ship time changed again last night such that we are UTC+5. Visit to Met City today at 04:45-05:30 UTC and 11:00-12:30. | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation: | No major change from yesterday | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium; Network cable to Met City is down. | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | good for the operational systems | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | No new cracks in Met City but some on the way there. Still passable walking. Some additional snow with additional drifting, including over the operating generators. | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | Only drift management near the generator operations at Met City. | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | down. Operating Met City on generators. | [up or down, comment on stability]
Network connectivity | down | [up or down, comment on stability]
Utility cables | Good. | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | Good. | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | Good. | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | stabl | Stability of the base, including any potential ablation
Guy Anchors | stable | Any sign of anchor instability?
Guy Tightness | even | Even tightness? If not adjust.
Structural Integrity | good | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | good | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | Not operational | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | NR | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NR | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | Daily cleaning at about 05:20-05:22. Not much icing and little cleaning needed. Check at 12:00 and the system still looks good without needing cleaning. | Include the timing and any details related to cleaning
PTU_2m | mostly ice free | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | mostly ice free | "
HMT_10m | mostly ice free | "
WXT_30m | not operational | "
Sonic_2m | ice free | "
Sonic_6m | ice free | "
Sonic_10m | ice free | "
Sonic_30m | not operational | "
Licor | already clean and solid red light. Warm hand and kimwipe anyway | "
SR50 | mostly ice free | "
IRT | mostly ice free | "
Flux Plates | NR | "
CLASP | mostly ice free | "
SPCs (multiple) | mostly ice free | "
Data Files
Clasp02m |  | hourly files with size 3,095kB
CR1000X |  | daily file with size ~22500kB,
Licor02m |  | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone |  | ????
Picarro |  | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | sufficient and improving | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | only partial EFOY data reporting, but 24V looks good. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Intermittent cloudiness all day. A marked shift to clear skies at 11:00 UTC, but nothing all that notable that should impact the other measurements much more than any of the other major transitions between cloudy and clear throughout the day. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | consistent with Tsurf and LWD, fan good. | "
SWD | peaks just after 11:00 UTC, fan and heat good | "
SWU | peaks just after 11:00 UTC, fan and heat good | "
IRT | Tsurf generally colder than T_2m by 0.5 or more. During the event at 11:00 there was an initial peak where Tsurf>T_2m by 1.5C but then Tsurf became warmer than T_2m for a while. | "
SR50 | Abrupt change at 11:00-11:30 UTC, corresponds with some other rapid changes likely related to abrupt change in the winds. | "
PTU | abrupt decrease in RH and temperature, from about 11:00 until 14:30 UTC. | "
Sonic | Abrupt change of wind direction at 11:00 until 14:30 UTC | "
Licor | NA | "
Flux Plates | Not following each other early on but by about 11:00 the two plates start to follow eachother again to capture mesoscale variability, eventually being offset by about 5W/m2. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=3550-4000, Ptemp=-10 to 7C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met | good | daily files of ~1740kB
ASFS_40_fast | good | daily files of >100MB
ASFS_40_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | none | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | NR | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Down due to bear attack | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | NR | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | NR | "
SWD | NR | "
SWU | NR | "
IRT | NR | "
SR50 | NR | "
PTU | NR | "
Sonic | NR | "
Licor | NR | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | NR | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | system down | daily files of ~1120kB
ASFS_30_met | system down | daily files of ~1740kB
ASFS_30_fast | system down | daily files of >100MB
ASFS_30_Iridium_sumfile | system down | accumulating file with time stamp [include time stamp]

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | EFOY power profile continues to be robust. Good 24V. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | intermittent clouds and clear sky. Fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Not too much variability over the day. Fan good. | "
SWD | Some spikes in the middle of the day during the rapid transition, fan and heat good | "
SWU | some spikes in the middle of the day during the rapid transitions, fan and heat good | "
IRT | near surface temperature inversion gets stronger when clouds go away. | "
SR50 | some abrupt changes in distance | "
PTU | reasonable | "
Sonic | a lot of missing data in the iridium files, high winds in general, with a significant change in direction over the course of the day, with a period in the middle of the day with more extreme changes. | "
Licor | NA | "
Flux Plates | Large difference between the two plates persists, showing up to 25W/m2 difference or more. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=120, Ptemp=-4 to -1 C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | not operational
Power balance on two PDUs?
Back-up generator test (/month)
Precip VISSS - Met City (Maahn)
not operational
Doppler Lidar - Met City (Brooks)
not operational
Doppler Lidar - Polarstern (Brooks)
Brooks onsite
Doppler Lidar - Polarstern (Heinemann)
Brooks onsite
Sodar - Met City (Brooks)
not operational
Radiation Suite - Met City (Pirazzini)
operational, but rimed. Cleaned the PIR up and down instruments at 05:22 UTC. Check at 12:00 UTC and did not need additional cleaning.