## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191125 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | Cold and higher winds bringing much colder wind chill temperatures than in the past few days. | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | Generally stable, although some small cracks have changed a little. | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit 04:00-06:30 UTC. Second Met City visit: 09:00-12:00 | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation: |  | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | goo | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium. Fiber cable to met city is still down. | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | operational systems are good | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | good | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | Snow near flux plate A (S of tower) has been scoured . Much of cable visible, but not plate. Snow under SR50. Took photos of both sites plus area. No new cracks noticed. | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | steps to bear guard lookout cut out better | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | generator not running at 04:00. Restarted large one at 0456, and later the small one at 0555 UTC. Connected sodar to small generator. Large generator running tower, Ian R, FMI, ARM & Ian B laptop.Both generators again not running at 09:00 UTC. Large generator appears to have an issue and was swapped out for another large generator. | [up or down, comment on stability]
Network connectivity | none | [up or down, comment on stability]
Utility cables | one utility pole carrying Stanton lines had snapped at base. Needs to be drilled and reset in ice, but currently left on snow. Tucked in end of guy wire so iy would not be hazard to someone walking | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | connected to lower power strip on UPS (UPS not running). Plugged in are: tower, Ian R, FMI, Ian B laptop, ARM | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box |  | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | OK | Stability of the base, including any potential ablation
Guy Anchors | OK | Any sign of anchor instability?
Guy Tightness | within spec. | Even tightness? If not adjust.
Structural Integrity | good. Climbed tower up to 6m with no obvious instabilities. | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | nothing obvious noted | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | OK | Assess stability and level of booms
Cabling | did not assess | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | N/A | Stability of the base, including any potential ablation
Guy Anchors | N/A | Any sign of anchor instability?
Guy Tightness | N/A | Even tightness? If not adjust.
Structural Integrity | N/A | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | N/A | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | N/A | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | assessment 0450 UTC | Include the timing and any details related to cleaning
PTU_2m | Visually OK | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | Visually OK, some had icing cleaned off. | "
HMT_10m | Visually OK | "
WXT_30m | not connected | "
Sonic_2m | Visually OK | "
Sonic_6m | Visually OK | "
Sonic_10m | Visually OK | "
Sonic_30m | not operational | "
Licor | looked clean on arrival; cleaned 0450 UTC | "
SR50 | some drifts under sensor, took photos | "
IRT | " | "
Flux Plates | FlxB under drift; FlxA scored with cable visible (not disc) | "
CLASP | Visually OK | "
SPCs (multiple) | Visually OK | "
Data Files
Clasp02m | daily file cr1000x_tower_11252019_0000.dat saved to tablet and put on daq data storage. Also pulled off first 5 hours of 11/25. Missing 32901 through 32903. | hourly files with size 3,095kB
CR1000X | daily file cr1000x_tower_11252019_0000.dat saved to tablet and put on daq data storage. Also pulled off first 5 hours of 11/25. Missing 32901 through 32903. | daily file with size ~22500kB,
Licor02m | up to msc01932905.stats and *.raw missing 32901 through 32903 | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | up to msc01932905.stats and *.raw missing 32901 through 32903 | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | up to msc01932905.stats and *.raw missing 32901 through 32903 | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | up to msc01932905.stats and *.raw missing 32901 through 32903 | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m | N/A | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone | N/A | ????
Picarro | N/A | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | data from EFOY is all stuck on the same values so we have little information on the power system. Only information is from the Ptemp, which got very cold over the day but then warmed back up and went through its short term cycles indicating that the EFOY was on. The Ptemp at this time got up to -1C at the warmest, suggesting that things are ok. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | mostly cloudy early, transitioning to mostly clear. Fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | slight decrease over the day with response to surface T changes. Fan good | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | Tsurf colder than T_2m by up to 2.5 for much of the day. | "
SR50 | NR | "
PTU | reasonable. Brief jump in RH around 19:00 with a cooresponding jump in Tsurf due to brief clouds. | "
Sonic | good with a slow change in wind direction. | "
Licor | NA | "
Flux Plates | both plates are tracking closely | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=3500-4000. Ptemp= -16 to -1 C. | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met |  | daily files of ~1740kB
ASFS_40_fast |  | daily files of >100MB
ASFS_40_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | none | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | NR | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Down due to bear attack | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | NR | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | NR | "
SWD | NR | "
SWU | NR | "
IRT | NR | "
SR50 | NR | "
PTU | NR | "
Sonic | NR | "
Licor | NR | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | NR | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | system down | daily files of ~1120kB
ASFS_30_met | system down | daily files of ~1740kB
ASFS_30_fast | system down | daily files of >100MB
ASFS_30_Iridium_sumfile | system down | accumulating file with time stamp [include time stamp]

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | EFOY power profile looks pretty consistent with good 24 V, although some missing data | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | cloudy early, but then moving to clear skies later. Fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | diminishing with cooling Tsurf. Fan good | "
SWD | fan and heat good. Fan tach moving towards consistently in its high state as the outside temperatures get cold. | "
SWU | fan and heat good | "
IRT | Tsurf colder than T-2m for much of the day when it was clear skies | "
SR50 | NR | "
PTU | reasonable. Shows cooling. | "
Sonic | winds turning and diminishing | "
Licor | NA | "
Flux Plates | moving towards large values, especially on plate A, as the temperatures get colder. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=120, Ptemp=-3 to 0C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | Not operational
Power balance on two PDUs?
Back-up generator test (/month)
Precip VISSS - Met City (Maahn)
Not operational
Doppler Lidar - Met City (Brooks)
Not operatoinal
Doppler Lidar - Polarstern (Brooks)
Brooks onsite
Doppler Lidar - Polarstern (Heinemann)
Brooks onsite
Sodar - Met City (Brooks)
Intermittently operational on generator power. Brooks onsite
Radiation Suite - Met City (Pirazzini)
Appears to be operational but radiometers continue to rime.