## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191129 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | Cold and windy, possible polar low type system developing nearby | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | generally unchanged. Ice is cold and compressed | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit today at 4:30-6:30 UTC and 11:00-12:30 UTC | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation: |  | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium. Cable to Met City is still down. They did install a wireless LAN at Met City today, which provides access to the ship's network but not to our VLAN | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | good on the operational systems | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | No new apparent cracks in Met City . Drifting from VISSS over the walkway that is between the met hut door and tower. | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | The steps to the bear guard hump were cleaned and some steps were cut into the drift to the FMI station. The back long side of the hut was also cleaned. | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | Met Line 1 still energized. Met Line 2 was connected during the day. Met City now has stable power | [up or down, comment on stability]
Network connectivity | A new wireless modem was installed connecting the hut to the ship. | [up or down, comment on stability]
Utility cables | good | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | NR | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | NR | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | The tower base opposite the tower box is visible. | Stability of the base, including any potential ablation
Guy Anchors | stable | Any sign of anchor instability?
Guy Tightness | even | Even tightness? If not adjust.
Structural Integrity | good | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | NR | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | Not installed | Stability of the base, including any potential ablation
Guy Anchors | NA | Any sign of anchor instability?
Guy Tightness | NA | Even tightness? If not adjust.
Structural Integrity | NA | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NA | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NA | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | 04:30-05:30, not much icing | Include the timing and any details related to cleaning
PTU_2m | not much icing | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | not much icing | "
HMT_10m | not much icing | "
WXT_30m | operational at th 2m height | "
Sonic_2m | clean | "
Sonic_6m | clean | "
Sonic_10m | clean | "
Sonic_30m | clean | "
Licor | two soild red LEDs, not cleaned; 1052 UTC light steady, but cleaed with KimWipes | "
SR50 | not much icing; small, hard dune partially under SR50 | "
IRT | not much icing | "
Flux Plates | no exposed cables; small hard dune covering plate; Snow scoured from Flux A. | "
CLASP | not much icing | "
SPCs (multiple) | not much icing | "
INPS Imager & spar | 1134 UTC fast_spar started. F3 no longer flatlined
Picarro | turned on at 555 UTC
Data Files
Clasp02m | slightly less then 600, new files copied to tablet | hourly files with size 3,095kB
CR1000X | new files copied to tablet | daily file with size ~22500kB,
Licor02m | new files copied to tablet | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | sample size ~1057 displayed on NOAA Data Acquisition, new files copied to tablet | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | sample size ~1057 displayed on NOAA Data Acquisition, new files copied to tablet | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | sample size ~1057 displayed on NOAA Data Acquisition, new files copied to tablet | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m | new files copied to tablet | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone | not running | ????
Picarro | new files copied to tablet | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | No EFOY data coming in. Ptemp suggests that the EFOY is operational as normal. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change in inclination, although the system continues to turn slowly in heading. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | intermittent clouds all day. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | looks good. Fan good. | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | typical near surface inversion strengthening and weakening based on the cloudiness | "
SR50 | NR | "
PTU | same peak in RH as seen at L1 in the late day | "
Sonic | winds weaken slightly over the day. | "
Licor | NA | "
Flux Plates | similar measurements for both plates with A being somewhat damped relative to B. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=3700-4000, Ptemp=-12 to 3C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met | good | daily files of ~1740kB
ASFS_40_fast | good | daily files of >100MB
ASFS_40_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | none | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | NR | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Down due to bear attack | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | NR | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | NR | "
SWD | NR | "
SWU | NR | "
IRT | NR | "
SR50 | NR | "
PTU | NR | "
Sonic | NR | "
Licor | NR | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | NR | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | system down | daily files of ~1120kB
ASFS_30_met | system down | daily files of ~1740kB
ASFS_30_fast | system down | daily files of >100MB
ASFS_30_Iridium_sumfile | system down | accumulating file with time stamp [include time stamp]

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | very little data coming in on the EFOY. Can diagnose good operations based on the Ptemp, but it would be nice to see some actual EFOY data! | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | intermittent clouds all day. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | small adjustments depending on the clouds with a significant increase during the low-level warming. Fan good. | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | Strong correspondance between surface inversion and cloud presence as usual. | "
SR50 | NR | "
PTU | significant peak in RH later in the day, corresponds with a rapid low-level warming of about 4-5 C. | "
Sonic | variable winds. Some data not coming in on iridium channel during the highest winds. Under highest winds there is the largest non-zero values in the z component. | "
Licor | NA | "
Flux Plates | plate B still with damped signal relative to plate A | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=120, Ptemp=-15 to -3C. Very rapid drop to cold temperatures when the EFOY is off. Short periods when EFOy is off could simply be due to temperature. | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | Bypassing UPS
Power balance on two PDUs?
Back-up generator test (/month) | one generator is good. Second in repair
Precip VISSS - Met City (Maahn)
Turned on and operational after the computers warmed up inside the Met Hut. Camera box windows and backlights are covered in ice. Removed the big stuff but will let the system heat off some of it and re-assess tomorrow.
Doppler Lidar - Met City (Brooks)
starting to turn on with restored power
Doppler Lidar - Polarstern (Brooks)
Brooks onsite
Doppler Lidar - Polarstern (Heinemann)
Brooks onsite
Sodar - Met City (Brooks)
starting to turn on with restored power
Radiation Suite - Met City (Pirazzini)
long wave cleaned 530 UTC & again at 1152. Domes looked clean before latter cleaning.