## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191130 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | cold and mostly clear, modest winds | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | one new crack opened through the middle of the recent shear zone, making travel between Polarstern and Met City challenging | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City site visit: 04:15-05:00 UTC, and ****. L2 site visit (plus other heli ops) 08:30-13:30 UTC | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation: |  | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium. Cable to Met City is down. | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | good for the operating systems | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | Called back from Met City early due to crack ~0500 UTC | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management |  | Anything required for physical maintenance of local area
Utility Status
Power line connectivity |  | [up or down, comment on stability]
Network connectivity |  | [up or down, comment on stability]
Utility cables |  | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box |  | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box |  | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base |  | Stability of the base, including any potential ablation
Guy Anchors |  | Any sign of anchor instability?
Guy Tightness |  | Even tightness? If not adjust.
Structural Integrity |  | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness |  | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability |  | Assess stability and level of booms
Cabling |  | Secure with no rubbing.
Structural Assessment - 30m
Tower Base |  | Stability of the base, including any potential ablation
Guy Anchors |  | Any sign of anchor instability?
Guy Tightness |  | Even tightness? If not adjust.
Structural Integrity |  | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness |  | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling |  | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning |  | Include the timing and any details related to cleaning
PTU_2m |  | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m |  | "
HMT_10m |  | "
WXT_30m |  | "
Sonic_2m |  | "
Sonic_6m |  | "
Sonic_10m |  | "
Sonic_30m |  | "
Licor | cleaned licor ~0450 UTC | "
SR50 |  | "
IRT |  | "
Flux Plates |  | "
CLASP |  | "
SPCs (multiple) |  | "
Data Files
Clasp02m |  | hourly files with size 3,095kB
CR1000X |  | daily file with size ~22500kB,
Licor02m |  | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone |  | ????
Picarro |  | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | not much data reporting but get some good 24V data. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | mostly clear sky with transition towards cloudiness at the very end of the day. Fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | very stable for most of the day. Fan good. | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | Tsurf colder than T2m by about 2.5C for most of the day | "
SR50 | NR | "
PTU | cold with a transition towards the second half of the day towards higher RH. | "
Sonic | modest winds with some change in direction | "
Licor | NA | "
Flux Plates | continue to track each other with small offset. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan<4000, Ptemp=-10 to 3C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met | good | daily files of ~1740kB
ASFS_40_fast | good | daily files of >100MB
ASFS_40_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | newly repaired exhaust system installed. Some question about how good it will be. Currently no buildup. | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | One full cartridge. One cartridge has a week of usage on it. | Current remaining fuel available
Comments | 12V has come in at about 12.0 V, which is a bit lower than it was before the site failure. The EFOY initially was not reporting at all, but started reporting data at 15:35 UTC and the 24V looks good | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | In good shape. Straightened the Met mount that had been moved by the bear. | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | Pretty substantial change in the heading of the system since it was last operational. Now at 160 degrees and it used to be 178 degrees. The tilt of the system has also changed, in the X direction going from 0.5 to -0.6 degrees, and in the Y direction going from -2 to -1.6 degrees. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | hard pack snow | Any useful information on local surface conditions from camera
Sky-Weather | mostly clear sky with some stars. | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Cleared the system of snow and rime buildup, including taking off the top of the ventilator and clearing it out. Radiometer plate was leveled. Data after the restart look reasonable for a clear sky day. Fan good, but we see that the fantach has increased from around 2500 before the bear attack to about 2700 rpm after and then decended towards 2630 by the end ofthe day. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Cleared snow off the system at site visit. Dave noticed that the H3 data logger position was a little loose and tightened it during the maintenance; this is one of the LWU resistors. Data after the restart look reasonable for a clear sky day. Fan good. Fantach was a bit high early in the day and then decreased a bit. | "
SWD | Cable replaced during site visit. Dome had some remnant icing, although most of it was cleared off. Radiometer plate was leveled. After restart the data is reasonable. Fan and heat good. | "
SWU | SWU pyranometer (SN3184) replaced due to faulty fan with SR30 SN 3181. Fan and heat are good. SN3184 was tested when it came back and the fanTach 146.75 Hz. The average of the other fans in the field is 161 with Hz upper 171, lower 138. | "
IRT | New cable was installed, but the data are still not coming in. It is possible that the connection was not made well enough and/or it has too much snow in it. | "
SR50 | no icing on the sensor during the site visit. Data is reporting reasonably after the visit. | "
PTU | Met mount was bent down by the bear; this was leveled by eye. Initial measurements from the system were good, showing realistic values but then the system failed after about 12 minutes. Then data started again for no apparent reason at 15:26 UTC with what appears to be good data. | "
Sonic | New sensor installed to replace damaged system. SN 0111067255. New system generally clear of rime. Data looks reasonable after instrument swap and restart. | "
Licor | NA | "
Flux Plates | behavior after the fix is similar to before the fix. | "
Camera_Rad | was covered with very heavy ice; this was removed by chipping it away. | Any pictures available?
Camera_EFOY | was covered with light icing; this was removed | Any pictures available?
Data Logger | Mainscan=~4000-4200, Ptemp rapidly increased from -27 up to -1 C (or higher). | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow |  | daily files of ~1120kB
ASFS_30_met |  | daily files of ~1740kB
ASFS_30_fast |  | daily files of >100MB
ASFS_30_Iridium_sumfile |  | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit
| Visited the site to start it back up again after being down for 18 days as a result of polar bear damage. The visit included installing the full power system including a re-built exhaust system, replacing the cables for SWD, IRT, and radio antenna; replacing the SWU system because of its dead fan; straigtening the met mount; basic maintenance including leveling radiometer plate. Found the power connector loose on the Iridium modem and 3H on the logger. They were both secured. We had been forceing the calls on all the sites and the Iridium is connecting no problem now. | Note: There is still damage to the interface panel connector for the SWD cable. The cable plugs in but does not lock into position very well. Also, the Met measurements failed shortly after being started up but then came back a couple hours later. The IRT is not reporting any data. This could also simply be in the cable connection, which was hard to put together and might not be tight enough - further assessment is needed.

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | no data coming in, but Ptemp trace suggests good EFOy operations. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | not much change, although the heading has been slowing changing over time and now is to 233 deg. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Mostly clear until the end of the day. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Very steady all day until the end. Fan good | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | near surface inversion (surface to 2m) of 1.6C for most of the day. | "
SR50 | NR | "
PTU | fairly steady and cold conditions | "
Sonic | steady shift in the wind direction over the course of the day. | "
Licor | NA | "
Flux Plates | steady fluxes all day. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=120, Ptemp=-12 to -2C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status
Power balance on two PDUs?
Back-up generator test (/month)
Precip VISSS - Met City (Maahn)
Doppler Lidar - Met City (Brooks)
Doppler Lidar - Polarstern (Brooks)
Doppler Lidar - Polarstern (Heinemann)
Sodar - Met City (Brooks)
Radiation Suite - Met City (Pirazzini)