## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191204 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | very high winds with snowfall, blowing and drifting snow | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | mostly stable with small adjustments to some of the local ridges. Accumulation of snow on the surface with many large drifts, particularly around some of the ridges. A good sized ridge has formed in the past couple of days at Met City, approaching to within about 3m of the ARM radiation swingset and to within 9 m of the 11m met tower. | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit today at 05:00-07:30 UTC. This included a climb of the met tower to finish the uninstall of the 6m met mount and then to swap the met sensor package and reinstall at the 2m height. | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation: |  | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium. Met City network cable is down. Wireless LAN to Met City allows for communication but not on our subnet. | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | good for the operational systems. | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | good. Clear of icing. | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | good. Clear of icing. | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | Large ridge forming over the past couple of days to the south of the tower, reaching to within about 9m. Currently it does not impact any part of the tower or the guy lines. Snow drifts are increasing around Met City and these are all around the tower base and impacting other instruments. | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | None | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | up. The main power lines to Met City are caught in a very large ridge. Still powered but will need to be broken out since there are no additional connectors available here. | [up or down, comment on stability]
Network connectivity | No network fiber connectivity to Met City. Wireless LAN services some equipment but not ours. | [up or down, comment on stability]
Utility cables | local instrument cables are in good shape, those on the surface were pulled up from the snow. | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | good. Made some internal changes by swapping out the 6m met for a spare. | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | NR | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | Solid | Stability of the base, including any potential ablation
Guy Anchors | solid | Any sign of anchor instability?
Guy Tightness | even | Even tightness? If not adjust.
Structural Integrity | good. Even with a climb by a ~200lb person in high winds the tower remained very stable. | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | good. | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | Not installed | Stability of the base, including any potential ablation
Guy Anchors | NA | Any sign of anchor instability?
Guy Tightness | NA | Even tightness? If not adjust.
Structural Integrity | NA | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NA | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NA | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | Climbed the tower today. Most instruments were in good shape and no instruments required cleaning. | Include the timing and any details related to cleaning
PTU_2m | Clear of icing. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | Clear of icing. Pulled down from the tower at about 06:00 UTC, Replaced by met sensor (P2150917, which was the original 6m sensor), and then reinstalled at the 2m height at 0700 UTC for cross comparisons with the other sensors there. PTU307 sensor (R0830217) was put back into spares. New 6m T sensor at 140 cm & new RH at 135 cm. | "
HMT_10m | Clear of icing. | "
WXT_30m | Clear of icing. And operational at 2m height next to 2m T sensor. | "
Sonic_2m | Clear of icing. | "
Sonic_6m | Clear of icing. | "
Sonic_10m | Clear of icing. | "
Sonic_30m | Clear of icing and operational at about 3m height. | "
Licor | Clear of icing. Solid red lights. | "
SR50 | Clear of icing. | "
IRT | Clear of icing. | "
Flux Plates | NR | "
CLASP | Clear of icing. | "
SPCs (multiple) | Clear of icing. | "
iNPS Imager & spar | modified l. 89 in iceimage_2, running but no points in LL panel
Data Files
Clasp02m |  | hourly files with size 3,095kB
CR1000X |  | daily file with size ~22500kB,
Licor02m |  | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone |  | ????
Picarro |  | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | some eFOY data coming in showing a pretty reasonable cycle with good 24V. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | cloudy for most of the day, with some clearing late. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Little variability over the day. Fan good | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | Tsurf slightly colder than T2m for most of day, with increasing inversion strength at the end of the day. | "
SR50 | NR | "
PTU | reasonable measurements | "
Sonic | high winds with some data loss | "
Licor | NA | "
Flux Plates | Small fluxes with some changes between the systems starting later in the day, suggesting differential drifting of snow between the sites. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan~4000, Ptemp=-4 to 9 C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met | good | daily files of ~1740kB
ASFS_40_fast | good | daily files of >100MB
ASFS_40_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | EFOY turned off for 1.5 hours today; the first really time off since this system was re-installed a week ago. Charging amperage is still at 3 Amps only, battery voltage continues to slowly climb, with the top end now up to 25.65 VDC. The decline of voltage when the system was off is starting to look better. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | No significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | mostly cloudy with some clearing late in the day. Fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | very slowly varying, not much change today. Fan good. | "
SWD | fan and heat good | "
SWU | fan and heat good. Fan appears to be settling down a bit to a fantach around 152 after erratic behavior earlier in the day. | "
IRT | no operational | "
SR50 | No flakey variability as was seen at L3 today | "
PTU | all good. No RH variability as seen at L3. | "
Sonic | high but consistent winds. A few missing data points | "
Licor | NA | "
Flux Plates | small values with the warm temperatures | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan ~ 3000, Ptemp=2-12C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | good | daily files of ~1120kB
ASFS_30_met | good | daily files of ~1740kB
ASFS_30_fast | good | daily files of >100MB
ASFS_30_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | More EFOY data coming in that in the past many days. Shows a reasonable profile with the EFOY being off for 4-5 hours and on for about 22-23 hours. 24 V is good. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | cloudy most of the day. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | stable LWU all day. Fan good. | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | Tsurf is very similar to T2m, likely due to the high winds and low level mixing. | "
SR50 | Measurements are highly variable over the course of the day, unrealistic looking, but this could possibly be related to blowing snow and the winds? Must keep an eye on this. | "
PTU | RH sensor is highly variable and showing values that are not real since about 04:00 UTC on 12/3/19. Clearly a problem with the sensor. No similar problems observed in the P or T measurements. | "
Sonic | not much sonic data reporting due to the high winds. | "
Licor | NA | "
Flux Plates | relatively low surface fluxes due to the warm temperatures. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=120, Ptemp=-4 to 2C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status
Power balance on two PDUs?
Back-up generator test (/month)
Precip VISSS - Met City (Maahn)
Doppler Lidar - Met City (Brooks)
Doppler Lidar - Polarstern (Brooks)
Doppler Lidar - Polarstern (Heinemann)
Sodar - Met City (Brooks)
Radiation Suite - Met City (Pirazzini)