## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191205 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | windy, snow in the air, lots of blowing snow and drifting | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | generally stable with no new features between the ship and Met City. | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit at 05:30-07:30 UTC. | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation: | generally unchanged | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium. Met City cable is not connected. Met City wireless LAN functions for the ship's network. | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | good for the operational systems | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | clear of ice | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | Ice is unchanged from yesterday. Snow has continued to drift in places, with a large drift forming to the S of the tower and additional drift lines cutting across the FMI radiation station and elsewhere around met City. | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | Some snow management around the Met Hut and the base of the tower. Management of the power cables going out to Met City. Removed the snow around the generator box. | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | Power is good. Cables are stuck in a ridge but still functional. | [up or down, comment on stability]
Network connectivity | wireless LAN only for ship's network but not for our data. | [up or down, comment on stability]
Utility cables | good in general. Some drifting but the cables have all been pulled to the top. | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | good. | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | generally good. Drifting is covering the cables somewhat. | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | solid | Stability of the base, including any potential ablation
Guy Anchors | solid | Any sign of anchor instability?
Guy Tightness | even | Even tightness? If not adjust.
Structural Integrity | good | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | not assessed | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | level not assessed. Everything looks stable in the high winds. | Assess stability and level of booms
Cabling | all secure. | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | Only the base tripod is installed right now and it is good. | Stability of the base, including any potential ablation
Guy Anchors | NA | Any sign of anchor instability?
Guy Tightness | NA | Even tightness? If not adjust.
Structural Integrity | NA | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NA | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NA | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | daily assessment at 07:00 UTC. Generally things look stable and clean from the warm, high winds. | Include the timing and any details related to cleaning
PTU_2m | clear of ice; 2m P sensor is 22 cm below 2 m bar, or at 107 cm above tower metal base | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | clear of ice, installed at the 2m height. T measurements look good relative to others. RH measurements are about 2-3% higher than the others at that height. This is closer than yesterday, so perhaps there is still some adjustment happening. The sensor itself was adjusted in is mounting to better match the mounting of the other RH sensor at the 2m height. Height measurments made: 138 cm metal tower base to "6m" bar, with +14 cm for T & -15 cm for RH. 6m bar mounted 9 cm aove 2 m bar; it is 129 cm to 2 m bar. Wood at base is 32 cm high. | "
HMT_10m | clear of ice | "
WXT_30m | clear of ice, installed on 2 m bar 11 cm above bar. That is, it is at 140 cm above metal tower base. T measurements are about 0.2C warmer than the other sensors at that height. | "
Sonic_2m | clear of ice | "
Sonic_6m | clear of ice | "
Sonic_10m | clear of ice | "
Sonic_30m | clear of ice | "
Licor | clear of ice | "
SR50 | clear of ice | "
IRT | clear of ice | "
Flux Plates | NR | "
CLASP | clear of ice | "
SPCs (multiple) | clear of ice. Install new GPS antenna borrowed from Mishi Lehning at about 06:00 UTC. This made the green light on the data logger start blinking green as it should. After some time, confirmed that data is in fact being written on both cards. Downloaded all the data. The data write light is now behaving similarly on both systems. | "
NPS Imager & spar | fast spar Matlab program ahd shut down. Restarted.
Data Files
Clasp02m |  | hourly files with size 3,095kB
CR1000X |  | daily file with size ~22500kB,
Licor02m |  | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone |  | ????
Picarro |  | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good, except for some periodic bad periods | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | Getting some data reporting in the last days. Shows a profile where the top charge is getting up to the 28.4V and then the current declines until the cut off current. EFOY is then off for more than 5 hours. Looks good. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | No significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | mostly cloudy during the day with partial thinning. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | slow variability and slow decrease as temperatures cool. Fan good. | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | Tsurf follows T2m for most of the day, but then moves to a near surface inversion of about 0.5C for the second half of the day. | "
SR50 | one spike in the data that appears to be bad, but otherwise good. | "
PTU | generally good data | "
Sonic | winds consistent, decreasing in speed and turning over the course of the day. | "
Licor | NA | "
Flux Plates | some strange signals, which appear to be impacted by drifting snow. Many of the general features are similar between the plates, but there is also some unique variability at each plate. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan~4000, Ptemp=-5 to 9C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met | good | daily files of ~1740kB
ASFS_40_fast | good | daily files of >100MB
ASFS_40_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good, with some periodic bad periods | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | The 24-hour shutoff turned the system off at 12:00 and it was off for 2 hours until hitting the turn on voltage. The battery drain is looking pretty good. The voltage then hopped back up pretty quickly and continues to gain voltage on the top end, now up to about 25.9 V by the end of the day. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Variable cloudiness during the day with clearing towards the later part of the day. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | slowly varying, with a decrease late in the day as Tsurf decreases. Fan good | "
SWD | fan and heat good | "
SWU | fan and heat good. Fan issues appear to be settling down somewhat and the fantach is climbing towards that for the SWD system. | "
IRT | not operational | "
SR50 | A couple of spikes in the data, suggest adverse impact of blowing snow possibly. | "
PTU | all looks good. T decreasing rapidly at the end of the day. | "
Sonic | mostly good data with decreasing and turning winds during the day. | "
Licor | NA | "
Flux Plates | Plate A has clearly been impacted by additional drifting snow as it has a very damped signal now, although not too different from Plate B in absolute magnitude. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan~3000, Ptemp=2-13C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | good | daily files of ~1120kB
ASFS_30_met | good | daily files of ~1740kB
ASFS_30_fast | good | daily files of >100MB
ASFS_30_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good, but did miss on one transmission | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | Getting a lot of EFOY data now. Shows a consistent pattern to recently for this site. 24 hours of on, then the 24-hr limit turns the system off. It is off for something like 4 hours, and then the system turns back on. This is similar to the L2 site. The top end voltage is never reached and the system instead maxes out at about 26.5V. Will be interesting to see if the voltage gets higher when the licor is turned off. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | mostly cloudy during the day, with some thinning in the clouds at times. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | slowly varying as the atmos scene was very consistente over the day. Fan good. | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | Tsurf is very close to T2m for the whole day, colder typically by 0.1-0.2 C. | "
SR50 | erratic behavior from yesterday continued today, but then has started to setting down towards the end of today (and into tomorrow). Will need to inspect instrument during site visit | "
PTU | Strange RH data from previous day continued into today, but just at the end of the day it appeared to settle back down to a value that is within a couple % of the other stations, although still higher. The T is also a bit different, so there could be legitimate meteorological differences. Tentatively thinking this sensor is actually ok but we need to check the sensor on tomorrow's visit. | "
Sonic | substantial missing data in the iridium files. Available data show decreasing winds and improved data later in the day. | "
Licor | NA | "
Flux Plates | fluxes at this site more than at other sites, and especially plate A. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=120, Ptemp=-5 to 1C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good except missed on 6hr packet. | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | not operational
Power balance on two PDUs?
Back-up generator test (/month)
Precip VISSS - Met City (Maahn)
generally in good shape and free of icing.
Master: collecting files. 133+/-10
Slave: collecting files. 131+/-9. For about 4 seconds out of a minute of samples there are many "frames missed" errors.
Doppler Lidar - Met City (Brooks)
operational. Brooks onsite
Doppler Lidar - Polarstern (Brooks)
operational. Brooks onsite
Doppler Lidar - Polarstern (Heinemann)
operational. Brooks onsite
Sodar - Met City (Brooks)
Not operational. Brooks is evaluating
Radiation Suite - Met City (Pirazzini)
Operational and the IR sensors were free of rime. Calibrated and installed the compass on the system. Also modified the wiring on the fans, but changing them from serial to parallel 12V. This should make the fans spin faster and hopefully ventilate the radiometers better.