## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191206 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | winds have delined substantial, with mostly clear skies and only periodic high clouds. Cooling off but still relatively warm | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | no major changes. Drifting has stopped now that the winds are down. | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit today at 5:30-7:15 UTC. L2 site visit (onsite 11:00-11:35 UTC). L3 site visit (onsite UTC) | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation: |  | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | Good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium. Fiber cable to met city still down. | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | good for operational systems, but there have been a few brief interruptions of the radio comms. This has happened on both functional ASFS systems, suggesting a potential issue on the ship end. | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | good | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | Mostly the same, some further development of drifts from yesterday. A couple of drifts extend across the area around the met tower, around the Met Hut, and across a few other systems in Met City. | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | Some snow removal around the Met hut and power hub. | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | up and stable | [up or down, comment on stability]
Network connectivity | cable fiber still down. Wireless LAN up. | [up or down, comment on stability]
Utility cables | good. Examined the full set and they all are in good shape. | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | NR | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | NR | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | Good | Stability of the base, including any potential ablation
Guy Anchors | good | Any sign of anchor instability?
Guy Tightness | good | Even tightness? If not adjust.
Structural Integrity | good | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | good | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | Only the triangular base is installed and this was moved to a new location where the mast will eventually be re-installed. | Stability of the base, including any potential ablation
Guy Anchors | NA | Any sign of anchor instability?
Guy Tightness | NA | Even tightness? If not adjust.
Structural Integrity | NA | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NA | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NA | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | Visit to met City at 05:30-07:15 UTC. No need for cleaning on the tower in general as everything was very clean. | Include the timing and any details related to cleaning
PTU_2m | already clean | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | already clean. Still installed next to the 2m PTU. RH still ~2% too high. | "
HMT_10m | already clean | "
WXT_30m | already clean. Still installed next to the 2m PTU. | "
Sonic_2m | already clean | "
Sonic_6m | already clean | "
Sonic_10m | already clean | "
Sonic_30m | already clean, moved from the tripod base down to a pole again, still near he 12m tower. | "
Licor | 0535 UTC cleaned licor. already clean, two solid red lights | "
SR50 | already clean | "
IRT | already clean | "
Flux Plates | NR | "
CLASP | already clean | "
SPCs (multiple) | already clean | "
Data Files
Clasp02m |  | hourly files with size 3,095kB
CR1000X |  | daily file with size ~22500kB,
Licor02m |  | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | fast counts at 1200 (600 for Picarro) | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone |  | ????
Picarro |  | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | almost no EFOY data coming in. Ptemp profile suggests reasonable EFOY operation with an off period of about 5 hours in the middle of the day. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | mostly clear early, with some increased cloudiness later. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | only small changes during the day. Fan good. | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | Tsurf < T2m by up to 2 C under mostly clear conditions. | "
SR50 | seems to have changed into a more discretized mode | "
PTU | RH seems pretty variable from point to point at times. Otherwise good measurements | "
Sonic | variable wind directions but decreasing winds oerall. Very low at the end of the day. | "
Licor | NA | "
Flux Plates | plates tracking eachother, offset by about 5 W/m2 | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan<4000, Ptemp=-3 to 4C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow |  | daily files of ~1120kB
ASFS_40_met |  | daily files of ~1740kB
ASFS_40_fast |  | daily files of >100MB
ASFS_40_Iridium_sumfile |  | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | On site visit saw no ice buildup on the exhaust. | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | one full cartridge plus more than 2/3 of a second. | Current remaining fuel available
Comments | Consistent operation of the EFOY it is current mod with nearly 3 Amps of charge power. The 24-hour limit kicked in and the system turned off for about 1.5 hours. Top level voltage has climbed to 26.2 V now. The battery continues to gain ground on the charge. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | Solid, no concerns about anything to do with the structure. | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | there is snow buildup to the radiometer boom end of the sled, such that the ski tips on that end are half buried or more. On the other end the skis are only buried a little. See photos of the trip. This slope might impact the sonic measurements (see sonic comments below). | Any useful information on local surface conditions from camera
Sky-Weather | calm and clear. Stars in the sky | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Generally variable day with clear/thin skies but variable thickness. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | See some small impacts from the site visit at 11:00-11:30 UTC. Fan good. | "
SWD | Lots of variability in the measurements late in the day, all still below the noise level. Fan and heat good. | "
SWU | Lots of variability in the measurements late in the day, all still below the noise level. Fan and heat good in general. Saw a rapid drop in the fantach when we were onsite, although we did not touch the radiometers. Thus, this suggests that the fan tach somehow is impacted by the data logger, perhaps a poor connection. The SWD fan tach did not respond like this. | "
IRT | System already clear of ice upon arrival. System was not operational until 11:15 UTC. The install from last week was good, but the fuse was just blown. A new fuse brought the system back. Initial data looks good with the target temperature (known to actually be the body temperature) matching T2m very closely, and the body temp (known to be surface temp) being about 3 C colder, which is expected under clear sky conditions like these. System looks healthy now. | "
SR50 | System already clear of ice upon arrival. See a small peak from the visit when measuring the snow depth under the sensor at about 11:15. Out of 11 manual measurements there was an average snow depth of 22.1 cm with a range of 20-23 cm. | "
PTU | System already clear of ice upon arrival. A couple of peaks in RH and T when we were on site around 11:15 UTC | "
Sonic | Sonic totally clear of ice. See a step offset in the W from the short visit at about 11:15 UTC. Also see spikes in the other components. In spite of both the X and Y inclinations being pretty off there is a pretty good alignment of the W with 0 m/s. This could be due to the general slope of the snow around the site where under the radiometer end of the sled the snow is built up more than the other end. Rubber taped the sonic box connectors. | "
Licor | NA | "
Flux Plates | did not identify the location of the sensors during the visit. Plate A continues to show damped variability relative to Plate B. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan ~ 3200, Ptemp=-4 to 7C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | Good. | daily files of ~1120kB
ASFS_30_met | Good. | daily files of ~1740kB
ASFS_30_fast | Good. | daily files of >100MB
ASFS_30_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit
Site visit (11-11:30 UTC) was mainly to address the IRT not functioning and this was found to be a broken fuse, which was changed. The visit also included rubber taping the sonic box connectors and measuring the snowdepth under the SR50. The rest of the system looked to be in great shape with no build up of icing on the exhaust or the instruments. The EFOY was operating at 3 Amps charging, and there did not appear to be any setting in the control panel to modify this.

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Good | [Good, Questionable, Unknown]
Assessment of Exhaust | Exhaust was very iced up with the ice beard growing from the end of the heat trace. The very end of the heat trace looked like it was pulled out a little bit farther than it should be. There was a tunnel where water would drain out and the system was still functioning just fine. See pictures. | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | Exchanged fuel cartridge so that there are now two full cartridges. | Current remaining fuel available
Comments | some EFOy data coming in. Voltage is generally good. Find that at the end of the day, after the licor was turned off, the system was able to charge up to 27V by the end of the day, which is higher than it has been for a number of days (data from the following day show further increases up to 28 V). Generally the system is operating fine, apart from the exhaust issue. It is unclear if the exhaust icing in any whay impacts the efficiency of the system. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | Solid and no concerns. | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | Generally even build up of snow around the flux station with no influential drifts. | Any useful information on local surface conditions from camera
Sky-Weather | Clear and calm. | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | mostly clear sky most of the day. Radiometers leveled at about 13:20 UTC. Radiometers were cleanat the time of the visit with no visible icing and no snow in the ventilator. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | See above. Fan good. | "
SWD | See above. Fan and heat good. | "
SWU | See above. Fan and heat good. | "
IRT | No icing observed during the visit. Otherwise good operations. | "
SR50 | Evaluated the sensor for potential issues and did not see anything obvious; sensor was clean. Measured snow depth under the sensor at justs after 12:00 UTC; there is a spike in the measurements at that time. Out of 11 measurements, Average 12.8cm with range of 11-14cm. | "
PTU | Uninstalled PTU (R0830216) due to a potentially faulty RH sensor around 13:00 UTC; at this time the instruments were all free of icing. We found the cap on the surface below and the sensor exposed to the elements. Installed PTU (R0830217). The RH measurements look better after the switch. No sign of any issues in the other data streams except for a very small spike in the T measurement. This is the config of the new PTU: PTU300 / 5.16 Serial number : R0830217 Batch number : R0220373 Adjust. date : 2019-02-20 Adjust. info : Vaisala/HEL Date : 2000-01-01 Time : 00:01:57 Serial mode : MODBUS Baud P D S : 19200 E 8 1 Output interval: 0 s Address : 3 Echo : OFF Pressure : 1013.25 hPa Filter : OFF Module 1 : RS485-1 Module 2 : BARO-1 > | "
Sonic | was clear of icing during the visit. Everything looked stable. The data looks fine. Winds slowing down over the course of the day. | "
Licor | Turned of the power to the licor and smartflux, although data logging had been turned off on the last site visit. | "
Flux Plates | Was not able to see the location of the plates; tried to stay away from the area where they might be, although this is not guaranteed. Pretty high values on flux plate B during the coldest time of the day. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=120, Ptemp=-11 to 0 C. Logger / interface box had some snow inside, specifically on the power distribution components. This was cleared out and the hole was packed more tightly with stuffing. | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | obtained all data through the time of the visit | daily files of ~1120kB
ASFS_50_met | obtained all data through the time of the visit | daily files of ~1740kB
ASFS_50_fast | obtained all data through the time of the visit | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit
Main purpose of the site visit (12:00-13:30 UTC) was routine maintenance and fuel change. We also wanted to assess the PTU system because the RH has been giving strange numbers. Onsite we did all routine maintenance, leveled the radiometers, turned off the Licor power, checked the SR50 and found no issues, and swapped out the PTU system because the readings were showing RH values that were too high, even after replacing the cap on the end of the humidity sensor.

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | down
Power balance on two PDUs?
Back-up generator test (/month)
Precip VISSS - Met City (Maahn)
All good. Files being created. Master and Slave behaving appropriately.
Camera windows and backlights are all good.
Missed frame error occurs not every minute and typically up to 3-4 errors in a given minute, but often 0 errors in a minute.
Doppler Lidar - Met City (Brooks)
Operational. Brooks onsite.
Doppler Lidar - Polarstern (Brooks)
Operational. Brooks onsite
Doppler Lidar - Polarstern (Heinemann)
Operational. Brooks onsite
Sodar - Met City (Brooks)
Not operational. Brooks troubleshooting
Radiation Suite - Met City (Pirazzini)
Looking better. The data files show the compass now incorporated. Did some leveling today at about 06:00 UTC. Did some cleaning of all sensors at 06:25-06:29 UTC. The sensors were already cleaner than they had been, suggesting that the fans are doing a better job. Now we will see how well they keep the systems clear.