## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191208 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | winds are picking up, but generally clear sky with some stars visible. | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | No activity with the ice. Some blowing snow. | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit, 10:00 - 14:30 UTC. Ship time changed by 1 hour last night, now we are UTC+3. | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation: | No change | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, iridium. Cable to met city is out. Wireless Lan to Met City functions. | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | good for the systems that are connected. | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NR | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | No significant changes | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | None | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | good | [up or down, comment on stability]
Network connectivity | only wireless LAN for ship's network. Fiber LAN is not function, nor is our virtual LAN | [up or down, comment on stability]
Utility cables | good. We strung out the sonic and met cables for the new "30m mast" | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | NR | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | NR | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | good | Stability of the base, including any potential ablation
Guy Anchors | good | Any sign of anchor instability?
Guy Tightness | even | Even tightness? If not adjust.
Structural Integrity | good | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | NR | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | Started installing the mast in its new location and got 13 sections installed, with 4 more to go. This occurred between 12:00-14:00 UTC. | Stability of the base, including any potential ablation
Guy Anchors | solid | Any sign of anchor instability?
Guy Tightness | even | Even tightness? If not adjust.
Structural Integrity | good | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | good | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | Visit on site at 10:00-14:30. Assessed tower at about 10:30 and there was no need for any cleaning. All instruments were in good shape. Removed the "30m met" from the 2m height to then install it back on the mast. | Include the timing and any details related to cleaning
PTU_2m | no icing. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | no icing. Still installedat the 2 m height on the tower for intercomparisions and evaluatinos. | " | 18.27
HMT_10m | no icing. | "
WXT_30m | no icing. Moved from the 2m height on the met tower over to the new mast location an dinstalled on the mast. | "
Sonic_2m | no icing. | "
Sonic_6m | no icing. | "
Sonic_10m | no icing. | "
Sonic_30m | no icing. Moved from about 3.78m height near the met tower over to the new mast location and installed on top of the mast. 1208 UTC - started raising mast. Stopped at ~18.4 m. Will continue tomorrow. 91 cm from sonic center to peg on top of mast tube. T/RH sensor same height as peg (17.4 m) | "
Licor | no icing. 1056 - cleaned | "
SR50 | no icing. | "
IRT | no icing. | "
Flux Plates | NR | "
CLASP | no icing. | "
SPCs (multiple) | no icing. | "
NPS Imager & Spar | 1028 UTC set tilt to 22 deg, yaw to +/- 160 deg as requested by Tim, but this did not work. 1040 UTC accidetaly stopped fast_spar - restarted again. Iceimage_1 - currentPitch starts at 4779, goes to 4750
Data Files
Clasp02m |  | hourly files with size 3,095kB
CR1000X |  | daily file with size ~22500kB,
Licor02m |  | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone |  | ????
Picarro |  | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | no data during the day. Ptemp shows strange variability and the internal temperature got cold during the day. But towards the end of the day there was the expected Ptemp short-term variability and the temperature warmed up to good values. Suggestion is that things are ok | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | partially cloudy moving towards clear sky. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | only slightly decreasing over the day as Tsurf doesn't change much. Fan good | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | Nearly 2 C inversion from surface to 2m for most of the day. | "
SR50 | NR | "
PTU | reasonable measurements | "
Sonic | good measurements showing fairly steady winds over the day. | "
Licor | NA | "
Flux Plates | two plates continue to track each other well with a steady offset of about 8 W/m2. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=3600-4000, Ptemp=-12 to -1 C. Why so cold? | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met | good | daily files of ~1740kB
ASFS_40_fast | good | daily files of >100MB
ASFS_40_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | good data coming in, showing typical cycle with the EFOY off for 2.5 hours. Peak voltage of 26.2V, which has not gained ground on yesterday. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no signficiant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | variable cloudiness early then clear sky. Fan good. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | slight decrease during the day. Fan good. | "
SWD | fan and heat good | "
SWU | fan and heat good, although fantach continues to be erratic, now varying rapidly (point-to-point sometimes) from 118 to 155. | "
IRT | 2.5C inversion from surface to 2m for most of day | "
SR50 | NR | "
PTU | reasonable observations | "
Sonic | reasonable observations. Variable and weakening winds over the day | "
Licor | NA | "
Flux Plates | both plates very similar in magnitude. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=~3000 with a new periodic pattern. Ptemp=-5 to 5C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | good | daily files of ~1120kB
ASFS_30_met | good | daily files of ~1740kB
ASFS_30_fast | good | daily files of >100MB
ASFS_30_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | only a little EFOY data, but shows reasonable voltages. Ptemp cycle suggests EFOy is fine. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | variable cloudiness over the day, moving towards to clear sky. Fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Little variability all day as the Tsurf didn't change much. Fan good. | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | nearly 2C inversion over lowest 2m for much of the day. | "
SR50 | NR | "
PTU | data look reasonable | "
Sonic | a few missed data points in the iridium data. Decreasing wins over the day. | "
Licor | NA | "
Flux Plates | data look reasonable | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=120, Ptemp=-5 to 0 C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | not operational
Power balance on two PDUs?
Back-up generator test (/month)
Precip VISSS - Met City (Maahn)
Everything good.
Started downloading data for transport home. Projection is more than 12 hours to transfer.
Doppler Lidar - Met City (Brooks)
operational. Brooks onsite
Doppler Lidar - Polarstern (Brooks)
Operational. Brooks onsite
Doppler Lidar - Polarstern (Heinemann)
operatoinal. Brooks onsite
Sodar - Met City (Brooks)
operational. Brooks onsite
Radiation Suite - Met City (Pirazzini)
Pulled data today and uploaded to MCS
Upper Ocean Suite - Met City (Stanton)
stopped imager program. Set tilt to +22 deg & yaw to +-40 deg; did not get signal in lower left box.