## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191209 | [YYYYMMDD]
Operator1: | Matt Shupe, Dave Costa | [name]
Operator2: | Ola Persson | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | mild winds. | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | no change | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit 06:15-08:15 UTC. Tower climbing to put the 6m met sensor into place, finish installation of the 23m mast | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation: | unchanged | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | rebooted at 10:00 am, comms was lagging from L1 and L2. It also hasn't been rebooted in a while.
Workstation Computer: | good
Communications Mode(s): | radio,iridium. Wireless LAN to Met City works but the cable LAN does not. | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | good for the operational systems | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | good | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | unchanged | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | none | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | stable | [up or down, comment on stability]
Network connectivity | no cable connection for our 202 VLAN. Only wireless LAN for ship's network | [up or down, comment on stability]
Utility cables | good. | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | good. | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | NR | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | solid | Stability of the base, including any potential ablation
Guy Anchors | solid | Any sign of anchor instability?
Guy Tightness | even | Even tightness? If not adjust.
Structural Integrity | good. Supported another tower climb up to the 6m height in some winds without a problem. Feels stable. | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | Re-installed the 6m Met boom as level as possible by eye and using the markings for the met boom | Assess stability and level of booms
Cabling | good. Re-secured the met cabling and all other cabling. | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | good | Stability of the base, including any potential ablation
Guy Anchors | solid | Any sign of anchor instability?
Guy Tightness | even | Even tightness? If not adjust.
Structural Integrity | standing tall and strong again. With the final 4 sections being installed today. | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | Looks straight vertical now to the best of our abilities. | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | good. Still need some cable management along the surface. | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | Visit at 06:15-08:15 UTC. Involved climbing the tower to re-install the 6m Met boom. Some of the other instruments could have been impacted by the climb, which occurred primarily between 06:30-07:15 UTC. Tower was not iced and no cleaning was required. Addtionally, today we tested the now spare PTU system (recently pulled out of L3) by installing it near the base of the tower to compare wth the 2m PTU installed there. | Include the timing and any details related to cleaning
PTU_2m | no icing, some work around this height during the tower climbing so measurements could have been impacted. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | no icing. 0720 UTC returned to the 6m height. There is some concern that the measurements are slightly off relative to others. Likely that this 6 m RH sensor is compromised (along with spare removed from L3), but may be able to adjust data based on intercomparisons doen over a few days. Should replace with new system on Leg 3. | "
HMT_10m | no icing | "
WXT_30m | no icing. Now at its full height. | "
Sonic_2m | no icing | "
Sonic_6m | no icing | "
Sonic_10m | no icing | "
Sonic_30m | no icing. ~0730 UTC, mast now at its full height of 23.28 m. WXT is at 22.37 m. Sonic N alignment found to be at 228 deg at same time as tower heading is at 291.5 deg (measurement on 12/11). | "
Licor | 0720 UTC cleaned licor - moderately iced | "
SR50 | no icing | "
IRT | no icing | "
Flux Plates | still buried | "
CLASP | no icing | "
SPCs (multiple) | no icing | "
Data Files
Clasp02m |  | hourly files with size 3,095kB
CR1000X |  | daily file with size ~22500kB,
Licor02m |  | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m |  | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone |  | ????
Picarro |  | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | marginal | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | little EFOY data but the available data shows good 24V. Ptemp shows multiple operational cycles. All suggests good operation. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | mostly clear with intermittent cloudiness. Fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | little variability but reasonable for conditions. Fan good. | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | near surface inversion of about 2C throughout day. | "
SR50 | NR | "
PTU | reasonable | "
Sonic | good looking data with variable winds | "
Licor | NA | "
Flux Plates | tracking each other with 8 W/m2 offset | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=3700-4000, Ptemp=-10 to 6C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met | turned off collection due to poor comms at 10:00am | daily files of ~1740kB
ASFS_40_fast | turned off collection due to poor comms at 10:00am | daily files of >100MB
ASFS_40_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | marginal | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | continue to get good data from EFOY. EFOY off for nearly 3 hours during the day. Top voltage up to 26.45V. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant chage | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | mostly clear with intermittent clouds. Fan good, although LWD fantach is decreasing. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | little variability but consistent with conditions. Fan good | "
SWD | fan and heat good | "
SWU | fan and heat good. Fantach still highly variable but settled down in the second half of the day. | "
IRT | strong near surface inversion all day. | "
SR50 | NR | "
PTU | strange RH spike at about 19:45 UTC, no such spike in other measurements. Otherwise good. | "
Sonic | clean data showing variable winds | "
Licor | NA | "
Flux Plates | little variability over the day but consistent across the two plates | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan ~3200, Ptemp=-6 to 4C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_30_slow | good | daily files of ~1120kB
ASFS_30_met | turned off collection due to poor comms at 10:00am | daily files of ~1740kB
ASFS_30_fast | turned off collection due to poor comms at 10:00am | daily files of >100MB
ASFS_30_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | iridium | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | No EFOY data coming in. Ptemp cycle looks reasonable and EFOy was off for approx. 6 hours | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | no significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | variable cloudiness during the day but mostly clear. Fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | some variability due to LWD and Tsurf. Fan good. | "
SWD | fan and heat good | "
SWU | fan and heat good | "
IRT | Tsurf is generally colder tan T2m by ~2C | "
SR50 | NR | "
PTU | reasonable measurements | "
Sonic | some missing data in iridium, variable winds | "
Licor | NA | "
Flux Plates | good | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan=120, Ptemp=-12 to -1C | Main scan time. Reasonable temperature range? Fans working?
Data Files
ASFS_50_slow | no radio | daily files of ~1120kB
ASFS_50_met | no radio | daily files of ~1740kB
ASFS_50_fast | no radio | daily files of >100MB
ASFS_50_Iridium_sumfile | good | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments |  | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice) | altar shield is totally snowed over on the inner ring
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice) | altar shield is totally snowed over on the inner ring
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice) | clean and clear of ice
GndRad - PIR, PSP (ice) | clean and clear of ice
MFR (ice) | clean and clear of ice
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests |  | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | not operational
Power balance on two PDUs?
Back-up generator test (/month)
Precip VISSS - Met City (Maahn)
all checks look good. Continue to download data, now from the slave
Doppler Lidar - Met City (Brooks)
operational, Brook onsite
Doppler Lidar - Polarstern (Brooks)
operational, Brooks onsite
Doppler Lidar - Polarstern (Heinemann)
operational, Brooks onsite
Sodar - Met City (Brooks)
operational, Brooks onsite
Radiation Suite - Met City (Pirazzini)
some mild icing build up on the radiometer domes. This is in stark contrast to the ARM systems where there is no riming buildup