## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191214 | [YYYYMMDD]
Operator1: | Michael Gallagher, Taneil Uttal | [name]
Operator2: | Dave Costa, Ola Persson, Matt Shupe | [name]
Status of Operators: | NR | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | cold and calm, very light snow | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | Cracks continue to open around Met City but no huge concerns at the moment for equipment | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Met City visit: 10:00-12:00 | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation: | No significant change | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | good | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | good | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | good
Workstation Computer: | good
Communications Mode(s): | radio, cable to Met city is functional. Iridium comms is not working to L3 today. Checked out the Iridium modem and its connection to the DAQ and this appears to all be functional. | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | good on the operational systems. Not good on Iridium | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions | Cracks near met tower, near Met Hut, near 23m mast, and near ARM swingset have not changed much. | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | none | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | good, but threatened by cracks | [up or down, comment on stability]
Network connectivity | good, but threatened by cracks | [up or down, comment on stability]
Utility cables | good in general but threatened by cracks | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | good | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | good | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | solid | Stability of the base, including any potential ablation
Guy Anchors | solid | Any sign of anchor instability?
Guy Tightness | even | Even tightness? If not adjust.
Structural Integrity | solid all around | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | NR | Secure with no rubbing.
Structural Assessment - 30m
Tower Base | Solid | Stability of the base, including any potential ablation
Guy Anchors | solid | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | NR | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | cable runs along the ground are potentially threatened by cracks, we made more slack for them. | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | Tower was moderately rimed all over. Did limited cleaning at about 11:15 UTC | Include the timing and any details related to cleaning
PTU_2m | icing on housings, brushed off | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | icing on housings | "
HMT_10m | icing on housings | "
WXT_30m | NR | "
Sonic_2m | clear of ice | "
Sonic_6m | clear of ice | "
Sonic_10m | clear of ice | "
Sonic_30m | NR | "
Licor | icing. Required cleaning with warm hand and ethanol kimwipe. See improvement in signal but immediately a drop in quality again. | "
SR50 | mostly clear of ice | "
IRT | mostly clear of ice | "
Flux Plates | plate to the south is on the other side of the new crack and is potentially threatened. | "
CLASP | iced on outside | "
SPCs (multiple) | sensor is clear of ice | "
Data Logger | good, internal temperature is in a stable range | Main scan time. Reasonable temperature range? Software changes?
Data Files
Clasp02m | no missing data | hourly files with size 3,095kB
CR1000X | no missing data | daily file with size ~22500kB,
Licor02m | no missing data | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | no missing data | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | no missing data | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | no missing data | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m | no missing data | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone | not operational | ????
Picarro | no missing data | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | Radio transmitting all data | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | Good enough | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | Not mucy EFOY data but Ptemp suggests a healthy system | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | No heading changes, all looks normal | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Looks good, morning clouds, fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Looks good, steadily decreasing, fan good | "
SWD | Polar night, fan and heat good | "
SWU | Polar night, fan and heat good | "
IRT | near surface inversion increases as clouds go away | "
SR50 | Looks good | "
PTU | Looks good, temperature decreased all day | "
Sonic | Looks good, very mellow winds | "
Licor | NA | "
Flux Plates | Looks good | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | Ptemp=-7 to 6C, mainscan looks good | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_40_slow | good | daily files of ~1120kB
ASFS_40_met | good | daily files of ~1740kB
ASFS_40_fast | not all data was transferred | daily files of >100MB
ASFS_40_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good enough | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | Great looking EFOY power profile. EFOY was off for 5 hours during the day. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | No significant chnages | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Looks good, morning clouds, fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Looks good, steadily decreasing, fan good | "
SWD | Polar night, fan and heat good | "
SWU | Polar night, fan and heat good | "
IRT | near surface inversion increases as clouds go away | "
SR50 | Looks good | "
PTU | Looks good, temperature decreased all day | "
Sonic | Looks good, very mellow winds | "
Licor | NA | "
Flux Plates | Looks good | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | Ptemp=-2 to 4C, mainscan looks good | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_30_slow | good | daily files of ~1120kB
ASFS_30_met | good | daily files of ~1740kB
ASFS_30_fast | not all data transferred | daily files of >100MB
ASFS_30_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | radio comms coming in for a while but still pretty slow, and iridium not working. | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | Little EFOy data but Ptemp profile looks good. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | No significant change | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Looks good, morning clouds, fan good | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Looks good, steadily decreasing, fan good | "
SWD | Polar night, fan and heat good | "
SWU | Polar night, fan and heat good | "
IRT | near surface inversion increases as clouds go away | "
SR50 | Looks good | "
PTU | Looks good, temperature decreased all day | "
Sonic | Looks good, weak winds | "
Licor | NA | "
Flux Plates | Looks good | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | Ptemp=-4 to 1C, mainscan looks good | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_50_slow | partial day transmissoin | daily files of ~1120kB
ASFS_50_met | not transferred | daily files of ~1740kB
ASFS_50_fast | not transferred | daily files of >100MB
ASFS_50_Iridium_sumfile | no iridium | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | no operational
Power balance on two PDUs?
Back-up generator test (/month)
Precip VISSS - Met City (Maahn)
camera windows are clear. Some icing on backlights. Other camera parameters check out.
Doppler Lidar - Met City (Brooks)
Operational. Brooks onsite
Doppler Lidar - Polarstern (Brooks)
Operational. Brooks onsite
Doppler Lidar - Polarstern (Heinemann)
Operational. Brooks onsite
Sodar - Met City (Brooks)
Operational. Brooks onsite
Radiation Suite - Met City (Pirazzini)
Radiometers are heavily rimed over but no maintenance today due to very short visit and many overlap tasks.