## General
Surface Flux Team Daily Checks
If nothing to report use NR
Explanation
General
Date: | 20191228 | [YYYYMMDD]
Operator1: | Michael Gallagher | [name]
Operator2: | Taneil Uttal - Writing Report | [name]
Status of Operators: | Good | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | Good. Cold. -30 ish | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | No Sea | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Helicopter Flights to all 3 L sites to change SD cards | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation: | Stable | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | Stable | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | Stable | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | Changing File transfer Codes
Workstation Computer:
Communications Mode(s): |  | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | ASFS 50 may be lagging with radio again | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NR | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
Need Routine with running plotting Software |  | List things that need to be accomplished in the coming days, developing issues, etc.
Still adjusting file transfer software
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
NO TOWER VISIT
Explanation
Local Conditions
Ice and Snow Conditions | NR | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | Removal of Power Lines from Ridge Continue | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | NR | [up or down, comment on stability]
Network connectivity | NR | [up or down, comment on stability]
Utility cables | Second day of digging out of the lead. Close to having it totally extracted. | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | NR | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | NR | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | NR | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | NR | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | NR | Secure with no rubbing.
Structural Assessment - 23 m
Tower Base | NR | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | NR | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NR | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | NR | Include the timing and any details related to cleaning
PTU_2m | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | NR | "
HMT_10m | NR | "
WXT_30m | NR | "
Sonic_2m | NR | "
Sonic_6m | NR | "
Sonic_10m | NR | "
Sonic_23m | NR | "
Licor | NR | "
SR50 | NR | "
IRT | NR | "
Flux Plates | NR | "
CLASP | NR | "
SPCs (multiple) | NR | "
Data Logger | NR | Main scan time. Reasonable temperature range? Software changes?
Data Files
Clasp02m | YES | hourly files with size 3,095kB
CR1000X | YES | daily file with size ~22500kB,
Licor02m | YES | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | YES | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | YES | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | YES | hourly files, raw with size ~5280kB, stats with size 25kb
Metek23m | FILES are ~2300 kb | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone | NOT INSTALLED | ????
Picarro | Files are ~400 kb | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Flight in Afternoon - Went to all 3 sites, L1 was third | Primary Objective was to change SD card | Explanation
Communication System Status
Comms System | Reliable Radio Contact | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | Connection has been good. Not data transfer delays | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | Large frozen Icicle Formation. Removed. | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | Looked. Can't remember but not critical. Refueling shold be in about 10 days | Current remaining fuel available
Comments | EFOY operating status panel lights all looked good. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR. | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR - appears to be level, on solid ice. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | This station is adjacent to the ridge that ate the snow buoy and has considerably more local features from ridges blocks of ice, snow filled cracs. | Any useful information on local surface conditions from camera
Sky-Weather | Snowing. Low winds. Quick visit as helicopter needed to return to ship | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | clear | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | clear | "
SWD | clear | "
SWU | clear | "
IRT | clear | "
SR50 | light layer of frost (2mm) | "
PTU | clear | "
Sonic | clear | "
Licor | frozen, not on | "
Flux Plates | NR | "
Camera_Rad | Cleaned | Any pictures available?
Camera_EFOY | Cleaned | Any pictures available?
Data Logger | NR | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_40_slow | 1112 | daily files of ~1120kB
ASFS_40_met | 1746 | daily files of ~1740kB
ASFS_40_fast | 9246 | daily files of >100MB
ASFS_40_Iridium_sumfile |  | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit
Snow Depth 15 cm (By Team Ice)

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Flight in Afternoon - Went to all 3 sites, L2 was second | Primary Objective was to change SD card | Explanation
Communication System Status
Comms System | Reliable Radio Contact | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | Connection has been good. Not data transfer delays | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Good | [Good, Questionable, Unknown]
Assessment of Exhaust | Large frozen Icicle Formation. Removed. | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | 1 full + 1 70% full | Current remaining fuel available
Comments | EFOY operating status panel lights all looked good. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR - appears to be level, on solid ice. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | Ice, windswept. Foot prints from previous or maybe several) visit(s) still visible | Any useful information on local surface conditions from camera
Sky-Weather | Clear skies, ship visible, stars visible, pilot reported ice layer, no winds. | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | clear | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | clear | "
SWD | clear | "
SWU | clear | "
IRT | clear | "
SR50 | light layer of frost (2mm) | "
PTU | clear | "
Sonic | clear | "
Licor | frozen, not on | "
Flux Plates | NR | "
Camera_Rad | Cleaned | Any pictures available?
Camera_EFOY | Cleaned | Any pictures available?
Data Logger | NR | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_30_slow | 1119 | daily files of ~1120kB
ASFS_30_met | 1642 | daily files of ~1740kB
ASFS_30_fast | 106775 | daily files of >100MB
ASFS_30_Iridium_sumfile |  | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit
Snow Depth 25.5 cm (by Team ICE)

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Flight in Afternoon - Went to all 3 sites, L3 was first | Primary Objective was to change SD card | Explanation
Communication System Status
Comms System | Radio Comms have been intermittent but data came through on radio comms in the morning. | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | Intermittent | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Good | [Good, Questionable, Unknown]
Assessment of Exhaust | Visited L3 (first followed by L2 and L1). Very interestinng exhaust ice formation. Solid column (about an inch in diameter) from mouth of exhaust to the ground; ball on the top. See photo from site visit | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | Did not check. | Current remaining fuel available
Comments | EFOY operating status panel lights all looked good. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR - appears to be level, on solid ice. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | Ice, windswept. Foot prints from previous or maybe several) visit(s) still visible | Any useful information on local surface conditions from camera
Sky-Weather | Clear skies, ship visible, stars visible, pilot reported ice layer, no winds. | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | clear | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | clear | "
SWD | clear | "
SWU | clear | "
IRT | clear | "
SR50 | light layer of frost (2mm) | "
PTU | clear | "
Sonic | clear | "
Licor | frozen, not on | "
Flux Plates | NR | "
Camera_Rad | Cleaned | Any pictures available?
Camera_EFOY | Cleaned | Any pictures available?
Data Logger | NR | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_50_slow | 1098 | daily files of ~1120kB
ASFS_50_met | not being collected | daily files of ~1740kB
ASFS_50_fast | not being collected | daily files of >100MB
ASFS_50_Iridium_sumfile |  | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit
Snow Depth Team Ice 6 cm (Team Ice noted that possible measurement was made to close to helicopter and may be scoured)

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | not operational
Power balance on two PDUs?
Back-up generator test (/month)
Precip VISSS - Met City (Maahn)
some icing build up on backlights but camera windows clear.
Doppler Lidar - Met City (Brooks)
Doppler Lidar - Polarstern (Brooks)
Doppler Lidar - Polarstern (Heinemann)
Sodar - Met City (Brooks)
Radiation Suite - Met City (Pirazzini)
icing on radiometers cleared at about 13:00-13:15 UTC.