## General
Surface Flux Team Daily Checks
If nothing to report use NR
FOX munched data line at 17:51 |  | Explanation
General
Date: | 201912 | [YYYYMMDD]
Operator1: | Michael Gallagher | [name]
Operator2: | Taneil Uttal | [name]
Status of Operators: | Good | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | Snowy, Cold (-30ish) | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | Stable | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Helicopter Lidar Scanning | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation: | NR | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | NR | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | NR | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | NR
Workstation Computer: | NR
Communications Mode(s): | Radio to ASFS (failing at ASFS50). See below for tower. | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: |  | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NR | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
SITE VISIT at 13:00 - 14:30. Taneil, Michael, Dean (Picarro calibration) Hannis (bear guard), Daniela (Team Ice) | Team Snow requested that we taking on checking Rocket traps after snow events. Today we had training. | Explanation
Local Conditions
Ice and Snow Conditions | Stable. A snow even triggered checking the rocket traps | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | NR | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | Good | [up or down, comment on stability]
Network connectivity | Lost data connection around 18:00 UTC - Fox observed around METCITY. See Notes for 12/30. | [up or down, comment on stability]
Utility cables | Good | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | Good | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | Good | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | NR | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | NR | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | NR | Secure with no rubbing.
Structural Assessment - 23 m
Tower Base | NR | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | NR | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NR | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | Light snow | Include the timing and any details related to cleaning
PTU_2m | Light Snow | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | NR | "
HMT_10m | NR | "
WXT_30m | NR | "
Sonic_2m | Clean | "
Sonic_6m | Clean | "
Sonic_10m | Clean | "
Sonic_23m | NR | "
Licor | Cleaned | "
SR50 | Cleaned | "
IRT | Cleaned | "
Flux Plates | NR | "
CLASP | NR | "
SPCs (multiple) | NR | "
Data Logger | NR | Main scan time. Reasonable temperature range? Software changes?
Data Files
Clasp02m | Last file transferred at 17:41 2073. Preceeding Files 3095 | hourly files with size 3,095kB
CR1000X | File Transferred at 17:40 16,578 | daily file with size ~22500kB,
Licor02m | Last File transferred at 17:41 2612 kb. Preceeding files 3826 | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | Last File transferred at 17:41. Preceeding files ~5500 | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | Last File transferred at 17:41. 3741, Preceeding files ~5500 | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | Last File transferred at 17:41 3026 kb. Preceeding files ~4495 | hourly files, raw with size ~5280kB, stats with size 25kb
Metek23m | Last file transferred at 17:41 1560 kb. Preceeding Files 2322 kb | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone | Not Installed | ????
Picarro | Last File Transferred at 17:41 3243 kb, previous files 4747 kb | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
No Site Visit |  | Explanation
Communication System Status
Comms System | Good | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality |  | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | NR | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | NR | "
SWD | NR | "
SWU | NR | "
IRT | NR | "
SR50 | NR | "
PTU | NR | "
Sonic | NR | "
Licor | NR | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | NR | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_40_slow | Daily File 1105 kb | daily files of ~1120kB
ASFS_40_met | Daily File 1752 kb | daily files of ~1740kB
ASFS_40_fast | Daily File 87090 kb | daily files of >100MB
ASFS_40_Iridium_sumfile | NONE | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | Good | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality |  | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | NR | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | NR | "
SWD | NR | "
SWU | NR | "
IRT | NR | "
SR50 | NR | "
PTU | NR | "
Sonic | NR | "
Licor | NR | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | NR | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_30_slow | Daily File 1115 kb | daily files of ~1120kB
ASFS_30_met | Daily File 1639 kb | daily files of ~1740kB
ASFS_30_fast | Daily File 107508 | daily files of >100MB
ASFS_30_Iridium_sumfile |  | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | Radio Link delayed again. | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality |  | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | NR | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | NR | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | NR | "
SWD | NR | "
SWU | NR | "
IRT | NR | "
SR50 | NR | "
PTU | NR | "
Sonic | NR | "
Licor | NR | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | NR | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_50_slow | 5 kb | daily files of ~1120kB
ASFS_50_met | none | daily files of ~1740kB
ASFS_50_fast | none | daily files of >100MB
ASFS_50_Iridium_sumfile | none | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit
During Site Visit on 12/28 considered unplugging the radio link so that the iridium link would re-establish. Because the radio link had come in so successfully on 12/27 and 12/28 we decided to maintain the radio. Unfortunately radio link is again faltering.

## ARM
ARM Facility - General Data Oversight
ARM Browser is no updating. | Only data that can be viewed is KAZR. | Explanation
Measurement Assessments |  | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR | Good.
MWACR | NR
Ka-SACR | NR
X-SACR | NR
HSRL | NR
MPL | NR
Ceilometer | NR
MWR2C | NR
MWR3C | NR
TSI | NR
Precipitation
LDIS/PARS2 (ice) | NR
LDIS/PARS2 (ship) | NR
PWD (ice) | NR
PWD (ship) | NR
Siphon rain gauge (ship) | NR
ORG (ice) | NR
WBRG/Pluvio (ice) | NR
Winds
BSRWP | NR
DL | NR
Radiation | NR
AERI | NR
ShipRad - PIR, PSP, SPN1 | NR
SkyRad - PSP, PIR, SPN1 (ice) | NR
GndRad - PIR, PSP (ice) | NR
MFR (ice) | NR
CSPHOT | NR
FRSR | NR
Aerosol
AOSMet | NR
CO / Purge | NR
O3 | NR
CPC | NR
CPCU | NR
SMPS | NR
HTDMA | NR
UHSAS | NR
CCNC | NR
ACSM | NR
SP2 | NR
PSAP | NR
Nephelometer | NR
INP filters | NR
Data Requests |  | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | not operational
Power balance on two PDUs?
Back-up generator test (/month)
Precip VISSS - Met City (Maahn)
some icing build up on backlights but camera windows clear.
Doppler Lidar - Met City (Brooks)
Doppler Lidar - Polarstern (Brooks)
Doppler Lidar - Polarstern (Heinemann)
NR | Taneil needs to fnd computer
Sodar - Met City (Brooks)
NR | Taneil needs to find computer
Radiation Suite - Met City (Pirazzini)
icing on radiometers cleared at about 13:00-13:15 UTC.