## General
Surface Flux Team Daily Checks
If nothing to report use NR
Windy Snowy Day | Some cracks in CO | Explanation
General
Date: | 20200102 | [YYYYMMDD]
Operator1: | Taneil Uttal | [name]
Operator2: | Michael Gallagher | [name]
Status of Operators: | Good. Going out with the Wedneday evening ski (Michael) and walking (Taneil) club | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | Windy. Snowy. | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | Some cracks in darkside and small cracks in logistics area. On alert. | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | NR | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation: | NR | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | NR | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | NR | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | NR
Workstation Computer: | NR
Communications Mode(s): | Radio to L1 and L2. Sporatic radio to L3. Met City fiber optic cable is severed. | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: |  | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NR | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
| Data checks and Transfers for guest projects. | List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Explanation
Local Conditions
Ice and Snow Conditions |  | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management |  | Anything required for physical maintenance of local area
Utility Status
Power line connectivity |  | [up or down, comment on stability]
Network connectivity |  | [up or down, comment on stability]
Utility cables |  | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box |  | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box |  | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base |  | Stability of the base, including any potential ablation
Guy Anchors |  | Any sign of anchor instability?
Guy Tightness |  | Even tightness? If not adjust.
Structural Integrity |  | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness |  | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability |  | Assess stability and level of booms
Cabling |  | Secure with no rubbing.
Structural Assessment - 30m
Tower Base |  | Stability of the base, including any potential ablation
Guy Anchors |  | Any sign of anchor instability?
Guy Tightness |  | Even tightness? If not adjust.
Structural Integrity |  | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness |  | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling |  | Secure with no rubbing.
Yes. All intact after fox attack
Instrument/Measurement Assessment
Daily Cleaning | Yes. | Include the timing and any details related to cleaning
PTU_2m | Cleaned | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_6m | NR | "
HMT_10m | NR | "
WXT_30m | NR | "
Sonic_2m | Clear | "
Sonic_6m | NR | "
Sonic_10m | NR | "
Sonic_23m | NR | "
Licor | Quite clear today. No need for cleaning. | "
SR50 | Measured Snow Depth - 12 cm. | "
IRT | NR | "
Flux Plates | NR | "
CLASP | NR | "
SPCs (multiple) | Measured height above snow - 25 cm. Very clean (wind had blown away snow build up) | "
Data Logger | NR (forgot tablet to transfer data) | Main scan time. Reasonable temperature range? Software changes?
Data Files
Clasp02m | NR | hourly files with size 3,095kB
CR1000X | NR | daily file with size ~22500kB,
Licor02m | NR | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | NR | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | NR | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | NR | hourly files, raw with size ~5280kB, stats with size 25kb
Metek30m | NR | hourly files, raw with size ~5280kB, stats with size 25kb
Ozone | NR | ????
Picarro | Dean did checks | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | Good | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | NR | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Reporting | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | NR | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | NR | "
SWD | NR | "
SWU | NR | "
IRT | NR | "
SR50 | NR | "
PTU | NR | "
Sonic | NR | "
Licor | NR | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY |  | Any pictures available?
Data Logger |  | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_40_slow | 779 at 17:23 | daily files of ~1120kB
ASFS_40_met | 1232 at 17:23 | daily files of ~1740kB
ASFS_40_fast | 147,878 at 17:23 (data from 3 days - not renaming properly? | daily files of >100MB
ASFS_40_Iridium_sumfile | None | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | Good | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality |  | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status |  | [Good, Questionable, Unknown]
Assessment of Exhaust |  | Any notes about the buildup of ice that may be visible from the camera
Fuel Available |  | Current remaining fuel available
Comments |  | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural |  | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level |  | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface |  | Any useful information on local surface conditions from camera
Sky-Weather |  | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD |  | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU |  | "
SWD |  | "
SWU |  | "
IRT |  | "
SR50 |  | "
PTU |  | "
Sonic |  | "
Licor |  | "
Flux Plates |  | "
Camera_Rad |  | Any pictures available?
Camera_EFOY |  | Any pictures available?
Data Logger |  | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_30_slow | 801 at 17:22 | daily files of ~1120kB
ASFS_30_met | 1184 at 17:21 | daily files of ~1740kB
ASFS_30_fast | 178, 588 at 17:21 (need to check size - accumulating more than one day) | daily files of >100MB
ASFS_30_Iridium_sumfile | None | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Explanation
Communication System Status
Comms System | 12/29/2019 6:17 last report date | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality |  | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status |  | [Good, Questionable, Unknown]
Assessment of Exhaust |  | Any notes about the buildup of ice that may be visible from the camera
Fuel Available |  | Current remaining fuel available
Comments |  | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural |  | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level |  | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface |  | Any useful information on local surface conditions from camera
Sky-Weather |  | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD |  | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU |  | "
SWD |  | "
SWU |  | "
IRT |  | "
SR50 |  | "
PTU |  | "
Sonic |  | "
Licor |  | "
Flux Plates |  | "
Camera_Rad |  | Any pictures available?
Camera_EFOY |  | Any pictures available?
Data Logger |  | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_50_slow |  | daily files of ~1120kB
ASFS_50_met |  | daily files of ~1740kB
ASFS_50_fast |  | daily files of >100MB
ASFS_50_Iridium_sumfile |  | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ARM
ARM Facility - General Data Oversight
| NR. Still figuring out the browser. | Explanation
Measurement Assessments |  | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests |  | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Operational status | No communications to ship
Power balance on two PDUs? | NR
Back-up generator test (/month) | Needs to be scheduled
Precip VISSS - Met City (Maahn)
Cleaned. Brushed anow off structure and boxes.
Doppler Lidar - Met City (Brooks)
Operating
Doppler Lidar - Polarstern (Brooks)
NR
Doppler Lidar - Polarstern (Heinemann)
NR
Sodar - Met City (Brooks)
Ethernet cable repaired. Not yet tested
Radiation Suite - Met City (Pirazzini)
Cleaned at 14:00