## General
Surface Flux Team Daily Checks
If nothing to report use NR
| Please describe. | Explanation
General
Date: | 20200704 | [YYYYMMDD]
Operator1: | Matt Shupe | [name]
Operator2: | Jackson Osborn | [name]
Status of Operators: | good | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | overcast for most of the day, then clearing somewhat during the evening with some fog. | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | Continued slower melt | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | None | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation: | NR | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | UP | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | UP | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | UP
Workstation Computer: | UP
Communications Mode(s): | Wireless LAN to Met City, Radio to ASFS | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | Good | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Visited | General checks and ablation management. | Explanation
Local Conditions
Ice and Snow Conditions | Slow melt continues but still a lot of now around the ridge area. | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | Some shoveling of snow to fill in around the base of the tower. Added further ablation shielding | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | UP | [up or down, comment on stability]
Network connectivity | UP | [up or down, comment on stability]
Utility cables | UP | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | UP | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | UP | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | solid, some melt out around the base. | Stability of the base, including any potential ablation
Guy Anchors | solid | Any sign of anchor instability?
Guy Tightness | even | Even tightness? If not adjust.
Structural Integrity | good, climbed up a couple of meters for work on the tower and it continues to feel stable | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | NR | Secure with no rubbing.
Structural Assessment - 23 m
Tower Base | NA | Stability of the base, including any potential ablation
Guy Anchors | NA | Any sign of anchor instability?
Guy Tightness | NA | Even tightness? If not adjust.
Structural Integrity | NA | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NA | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NA | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | None needed, all instruments looked good | Include the timing and any details related to cleaning
PTU_2m | No | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_2m | NA
HMT_6m | No | "
HMT_10m | No | "
WXT_30m | NA | "
Sonic_2m | No | "
Sonic_6m | No | "
Sonic_10m | No | "
Sonic_23m | NA | "
Licor | No | "
SR50 | No | "
IRT | No | "
Flux Plates | No | "
CLASP | Still not operational logging data, although the aspirator is on. Removed CLASP P and installed CLASP K to see if a different system would help this work. Still not working. Suspect something in the COM port communications | "
SPCs (multiple) | No maintenance, Lower SPC is 25cm above an ablation shield now, which might modify the local air flow to the system. Downloaded the data today. | "
Data Logger | NR | Main scan time. Reasonable temperature range? Software changes?
Data Files
Clasp02m | NO. Still no communication with the system | hourly files with size 3,095kB
CR1000X | YES | daily file with size ~22500kB,
Licor02m | YES | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | YES | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | YES | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | YES | hourly files, raw with size ~5280kB, stats with size 25kb
Metek23m | NA | hourly files, raw with size 2600kB, stats with size 25kb
Ozone | NA | ????
Picarro | YES | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
No VISIT |  | Explanation
Communication System Status
Comms System | Down | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality |  | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Down | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments |  | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | NR | "
SWD | NR | "
SWU | NR | "
IRT | NR | "
SR50 | NR | "
PTU | NR | "
Sonic | NR | "
Licor | NR | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger |  | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_40_slow |  | daily files of ~1120kB
ASFS_40_met |  | daily files of ~1740kB
ASFS_40_fast |  | daily files of >100MB
ASFS_40_Iridium_sumfile | No | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
No Visit |  | Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | NR | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Good, mostly overcast with a few periods of clearing thorughout the day | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Steady | "
SWD | Appears that the SW issue (big spikes) is now resolved as of about 03:30 UTC. | "
SWU | See above | "
IRT | Surface T fixed near 0C | "
SR50 | NR | "
PTU | T2m between 0-1C all day. | "
Sonic | At about 12:00 UTC the sonic apparently had an issue where the measured values were basically fixed. Re-uploading the data logger program at about 18:00 helped to resolve this issue. | "
Licor | NR | "
Flux Plates | Plates, especially A, are strongly responding to slar heating right now. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | mainscan settled down at about 3:30 UTC, now it is pretty steady at 4900 with periodi spikes up to 5000 at 30 min intervals, this is coincident with the SW issue also being resolved. Also, re-uploaded the data logger program to resolve an issue with the sonic. | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_30_slow | Yes | daily files of ~1120kB
ASFS_30_met | Yes | daily files of ~1740kB
ASFS_30_fast | Yes | daily files of >100MB
ASFS_30_Iridium_sumfile | No | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Site Visit | Visited the site for some basic maintenance and to address an issue with the sonic. Potential impact to measurements from 11:30-13:45 UTC | Explanation
Communication System Status
Comms System | Radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | No icing | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | 1.5 cartridges | Current remaining fuel available
Comments | Stable and strong. EFOY remains off for 7 hours at a time. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | No issues | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | The position of the system was modified a little today as we added some ablation shielding boards below the skids. This turned the orientation somewhat from about 143 to about 157 degrees. It significantly improved the sonic tilt to within 0.1 degres of 0. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | Fairly stable with little change over the past few days, although slow melt is certainly occurring. | Any useful information on local surface conditions from camera
Sky-Weather | Mostly overcast | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Mostly overcast with periodic clearing | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Good | "
SWD | Sharp spikes in the data today, but these are in agreement with measurements from ASFS30 so are likely real. Radiometers were re-leveled after the sled re-position at 13:45 UTC to better than 0.2 degrees | "
SWU | Good, leveled as with above, but only to within 0.6 degrees. Apparently the up and down looking instruments are not level with respect to eachother. | "
IRT | Tsurf melting most of the day. Spike at 12:30 UTC was during maintenance. | "
SR50 | Slight shift of the position of the system resulted in a different view with the snow surface lower relative to the system. | "
PTU | T2m spiked to above 1C today. Some RH values greater than 100. | "
Sonic | Sonic has been missing a lot of data over the past couple days and then stopped altogether at 08:00 until 10:45 UTC. Some attempts to restart the logging did not resolve the general problem. Then looked at connectors and found some water in the sensor connector on the sensor head itself. Using a new cable solved this issue. Taped the connections. Data has looked solid since then. | "
Licor | NR | "
Flux Plates | Clearly responding to solar input. Slight interruption in plate B during the repositioning of the sled is apparent at about 12:40 UTC. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | Ptemp 7-13C. Mainscan consistent at 2700. | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_50_slow | Yes | daily files of ~1120kB
ASFS_50_met | Yes | daily files of ~1740kB
ASFS_50_fast | Yes | daily files of >100MB
ASFS_50_Iridium_sumfile | No | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Precip VISSS - Met City (Maahn)
Checked files, all looks good
Cleaned green windows
Doppler Lidar - Met City (Brooks)
Doppler Lidar - Polarstern (Brooks)
Doppler Lidar - Polarstern (Heinemann)
Sodar - Met City (Brooks)
Radiation Suite - Met City (Pirazzini)
SPC Snow Sensors (BAS)
Rocket Traps (BAS)