## General
Surface Flux Team Daily Checks
If nothing to report use NR
| Please describe. | Explanation
General
Date: | 20200714 | [YYYYMMDD]
Operator1: | Matt Shupe | [name]
Operator2: | Jackson Osborn | [name]
Status of Operators: | good | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | mostly cloudy with occasional fog | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | no major changes | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Visit to L2/ASFS30 for some routine maintenance and to fix a couple of issues. | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation: | No major changes | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | UP | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | UP | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | UP
Workstation Computer: | UP
Communications Mode(s): | Wireless LAN to Met City, Radio to ASFS | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | Good | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Visited | Two visits today | Explanation
Local Conditions
Ice and Snow Conditions | Continued melt. Under the tower is melting down some. | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | None | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | Two power outages today. 05:40-07:20 UTC (moving the ship) and 15:00-15:30 UTC (cable maintenance) | [up or down, comment on stability]
Network connectivity | UP, except for during power outages | [up or down, comment on stability]
Utility cables | UP | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | UP | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | UP | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | solid, but some melting out underneath | Stability of the base, including any potential ablation
Guy Anchors | solid | Any sign of anchor instability?
Guy Tightness | one click tighter on NW and some tightening on NE. | Even tightness? If not adjust.
Structural Integrity | good | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | good | Assess stability and level of booms
Cabling | good | Secure with no rubbing.
Structural Assessment - 23 m
Tower Base | NA | Stability of the base, including any potential ablation
Guy Anchors | NA | Any sign of anchor instability?
Guy Tightness | NA | Even tightness? If not adjust.
Structural Integrity | NA | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NA | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NA | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | No cleaning needed, all instruments in good shape. | Include the timing and any details related to cleaning
PTU_2m | No. T2m got down to -1.8C today. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_2m | NA
HMT_6m | No | "
HMT_10m | No | "
WXT_30m | NA | "
Sonic_2m | No | "
Sonic_6m | No | "
Sonic_10m | No | "
Sonic_23m | NA | "
Licor | No | "
SR50 | No | "
IRT | No cleaning. IRT still appears to be biased cold by 0.2 to 0.3C. | "
Flux Plates | No cleaning or adjustment. Plate B (i.e., under the IRT) is melted out and exposed now while Plate A is still buried under snow. Plate B shows much larger values and swings related to SWD while Plate A has a much more muted response that is not as directly linked to SW variability. | "
CLASP | No | "
SPCs (multiple) | No | "
Data Logger | Everything came back up after both power outages today. | Main scan time. Reasonable temperature range? Software changes?
Data Files
Clasp02m | YES | hourly files with size 3,095kB
CR1000X | YES | daily file with size ~22500kB,
Licor02m | YES | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | YES | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | YES | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | YES | hourly files, raw with size ~5280kB, stats with size 25kb
Metek23m | NA | hourly files, raw with size 2600kB, stats with size 25kb
Ozone | NA | ????
Picarro | YES | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
No VISIT |  | Explanation
Communication System Status
Comms System | Down | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality |  | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Down | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments |  | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | NR | "
SWD | NR | "
SWU | NR | "
IRT | NR | "
SR50 | NR | "
PTU | NR | "
Sonic | NR | "
Licor | NR | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger |  | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_40_slow |  | daily files of ~1120kB
ASFS_40_met |  | daily files of ~1740kB
ASFS_40_fast |  | daily files of >100MB
ASFS_40_Iridium_sumfile | No | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Site Visit | Site visit from about 11:40 - 14:00 UTC. Visit was to get the Licor running, deal with ventilation internally, get data, level all systems, check the radio, and check the communications with the EFOY. | Explanation
Communication System Status
Comms System | Radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | Marginal. Most data making it through but have to turn off fast data | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | no icing | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | 1.66 cartridges. | Current remaining fuel available
Comments | Power system indicated that it was running too hot on the screen. Ventilation circuits were not working but were connected and tested to ensure that they work. Also, set the temperature set point to 20C so that ventilation will keep the system cooler inside. We attempted to improve the communications between the EFOY and the data logger by replacing the converter to 485. This appears to have had no impact. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | Good | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | Adjusted the level by chiping some ice, using some boards, and moving the sled slightly. Re-attachd to the same anchors | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | melting ice with some melt ponds nearby but not directly under the radiometers or threatening the position. | Any useful information on local surface conditions from camera
Sky-Weather | mostly cloudy with periods of lower clouds. | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Mostly cloudy with some cooling of the atmosphere and some cloud thinning periodically. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Steady all day. Spike at about 13:20 UTC that must have been during the leveling of the radiometers. | "
SWD | good and apparently unimpacted by our presence. Level improved from 1.25 down to 0.1 degree off. | "
SWU | good and apparently unimpacted by our presence. Level improved from 2 down to 1 degree off. It seems apparent that the down facing and up facing radiometers are not level with eachother. | "
IRT | Tsurf melting early when T2m > 0C, but then T2m drops below 0C and the surface cools down to -0.2C. | "
SR50 | Abrupt shift during the repositioning due to the slight movement of the sled. | "
PTU | good. T2m dow nto -2C | "
Sonic | Adjusted the level of the sled and of the sonic support mast. X,Y went from -0.7,-1.25 to -0.05,-0.1. Some discontinuities and changes during the time of leveling of the sled. | "
Licor | Plugged in the fuse for the licor. It had two solid red lights. | "
Flux Plates | Flux plates are both clearly impacted by direct sun and the associated warming. They both sit at the top of the ice, which is melting. | "
Camera_Rad | Both cameras appear to be functioning and we downloaded many months worth of the pictures. | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | Ptemp down to 2C while the box was open. Prior to that the temperatures were up to 36C. Mainscan looks good. New program that inlcudes licor (ASFS30_704.CR1X), started at 15:04 UTC. Mainscan went up to about 4900 with half hourly spikes, but consistent. | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_30_slow | Yes | daily files of ~1120kB
ASFS_30_met | Yes | daily files of ~1740kB
ASFS_30_fast | Some | daily files of >100MB
ASFS_30_Iridium_sumfile | No | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit
This system is in pretty good shape. Appears to be a stable installation in the middle of the floe without too much threat from local melt pond formation. It is getting a nicely representative view of the local radiation.

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
No Site Visit |  | Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | good power profile | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | Looks good from a distance | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | Small shifts in level. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | mostly cloudy | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Mostly cloudy with periods of broken cloudiness and the atmospheric cooling off. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | slowly decreasing as the surface cools. | "
SWD | good. Tilt continues to get slightly better, but with continued periodic strange spikes. | "
SWU | good. Tilt increased to 0.8 deg. | "
IRT | Same story as ASFS30: Tsurf melting then goes <0C when T2m goes <0C. | "
SR50 | NR | "
PTU | T2m down to -1.8C. | "
Sonic | good | "
Licor | Something appears to have happened with the licor data stream at 15:20 UTC | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | Ptemp good, mainscan good with an abrupt change at 15:00 to slightly lower values. | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_50_slow | yes | daily files of ~1120kB
ASFS_50_met | yes | daily files of ~1740kB
ASFS_50_fast | yes | daily files of >100MB
ASFS_50_Iridium_sumfile | No | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Precip VISSS - Met City (Maahn)
Checked files, all looks good
Cleaned green windows
Doppler Lidar - Met City (Brooks)
Doppler Lidar - Polarstern (Brooks)
Doppler Lidar - Polarstern (Heinemann)
Sodar - Met City (Brooks)
Off twice during the day due to power outages, 05:40-07:20 UTC (moving the ship) and 15:00-15:30 UTC (cable maintenance). Came back without a problem.
Radiation Suite - Met City (Pirazzini)
Added ablation shields to the guy anchors today. Leveled the system at 14:45 UTC.
SPC Snow Sensors (BAS)
Rocket Traps (BAS)