## General
Surface Flux Team Daily Checks
If nothing to report use NR
| Please describe. | Explanation
General
Date: | 20200718 | [YYYYMMDD]
Operator1: | Matt Shupe | [name]
Operator2: | Jackson Osborn | [name]
Status of Operators: | good | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | mostly cloudy, but moving towards clearing skies later in the day. | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | continued melt. The region really openned up today with a decrease in the local ice fraction to possibly less than 50% right around our floe, especially to the south. | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | Had a bear for the third early morning in a row, which prevented on ice activities for the third morning in a row and caused another cutting of the power. | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation: | Based on the tower GPS the floe rotated significantly today (also observed in the ASFS50 data). Started the day near 310 deg. Power outage masked some of the time, but after the outage the orientation was heading towards north and then over to northeast before setting at about 10 deg. Total change of about 60 deg. | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | UP | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | UP | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | UP
Workstation Computer: | UP
Communications Mode(s): | Wireless LAN to Met City, Radio to ASFS | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | Good | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Visited | Power outage again due to bear targeting our power lines. Power was out from about 23:17 UTC yesterday until 10:05 UTC today. | Explanation
Local Conditions
Ice and Snow Conditions | generally melting, no other major changes | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | none | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | Outage from 23:17 UTC yesterday until 10:05 UTC today. | [up or down, comment on stability]
Network connectivity | Out during the time of the power outage. | [up or down, comment on stability]
Utility cables | UP | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | UP, but very hot inside. Now routinely up to about 40C when the power is on. | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | UP | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | solid | Stability of the base, including any potential ablation
Guy Anchors | NR | Any sign of anchor instability?
Guy Tightness | NR | Even tightness? If not adjust.
Structural Integrity | NR | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | NR | Assess stability and level of booms
Cabling | NR | Secure with no rubbing.
Structural Assessment - 23 m
Tower Base | NA | Stability of the base, including any potential ablation
Guy Anchors | NA | Any sign of anchor instability?
Guy Tightness | NA | Even tightness? If not adjust.
Structural Integrity | NA | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NA | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NA | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | No cleaning necessary as instruments were clean already. | Include the timing and any details related to cleaning
PTU_2m | No | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_2m | NA
HMT_6m | No | "
HMT_10m | Continues to be very similar to the 6m T and RH. | "
WXT_30m | NA | "
Sonic_2m | No | "
Sonic_6m | No | "
Sonic_10m | No | "
Sonic_23m | NA | "
Licor | No | "
SR50 | No | "
IRT | No cleaning needed. Assuming the calibration is off and the system is really running 0.2 to 0.3C too cold, the Tsurface still had an interesting cooling during the clear sky period over the night from the previous day. We missed the transition into today, and the Tsurf was already back up at the melting point by the time power was reconnected. | "
Flux Plates | It appears that flux plate A melted out around the middle of the day as the signal went from being very neutral to large positive numbers that vary with the SWD (and are now again similar to plate B). | "
CLASP | No | "
SPCs (multiple) | No | "
Data Logger | NR | Main scan time. Reasonable temperature range? Software changes?
Data Files
Clasp02m | YES, except for during the power outage. | hourly files with size 3,095kB
CR1000X | YES, except for during the power outage. | daily file with size ~22500kB,
Licor02m | YES, except for during the power outage. | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | YES, except for during the power outage. | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | YES, except for during the power outage. | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | YES, except for during the power outage. | hourly files, raw with size ~5280kB, stats with size 25kb
Metek23m | NA | hourly files, raw with size 2600kB, stats with size 25kb
Ozone | NA | ????
Picarro | YES, except for during the power outage. | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
No VISIT |  | Explanation
Communication System Status
Comms System | Down | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality |  | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Down | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments |  | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | NR | "
SWD | NR | "
SWU | NR | "
IRT | NR | "
SR50 | NR | "
PTU | NR | "
Sonic | NR | "
Licor | NR | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger |  | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_40_slow |  | daily files of ~1120kB
ASFS_40_met |  | daily files of ~1740kB
ASFS_40_fast |  | daily files of >100MB
ASFS_40_Iridium_sumfile | No | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
No Visit |  | Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | poor. Became no data transfer after about 08:30 UTC | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good, based on limited information | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | NR | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | No major changes. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Mostly clear early, transitioning to cloudy. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | steady. | "
SWD | good. 0.2 deg tilt | "
SWU | good. 1.2 deg tilt | "
IRT | Tsurf down to -1C during the early clear sky period. | "
SR50 | NR | "
PTU | NR | "
Sonic | good | "
Licor | NR | "
Flux Plates | mostly tracking. See a few negative values on plate B early in the day when there there were clear skies. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | Ptemp good. Mainscan had a change in behavior at about 01:00 UTC with slower times starting. | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_30_slow | data only available up until 08:45 UTC then comms were totally interupted. | daily files of ~1120kB
ASFS_30_met | limited. | daily files of ~1740kB
ASFS_30_fast | no | daily files of >100MB
ASFS_30_Iridium_sumfile | no | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
No Site Visit |  | Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | consistent operations with a 7 hour period of rest during the day as usual. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | Over the course of the past day our floe spun around substantially in this open and loose ice. Heading moved from about 76 to 68 and then all the way to 146 before dropping back to 138. But a net rotation of 62 degrees is pretty substantial change. Only slight changes to the level of the system | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | A couple of nice transitions between mostly cloudy and more clear over the day. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | Some transitions in LWU as a result of changing surface T | "
SWD | good. Title continues to have spikes, with a slight net improvement over the day. | "
SWU | good. Little change in tilt. | "
IRT | Periods early and late when Tsurf was <0C, coinciding with the clear sky periods. | "
SR50 | NR | "
PTU | RH still getting above 100% at times. | "
Sonic | good, with slightly increasing winds over the day. | "
Licor | variability and it is not clear if this is real. | "
Flux Plates | mostly following each other but with periods of different variability | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | Ptemp 8-16C, mainscan consistent. | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_50_slow | yes | daily files of ~1120kB
ASFS_50_met | yes | daily files of ~1740kB
ASFS_50_fast | yes | daily files of >100MB
ASFS_50_Iridium_sumfile | No | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Precip VISSS - Met City (Maahn)
Checked files, all looks good
Cleaned green windows
Doppler Lidar - Met City (Brooks)
Doppler Lidar - Polarstern (Brooks)
Doppler Lidar - Polarstern (Heinemann)
Sodar - Met City (Brooks)
Operation again after power restored to Met City.
Radiation Suite - Met City (Pirazzini)
No checks during the day. Power was out for an extended period while the ROV powerline was again assessed and repaired due to polar bear damage. Third day in a row for that.
SPC Snow Sensors (BAS)
Rocket Traps (BAS)