## General
Surface Flux Team Daily Checks
If nothing to report use NR
| Please describe. | Explanation
General
Date: | 20200720 | [YYYYMMDD]
Operator1: | Matt Shupe | [name]
Operator2: | Jackson Osborn | [name]
Status of Operators: | good | Any concerns or limitations regarding operators? Health, injury, etc.
General Weather Conditions: | overcast and fog. Mellow winds | Brief weather synopsis, especially weather that would impact operations
General Sea Ice Conditions: | melting ice. | Brief local sea ice synopsis, especially conditions that would impact operations
Special Operations: | None | Any daily activities or special operations that would possibly impact daily schedule or operations
Camp Orientation: | The floe continues to slowly rotate clockwise. | Any information about the general composition, orientation, and/or layout of camp that would impact measurements
Command Center
Utilities: | UP | [comments or NR] Status on power connection, power panel, heaters, lights, network connection
Physical Integrity: | UP | [comments or NR] Any damage, ingress of water/snow, snow/water management, other structural concerns
DAQ Computer: | UP
Workstation Computer: | UP
Communications Mode(s): | Wireless LAN to Met City, Radio to ASFS | [Radio, Iridium, Cable, and/or None] Which comms systems are being used?
Communications Quality: | Good | Any information about operation of the radio and/or Iridium modems. What is the quality of connection? Any actions that were taken to modify the quality
Remote Mounts
Iridium Antenna - ARM Container | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Radio modem/antenna(s) - Crow's Nest | NR | Physical system assessment. Describe any actions taken such as cleaning or adjustments
Time-Lapse Camera - Crow's Nest | NA | Operational? Comment on visual assessment, and any actions taken. Data downloaded?
ACTION ITEMS
List things that need to be accomplished in the coming days, developing issues, etc.
Supplies
Ongoing list of supplies needed in the field; carry this forward until supplies have been obtained

## Met Tower
Met Towers at Met City (11m tower and 30m mast)
Visited | Yes, visited at about 07:40 to 08:00 UTC. Floe rotating clockwise during the day | Explanation
Local Conditions
Ice and Snow Conditions | continued melt | Ice thickness, cracks, snow drifting, ablation or any other relevant conditions for operations.
Ice and Snow Management | shoveled more snow around the tower | Anything required for physical maintenance of local area
Utility Status
Power line connectivity | UP | [up or down, comment on stability]
Network connectivity | UP | [up or down, comment on stability]
Utility cables | UP | [good or in need of maintenance]. Utility cables on poles or maintained routinely on surface, connections secure, strain relief intact, etc.
Control box | UP | Any comments on the operations of the computer, data logger, power distribution, or other components. Temperature range and stability inside.
SPC Control box | UP | Any comments on Frey's power and control box.
Structural Assessment - 10m
Tower Base | solid | Stability of the base, including any potential ablation
Guy Anchors | solid | Any sign of anchor instability?
Guy Tightness | good, tightened NW guy by one click | Even tightness? If not adjust.
Structural Integrity | good | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NR | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Boom Level / Stability | good | Assess stability and level of booms
Cabling | good | Secure with no rubbing.
Structural Assessment - 23 m
Tower Base | NA | Stability of the base, including any potential ablation
Guy Anchors | NA | Any sign of anchor instability?
Guy Tightness | NA | Even tightness? If not adjust.
Structural Integrity | NA | Any issues identified with structural components? Bolts, clamps, cables checked for tightness?
Plumbness | NA | Assess any shifts in plumbness of tower, possibly using manual measurements and/or sonic inclinometers
Cabling | NA | Secure with no rubbing.
Instrument/Measurement Assessment
Daily Cleaning | No cleaning necessary as all instruments were already in good shape. | Include the timing and any details related to cleaning
PTU_2m | No | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment, and any actions taken.
HMT_2m | NA
HMT_6m | No | "
HMT_10m | No | "
WXT_30m | NA | "
Sonic_2m | No | "
Sonic_6m | No | "
Sonic_10m | No | "
Sonic_23m | NA | "
Licor | No cleaning. Two solid red lights | "
SR50 | No | "
IRT | No | "
Flux Plates | Flux plate away from the tower is still buried in the snow/melting ice from the re-placement yesterday. A little snow got on top of Plate B during today's operations but not much. | "
CLASP | No | "
SPCs (multiple) | No cleaning. Pulled the data. | "
Data Logger | Temperatures inside the box are still hot (high 30s C). Turned on the internal circulation fan to see if that will help at all. | Main scan time. Reasonable temperature range? Software changes?
Data Files
Clasp02m | YES | hourly files with size 3,095kB
CR1000X | YES | daily file with size ~22500kB,
Licor02m | YES | hourly files, raw with size ~3700-4000kB, stats with size ~19kB
Metek02m | YES | hourly files, raw with size ~5280kB, stats with size 25kb
Metek06m | YES | hourly files, raw with size ~5280kB, stats with size 25kb
Metek10m | YES | hourly files, raw with size ~5280kB, stats with size 25kb
Metek23m | NA | hourly files, raw with size 2600kB, stats with size 25kb
Ozone | NA | ????
Picarro | YES | hourly files with size 3586kB

## ASFS40 (L1)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
No VISIT |  | Explanation
Communication System Status
Comms System | Down | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality |  | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | Down | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments |  | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | NR | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | NR | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | NR | "
SWD | NR | "
SWU | NR | "
IRT | NR | "
SR50 | NR | "
PTU | NR | "
Sonic | NR | "
Licor | NR | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger |  | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_40_slow |  | daily files of ~1120kB
ASFS_40_met |  | daily files of ~1740kB
ASFS_40_fast |  | daily files of >100MB
ASFS_40_Iridium_sumfile | No | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS30 (L2)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
No Visit |  | Explanation
Communication System Status
Comms System | Iridium. Radio not working | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | iridium is good. | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | NR | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | NR | Current remaining fuel available
Comments | NR | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | NR | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | Rotated nearly 10 degrees clockwise today. System tilt is increasing. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | NR | Any useful information on local surface conditions from camera
Sky-Weather | NR | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | mostly cloudy. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | steady | "
SWD | good. Tilt increasing to 0.4 deg. | "
SWU | good. Tilt increasing to 1.3 deg. | "
IRT | Melting point most of the day, with solar influence. | "
SR50 | NR | "
PTU | NR | "
Sonic | NR | "
Licor | NR | "
Flux Plates | NR | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | Ptemp is within range. | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_30_slow | no | daily files of ~1120kB
ASFS_30_met | no | daily files of ~1740kB
ASFS_30_fast | no | daily files of >100MB
ASFS_30_Iridium_sumfile | yes | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ASFS50 (L3)
Atmospheric Surface Flux Stations in the Distributed Network
Note: Use this form for daily, remote assessments of ASFS. Use dedicated ASFS Site Visit form for site visits
Site Visit | Visited the station today for a few simple checks and radiometer leveling. Radiometers levelled at about 08:20 UTC | Explanation
Communication System Status
Comms System | radio | [Radio, Iridium, or None] Indicate which forms of communication have been active
Quality | good | Provide any information on the quality of connection, how this impacts data flow
Power System Status
Operational Status | good | [Good, Questionable, Unknown]
Assessment of Exhaust | no icing | Any notes about the buildup of ice that may be visible from the camera
Fuel Available | the fuel cartridge is now empty and the system is about to transition to a new one. | Current remaining fuel available
Comments | System appears to continue working very well. | Any other assessment of the power system, including quality of battery voltage/charge, operation of EFOY, etc.
Conditions
Structural | Solid. | Any useful information on the structural integrity of the ASFS
Position/Orientation/Level | No major changes. The ice has melted out around the sled somewhat, such that it is up on a little platform of about 5cm. But it appears to be quite stable in general. The orientation of the floe has rotated 10 degrees back in the counterclockwise direction. | Any useful information on position; i.e., rapid changes in GPS position, GPS orientation, or sonic-inclinometer level
Surface | Conditions are generally melting ice. The melt ponds in the area seem to have increased in their area a bit. Right now the melt pond to the left of the radiometers (when looking to the radiometers from the main box) is about 1.5-2m away from the nadir point, while the melt pond to the right is about 4m away. | Any useful information on local surface conditions from camera
Sky-Weather | cloudy and foggy. | Any useful information on weather or sky conditions
Instrument/Measurement Assessment
LWD | Overcast most of the day, with periodic thinning. Small spike during leveling. | Comment on data quality (in range, reasonable variability, expected correspondance with other measurements, etc.), visual assessment from imagery if possible.
LWU | steady surface emission most of the day. Spike during leveling. | "
SWD | good data. The level again got worse when the system was leveled based on the bubble on the system. There is either a systematic error in the leveling proceedure (it has been the same person thus far) or there is a difference between the bubble leve on the SWD and the tilt measurement for that same system. | "
SWU | good. Slight spike at 8:20 when leveling. Level only got slightly better to 0.6 deg. | "
IRT | spike during radiometer leveling. Othewise, generally within +/-0.1C | "
SR50 | No cleaning necessary. Physical height measurement from the SR50 to the surface was 226 cm at 08:24 UTC. Spike when adjusting radiometer level. | "
PTU | foggy early leading to RH>100%. | "
Sonic | good | "
Licor | more consistent data but still not sure if it is correct. | "
Flux Plates | Flux plates were both fully melted out and exposed. Buried plate A that is to the right of the radiation boom, when looking out the boom, in about 5cm of melting ice. Plate A then turned to a slight negative value. | "
Camera_Rad | NR | Any pictures available?
Camera_EFOY | NR | Any pictures available?
Data Logger | Ptemp good. Mainscan good. | Main scan time. Reasonable temperature range? Software changes?
Data Files
ASFS_50_slow | yes | daily files of ~1120kB
ASFS_50_met | yes | daily files of ~1740kB
ASFS_50_fast | yes | daily files of >100MB
ASFS_50_Iridium_sumfile | No | accumulating file with time stamp [include time stamp]
Extra Comments on Site Visit

## ARM
ARM Facility - General Data Oversight
Explanation
Measurement Assessments | Assessment of data for scientific quality. Do the measurements look reasonable compared to conditions? Are the measurements capturing the key features?
Clouds
KAZR
MWACR
Ka-SACR
X-SACR
HSRL
MPL
Ceilometer
MWR2C
MWR3C
TSI
Precipitation
LDIS/PARS2 (ice)
LDIS/PARS2 (ship)
PWD (ice)
PWD (ship)
Siphon rain gauge (ship)
ORG (ice)
WBRG/Pluvio (ice)
Winds
BSRWP
DL
Radiation
AERI
ShipRad - PIR, PSP, SPN1
SkyRad - PSP, PIR, SPN1 (ice)
GndRad - PIR, PSP (ice)
MFR (ice)
CSPHOT
FRSR
Aerosol
AOSMet
CO / Purge
O3
CPC
CPCU
SMPS
HTDMA
UHSAS
CCNC
ACSM
SP2
PSAP
Nephelometer
INP filters
Data Requests | Any facilitation of MOSAiC data users

## Guests
Guest and Partner Instruments
Explanation
Power Distribution Unit - Met Hut (PFS)
Precip VISSS - Met City (Maahn)
Checked files, all looks good
Cleaned green windows
Doppler Lidar - Met City (Brooks)
Doppler Lidar - Polarstern (Brooks)
Doppler Lidar - Polarstern (Heinemann)
Sodar - Met City (Brooks)
Radiation Suite - Met City (Pirazzini)
Pulled the data from the system. Battery was at 12.38V, indicting that the syste is actually charging the battery as we have had a couple of power outages in the past days and the battery is still up where it should be. Leveled the system at about 08:50-08:55 UTC.
SPC Snow Sensors (BAS)
Rocket Traps (BAS)