## Sheet1
Date | Site Name | ASFS Number | Summary
20200407-202004012 | ASFS-LOG-apr7 | ASFS 50 | Ran a side-by-side between ASFS50 and ASFS30 in the log area right next to the power hub. Very close to ship. Main purpose was to assess the ASFS50 repaired sonic. Some trouble getting it started at first, but no problems after. It was shut off on 4/12 to open a power plug for a stress sensor.
20200407-202004015 | ASFS-LOG-apr7 | ASFS 30 | Ran a side-by-side between ASFS50 and ASFS30 in the log area right next to the power hub. Very close to ship. Main purpose was to be the baseline for comparing the ASFS50 repaired sonic. Licor was off the most of the time (forgot to turn it back on). Stayed at LOG until ~12Z 4/15 when it was moved to Balloon Town ASFS-BT
20200414-20200415 | ASFS-NV-apr14 | ASFS 50 | ASFS 50 positioned on the ship side of the Newdle in OC corner of BGC1 oriented with boom facing Met City, 500 m distant.
20200415-xxxxxxxx | ASFS-BT-apr15 | ASFS 30 | Collaboration with Egon/Ralf mobile EC. Egon suggests installation near BT with systems in close proximity and positioned/oriented so as to capture wind field from the mid-April warm air advection event. 1 Flux plate installed (original to station). !! Flux plate installed upside down !!
20200415-xxxxxxxx | ASFS-NV-apr14 | ASFS 50 | ASFS 50 at Newdleville rotated ~70-80 degrees clockwise such that the boom points toward the noodle, optimally positioning the sonic to be exposed to the same sampling sector winds as Met City. Installed 1 flux plate (a spare, SN 5693). Installed FP red (right) side up, despite photo.
20200416 | Newdle | Newdle | Foxed the NOAAS Clock Sync issue on the spare Cinconze (currently used at Newdle) that was causing the 60 sec clock sync/6 sec blackout problem
20200416 1637Z | ASFS-NV-apr14 | ASFS 50 | uploaded program ASFS50CO_102 (replacing 101) to update the FPs such that FPA has the right coefficient and FPB = -99
20200416 ~1400Z? | ASFS-BT-apr15 | ASFS 30 | turned on metek heater because it was off…forgot about that
20200416 1646Z | ASFS-BT-apr15 | ASFS 30 | ASFS30_703 update: turned on SW heaters by default and made FPB INF because it is not plugged in!
202006 | ASFS-WorkDeck | ASFS 50 | ASFS50 operated on the working deck of Polarstern to get all systems in good shape for deployment. Data likely not good for most instruments.
20200621 | ASFS-BT | ASFS 30 | ASFS30 has been operating in the former Balloon town area while Polarstern left the sea ice to do the crew rotation. Upon return to the area, the station was visited for fueling and basic maintenance.
20200624 ?? | ASFS-LOG-june24 | ASFS 50 | ASFS50 lifted down to the ice near the ship and operated in the LOG area for about 5 days with no particular attention to level or position. Observations likely not great for many parameters.
20200629 13:00Z | ASFS-FYI-june29 | ASFS 50 | Moved ASFS50 into position about 300m west of the ship and about 450m SW of the Met Tower, out inside of the First Year Ice part of the floe. This installation is towards the primary drone airport, the FYI coring area, the ROV area, and many other activities that are focused on FYI. The installation is on a small ridge with a view out to the melting ice and melt ponds in the FYI area.
20200710 12:20Z | ASFS-FYI-July10 | ASFS 50 | Moved ASFS50 very slightly, about 3m SE of its original position to get a cleaner view of a more representative surface that is composed of flatter melting ice and some melt ponds in the lateral side view of the downlooking radiometers.
20200730 13:40 UTC | ASFS-Deck | ASFS 50 | Stopped power system on ASFS50 at about 13:40 UTC, but kept the instruments mostly running. Removed flux plates from the ground. Secured all components. Pushed the sled through extremely variable ice conditions, including through a melt pond that was about 1' deep, over about 300m trail back to the ship. It was craned onboard and then installed on the back of the working deck.
20200802 19:00Z | ASFS-Deck | ASFS 30 | Installed on the rear working deck of Polarstern, next to ASFS50 for operations.