## Sheet1
Date | Site Name | ASFS Number | Summary
20200407-202004012 | ASFS-LOG-apr7 | ASFS 50 | Ran a side-by-side between ASFS50 and ASFS30 in the log area right next to the power hub. Very close to ship. Main purpose was to assess the ASFS50 repaired sonic. Some trouble getting it started at first, but no problems after. It was shut off on 4/12 to open a power plug for a stress sensor.
20200407-202004015 | ASFS-LOG-apr7 | ASFS 30 | Ran a side-by-side between ASFS50 and ASFS30 in the log area right next to the power hub. Very close to ship. Main purpose was to be the baseline for comparing the ASFS50 repaired sonic. Licor was off the most of the time (forgot to turn it back on). Stayed at LOG until ~12Z 4/15 when it was moved to Balloon Town ASFS-BT
20200414-20200415 | ASFS-NV-apr14 | ASFS 50 | ASFS 50 positioned on the ship side of the Newdle in OC corner of BGC1 oriented with boom facing Met City, 500 m distant.
20200415-xxxxxxxx | ASFS-BT-apr15 | ASFS 30 | Collaboration with Egon/Ralf mobile EC. Egon suggests installation near BT with systems in close proximity and positioned/oriented so as to capture wind field from the mid-April warm air advection event. 1 Flux plate installed (original to station). !! Flux plate installed upside down !!
20200415-xxxxxxxx | ASFS-NV-apr14 | ASFS 50 | ASFS 50 at Newdleville rotated ~70-80 degrees clockwise such that the boom points toward the noodle, optimally positioning the sonic to be exposed to the same sampling sector winds as Met City. Installed 1 flux plate (a spare, SN 5693). Installed FP red (right) side up, despite photo.
20200416 | Newdle | Newdle | Foxed the NOAAS Clock Sync issue on the spare Cinconze (currently used at Newdle) that was causing the 60 sec clock sync/6 sec blackout problem
20200416 1637Z | ASFS-NV-apr14 | ASFS 50 | uploaded program ASFS50CO_102 (replacing 101) to update the FPs such that FPA has the right coefficient and FPB = -99
20200416 ~1400Z? | ASFS-BT-apr15 | ASFS 30 | turned on metek heater because it was off…forgot about that
20200416 1646Z | ASFS-BT-apr15 | ASFS 30 | ASFS30_703 update: turned on SW heaters by default and made FPB INF because it is not plugged in!