## Ship & Computers
Device | Model | Manufacturer | Function | Serial Number | Location | Coms | Config | IP Address | Notes
Router VLAN |  |  | CU VLAN Gateway | N/A | Polarstern IT | network |  | 192.168.202.254
DAQ Primary | Precision T3620 | Dell | Master data acquisition | DTDJ3W2 | CU Container | network |  | 192.168.202.1
DAQ Secondary | Precision T3620 | Dell | Workstation, bkp DAQ | DTDK3W2 | CU Container | network |  | 192.168.202.2 | Backup. Unique IP because will be a workstation in reserver.
Tower Cincoze PC 1 | DS-1201 | Cincoze | Tower DAQ | S10S12000240 | Tower Box | network |  | 192.168.202.4
Tower Cincoze PC 2 | DS-1201 | Cincoze | Bkp tower DAQ | S10S12000236 | Storage (CU Container) | network |  | 192.168.202.4 | Backup PC. Same IP as its primary.
2.4GHz Radio | Microhard Systems | MHS145120 | ASFS comms (all) | 005 1258603 | CU Container | network/serial | RS232 9600,8,N,1,none | 192.168.202.6
Iridium Modem | IRID0025K01 | Campbell Scientific | ASFS bkp comms (all) | IRID0025K01 | CU Container |  | 00881632670269 | N/A | 881631694399? this was written in the ASFS iridiums...
COM9522B | COM9522B | Campbell Scientific | ASFS bkp comms (all) | 1278 (Sergio's) | CU Container |  |  | N/A
Tablet 1 | iX101B2 | XPLORE | General services | 69100E010007729000C6M000 |  | network |  | 192.168.202.7
Tablet 2 | iX101B2 | XPLORE | General services | 69100E010007729000F0M000 |  | network |  | 192.168.202.8
Tower Camera | [7 empty] | 192.168.202.9

## MARC
Box # | Item Description | Function | Serial Number | Model Number | Manufacturer | System Name | Communications | Configurations | IP Address | Factory Calibration | Instrument Height
Logger Box | Logger | data collection |  | CR1000 |  | MARC | RS232
Logger Box | Radiometer | LWD | 80068 | CGR4 | Kipp&Zonen | MARC | analog |  |  | 11.1*10^-6 V/Wm2
Logger Box | Radiometer | SWD | 90057 | CMP22 | Kipp&Zonen | MARC | analog |  |  | 9.4*10^-6 V/Wm2

## Maahn_Snow
Item Description | Function | Serial Number | Model Number | Manufacturer | System Name | Communications | Configurations | IP Address | Factory Calibration
Computer 1 | [7 empty] | 192.168.202.61
Computer 2 | [7 empty] | 192.168.202.62

## Tower
Box # | Item Description | Function | Serial Number | Model Number | Manufacturer | System Name | Communications | NIC | Configurations | IP Address | Factory Calibration | Instrument Height
1 | sonic electronic boxes, 4 cables, mounts | sonic communication | 0111067260 | uSonic-3 Cage | Metek | Tower - #1 | network/RS422 | 1 | SLPort1 COM3 RS422 57600,8,N,1,X | 192.168.1.12:5001 |  | 2m
1 | sonic electronic boxes, 4 cables, mounts | sonic communication | 0111067259 | uSonic-3 Cage | Metek | Tower - #1 | network/RS422 | 1 | SLPort2 COM4 RS422 57600,8,N,1,X | 192.168.1.13:5001 |  | 6m
1 | sonic electronic boxes, 4 cables, mounts | sonic communication | 0111067254 | uSonic-3 Cage | Metek | Tower - #1 | network/RS422 | 1 | SLPort3 COM5 RS422 57600,8,N,1,X | 192.168.1.14:5001 |  | 10m
1 | sonic ranger | surface height | 8711 | SR50AH | Apogee | Tower - #1 | SDI-12 | N/A | addr 1 | N/A |  | 2m
1 | infrared temp (IRT) | brightness temp | 3288 | IRT | Campbell Scientific | Tower - #1 | SDI-12 | N/A | addr 2 | N/A |  | 2m
1 | Flux plate A | ground flux | 15615 | HFP01SC | Hukseflux | Tower - #1 | analog | N/A | N/A | N/A |  | 5cm depth
1 | Flux plate B | ground flux | 15612 | HFP01SC | Hukseflux | Tower - #1 | analog | N/A | N/A | N/A |  | 5cm depth
2 | Hemisphere V102 | GPS | B1752-02733-01-070 | V102 | SubSea Tech | Tower - #1 | RS232 | N/A | 19200,8,N,1,n | N/A |  | 2m
2 | pressure, temp, humidity (PTU) | p,t,q | R0830218 | PTU 307 | Vaisala | Tower - #1 | RS485 | N/A | addr 1, 19200,8,N,1,n | N/A |  | 2m
2 | static pressure head | pressure | N4810187 |  | Vaisala | Tower - #1 | RS485 | N/A | addr 1, 19200,8,N,1,n | N/A |  | 2m
2 | temp, humidity (HMT) | t,q | P2150917 | HMT 337 | Vaisala | Tower - #1 | RS485 | N/A | addr 2, 19200,8,N,1,n | N/A |  | 6m
2 | temp, humidity (HMT) | t,q | R0910428 | HMT 337 | Vaisala | Tower - #1 | RS485 | N/A | addr 2, 19200,8,N,1,n | N/A |  | 10m
2 | pressure, temp, humidity (WXT534) | Mast pressure, temp, humidity | R2320468 | WXT534 | Vaisala | Tower - #1 | 3D112 | N/A | 12007E1 | N/A
3 | licor open path analyzer | gas analyzer | 75D-4197 | LI-7542 | Licor | Tower - #1 | network | 2 | see smartflux | assigned by Smartflux |  | 2m
3 | licor box, 2 cables | licor communication | DSI-00322 | LI-7542 | Licor | Tower - #1 | network | 2 | see smartflux | assigned by Smartflux |  | 2m
4 | CLASP | aerosol sampler | Leeds/Brooks Unit P |  |  | Tower - #1 | RS485 | N/A | 38400 | N/A
5 | sonic anemometer | turbulent measurement | 0111067260 | uSonic-3 Cage | Metek | Tower - #1 | network/RS422 | 1 | see sonic e box sn260 | see sonic e box sn260 |  | 2m
6 | sonic anemometer | turbulent measurement | 0111067259 | uSonic-3 Cage | Metek | Tower - #1 | network/RS422 | 1 | see sonic e box sn259 | see sonic e box sn259 |  | 6m
7 | sonic anemometer | turbulent measurement | 0111067254 | uSonic-3 Cage | Metek | Tower - #1 | network/RS422 | 1 | see sonic e box sn254 | see sonic e box sn254 |  | 10m
Tower box | Data Logger | data collection | 3767 | CR1000X | Campbell Scientific | Tower - #1 | network | 1 |  | 192.168.1.10 |  | n/a
Tower box | Smartflux system | licor gas analyzer e-box | 00287 |  | Licor | Tower - #1 | network | 2 |  | 192.168.2.11:7200 |  | n/a
| Picarro | gas analyzer | CU/Blomquist |  |  | Tower - #1 | network via MOXA | 2 |  | 192.168.2.21:4001
| o3 Meter | ozone analyzer | CU/Howard | 49C | ThermoScientific | Tower - #1 | network via MOXA | 2 |  | 192.168.2.20:4001

## ASFS 30
Box # | Item Description | Function | Serial Number | Model Number | Manufacturer | System Name | Communications | Configurations | IP Address | Factory Calibration
1 | Mobotix Camera | camera | unkn |  | Mobotix | ASFS - #30 | network |  | 192.168.202.32
1 | hemisphere GPS | GPS | B1910-03606-01-186 | V102 | SubSea Tech | ASFS - #30 | RS232 | 19200,8,N,1,n | N/A
1 | sonic ranger | surface height | 11063 | SR50A | Campbell Scientific | ASFS - #30 | SDI-12 | addr 1 | N/A
1 | infrared temp (IRT) | brightness temperature | 3286 | SI-400 | Apogee | ASFS - #30 | SDI-12 | addr 2 | N/A
1 | flux plate A | ground flux | 15614 | HFP01 | Hukseflux | ASFS - #30 | analog | N/A | N/A | 61.31 V/Wm2
1 | flux plate B | ground flux | 15618 | HFP01 | Hukseflux | ASFS - #30 | analog | N/A | N/A | 63.52 V/Wm2
1 | Camera pipe mounts |  | N/A | N/A | N/A | ASFS - #30 | N/A | N/A | N/A
1 | Iridium antenna and cable | antenna | unkn | AT1621-142 (18017-L cable) | Iridium | ASFS - #30 | Iridium | N/A | N/A
2 | shortwave radiation | SWD | 3184 | SR30 | Hukseflux | ASFS - #30 | RS485 | addr 1, 19200,8,N,1,n | N/A
2 | shortwave radiation | SWU | 3182 | SR30 | Hukseflux | ASFS - #30 | RS485 | addr 2, 19200,8,N,1,n | N/A
2 | longwave radiation | LWD | 4065 | IR20 | Hukseflux | ASFS - #30 | analog | N/A | N/A | 12.48 V/Wm2
2 | radiation ventilator DW | ventilator | 2256 | VU01 | Hukseflux | ASFS - #30 | analog |  | N/A
2 | longwave radiation | LWU | 4061 | IR20 | Hukseflux | ASFS - #30 | analog | N/A | N/A | 12.15 V/Wm2
2 | radiation ventilator UW | ventilator | 2257 | VU01 | Hukseflux | ASFS - #30 | analog |  | N/A
2 | pressure, temp, humidity (PTU) | p,t,q | R0830215 | PTU 307 | Vaisala | ASFS - #30 | RS485 | addr 3, 19200,8,N,1,n | N/A
2 | static pressure head | pressure | N4810188 |  | Vaisala | ASFS - #30 | RS485 |  | N/A
3 | sonic anemometer | sonic anemometer | 0111067256 | uSonic-3 Cage | Metek | ASFS - #30 | network/RS422 | see sonic e box | see sonic e box
3 | sonic electronic boxes, 4 cables | sonic communication | 0111067256 | uSonic-3 Cage | Metek | ASFS - #30 | network/RS422 | RS422 57600,8,N,1,X | 192.168.202.35:5001
3 | licor open path analyzer | gas analyzer | 75D-4192 | LI-7542 | Licor | ASFS - #30 | network |  | assigned by Smartflux
3 | licor box, 2 cables | licor communication | DSI-00317 | LI-7542 | Licor | ASFS - #30 | network |  | assigned by Smartflux
EFOY 30 sled | Data Logger | data collection | 3768 | CR1000X | Campbell Scientific | ASFS - #30 | network |  | 192.168.202.30
EFOY 30 sled | FTP/Router | camera/data archive | unkn |  |  | ASFS - #30 | network |  | 192.168.202.31
EFOY 30 sled | 2.4GHz Radio | comms | 005-1258602 | MHS145120 | Microhard Systems | ASFS - #30 | network/serial | RS232 9600,8,N,1,none | 192.168.202.33
EFOY 30 sled | Iridium Modem | Bkp comms | IMEI 300025060313770 | IRID0025K01 | Campbell Scientific | ASFS - #30 | Iridium | ATDT00881632676826 | N/A
EFOY 30 sled | COM9522B | Bkp comms | 1352 | COM9522B | Campbell Scientific | ASFS - #30 | RS232 |  | N/A
EFOY 30 sled | Smartflux system | licor gas analyzer e-box | 00286 | 7900-610 | Licor | ASFS - #30 | network |  | 192.168.202.34:7200
EFOY 30 sled | EFOY | power | unkn |  | Simark | ASFS - #30 | RS485 | addr 4, 9600,8,N,1,n | N/A

## ASFS 40
Box # | Item Description | Function | Serial Number | Model Number | Manufacturer | System Name | Communications | Configurations | IP Address | Factory Calibration
1 | Mobotix Camera | camera | unkn |  | Mobotix | ASFS - #40 | network |  | 192.168.202.42
1 | hemisphere GPS | GPS | B1741-02498-01-150 | V102 | SubSea Tech | ASFS - #40 | RS232 | 19200,8,N,1,n | N/A
1 | sonic ranger | surface height | 10948 | SR50A | Campbell Scientific | ASFS - #40 | SDI-12 | addr 1 | N/A
1 | infrared temp (IRT) | brightness temperature | 3287 | SI-400 | Apogee | ASFS - #40 | SDI-12 | addr 2 | N/A
1 | flux plate A | ground flux | 15613 | HFP01 | Hukseflux | ASFS - #40 | analog | N/A | N/A | 62.19 V/Wm2
1 | flux plate B | ground flux | 15617 | HFP01 | Hukseflux | ASFS - #40 | analog | N/A | N/A | 61.03 V/Wm2
1 | Camera pipe mounts | mount | N/A | N/A | N/A | ASFS - #40 | N/A | N/A | N/A
1 | Iridium antenna and cable | antenna | unkn | AT1621-142 (18017-L cable) | Iridium | ASFS - #40 | Iridium | N/A | N/A
2 | shortwave radiation | SWD | 2489 | SR30 | Hukseflux | ASFS - #40 | RS485 | addr 1, 19200,8,N,1,n | N/A
2 | shortwave radiation | SWU | 2488 | SR30 | Hukseflux | ASFS - #40 | RS485 | addr 2, 19200,8,N,1,n | N/A
2 | longwave radiation | LWD | 4048 | IR20 | Hukseflux | ASFS - #40 | analog | N/A | N/A | 9.52 V/Wm2
2 | radiation ventilator DW | ventilator | 2216 | VU01 | Hukseflux | ASFS - #40 | analog |  | N/A
2 | longwave radiation | LWU | 4047 | IR20 | Hukseflux | ASFS - #40 | analog | N/A | N/A | 8.99 V/Wm2
2 | radiation ventilator UW | ventilator | 2215 | VU01 | Hukseflux | ASFS - #40 | analog |  | N/A
2 | pressure, temp, humidity (PTU) | p,t,q | P2120078 | PTU 307 | Vaisala | ASFS - #40 | RS485 | addr 3, 19200,8,N,1,n | N/A
2 | static pressure head | pressure | N1710017 |  | Vaisala | ASFS - #40 | RS485 |  | N/A
3 | sonic anemometer | sonic anemometer | 0111067258 | uSonic-3 Cage | Metek | ASFS - #40 | network/RS422 | see sonic e box | see sonic e box
3 | sonic electronic boxes, 4 cables | sonic communication | 0111067258 | uSonic-3 Cage | Metek | ASFS - #40 | network/RS422 | RS422 57600,8,N,1,X | 192.168.202.45:5001
3 | licor open path analyzer | gas analyzer | 75D-4098 | LI-7542 | Licor | ASFS - #40 | network |  | assigned by Smartflux
3 | licor box, 2 cables | licor communication | DSI-00199 | LI-7542 | Licor | ASFS - #40 | network |  | assigned by Smartflux
EFOY 40 sled | Data Logger | data collection | 9704 | CR1000X | Campbell Scientific | ASFS - #40 | network |  | 192.168.202.40
EFOY 40 sled | FTP/Router | camera/data archive | unkn |  |  | ASFS - #40 | network |  | 192.168.202.41
EFOY 40 sled | 2.4GHz Radio | comms | 005-1258599 | MHS145120 | Microhard Systems | ASFS - #40 | network/serial | RS232 9600,8,N,1,none | 192.168.202.43
EFOY 40 sled | Iridium Modem | Bkp comms | IMEI 300025010937520 | IRID0025K01 | Campbell Scientific | ASFS - #40 | Iridium | ATDT00881632676019 | N/A
EFOY 40 sled | COM9522B | Bkp comms | 1366 | COM9522B | Campbell Scientific | ASFS - #40 | RS232 |  | N/A
EFOY 40 sled | Smartflux system | licor gas analyzer e-box | 00288 | 7900-610 | Licor | ASFS - #40 | network |  | 192.168.202.44:7200
EFOY 40 sled | EFOY | power | unkn |  | Simark | ASFS - #40 | RS485 | addr 4, 9600,8,N,1,n | N/A

## ASFS 50
Box # | Item Description | Function | Serial Number | Model Number | Manufacturer | System Name | Communications | Configurations | IP Address | Factory Calibration
1 | Mobotix Camera | camera | unkn |  | Mobotix | ASFS - #50 | network |  | 192.168.202.52
1 | hemisphere GPS | GPS | B1910-03606-01-189 | V102 | SubSea Tech | ASFS - #50 | RS232 | 19200,8,N,1,n | N/A
1 | sonic ranger | surface height | 10940 | SR50A | Campbell Scientific | ASFS - #50 | SDI-12 | addr 1 | N/A
1 | infrared temp (IRT) | brightness temperature | 3284 | SI-400 | Apogee | ASFS - #50 | SDI-12 | addr 2 | N/A
1 | flux plate A | ground flux | 15616 | HFP01 | Hukseflux | ASFS - #50 | analog | N/A | N/A | 62.42 V/Wm2
1 | flux plate B | ground flux | 15611 | HFP01 | Hukseflux | ASFS - #50 | analog | N/A | N/A | 63.50 V/Wm2
1 | Camera pipe mounts | mount | N/A | N/A | N/A | ASFS - #50 | N/A | N/A | N/A
1 | Iridium antenna and cable | antenna | unkn | AT1621-142 (18017-L cable) | Iridium | ASFS - #50 | Iridium | N/A | N/A
2 | shortwave radiation | SWD | 3185 | SR30 | Hukseflux | ASFS - #50 | RS485 | addr 1, 19200,8,N,1,n | N/A
2 | shortwave radiation | SWU | 3183 | SR30 | Hukseflux | ASFS - #50 | RS485 | addr 2, 19200,8,N,1,n | N/A
2 | longwave radiation | LWD | 4064 | IR20 | Hukseflux | ASFS - #50 | analog | N/A | N/A | 11.42 V/Wm2
2 | radiation ventilator DW | ventilator | 2255 | VU01 | Hukseflux | ASFS - #50 | analog |  | N/A
2 | longwave radiation | LWU | 4062 | IR20 | Hukseflux | ASFS - #50 | analog | N/A | N/A | 12.01 V/Wm2
2 | radiation ventilator UW | ventilator | 2254 | VU01 | Hukseflux | ASFS - #50 | analog |  | N/A
2 | pressure, temp, humidity (PTU) | p,t,q | R0830216 | PTU 307 | Vaisala | ASFS - #50 | RS485 | addr 3, 19200,8,N,1,n | N/A
2 | static pressure head | pressure | N4810183 |  | Vaisala | ASFS - #50 | RS485 |  | N/A
3 | sonic anemometer | sonic anemometer | 0111067257 | uSonic-3 Cage | Metek | ASFS - #50 | network/RS422 | see sonic e box | see sonic e box
3 | sonic electronic boxes, 4 cables | sonic communication | 0111067257 | uSonic-3 Cage | Metek | ASFS - #50 | network/RS422 | RS422 57600,8,N,1,X | 192.168.202.55:5001
3 | licor open path analyzer | gas analyzer | 75D-4199 | LI-7542 | Licor | ASFS - #50 | network |  | assigned by Smartflux
3 | licor box, 2 cables | licor communication | DSI-00324 | LI-7542 | Licor | ASFS - #50 | network |  | assigned by Smartflux
EFOY 50 sled | Data Logger | data collection | 9988 | CR1000X | Campbell Scientific | ASFS - #50 | network |  | 192.168.202.50
EFOY 50 sled | FTP/Router | camera/data archive | unkn |  |  | ASFS - #50 | network |  | 192.168.202.51
EFOY 50 sled | 2.4GHz Radio | comms | 005-1258604 | MHS145120 | Microhard Systems | ASFS - #50 | network/serial | RS232 9600,8,N,1,none | 192.168.202.53
EFOY 50 sled | Iridium Modem | Bkp comms | IMEI 300025060114420 | IRID0025K01 | Campbell Scientific | ASFS - #50 | Iridium | ATDT00881632669565 | N/A
EFOY 50 sled | COM9522B | Bkp comms | 1368 | COM9522B | Campbell Scientific | ASFS - #50 | RS232 |  | N/A
EFOY 50 sled | Smartflux system | licor gas analyzer e-box | 00179 | 7900-610 | Licor | ASFS - #50 | network |  | 192.168.202.54:7200
EFOY 50 sled | EFOY | power | unkn |  | Simark | ASFS - #50 | RS485 | addr 4, 9600,8,N,1,n | N/A

## ASFS spare
Box # | Item Description | Function | Serial Number | Model Number | Manufacturer | System Name | Communications | Configurations | IP Address | Factory Calibration
Black hard case #3 | EFOY | power |  |  | Simark | ASFS spare - #20 | RS485 | addr 4, 9600,8,N,1,n | N/A
Lab pelican case | Data Logger | data collection | 4323 | CR1000X | Campbell Scientific | ASFS spare - #20 | network |  | 192.168.202.20
Lab pelican case | 2.4GHz Radio | comms | 005 1258601 | MHS145120 | Microhard Systems | ASFS spare - #20 | network/serial | RS232 9600,8,N,1,none | 192.168.202.23
Lab pelican case | Iridium Modem | Bkp comms | IMEI 300025060804930 | IRID0025K01 | Campbell Scientific | ASFS spare - #20 |  | 881631694399 | N/A
Lab pelican case | COM9522B | Bkp comms | 1271 | COM9522B | Campbell Scientific | ASFS spare - #20 |  |  | N/A
Original sonic box | sonic anemometer | sonic anemometer | 0111067260 | uSonic-3 Cage | Metek | ASFS spare - #20 | network/RS422 | RS422 57600,8,N,1,X | 192.168.202.25:5001
Original sonic box | sonic electronic boxes, 4 cables | sonic communication | 0111067260 |  | Metek | ASFS spare - #20
Spare black pelican #1 | shortwave radiation, 1 cable | SW | 3181 | SR30 | Hukseflux | ASFS spare - #20 | RS485 | addr 1, 19200,8,N,1,n | N/A
Spare black pelican #1 | shortwave radiation, 1 cable | SW | 3186 | SR30 | Hukseflux | ASFS spare - #20 | RS485 | addr 2, 19200,8,N,1,n | N/A
Spare black pelican #1 | longwave radiation, 1 cable | LW | 4060 | IR20 | Hukseflux | ASFS spare - #20 | analog | N/A | N/A
Spare black pelican #1 | radiation ventilator, 1 cable |  | 2258 |  | Hukseflux | ASFS spare - #20
Spare black pelican #1 | longwave radiation, 1 cable | LW | 4063 | IR20 | Hukseflux | ASFS spare - #20 | analog | N/A | N/A
Spare black pelican #1 | radiation ventilator, 1 cable |  | 2257 |  | Hukseflux | ASFS spare - #20
Spare black pelican #1 | pressure, temp, humidity (PTU) | p,t,q | R0830217 | PTU 307 | Vaisala | ASFS spare - #20 | RS485 | addr 3, 19200,8,N,1,n | N/A
Spare black pelican #1 | sonic ranger and mount | surface height | 11055 | SR50A | Campbell Scientific | ASFS spare - #20 | SDI-12 | addr 1 | N/A
Spare black pelican #1 | infrared temp (IRT) | brightness temperature | 3288 | SI-400 | Apogee | ASFS spare - #20 | SDI-12 | addr 2 | N/A
Spare black pelican #1 | flux plate | ground flux | 5637 | HFP01SC | Hukseflux | ASFS spare - #20 | analog | N/A | N/A
Spare black pelican #1 | flux plate | ground flux | 5693 | HFP01SC | Hukseflux | ASFS spare - #20 | analog | N/A | N/A
Spare black pelican #1 | flux plate | ground flux | 5636 | HFP01SC | Hukseflux | ASFS spare - #20 | analog | N/A | N/A
Spare black pelican #1 | flux plate | ground flux | 5694 | HFP01SC | Hukseflux | ASFS spare - #20 | analog | N/A | N/A
Spare black pelican #1 | Iridium antenna and cable |  |  |  | Campbell Scientific | ASFS spare - #20
Spare black pelican #2 | static pressure head | pressure | N4810185 | SPH10 | Vaisala | ASFS spare - #20