## Slide 1: MOSAiC Surface Flux Systems Schematics and Designs
2017

## Slide 2
Spatial Distribution of Assets
Ship
w/ Command Center
ASFS
ASFS
ASFS
ASFS
Met Tower
10-20 km
0.5 km
10-20 km
10-20 km
? km
Possible node

## Slide 3
Tower
Command Center
ASFS x3
Arctic
Polarstern
PSD-Boulder
External
PANGAEA
MOSAiC
Archive
NSF Arctic Data Center
NOAA NCEI
PSD3data
ingest
process
FTP site
data host
PC1:
Data
Manager
MOSAiC central archive
instruments
Logger/moxa
comms
instruments
Logger/moxa
comms
instruments
ant.
ant.
ant.
ant.
RAID: full archive
preferred
Irridium
option
USB-HD
email
quicklooks
Polarstern network
manual
transfer
manual transfer
by AWI
manual transfer full data
Local wireless user
monitor
data
Web site
quicklooks
PC2:
Work
quicklooks
all data
Data Flow Schematic

## Slide 4
Flux Tower – Conceptual Design
c
Sub-surface base
2m
6m
10m
licor
sonic
T/RH
Sfc Ht
IRT
sonic
sonic
T/RH
T/RH
DT
DT
DT
Baro
8m
Top of 30m tower
sonic
T/RH
Beacon
Beacon
Logger
Antenna
outlet
x4

## Slide 5
radiation
snow depth
met
sonic
barometer
licor
irt
wind generator
solar panel
Sled or floatation system
antenna
camera
Atmospheric Surface Flux Station – Conceptual Design

## Slide 6
radiation
snow depth
met
sonic
baro
licor
irt
wind generator
solar panel
Sled or floatation system
antenna
camera
Atmospheric Surface Flux Station – Conceptual Design

## Slide 7
Atmospheric Surface Flux Station – Data Logging
LWU
sfcheight
met
Sonic – RS485
baro
irt
camera
SPN1
LWD
SWU
SWD
flxplate1
flxplate3
flxplate2
IMU/GPS
Tint1
Tint2
Power1
Power2