## Slide 1: MOSAiC Surface Flux Systems Schematics and Designs
2017

## Slide 2: MOSAiC Concept
Drifting, interdisciplinary process study in central Arctic sea ice
Central Observatory: intensive atmos-ice-ocean-ecosystem observations
Distributed Network: Heterogeneity on model grid-box scales
Coordinated, multi-scale analysis and modeling activities
2019-2020, Full annual cycle

## Slide 3
Spatial Distribution of Assets
Ship
w/ Command Center
ASFS
ASFS
ASFS
ASFS
Met Tower
10-20 km
0.5 km
10-20 km
10-20 km
? km
Possible node

## Slide 4: Comms options
ASFS
  Goals: 1) Health status file every 1-6 hours to command central; 2) Near-real-time plotting of key information; 3) Ability to upload configuration files/commands.
  Iridium: Robust vs. high-cost/limited filesize
  Radio: Unknown range limits vs. more flexible file sizes
Tower
  Goals: 1) Ability to transfer all data in real-time to command central; 2) Robust time syncing; 3) Near-real-time plotting of data; 4) Ability to access data through camp wireless network.
  Radio: Continuity vs. challenge with time syncing
  Ethernet: Plenty of capacity vs. Potential down time

## Slide 5
Tower
Command Center
ASFS x3
Arctic
Polarstern
PSD-Boulder
External
PANGAEA
MOSAiC
Archive
NSF Arctic Data Center
NOAA NCEI
PSD3data
ingest
process
FTP site
data host
PC1:
Data
Manager
MOSAiC central archive
instruments
Logger/moxa
comms
instruments
Logger/moxa
comms
instruments
ant.
ant.
ant.
ant.
RAID: full archive
preferred
Irridium
option
USB-HD
email
quicklooks
Polarstern network
manual
transfer
manual transfer
by AWI
manual transfer full data
Local wireless user
monitor
data
Web site
quicklooks
PC2:
Work
quicklooks
all data
Data Flow Schematic

## Slide 6: Tower
SHEBA: Scaffold+triangular (20m)
ASCOS: Triangular (10m)

## Slide 7
Flux Tower – Conceptual Design
c
Sub-surface base
2m
6m
12m
licor
sonic
T/RH
Sfc Ht
IRT
sonic
sonic
T/RH
T/RH
DT
DT
DT
Baro
10m
Top of 30m tower
sonic
T/RH
Beacon
Beacon
Logger
Antenna
outlet
x4

## Slide 8
12m
Sonic
T/RH
Beacon
2m
Sonic
Licor
P/T/RH
DT1
DT2
SfcHt
IRT
Barometer
Flux plate1
Flux plate2
6m
Sonic
T/RH
30m
Sonic
T/RH
Beacon
RS-232
RS-485
Ethernet
SDI-12/Modbus
analog
Tower Signal Schematic
Command Center
Data logger
All data
Computer
Storage
RS-485 converted to RS-233

## Slide 9: Tower Tasks
Structural
  Base/foundation design
  Tipping method/design
  Guy wire design
  Setup on mesa
Instrument install
  Booms/arms
  Cabling
  Interface/data log enclosure
Data logging
  Sampling and time stamping
  Syncing with central command

## Slide 10: ASFS

## Slide 11
radiation
snow depth
PTU
sonic
irt
Sled or floatation system
antenna
camera
Atmospheric Surface Flux Station – Conceptual Design
solar panels
fuel
~2m
~3m
wind generator
Power system
Data logging
Interface panel

## Slide 12: E-FOY fuel cell power system

## Slide 13
110 W, 24V.

## Slide 14
LWU
LWD
SWU
SWD
SPN1
Sonic
Licor
P/T/RH
SfcHt
IRT
Flux plate1
Flux plate2
GPS
Camera
System Health
Power System
RS-485
Ethernet
SDI-12/Modbus
analog
ASFS Signal Schematic
RF451
Computer?
Storage
Option 1
??
CR1000X
Iridium 9522B
Command Central
Monthly Manual
Hourly Monitor

## Slide 15: ASFS Tasks
Structural
  Sled design/build
  Mast design/build
  Floatation?
Instrument install
  Instrument mounts
  Cabling
  Interface panel
  Power optimization
Data logging
  Sampling and time stamping
  Link with power system
  Summary file creation
Communications system (p2p wireless or Iridium)
  Testing and verification
  Interface with data logging
  Optimized/flexible communication strategy
Power system
  Testing of EFOY
  Design and integrate wind generator

## Slide 16: Lab Container
Basic design: Insulated, HVAC, transformer, basic internal power runs (sockets, lights), integrated uni-strut for wall-mounted (moveable) structures, cable pass throughs.
Power management
HVAC
Man door
Wall mount bench top
Wall mount shelves
Wall mount shelves