## Slide 1: MOSAiC Flux Structural

## Slide 2: Remote Flux Stations

## Slide 4
radiation
snow depth
met
sonic
barometer
licor
irt
wind generator
solar panel
Sled or floatation system
antenna
camera
Atmospheric Surface Flux Station – Conceptual Design

## Slide 5
radiation
snow depth
met
sonic
baro
licor
irt
wind generator
solar panel
Sled or floatation system
antenna
camera
Atmospheric Surface Flux Station – Conceptual Design

## Slide 7: Decisions
General approach: Single unit? Multiple components?
Compartments / volume needed
Mobile structure, sled?
Floatation

## Slide 8
Flux Tower – Conceptual Design, 10-12m (33-40ft)
c
Sub-surface base
2m
6m
10m
licor
sonic
T/RH
Sfc Ht
IRT
sonic
sonic
T/RH
T/RH
DT
DT
DT
Baro
8m
Top of 30m tower
sonic
T/RH
Beacon
Beacon
Logger
Antenna
outlet
x4

## Slide 9: Options
SHEBA: Scaffold+triangular (20m)
ASCOS: Triangular (10m)

## Slide 10: Options

## Slide 11: Options

## Slide 12: Decisions
How tall?
Approach to maintenance / Tower style
Foundation/base?

## Slide 13: Lab Container
Basic design: Insulated, HVAC, transformer, basic internal power runs (sockets, lights), integrated uni-strut for wall-mounted (moveable) structures, cable pass throughs.
Power management
HVAC
Man door
Wall mount bench top
Wall mount shelves
Wall mount shelves