## InstrumentList for DDML
A/N | Platform | Device Type | Device Name | Device URN | Device Editor (email ID) | Chief Editor (email-ID) | Short Name | ID | Number of Devices | Comments | Instrument Organization | Created in SensorWeb
89 | Station | Met tower | Flux Tower, 12m | flux_tower_12m_ucb | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.de Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | flux_tower_12m_ucb | 4870 | 1 |  |  | yes
563 | Station | Snow depth | Sonic ranger SR50AH | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.de Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | snd_8711_UCB |  | 1 | This device is part of the structure A/N 89. Data storage and transmission will be included with other devices sumitted in that entry. | Fluxtower | yes
564 | Station | Skin temperature | Infrared temperature | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.de Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | ts_3285_UCB |  | 1 | This device is part of the structure A/N 89. Data storage and transmission will be included with other devices sumitted in that entry. | Fluxtower | yes
565 | Station | Ground heat flux | Flux plate HFP01 | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.de Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | hf_15615_UCB hf_15612_UCB |  | 2 | This device is part of the structure A/N 89. Data storage and transmission will be included with other devices sumitted in that entry. | Fluxtower | yes yes
566 | Station | GPS | GPS | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.de Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | gps_B17520273301070_UCB |  | 1 | This device is part of the structure A/N 89. Data storage and transmission will be included with other devices sumitted in that entry. | Fluxtower | yes
567 | Station | Meteorology | PTU (pressure, temp, humidity) | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.de Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | ptu_R0830218_UCB |  | 1 | This device is part of the structure A/N 89. Data storage and transmission will be included with other devices sumitted in that entry. | Fluxtower | yes
568 | Station | Meteorology | HMT (temp, humidity) | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.de Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | hmt_P2150917_UCB hmt_R0910428_UCB |  | 2 | This device is part of the structure A/N 89. Data storage and transmission will be included with other devices sumitted in that entry. | Fluxtower | yes yes
569 | Station | Meteorology | WXT (pressure, temp, humidity) | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.de Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | wxt_R2320468_UCB |  | 1 | This device is part of the structure A/N 89. Data storage and transmission will be included with other devices sumitted in that entry. | Fluxtower | yes
570 | Station | Gas analyzer | Licor LI-7542 open path analyzer | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.de Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | li_4197_UCB |  | 1 | This device is part of the structure A/N 89. Data storage and transmission will be included with other devices sumitted in that entry. | Fluxtower | yes
571 | Station | Sonic anemometer | uSonic-3 cage | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.de Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | uvw_0111067255_UCB uvw_0111067259_UCB uvw_0111067254_UCB |  | 3 | This device is part of the structure A/N 89. Data storage and transmission will be included with other devices sumitted in that entry. | Fluxtower | yes
90 | Station | surface flux | Atmospheric Surface Flux Station (ASFS) | Atmospheric Surface Flux Station | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.dezMatthew.Shupe@noaa.gov Sara.Morris@noaa.gov | ASFS_30_UCB ASFS_40_UCB ASFS_50_UCB |  | 3 |  |  | yes; except spare (all spare instruments are under ASFS_30_UCB)
572 | Station | Snow depth | Sonic ranger SR50AH | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.dezMatthew.Shupe@noaa.gov Sara.Morris@noaa.gov | snd_11063_UCB snd_10948_UCB snd_10940_UCB snd_11055_UCB |  | 4 | This device is part of the structure A/N 90. Data storage and transmission will be included with other devices sumitted in that entry. One of the four devices is used as a spare. | 11063 - ASFS 30 10948 - ASFS 40 10940 - ASFS 50 11055 - ASFS spare | yes
573 | Station | Skin temperature | Infrared temperature | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.dezMatthew.Shupe@noaa.gov Sara.Morris@noaa.gov | ts_3286_UCB ts_3287_UCB ts_3284_UCB ts_3288_UCB |  | 4 | This device is part of the structure A/N 90. Data storage and transmission will be included with other devices sumitted in that entry. One of the four devices is used as a spare. | 3286 - ASFS 30 3287 - ASFS 40 3284 - ASFS 50 3288 - ASFS spare | yes
574 | Station | Ground heat flux | Flux plate HFP01 | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.dezMatthew.Shupe@noaa.gov Sara.Morris@noaa.gov | hf_15614_UCB hf_15618_UCB hf_15613_UCB hf_15617_UCB hf_15616_UCB hf_15611_UCB hf_5637_UCB hf_5693_UCB hf_5636_UCB hf_5694_UCB |  | 10 | This device is part of the structure A/N 90. Data storage and transmission will be included with other devices sumitted in that entry. Four of the ten devices is used as a spare. | 15614 - ASFS 30 15618 - ASFS 30 15613 - ASFS 40 15617 - ASFS 40 15616 - ASFS 50 15611 - ASFS 50 5637 - ASFS spare 5693 - ASFS spare 5636 - ASFS spare 5694 - ASFS spare | yes
575 | Station | GPS | GPS | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.dezMatthew.Shupe@noaa.gov Sara.Morris@noaa.gov | gps_B19100360601186_UCB gps_B17410249801150_UCB gps_B19100360601189_UCB |  | 3 | This device is part of the structure A/N 90. Data storage and transmission will be included with other devices sumitted in that entry. | B19100360601186 - ASFS 30 B17410249801150 - ASFS 40 B19100360601189 - ASFS 50 | yes
576 | Station | Meteorology | MET PTU (pressure, temp, humidity) | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.dezMatthew.Shupe@noaa.gov Sara.Morris@noaa.gov | ptu_R0830215_UCB ptu_P2120078_UCB ptu_R0830216_UCB ptu_R0830217_UCB |  | 4 | This device is part of the structure A/N 90. Data storage and transmission will be included with other devices sumitted in that entry. One of the four devices is used as a spare. | R0830215 - ASFS 30 P2120078 - ASFS 40 R0830216 - ASFS 50 R0830271 - ASFS spare | yes
577 | Station | Radiation | Shortwave radiation SR30 | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.dezMatthew.Shupe@noaa.gov Sara.Morris@noaa.gov | sw_3184_UCB sw_2489_UCB sw_3185_UCB sw_3181_UCB sw_3182_UCB sw_2488_UCB sw_3183_UCB sw_3186_UCB |  | 8 | This device is part of the structure A/N 90. Data storage and transmission will be included with other devices sumitted in that entry. One of the four devices is used as a spare. | 3184 - ASFS 30 3182 - ASFS 30 2489 - ASFS 40 2488 - ASFS 40 3185 - ASFS 50 3183 - ASFS 50 3181 - ASFS spare 3186 - ASFS spare | yes
578 | Station | Radiation | Longwave radiation IR20 | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.dezMatthew.Shupe@noaa.gov Sara.Morris@noaa.gov | lw_4065_UCB lw_4048_UCB lw_4064_UCB lw_4060_UCB lw_4061_UCB lw_4047_UCB lw_4062_UCB lw_4063_UCB |  | 8 | This device is part of the structure A/N 90. Data storage and transmission will be included with other devices sumitted in that entry. One of the four devices is used as a spare. | 4065 - ASFS 30 4061 - ASFS 30 4048 - ASFS 40 4047 - ASFS 40 4064 - ASFS 50 4062 - ASFS 50 4060 - ASFS spare 4063 - ASFS spare | yes
579 | Station | Gas analyzer | Licor LI-7542 open path analyzer | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.dezMatthew.Shupe@noaa.gov Sara.Morris@noaa.gov | li_4192_UCB li_4098_UCB li_4199_UCB |  | 3 | This device is part of the structure A/N 90. Data storage and transmission will be included with other devices sumitted in that entry. | 4192 - ASFS 30 4098 - ASFS 40 4199 - ASFS 50 | yes
580 | Station | Sonic anemometer | uSonic-3 cage | Device | Matthew.Shupe@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.dezMatthew.Shupe@noaa.gov Sara.Morris@noaa.gov | wind_0111067256_UCB wind_0111067258_UCB wind_0111067257_UCB wind_0111067260_UCB |  | 4 | This device is part of the structure A/N 90. Data storage and transmission will be included with other devices sumitted in that entry. One of the four devices is used as a spare. | 0111067256 - ASFS 30 0111067258 - ASFS 40 0111067257 - ASFS 50 0111067260 - ASFS spare | yes
|  |  |  | Mobile radiation suite | Matthew.Shuper@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.de matthew.shupe@noaa.gov sara.morris@noaa.gov | MRS_1_UCB |  | 1 |  |  | yes
581 | Station | Radiation | Shortwave radiation CMP22 | Device | Matthew.Shuper@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.de matthew.shupe@noaa.gov sara.morris@noaa.gov | sw_090057_UCB |  | 1 |  | Mobile Radiation | yes
582 | Station | Radiation | Longwave radiation CGR4 | Device | Matthew.Shuper@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.de matthew.shupe@noaa.gov sara.morris@noaa.gov | lw_080068_UCB |  | 1 |  | Mobile Radiation | yes
[5 empty] | Matthew.Shuper@noaa.gov Sara.Morris@noaa.gov | peter.von.der.gathen@awi.de matthew.shupe@noaa.gov sara.morris@noaa.gov | IcePIC_1_UCB |  | 1 |  |  | yes

## Logger_names&units
Tower
TIMESTAMP | RECORD | gps_lat_deg | gps_lat_min | gps_lon_deg | gps_lon_min | gps_hdg | gps_alt | gps_qc | gps_nsat | gps_hdop | PTemp | batt_volt | call_time_mainscan | apogee_body_T | apogee_targ_T | sr50_dist | vaisala_RH_2m | vaisala_T_2m | vaisala_Td_2m | vaisala_P_2m | vaisala_RH_6m | vaisala_T_6m | vaisala_Td_6m | vaisala_RH_10m | vaisala_T_10m | vaisala_Td_10m | fp_A_mV | fp_A_Wm2 | fp_B_mV | fp_B_Wm2 | mast_T | mast_RH | mast_P
TS | RN | deg | min | deg | min | deg | m | N | N | unitless | degC | V | mSec | degC | degC | m | % | degC | degC | hPa | % | degC | degC | % | degC | degC | mV | Wm2 | mV | Wm2 | degC | % | hPa
ASFS met
TIMESTAMP | gps_lat_deg | gps_lat_min | gps_lon_deg | gps_lon_min | gps_hdg | gps_alt | gps_hdop | call_time_modbus_vaisala | vaisala_P | vaisala_T | vaisala_RH
TS | deg | min | deg | min | deg | m | unitless | mSec | hPa | degC | %
ASFS fast
TIMESTAMP | RECORD | metek_x_out | metek_y_out | metek_z_out | metek_T_out | metek_diag_out | licor_co2_out | licor_h2o_out | licor_pr_out | licor_diag_out
TS | RN | mm/s | mm/s | mm/s | degC | N | mg/m3 | g/m3 | Pa | code
ASFS slow
TIMESTAMP | gps_lat_deg_Avg | gps_lat_min_Avg | gps_lon_deg_Avg | gps_lon_min_Avg | gps_hdg_Avg | gps_alt_Avg | gps_qc | gps_nsat_Avg | metek_InclX_Avg | metek_InclY_Avg | PTemp_Avg | batt_volt_Avg | counts_main_Tot | call_time_mainscan_Max | call_time_modbus_sr301_Max | call_time_modbus_sr302_Max | call_time_modbus_vaisala_Max | call_time_sdi1_Max | call_time_sdi2_Max | call_time_efoy_Max | sr30_swu_DegC_Avg | sr30_swu_DegC_Std | sr30_swu_Irr_Avg | sr30_swu_Irr_Std | sr30_swu_IrrC_Avg | sr30_swu_IrrC_Std | sr30_swd_DegC_Avg | sr30_swd_DegC_Std | sr30_swd_Irr_Avg | sr30_swd_Irr_Std | sr30_swd_IrrC_Avg | sr30_swd_IrrC_Std | apogee_body_T_Avg | apogee_body_T_Std | apogee_targ_T_Avg | apogee_targ_T_Std | sr50_dist_Avg | sr50_dist_Std | sr50_qc_Avg | vaisala_RH_Avg | vaisala_RH_Std | vaisala_T_Avg | vaisala_T_Std | vaisala_Td_Avg | vaisala_Td_Std | vaisala_P_Avg | vaisala_P_Std | metek_x_Avg | metek_x_Std | metek_y_Avg | metek_y_Std | metek_z_Avg | metek_z_Std | ir20_lwu_mV_Avg | ir20_lwu_mV_Std | ir20_lwu_Case_R_Avg | ir20_lwu_Case_R_Std | ir20_lwu_DegC_Avg | ir20_lwu_DegC_Std | ir20_lwu_Wm2_Avg | ir20_lwu_Wm2_Std | ir20_lwd_mV_Avg | ir20_lwd_mV_Std | ir20_lwd_Case_R_Avg | ir20_lwd_Case_R_Std | ir20_lwd_DegC_Avg | ir20_lwd_DegC_Std | ir20_lwd_Wm2_Avg | ir20_lwd_Wm2_Std | fp_A_mV_Avg | fp_A_mV_Std | fp_A_Wm2_Avg | fp_A_Wm2_Std | fp_B_mV_Avg | fp_B_mV_Std | fp_B_Wm2_Avg | fp_B_Wm2_Std | licor_co2_Avg | licor_co2_Std | licor_h2o_Avg | licor_h2o_Std | licor_t_Avg | licor_t_Std | licor_co2_str_out_Avg | licor_co2_str_out_Std | sr30_swu_fantach_Avg | sr30_swu_heatA_Avg | sr30_swd_fantach_Avg | sr30_swd_heatA_Avg | ir20_lwu_fan_Avg | ir20_lwd_fan_Avg | efoy_Error_Max | efoy_FuellSt_Avg | efoy_Ubat_Avg | efoy_Laus_Avg | efoy_Tst_Avg | efoy_Tint_Avg | efoy_Twt_Avg
TS | deg | min | deg | min | deg | m |  | N | deg | deg | degC | V | N | mSec | mSec | mSec | mSec | mSec | mSec | mSec | degC | degC | Wm2 | Wm2 | Wm2 | Wm2 | degC | degC | Wm2 | Wm2 | Wm2 | Wm2 | degC | degC | degC | degC | m | m |  | % | % | degC | degC | degC | degC | hPa | hPa | m/s | m/s | m/s | m/s | m/s | m/s | mV | mV | ohms | ohms | degC | degC | Wm2 | Wm2 | mV | mV | ohms | ohms | degC | degC | Wm2 | Wm2 | mV | mV | Wm2 | Wm2 | mV | mV | Wm2 | Wm2 | [8 empty] | Hz | A | Hz | A | mV | mV | N | % | V | A | degC | degC | degC