Installation on tower

1) Turn off ALL power. (220VAC & 120VAC) .

This is to prevent electric shock and damage to instruments.

2) Fasten all cables securely to prevent damage from high winds

3) Fasten cables away from sharp edges to prevent damage

4) Include drip loops to prevent water from traveling along wire into devices

5) Use cable strain relief with arctic wire ties.

6) Use self adhesive electrical tape on sonic connections.