| Requested by: Taneil Uttal | Requested to: A Maksthas, V Kustov |
| --- | --- |
| Date Requested: 5/1/12 | Date Received/Responded to: |
| Priority/critical level (1-5): PIR dome replacement (3) 1 = low level; 5 = immediate attention necessary |
| Description of Problem (History, Observations, Analysis, Diagnosis): Noise in the data of the Eppley Pyrgeometer has been intermittent since about November 2010 (reported by Ells Dutton, NOAA). The diagnosis by NOAA BSRN technicians was the thermal epoxy on the dome’s thermistor has failed which would create noise in the data. One proposed solution is to swap out the dome and thermistor, however other troubleshooting procedures should be investigated (look at wire connections, electrical noise, etc). Action Items: NOAA Provide replacement dome Provide record of data for PIR TIKSI OBSERVATORY STAFF (assigned to:___________________________) Check wire connections Check grounding and electrical noise from wooden box Replace dome if necessary Tracking Date of failure: ___intermittent noise at various levels_______ Date work order sent: ___May 18, 2012___________ Date of expected repair: ___by June 6, 2012__________ Date responded to with understanding of the report: ______________________ Date of action item completion: ______________________ MATERIALS REQUIRED: Replacement PIR dome/thermistor sent by NOAA in box EG537092437US delivered to YUGMS 3/13/12 Reporting (please provide a report on the action items and any problems encountered to matt.okraszewski@noaa.gov and kustov@aari.ru ) |