| Requested by: Taneil Uttal | Requested to: A Maksthas, V Kustov |
| --- | --- |
| Date Requested: 5/23/12 | Date Received/Responded to: |
| Priority/critical level (1-5): Arctic Rated Sonic Cable Fabrication (3) 1 = low level; 5 = immediate attention necessary |
| Description of Problem (History, Observations, Analysis, Diagnosis): The 3m Sonic Anemometer failed in 2011. This was most likely due to the instrument’s cable being infiltrated by water and shorting out the instrument’s circuit board. To prevent this from happening again, new cable has been sent along with connectors to fabricate new cables that will operate better in arctic conditions. Action Items: NOAA Provide cable fabrication procedure (assigned to Rob Albee – provided 5/23/12) Provide necessary materials for creating cable – provided in shipment with tracking # EG537092437US TIKSI OBSERVATORY/AARI STAFF (assigned to:___________________________) Carry out cable fabrication, testing and installation MATERIALS REQUIRED: 8 conductor white cable sent in package Connectors for sonic cable Soldering materials. Tracking Date of failure: _July 2011___________________ Date work order sent: __5/23/2012_______________ Date of expected repair: _by 6/6/2012_______________ Date responded to with understanding of the report: ______________________ Date of action item completion: ______________________ Reporting (please provide a report on the action items and any problems encountered to matt.okraszewski@noaa.gov and kustov@aari.ru ) |