MONTHLY REPORT

of HMOs Tiksi instrument park for April 2014

04/14/14 - restart aethalometer and PC computer

04/28/14 - restart aethalometer and PC computer

Butanol have less than one liter.

BSRN condensate on the inner surface of the lens «NIP»- Eppley pyrheliometer (see

application indicated by the arrow ) .

In CAF failed system unit and monitor video surveillance system.

The module on polyarka faulty monitor CCTV system.

The center at Yakutsk does not provide replacement for  computers (monitors, system blocks and cartridges).

04/22/14 at 14:02-16:25 - shut power off on HMOs to work on the emergency DES

Sincerely Volkov E.

МЕСЯЧНЫЙ ОТЧЕТ

работы приборного парка ГМО Тикси за апрель 2014 г.

14.04.14г. перезапуск аэталометра и ПК.

28.04.14г. перезапущены аэталометр и ПК.

Бутанола осталось менее одного литра.

БСРН- конденсат на внутренней поверхности линзы «NIP»-Эппли Пиргелиометра(см.

приложение-указано стрелкой).

В ПЧВ вышел из строя системный блок и монитор системы видеонаблюдения.

В модуле на Полярке вышел из строя монитор системы видеонаблюдения.

Якутское УГМС не обеспечивает компьютерной техникой(мониторы,системные блоки,картриджи).

Отключения э/энергии на ГМО:

22.04.14г. с 14-02 до 16-25. Работа на аварийной ДЭС.

С уважением  Волков Е.