MONTHLY REPORT

working instrument park HMO Tiksi for June 2014

Equipments functioning normally.

06/18/2014, specialist of MGO flew them. Voeikovo Zainetdinov B.

06/20/2014 tightened fasteners backstay towers performed Pelevanyuk BS

06/23/2014, restart PC computer of BSRN

06/30/2014, the group flew Finnish experts (4 people)

Power outages on HMOs:

06/03/14 from 21:20 to 22:00

06/09/14 from 08:45 to 08:55

06/20/14 from 22:36 to 23:20

Sincerely Volkov E.

МЕСЯЧНЫЙ ОТЧЕТ

работы приборного парка ГМО Тикси за июнь 2014 г.

Приборный парк функционирует нормально.

18.06.2014 г. прилетел специалист из ГГО им. Воейково Зайнетдинов Б.

20.06.2014 г. подтянуты крепежные оттяжки башни- исполнил Пелеванюк Б.С.

23.06.2014 г. перезапуск ПК БСРН.

30.06.2014 г. прилетела группа финских специалистов ( 4 человека).

Отключения э/энергии на ГМО:

03.06.14г. с 21-20 до 22-00.

09.06.14г. с 08-45 до 08-55.

20.06.14г. с 22-36 до 23-20.

С уважением  Волков Е.