= ACSE CRUISE DIARY – IMB ==========================================================

SYSTEM		USERNAMES : PASSWORDS

Synology raid 		 admin : admin

IP cameras		mx : meinsm

ReadyNAS admin	admin : admin

ReadyNAS user		mx : camera

All moxa loggers	root : root

Field laptops (win)	labuser : <NO PASSWORD>

Field laptop (linux)	labuser : l&buser

Radiometer laptop	operator : ncasradiometer

lidar VNC		<NO USERNAME> : ncasflossy

lidar FTP		End User : ncaslidar

2014-07-04

Joined ship.

Shipment from Leeds won’t be on board until tomorrow morning.

Can’t find 2 spare MTi motion sensors I thought were left on board...bugger.

Can’t make network contact with mast logger...either not booting or IP address has been changed from mobilisation.

KT15 sensors running and logging from ~1130 UTC today

Riegl running & logging OK. Minor issue with serial port initially – first attempt to log seemed to lock it up...possibly old code version doing something it shouldn’t, now replaced.

Synology : admin : admin

2014-07-05

Last day in port – sailing moved early to ~1730 local (1530 UTC).

Shipment to Tromso arrived on ship about 1030 local – Barb installed new gas flow metre for balloon, John and I installed CLASP, fitted blanking plugs to Joe’s sonic logger (my moxa), and ran silicone sealant around it’s lid. Cable run to Patrick & Brett’s mass-spec system sat just behind scissor lift (not entirely convinced that’s gonna survive if we get any bad weather...they have unsealed holes in the enclosure!)

Lidar keeps going into thermal shutdown...should be OK when we get further north. Couldn’t communicate with it 1900 local (1700 UTC) – power cycled, waited...still can’t get through 40 minutes later. Try another power cycle....ah...earth leakage breaker wasn’t reset...not actually on power (Doh!).

- Still can’t contact it...

- try again – leaving off for a while to cool.

Half our IP address had changed since mobilising - Axel hadn’t put them in fixed table, but finally did so today. Current list is:

SYSTEM                  MAC ADDRESS             IP

MOXA2 - LIDAR TABLE     00:90:E8:0D:30:6F       192.168.4.40

MOXA4 - MAST LOGGER     00:90:E8:0D:30:5D       192.168.4.42 - OK

MOXA5 - KT15            00:90:E8:13:38:0A       192.168.4.28 - OK

MOXA7 - Joe mast        00:90:E8:14:BD:79       192.168.4.36

MOXA9 - HATPRO TABLE    00:90:E8:3A:9A:9B       192.168.4.44

MOXA10 - RIEGL          00:90:E8:14:6D:6A       192.168.4.53 - OK

[MOXA6 - SPARE          00:90:E8:13:37:EA]	192.168.4.16

LIDAR -                 00:07:32:17:81:E3       192.168.4.51 - OK

IP Camera 1             00:03:C5:0D:A9:26       192.168.4.64 - OK

IP camera 2             00:03:C5:0A:C2:96       192.168.4.62 - OK

IP camera 3             00:03:C5:0B:C6:36       192.168.4.65 - OK

ReadyNAS RAID           4C:60:DE:24:B7:F9       192.168.4.31 - OK

Synology Raid 1		00:11:32:23:EE:6E	192.168.4.60 - OK - lab container

Synology Raid 2         00:11:32:23:F0:26       192.168.4.63 - OK - 7th deck

HATPRO laptop					192.168.4.46 - OK (not fixed)

printer 					192.168.4.54

Installed new UPS for mast kit & lidar table 24V supply. Restarted mast logger at 1652 UTC

Enabled looging of CH4 data stream, but that’s not running yet.

Having to run CLASP in ASCII mode – I forgot all about code modification to add a start of message marker to CLASP output, and Sarah used the WAGES version. Current logging code needs a message marker for binary data feeds.

Motion pack still dropping a handful of packets...John accidentally ran 2 copies of the main logger and it then dropped ~25% of packets.

- MOXA not quite able to keep up with everything. Can we set process priorities to help minimise this?

Started Riegl logger shortly after we got underway. Need to sort out a motion pack for it. Can’t find the 2 MTi-300 units we brought out to mobilise – had meant to take them home, but think someone moved the bag with them and other bits in so I forgot about it. Couldn’t find it when unpacking in Leeds...can’t find it here. Suspect it might have been mistaken for rubbish and thrown away.

Have 1 spare MTi-G-700 which can be used for Riegl, but leaves us with no spare unit for playing with motion tables if needed.

Synology RAID systems are going into standby...need to try and prevent that. Need them awake if backup jobs are to be automated.

Tidying up in container – making shelving...or things on it...seaworthy.

Revised code for HATPRO table to do sanity checking as per lidar table. Not tested yet.

Checked Joe’s sonic logger 1730 UTC – nothing was running yet. Started logger – logging CSAT but no data from MTi...seem to recall a similar problem with one MTi during mobilisation tests...need to power cycle it. Not sure where Joe’s stuff is powered from...CTD hanger somewhere.

Both the mast and lidat stable table moxas (old UC7420s) have had initial problems syncing time to NTP server – report invalid argument passed. Worked at mobilisation. Both OK after a reboot...need to keep an eye on them, don’t want system time drifting.

~2100 local (1900 UTC) – radiometer software reporting communication problems detected

- On status page receiver 2 is 49°C (1 is 40°C) and statis light is red. Also middle ‘Ma’ status light is solid red

- Terminated measurement – middle ‘Ma’ light gone black, left one gone green.

- Disconnected from radiometer

- Reconnected...’master radiometer does not respond.’

- Power cycle radiometer, use task manager to kill any undead hatpro process...eventually had to reboot laptop – username = operator, pw = ncasradiometer

- Finally worked – go to button to load MDF file – radiometer starts as soon as it’s gone.

Lidar still not talking. Barb suggested leaving it off for 30 minutes before powering up...and it may take 45 minutes before it responds to VNC.

2150 local (1950 UTC) – beginning to get some swell – moving out of fjords into open ocean to north of Tromsø.

No comms with lidar for ~ an hour.

1959 UTC – turned lidar off – leaving it for a while.

2018 UTC – back on power

21:13 – still can’t connect on ship network.

Connected on direct interface 192.168.0.1 – all running OK...lidar has picked up a different IP: 192.168.4.89!...supposed to have been fixed.

Ship time goes back 2 hours from Scandinavian summer time to UTC at 0200

2014/07/06

0635 UTC – quick system checks

- Radiometer seems happy, receiver temperatures 40 and 49 C as before.

- Lidar happy – I think, might have ‘mush’ above 3km that B said indicates a lens clean is required...hard to tell. Internal temperature now ~26°C, internal RH  = 10%
Lidar is not set to sync time to NTP server...syncing direct to GPS?...need to check with B, and ensure it is synced to motion table time (NTP).

- Mast logger all seems OK – no data from CH4 yet – check with Patrick & Brett

- KT15 logger running OK, both units running OK, SST ~7C, KT15-2 internal temperature is about 1.5C warmer than KT15-1, and it’s SST about 0.6C higher

- Riegl logging OK.

Clear fine morning, blue sky, wind ~5m/s 119°, air temp 10C, RH 87% (all from ship data on info.polar)

Position: 71° 43.69'N, 023° 45.09'E, heading NE.

Might have seen whale blowing/jumping well behind ship...gone by the time I go binoculars out.

Got stung on neck by a wasp!...a rather lethargic one.

Copied all reference material, install files etc from USB disk (copy from Leeds RAID/ACSE) to Synology RAID/reference. Created RAWDATA directory for all raw data, sub-directories for all instrument groups.

Dom checked IP cameras – 1 & 2 OK, 3rd can’t be reached...probably had its IP address changed on reboot at midnight. -> to check.

Can’t get dom’s or field laptops to connect to RAID for networked file access – mine is OK.

1134 – wiped lidar window don’t see any difference in far field – guess it’s OK...was clean up there earlier, now back to lots of backscatter, decaying with range

Doing 1200 radiosonde iwth Michael. – Successful launch.

Email details handed out at 1000 – mine doesn’t work.

Ian.brooks@swerus.polar.se – pw=chorus

Data server \\vdata.polar\pub - can’t connect

1230 – starting to sort out lidar motion table.

Motion controllers got IP addresses:

Pitch : 192.168.4.85

Roll : 192.168.4.86

Hardware position limit = 10 deg

Software limits = 9 degrees  BUT hardware and software not using same reference...hardware is on motor position, software on absolute tilt.

Changes hardware stop to 11 deg and software to 8 deg to give 3 deg margin of error. Both axes currently sit < 1 degree off on motor. Ship pitch and roll < 1 deg at the moment.

1344 – pulled ‘sonic main’ power on Joe’s mast kit...moxa still online, sonic still running...huh?

...still on charger – pulled that too. Now it’s all shut down.

Restart – MTi running again, sonic running. Started logger at 135546 UTC.

1400 – started up lidar motion stabilised table – seems OK.

Software has been running since 1233

Ship roll mostly ~ ±1° a few up to 2°, platform roll mostly staying  < 0.3°. Pitch similar, but seems to have more of a lag, and to have a mean of – a few tenths of a deg.

1413 – getting intermittent ‘comms break’ on HATPRO...still seems to be collecting data...reconnecting rapidly (‘in 1 sec’) – variable periods between error messages flashing up.

1448 – started up HATPRO table, enabled motor soon after. Disabled briefly 1452, on again 1454 ish.

FOGGY

HATPRO comms erros more persistent – appears to have hung during a self calibration...scheduled for 142954, seems to still be running 1455? – supposed to take 10 minutes.

‘Ma’ status middle light solid red. Run control buttons disabled.

HATPRO laptop touchpad gone squiffy – cursor jumps about all over the place whenever finger on pad.

Shut down HATPRO software and restarted – error message – no serial port available.

Shutting down and rebooting.

On start-up HATPRO softward still can’t find a serial port, touchpad still screwy.

1507 – disabled motor...touch-pad problems much less. Unplugged mouse. Restarted hatpro software...now it finds serial port, but radiometer doesn’t respond.

Turned off HATPRO motion control table, inc mains to control unit.

Reboot laptop and power cycle radiometer...now it connects. Put mouse back on, loaded MDF file...and immediately throws comms erros after loading file and starting measurement.

Stopped it again.

Rebooted everything again, mouse in – now it seems to work...fucking comms error pop-up again within a minute. Touch pad still a bit screwy.

1556 – receivers are stabilising, but ‘Ma’ middle light solid red again. Time series suggest data acquisition stopped 1532 after starting 1525.

Rebooting laptop and radiometer...again.

Restarted 1606

1615 – comms errors...’Ma’ light solid red again. Data acquisition stopped 161144.

1627 restarted again – have unplugged as many cables as possible that run up to HATPRO to minimise any residual pickup – I think it’s getting interference from lidar motion control.

1721 – sonde launched

1736 – HATPRO seems stable again...

Beam on to swell – beginning to get some decent roll...feels like we’re actually at sea.

Swell about 1m, wavelength a few 10s of m.

Checked Riegl and KT15s – Riegl is seeing very disturbed water in ship wake off bow.

KT15s are seeing undisturbed water.

IP cameras getting a lot of water on lens covers – images very blurred, much more so than on HiWinGS, in spite of rain and spray then. In fog all afternoon, so maybe collection of fine mist a bigger problem.

Can’t mount RAID share on linux via NSF – need to authenticate via Kerberos, or match user ID numbers. Have enabled SSH on RAID, and can SSH in to it to get a terminal...it’s running linux. Check is SCP works...

2028 – came back from seminar, switching between sessions in multiple desktops looking for open window in Diskstation1 and found lidar vnc session with ‘windows is shutting down’ message – lidar shut down and vnc logged out...what happened? Accidental key press in VNC? – seems remarkable coincidence of timing.

Restarted lidar power at 2030

2106 started VNC session – all running, turned raw file saving on – then ‘logging off’ and ‘windows is shutting down’

2115 Restarted power again

Seems OK this time...no...it’s shutting down again. Taking off power for a while.

2212 – restarted power again...pinged lidar to check it came up...did radiosonde, pinged again and it no longer responds. System shutting down on internal UPS?...definitely has power from container.

Doing 0000 radiosonde launch

2014/07/07

0045 – checked Joe’s logger – MTi files empty since end of first file after restart at lunch time.

Stopping logger and rebooting system.

Sercomm shows data from MTi, restarted logger @ 004912

Started up OK, but MTi data file stopped growing after 0055 – sercomm connection to it shows data is still streaming – implies logging code is either not reading it...or not finding start of message marker. Joe had trouble with it sending an unexpected start of message type ID.

Stopped logger and restarted as foreground process in terminal at 010226 – data being saved OK. MTi stopped logging again at 01:18. Stop and restart logger, and data getting saved again. Must be a glitch in code that starts to fail to find start of message marker?

Another restart of lidar after longer wait...seemed to run longer before shutting down. Watch it next time...is cooling failing so it overheats? Temperature on startup was only ~16deg last time.

HATPRO seems to have been stable with no comms problems since last restart.

Have added ‘acse’ user accounts, pw = ‘acsebackup’ to: lidar table, KT15, riegl, and Joe’s moxa loggers.

Set up public/private key authentication for all the moxa loggers from DiskStation_1 – should no be able to script auto backups. Use –p option on scp to preserve file time stamps.

Have not been receiving any data from Patrick’s LGR CH4 system...suspect RS232 cable doesn’t cross RX and TX lines. Have made a patch cable to do that – will install tomorrow.

0220...time for bed....

MORNING...0815. Calm 4.6C, wind 2.5 m/s, 54°.

Checked Joe’s logger – MTi stopped logging 02:38. Stopped logger, restart....saving data again! Don’t understand. MTi stopped logging again 08:23.

Put in rs232 TX/RX cross-over patch for LGR on mast logger – still don’t see any data coming from it.

MTi files on my system empty since 0500 this morning. Checked with sercomm – no data stream. Stopped logger, power cycled MTi – data again. Restarted logger 083004.

HATPRO is fine.

LIdar table is fine.

Restarted lidar ~0900 – system up and auto-accepted settings 092815. Internal temp = 9.1C.

Shutdown 0930.

Making up motion pack for Riegl. (found the one spare left in the XSEN box is an MTi-300, so one of the missing ones is an expensive MTi-G-700). Bit of a jury rigged thing, but should do for the one cruise.

Still can’t access my email.

Finally got email working after lunch – password didn’t match what I’d been given.

Restarted lidar – grabbed log file...not very enlightening. Sent a copy to Barb.

It stopped again after ~5 minutes of data.

Turned off motion table motors at ~1409 and cycled lidar power at 140950?

Came up OK – auto-recover time 1440, at 1456  still OK – turned raw data saving on.

Turned table back on...~1530-1545...

Table control software display of servo pitch/roll positions is far too small...~0.01 deg – doing something wrong in conversion from servo position to actual angle.

Noted HATPRO Radiometer times are ~2 minutes fast...not synced to ship time.

Foggy again...and bloody cold out, about.

Lidar shutdown again ~1750. Have turned table off and restarted lidar – will leave running without table for tonight.

Got Patrick & Brett’s LGR data stream – needed a TX/RX cross-over put in serial line.

1700 – joe’s mast logger failed to create new files because ‘no space on device’, but df -> SD card is only 8% full - only 170 files on it. Copying all existing data onto RAID.

SD card is mounted directly on /home/data...so we are writing to root filesystem of the card. Max number of files should be 512?...so shouldn’t have hit that limit.

Lidar still OK 2115.

Motors disabled on lidar table 1750, but control software left running...that has hung...last output file create 1900. Stopped and restarted software...hung – not getting motion pack data? Power cycled motion packs...table pack was to blame.

Restarted software 2122 – no motor control running.

Welcome dinner tonight.

2014-07-08

Raining this morning

Problems problems.

1. Lidar ran all night (table off), but shut down as soon as I came in to container this morning...and turned lights on?

Power cycled 0840

2. Radiometer hung late yesterday afternoon – missed it before dinner.

Power cycled radiometer and rebooted laptop 0840

Reset laptop clock at same time.

3. mast logger stopped...log files being written to CF card (/mnt/hda/data) not USB (/mnt/sda/data)...run-logger scripts not updated when USB key added. CF card filesystem full. Stopped software, copying log files to linux laptop.

Also, last data I can see on USB key is from 5th...was definitely data being saved last night.

0930 – now can’t see any files in /root/data, but df says there’s 4.8GB on there...huh? Still copying log files...slow. ETA another 1:20 for logger.log (1.8GB total)

Joe’s mast logger:

All cruise data files to date copied to raid.

Deleted mobilisation test files from SD card, remounted card on /mnt/sd, created a directory ‘data’ on it, and linked /home/data to /mnt/sd/data – should avoid any issues with number of files.

NB /mnt is a read only filesystem so can’t create new mount points within it – ‘sd’ already exists but is a link to /var/sd...which doesn’t exist. /var is writable, so I created /var/sd for /mnt/sd to link to. Can then mount card on /mnt/sd manually – entry in /etc/fstab changed to mount the card (/dev/mmc1) on /mnt/sd

MTi not outputting data. Power cycling the whole system.

Card not mounted...on reboot /var/sd is deleted so mount point no longer exists.

Try again

Created directory /home/sdcard as a mount point for the card, and linked /home/data to /home/sdcard/data.

Rebooted moxa – now OK.

Will need to do this for other 2 moxa UC7112 units – riegl and KT15 loggers

Moving lidar power supply to a UPS. Spare new UPS seems to be playing up...when plugged in a turned on, ‘on battery’ light flickers orange...’on line’ light stays off.

Put lidar on big UPS with radiometer.

KT15 logger – hit limit on data filesystem between 2300 and midnight last night. Copying all data to raid. Remounted sdcard and moved data into ‘data’ subdirectory on card.

Running again from ~11:30

Mast logger. Got HUGE log files off – these indicate that at 221248 attempt to append to files failed because the file system is ‘read only’!

Mast logger being weird – tried 4 times to edit run-logger script to change output location for log files. Each time, I can edit one line, but when I move to next vi freezes up...have to close window. Vi process is left running and needs to be killed manually.

Rebooting system.

Can now see all files again...copying all to raid.

Still can’t edit run-logger file...deleted and re-wrote from scratch. Changed to write log file to /root/logs directory – which is a link to /mnt/hda/logs – write logs to SD card so they will continue to write even if something happens to USB key filesystem.

Restarted mast logger – scp of data still running...will take some time – still only half way through Sunday’s data.

MTi hangs – wonder if noise on RS232 Rx line is accidentally hitting a stop/interactive mode command – can disconnect the GREY wire in MTi enclosures to prevent that.

New UPS (spare) charged, and switched to ‘on line’...soon after started beeping and flashing ‘change battery’ light!

Stopped motion control & logging software on lidar table ready to remove motion pack Rx lines.

Replaced logging code on Joe’s moxa with the default acse logger code...not sure what version WAS on there – still a redundant hacked version specific to Joe?

Went up to lidar table and cut the Rx lines on both motion packs.

Started up motion table again. Paul suggested RF interference on the power might be the issue with lidar shutdown – or on the supply voltage sensor circuit...power OK, but sensor giving false reading. Could try putting RF filtering capacitor on 24V supply into lidar. Will open up boxes and take a look when conditions a bit better.

1600 installed MTi on the riegl laser ranger.

MTi data not being saved...expected message header is not in data stream.

Connected with USB & MTi-manager – display of messages shows should have header bytes FF FA 32 = [250 255 50]

Ah...wrong baud rate. Should be 38400, was on 57600...doh!

Right, now a hex dump of caputured data stream shows what we expect...and we’re logging!

1645 – Lidar shutting down again...just as we came back into container from 7th deck.

1923 – lidar shutting down again...

Checked data from CH4 system...it’s binary not ascii as told and given in conf file...so so far it’s garbage. Checked with Brett – he’d given me wrong baud rate, should be 38400 not 57600. Now working.

Filesystem on usb suddenly went read only again while I was working on it. Unmounting and mounting again works to clear it.

fsck on the moxa doesn’t have all the extensions fsck.FS to do different file system types...can’t check vfat file system.

Restarted logger – cleared out all old *.LGR files.

- TO DO – script run once a minute to touch/delete a file on /root/data if filesystem is read only, stop logger, unmount and remount file system and restart logger.

Added some print lines to logger code running on joe’s system. Running OK, then hangs immediately after finding an MTi message header – code still running, but no more bytes being read from MTi.

Note even attempting to read a byte -> one of flags is being miss-set.

2100 turned lidar motion table off again. Restarting lidar.

Looking at MTi logging problems on joe’s system again. Watching as it runs...have an instance of CSAT not saving but MTi still going, and of both not saving. Code is still running, and still reading...but is stuck reading what it thinks is data without ever reaching the number of bytes it thinks there should be...I think. Mti files initially about half the size of CSAT file...which is weird – MTi should produce more data. Sometimes spends a long time on one bit of code....reading lots of btes in the header reading routine...too many. IS MTi baud rate too low to keep up with data? Joe set it at 38400.

2014/07/09

Lidar shut down as I came in container again.

We’re stopped in the ice for a test station. Levelled lidar table and restarted lidar 0815.

0958 – something just happened that killed lidar dead...no shutdown. Both new UPS’s switched mode briefly...hummed – fan turning on? Lidar OK...then happended again, and VNC session lost comms. No ping from lidar. UPS driving lidar in container has switched to battery. Earth-leakage breaker on lidar power cable has tripped. No power out of lidar’s UPS in container...

New UPS (2) doesn’t work – if power goes down it doesn’t supply anything...or a weak pulsating output – put a USB power adapter on plug board on UPS. When power pulled to UPS, it fails on output side. When reconnected, it charges battery, and indicator light on the USB charger pulses slowly on and off. Fucking useless!

Have separated logging codes for CSAT and MTi on Joe’s system – they now sit in 2 sub directories /home/csat-logger and /home/MTi-logger – runlogger and stoplogger scripts modified to deal with this. Problems on one should no longer interfere with the other. MTi has stopped outputting at the moment – power cycle & restart – both logging OK from 112511

Trying to sort out code to send commands to the MTi over serial interface...see if it’s just getting switched into config mode.

1200 – POLAR BEAR!

Put a scope on the DC supply at the lidar – 2-3V of very high frequency noise. Nothing like this on the 24V supply out to the mast. Tested spare 24V 15 linear supply in lab...high frequency noise...but plugged into same board as lidar and radiometer. Moved it to another socket – no noise. So, have moved lidar onto a separate circuit – noise on the DC supply much less...I thought power was on, but when back in container lidar had lost connection...VNC display was frozen. Restarted lidar, and it’s up and running again. Reported supply voltage still looks rather variable – ranging from about 21.5 to 23.5.

...later – watching report supply voltage it seems much more stable most of the time at 23.xV with occasional dips to 21.5. Not yet put table back on.

1500 – getting underway again. Quite bumpy...doing almost 10 kts though thin ice.

Have setup backup scripts on the raid for each moxa system. Scripts are in ‘bin’ under admin home (/var/services/home/admin). To run, ‘backup_mast YYMMDD’ etc. The backup_all script will run all the other scripts in turn. Call as ‘backup_all YYMMDD’.

The backup_all_yesterday script will backup yesterday’s data for all moxa loggers. After testing this will be run from the raid’s scheduling facility.

Some weird looking features on lidar after getting underway:

1900 – came into container – lidar VNC showing ‘shutting down’, motion control software stalled. Ship motion MTi had stopped outputting data. Rebooted lidar, power cycled both MTi units and restarted stabletable software. The stabletable software stalling when MTi stops would be a big problem if it was controlling at the time – would just keep following last command until it ran into the stops on one axis.

Starting to get thin ice coating on metal surface around ship.

Stopped mast logger just after 20:00 to check metek heater setting...

...bollocks – Metek is outputting ‘E:invalid data (500)’ – I think 500 -> no signal on 3rd pair of transducers.

can’t get it to acknowledge any control messages.

Checked back to files from the 4th in port. Data OK, BUT...

From 140704_154253.09.metek:

There are odd lines with first part of data message missing:

2014 07 04 15 42 54.759 M:x =   106 y =   304 z =    89 t =  1253

2014 07 04 15 42 54.884  y =   305 z =    85 t =  1255

2014 07 04 15 42 54.909 M:x =   112 y =   302 z =    86 t =  1262

There are merged lines:

2014 07 04 15 42 56.709 M:x =   117 y =   308 z =    79 t =  1258

2014 07 04 15 42 56.734 M:x =   116 y =   308 z =  M:x =   113 y =   310 z =    79 t =  1258

2014 07 04 15 42 56.859 M:x =   114 y =   308 z =    76 t =  1255

2014 07 04 15 42 57.558 M:x =   112 y =   306 z =    76 t =  1253

2014 07 04 15 42 57.584 5 t =  1258

2014 07 04 15 42 57.609 M:x =   106 y =   312 z =    72 t =  1251

These all in 2nd file collected on 4th!

Later on, from start of 140707_220000.00.metek – badly formatted time stamps:

2014 07 07 21 59 59.-1945157 M:x = -1026 y =   460 z =   105 t =   233

2014 07 07 22 00 01.1812065 M:x = -1005 y =   461 z =   110 t =   238

2014 07 07 22 00 01.1644383 M:x =  -999 y =   402 z =    92 t =   232

2014 07 07 22 00 01.224 M:x = -1016 y =   444 z =   104 t =   234

2014 07 07 22 00 01.228 M:x = -1015 y =   411 z =   102 t =   237

2014 07 07 22 00 01.232 M:x = -1014 y =   456 z =   107 t =   237

Even odd ones:

2014 07 07 22 00 01.489 M:x = -1013 y =   415 z =    83 t =   242

2014 07 07 22 00 01.201821 M:x = -1011 y =   426 z =    88 t =   234

2014 07 07 22 00 01.1644666 M:x = -1008 y =   435 z =    99 t =   228

2014 07 07 22 00 01.-603473 M:x = -1019 y =   409 z =    87 t =   229

2014 07 07 22 00 01.201840 M:x = -1023 y =   466 z =   100 t =   230

2014 07 07 22 00 01.-603457 M:x = -1013 y =   418 z =    89 t =   222

2014 07 07 22 00 01.201857 M:x = -1006 y =   433 z =    94 t =   234

2014 07 07 22 00 01.1644706 M:x =  -991 y =   445 z =    96 t =   242

2014 07 07 22 00 01.658 M:x =  -995 y =   452 z =   108 t =   236

Data OK – or at least not all error messages through 140707, though with some error messages occurring. Timings look odd:

2014 07 06 22 55 30.840 M:x =  -128 y = -1064 z =   125 t =   775

2014 07 06 22 55 30.843 M:x =  -130 y = -1070 z =   128 t =   787

2014 07 06 22 55 30.861 M:x =  -111 y = -1063 z =   118 t =   796

2014 07 06 22 55 30.886 M:x =  -127 y = -1060 z =   127 t =   776

2014 07 06 22 55 30.999 M:x =  -143 y = -1080 z =   132 t =   785

2014 07 06 22 55 31.003 M:x =  -143 y = -1066 z =   133 t =   783

2014 07 06 22 55 31.008 M:x =  -157 y = -1067 z =   134 t =   788

2014 07 06 22 55 31.012 M:x =  -134 y = -1051 z =   126 t =   779

2014 07 06 22 55 31.015 M:x =  -137 y = -1061 z =   130 t =   788

2014 07 06 22 55 31.036 M:x =  -139 y = -1064 z =   132 t =   783

2014 07 06 22 55 31.061 M:x =  -130 y = -1058 z =   126 t =   788

2014 07 06 22 55 31.086 M:x =  -111 y = -1038 z =   114 t =   785

2014 07 06 22 55 31.160 M:x =  -131 y = -1052 z =   136 t =   781

2014 07 06 22 55 31.163 M:x =  -149 y = -1044 z =   143 t =   785

2014 07 06 22 55 31.168 M:x =  -122 y = -1044 z =   134 t =   790

2014 07 06 22 55 31.186 M:x =  -138 y = -1047 z =   145 t =   777

Should be at 40Hz, so interval of 0.025 second – these have some very short intervals -  3 consecutive sample with interval of 0.003 seconds (4 lines from bottom above) – does Metek buffer internally?

Partial missing messages suggest metek can’t keep up with data rate requested – should reduce it...if we can get it running again.

Copying all remaining data off logger to see where it failed.

21:40 – think I’ve had enough for the day...

Lidar & radiometer both OK.

2014/07/10

0800 – both lidar and radiometer still running...hurrah!

Metek producing data again. So...from output message lead character ‘M:’ it’s clear John didn’t check and turn heaters on. Apparent transducer failure yesterday must have been ice build up on the transducer head...it’s warmed over night – nice and sunny this morning with broken cloud – so ice has melted off. Still can’t get it to respond to commands over the terminal comms programme though.

Checked Joe’s mast logger – no data coming from MTi, CSAT is outputting, but logger not saving.  SD-card is full! Filled up after 2300 last night...most of it is MTilogger.log file – copying file back to laptop to see what’s gone on.

MTi log file is mostly just ‘?’ – 1 per line...not sure what it does to generate those.

------------------------------------------------------------------------------------------------

Modification I think we want to Metek config:

OD=0			stop data output

HT=1			heaters ON

HC =1			head correction ON

SF=20000		20Hz sampling (20,000 samples in 1000 seconds)

?			capture all current config

OD=1			data output of x,y,z,t

Optional:

TI=DD.MM.YY hh:mm:ss		- set date and time

OD=65				- adds time (only) stamp to output

OD=64				- just outputs time...for check

-----------------------------------------------------------------------------------

Checked noise on spare 24DC supply again – plugged into both circuits with radiometer and lidar...no real problem on either...? Maybe it’s having both plugged in together that causes interference?

Some help from Halo Photonics:

“The power supply that feed the UPS box that came with the LiDAR will need to have its voltage output increased. We suggest that it's turned up to at least 25.5V while it's not connected to anything. This should allow enough margin so that the LiDAR won't pull the voltage down to switch-off threshold during normal use.”

Will try this this afternoon.

Thinking of running logging for all our instruments on the mast from separate instances of the code to minimise timing clashes, and allow one to be taken down while still logging the others. Already doing MTi separately.

Went up mast to talk to Metek. Plugged data cable direct into laptop and pcomm – same problem, seeing data output but no commands received. Plugged Metek manufactures data output cable into interface box – nothing on rs422 output (are pinouts different to MOXA?), but rs232 output OK – and it accepted commands happily.

Turned heaters on

Decreased sample rate to 20Hz

Turned head correction on.

Config is now:

R:AV=1

R:AZ=0

R:BR=38400

R:D1=0

R:D2=0

R:D3=0

R:D4=0

R:D5=0

R:D6=0

R:D7=0

R:D8=0

R:FR=0

R:HC=1

R:HT=1

R:LC=14.02.14 17:02:56

R:LD=0

R:M1=

R:M2=

R:M3=

R:MD=20

R:N0=

R:N1=REPCAL

R:N2=REPCAL

R:N3=REPCAL

R:NO=28

R:O1=2319

R:O2=2305

R:O3=2336

R:O4=2333

R:O5=2260

R:O6=2335

R:OA=0

R:OD=0

R:P1=1755

R:P2=1748

R:P3=1761

R:PR=0

R:SA=0

R:SF=20000

R:SY=0

R:TC=29606

R:TI=10.07.14 12:58:30

R:TR=4000

R:TV=100

R:VR=6000

R:ZR=100

R:version 4.20 serial no. 200603002/01

R:vbatt = 3627

R:free 15359 used 0 unread 2293

MISU CSAT has icicles on it...don’t think heaters are working all that well.

Restarted our mast logger 140710 – NB change of sonic frequency from this point on.

Started full backup of the lidar data to date to the raid.  WINSCP with ‘new and updated files only’ option.

Adding safety checks to table control software – if it doesn’t read a motion pack for a period of > 0.5 seconds it should set both rotation rates to zero. Hmmm...doesn’t work.

2100 – mast MTi stopped sometime in last hour. Restarting MTi and loggers.

Doing midnight sonde.

2014/07/11

Lie in after doing late radiosonde.

Lidar and radiometer both OK, mast OK.

Scheduled backup from moxas didn’t run...runs OK from command line. Ah...user was specified as root rather than admin in the scheduler...might be the problem. Changed.

Patchy fog. Lots of ice. T = -0.6C

Slow day – not getting much done. Everything seems to be working...

...damn spoke too soon. Can’t contact the mast logger (1603) – was OK between 1300 and 1400. Network switch still indicates active network.

Power cycling moxa 1610...took 2 attempts to get a connection. Log files show filesystem went read-only at 155244.

1920 – spotted lidar table software had hung – restarted both MTi units and software.

Written a short programme to test that data dir is writeable – ‘writetest’. Is in /root on mast logger. When run it should try and create an empty file ‘testfile’ in /root/data (or an alternative directory specified on the command line). If successful it deletes the file silently. If unsuccessful we assume the data filesytem is not writeable and run /root/bin/remount-readonly-usb this should: run stoplogger, unmount the USB filesystem on /mnt/sda, remount the filesystem, and restart the loggers. A message is printed to STDOUT. This is intended to be run every few minutes as a cronjob with output redirected to a log file (remount.log). Will test next time USB filesystem goes down.

Tried taking some video with GoPros today...new laptop doesn’t have mp4 codec installed so I can’t see or edit the damn things!

Haven’t been able to get any of the new field laptops (windows) or Dom’s laptop to connect to the raid directly...something IT support have configured on them.

2014/07/12

Scheduled backup from RAID didn’t run...or didn’t work. Tried running script from scheduler’s ‘run’ button but nothing happens...no messages, nothing to indicate whether it actually ran or not. Doesn’t appear on list of processes in resource monitor, or on output of ‘top’ in a terminal. Running manually...think we’re going to have to run manually every day. Takes a good couple of hours to back everything up...most of time on mast data.

Lidar and radiometer OK – multiple cloud decks below 2000m visible in lidar first thing.

10:54 - Restarted MTi-logger on Joe’s system

To date all the sea ice has been covered with slushy snow -> IR emissivity probably < for ice/water.

Lots of flooding over ice surface today – freeboard only a few cm.

Installed writetest in mastlogger crontab – should check USB stick is writeable every 5 minutes, any output logged to /root/remount.log.

12:56 – checked Joe’s logger – no data from MTi at all...had stopped sending before I restarted it’s logger this morning. Will need to power cycle.

MTi has stopped on my logger too – sometime between 0900 and 1000. Power cycled MTi – now running again. NB 140712_120000.00.MTi file starts very late.

Michael needs to power cycle power to all Joe’s kit on mast – CR3000 for mean sensors is playing up. Shut down CSAT logger ready for reboot.

Restarted logger 1350

From ~1445 – testing error checking code for stable table.

15:15 - seminar

16:00 – snowing

I think motion table error checking works now – if MTi stops, panic flag set, and alldone flag set. Table rotation rates set to zero, and program ends. Works OK with no motors turned off, but have not yet tested it with active control. Bit grim out right now to do a test.

Backed up lidar to 1800 2014/07/12

Ice is more solid now, with more surface melt ponds.

2014/07/13

NB – 10:15 meeting, bridge – re: waverider deployment

Drizzle from thin cloud, T=0.3C

MTi on lidar table stopped sometime in the night. Everything else seems OK.

Motion table code update:

~0845 First live test of motion table error checking code...output says rotation rates set to zero, but table kept pitching backwards....is a single set command not enough? Tried continuing to loop and send rate = zero...still not working. Keeps pitching back.

Offset/bias on controller’s analog input? – sending zero, but it’s reading a small value? Might also explain table’s positioning pitch at a mean small -ve value.

Analog input biases on motor controllers: Pitch = + 0.04V, roll = variable -0.005 to 0.04V.

-> can’t just set rotation rate to zero – bias will always cause it to drift off.

Alternative approach – use the servo motor actual position readings, if MTi lost, switch to control on servo position and drive towards zero. Values read so far all look way out of line – I think there is something squiffy with the analog output config on the motors. Have been set at 200deg/V and kollmorgen workbench says they are outputting 0V...so we are just reading bias of ~0.01V.

From 1230, fiddling with settings. If we set 0.1deg/V on workbench, we get a reported output voltage that matches workbench reported ‘position feedback’/100

Eg. ‘position’ of 97° gives an output of 0.97V

-> workbench is misleading, analog out units are V/deg not deg/V!...don’t understand where the extra factor of 10 comes from.

NB ‘position feedback’ reported does not match the shaft orientation, but is orientation – 360. Presumably the ‘position feedback’ is wrt to some original orientation?

1310: LIDAR shutdown while I’ve been playing with motors...noise from motors affecting lidar power? Went up top and adjusted power supply output up to 26V

Playing with motors also brought the radiometer comms down. Restarted...but going to have to try and uncouple all the cabling to isolate it.

Waverider deployment meeting.

Captain vetoed putting it in the water while manoeuvring onto station – nature of props & cowling generates significant suction, and it could be drawn into prop. Starboard side is busy with ocean work, but can deploy from port side if upwind – ship should be blown away from buoy and it will be in undisturbed water. Must be in radio contact with bridge, and have buoy watched at all times – pull it out or adjust tether to keep it clear of all other operations.

Lidar restarted 1350-ish – takes a while to raise battery voltage, but report supply voltage ~24 at 1500

Radiometer restarted 1400

1725 – test of table software...pitched off to ~6 degrees...screwed something up in regular control.

1855 – been through original and revised codes, can’t see any difference in how pitch and roll control are being handled, but both pitch and roll rapidly head off towards large angles with revised code. Roll goes off very fast – dRdt(ship) seems to have a mean value of ~-0.2 while dPdt has a mean of ~0.0 – changes sign rapidly.

1918 – radiometer lost comms again while I played with motion table. Restarting just before 2000.

Did some more tests with oscilloscope on a DC supply in lab. Huge amount of HF noise when servo controllers are turned on...though less when powered from other side of lab. Even unconnected to anything there’s significant noise pick-up.

2042 – checked on mastlogger – lost network connection to it. Power cycling.

USB filesystem went readonly at 1745 – remounted at 174504...and repeatedly every 5 minutes from then until 1905 at which point system must have locked up..

Last data file was started at 17000

USB is now 31% full: 9GB,  19.9GB free.

Deleted files through July 6. NB can’t delete those misnamed -300101* - initial ‘-‘ is an illegal character at start of name. Will need to format USB stick.

Restarted logger at 2058.

Cleared up as many cables as possible from run on RHS of lab – 2 redundant network cables and CH4 cable. Try to minimise coupling possibilities for HF noise from servo control system. Should separate orange power cables from all other in run up to lidar.

2014/07/14

T = -0.8, water T = -1.7

Motion table logging crashed in the night – power cycled MTis and restarted, everything else seems to be running OK.

Backing up moxas.

Backing up lidar

Some ice on metal surfaces.

Rerouting power cables to servo motors.

Black-tape marked cable is roll motor.

PE – reen & yellow

U – black,

V – blue

W – brown

Put controller AC power on line conditioner – might help prevent noise feedback onto mains?

Returning to stabletable code. Can’t see where problem with revised version occur. So...returning to the stable control of the version we started cruise with and revising/testing step-by-step.

Testing from 1624.

1. replace simple read of servo position as a string with conversion to float – OK

2. Add test for panic condition...don’t do anything yet, just test and set flags (condition test in first version was in wrong nest of loop! – OK

NB. Addition of call to gettimeofday for panic timers will muck up sample acquisition time writes to file. Need to add a sampletime variable as well as hirestime.

3. put normal ops into an if (!panic) { do it } conditional – OK

4. moved servo read calls to before sending of control commands – FAIL – ok for a while, but then rolled rapidly off to several degrees of tilt. Reverted changes – no problem. Timing issue. Too big a delay between getting motion and sending command. Read of servos is slowest operation due to slow response of UDAM A2D converter.

5. Moved both roll and pitch servo read commands to after sending control commands rather than send-roll, read roll servo, sent pitch, read pitch servo. Control lost again...2 consecutive reads of UDAM introducing too much delay – unit needing time to reset?

6. Made servo read operation into separate function – OK

7. Added control when in panic and initialisation of pitch/roll rates and initial reads of servo positions so we have sensible values before entering the control loop. Compiles OK, but segmentation fault just after initialising serial ports when run...? Crash occurring at read_servo...but they worked before...maybe?

Changed read_servo function to require explicit command string length as input – now works.

Tried pulling the plug on an MTi. Software froze...no panic control evident. When MTi plugged back in software resumes...shouldn’t -> panic flag not being set...why?

Ah...a get time line missing from this version...

1730 – spotted radiometer comms have crashed again. Move of cabling hasn’t helped. Last thing I could move is lidar power cable, and radiometer to other side of room.

Restarted radiometer 1740.

2015 - Radiometer receiver temperature stability poor since restart – keeps going out of bounds. Oscillating up to 0.1-0.2.

2035 – radiometer comms crashed out again. Moving to other side of lab.

21:58 – lidar has shutdown...restarting

On midnight radiosonde duty.

Radiometer taking a loooong time for receiver temperatures to settle down – still going out of range 0100 July 15.

2014/07/15

10:30 – late getting up after midnight sounding.

MTi on mast logger stopped sometime between 0600 and 0700. Stopped logger, power cycled MTi, rstarted logger. All OK.

Running backups for yesterday

Radiometer receiver temperature stability rather poor since yesterday’s restart.

Michael planning to go up mast when we get on station (this afternoon?) to swap card on the mean-met logger, and to check for loose serial connection. Will try reprogramming MTi on Joe’s system and maybe swapping USB key on mine.

NB lidar is generating close to 20GB a day – will need to clear out it’s disk soon, only 76GB left.

Lidar table MTi stopped between 0600-0700. Restarted 1125. More tests on software being run.

Initial test with panic control set to rollrate = rscaler*servoroll caused table to tilt off and hit the stops (controller 10deg limiter kicked in OK).

Sign wrong:  rollrate = -rscaler*servoroll works – servo roll held at ~0.16 degrees.

Need to tidy up display now.

Think I have table control software panic detection and handling sorted out. If MTi data is lost it will control on servo motor positions and try to set them both to zero rotation.

Loudest fizzing noise when motors turned on comes from UPS not the controllers themselves! – they do ‘fizz’ but much quieter. Have taken motors off UPS and run through line conditioner.

Reported supply voltage by lidar looks more stable at 23-24.5V

Table is running on active control from 1308 (give or take a minute when motor power was being moved off UPS).

Lidar shutdown around 1330

Moved lidar power to storage container next door. Restarted and up & running 1442.

Fitted filter/flow restrictor in radiometer cooling fan inlet to try and improve temperature stability – supposed to be fitted if T < 5C.

Mast logger crapped out sometime after midday – USB filesystem readonly – power cycling 1504

Restarted logger 1511 – will have to shut down when we go up mast...want to swap out USB key in case it is that causing file system problems.

1543 stopped logger for maintenance on mast.

STATION 1

Rerplaced USB key in logger with new 16GB one.

Restarted 1630, but auto remount check had already started up loggers.  Data directory not yet created on USB key...created and restarted logger at 163532

All remaining data on key copied to RAID.

Changed Joes MTii to legacy mode: 32-bit floating point, 40Hz

Temperature	4 bytes

Cal data		36 bytes

Euler angles	12 bytes

Status		1 byte

Sample count	2 bytes

UTC time	12 bytes

Total of 67 bytes + header

Header should be FA FF 0x32 (250 255 50) + LEN=67

Total message thus 67 + 4 + checksum = 72.

Stopped joe’s logger ~1700, changed MTi logger.conf file for new configuration. Restarted both CAST and MTi loggers at 170036

Radiometer temperature stability appears better.

1830 – MTi on mast stopped. Stopped logger, power cycle MTi, restarted loggers 183027

2025 – lidar up and running again. Moved lidar power boxes to other end of table away from motors.

Adjusted supply voltage up a little again to 26.75V

Also adjusted load settings on motors. Roll was set to 200 (light load) while pitch was set to 25 (heavy load). Changed pitch to 200. From memory this is less acoustically noisy on the motors...and presumably less electrically noisy?

Both axes of table tending to sit ~ 0.2 degrees off horizontal.

dRdt has a mean close to -0.2 deg/s, dPdt close to zero,

while inspecting lidar spotted that rear left leg pulled out of locking mount onto frame. Looks like (a) when fitted whoever did that leg didn’t get the clamp mount locked into frame so it could pull out, and (b) the lidar leg adjustment has been over extended to push the mount out of frame. Don’t know what this does to the lidar/frame alignment.

Lidar pitch and roll both +0.4 (though not convinced these are actively updated?), table pitch -0.3, roll +0.15. CHECK sign conventions.

2014/07/16

Back in open water this morning. Weather fine, weak sun through thin clouds. +1.8C.

Everything still running! Lidar and motion table ran happily all night! Finally sorted power problems.

1130 – on station 2

MX1 not displaying an image though online since it presents web interface – rebooting it 1247.

Stopped collecting images about 0515 this morning – OK after reboot.

1310 – underway again.

1540-1550 Tried tilting the riegl out further from the ship, but lose signal once it’s pointing outside the disturbed wake region.

1640 – motion table ship MTi stopped – restarted system again.

Deleted first 3 days of lidar raw data to free up some space on disk.

2310 – Joe’s MTi stopped. Power cycled his system and restarted logger 211138.

2014/07/17

0750 – all running happily. Backing up moxas.

Fine morning, 4.2C, Wind < 5 m/s. Low cloud, maybe a bit of surface haze.

Getting foggier – lidar shows fog deck is all there is – just couple of hundred metres thick.

Starting to sort code for import of ship data files. All the ship data is in .csv files, with two versions *.sv.csv (Swedish format) and *.us.csv (‘american’ format). They differ in use of separators and decimal points. US is comma separated with decimal point (.), Swedish files are semicolon separated with comma to indicate decimals.  From a brief look through several the US versions often have a partial last line, and in some cases a few missing lines at end of file. (NB when checking formats, inspect the files in a text editor – default open in Excel will display data and time in a reformatted form, not as it appears in the file itself (YYYY/MM/DD hh:mm rather than YYYY-MM-DD hh:mm:ss)

Missing data amounts to a few samples (at 5-second intervals) just before midnight. Probably not important – just interpolate.

1215, fog thicker, drizzling. Lidar now shows a thin 2nd deck of cloud just above fog.

Think ship is orienting differently depending on activity – stern to wind for sediment coring, bow to wind for CTD. Wind pushes ship off cable in both cases.

Michael went up mast to fiddle with cables to one of the T/RH sensors which has been giving garbage data intermittentily. He had to cut power (around 1233), which also goes to Joe’s turbulence system. Restarted logger 1333.

Took a look at motion table data:

For most part perturbations in lidar pitch and roll are of order ±0.1° with occasional spikes. However, the means are non-zero. I suspect these result from a temperature related bias in rate gyro rotation rates, so they have non-zero mean. The table settles at the tilt at which this mean is balanced by the driver towards zero tilt. Should be able to remove this by detrending the rotation rates with a long-term running mean over a period of order 2 minutes (1200 samples @ 10Hz). Likely also to require separate scaler multipliers for the pitch and roll driver – have used a single value to date, but response rate on the two axes may be different.

System handles the change of ship mean pitch well

stabletable control code modified to:

- Subtract a 2-minute running mean of past rotation rates from the instantaneous measured value to offset any mean bias. The history from which this is calculated is initial set to all zeros, and starts filling when the software starts, thus is may take 2 minutes to settle down to a more or less stable offset.

- Apply separate scalar multipliers to rate to drive towards zero tilt. Currently both set = 0.5. Tried increasing slightly, but this tends to induce instability.

Motion pack on table crashed around time code mods finished (when I stopped the system it was tilted off at ~2 degrees on both axes!), so updated code on moxa and running now...

Doesn’t seem to make much difference...why?

Maybe bias voltage on analog input?

Tried setting bias offset on Kollmorgen controller...seems to have made things worse.

Ah...in reverting to an earlier code version when starting over on MTi crash checking I reintroduced a formerly corrected bug – on shutdown the commands to set output voltage to zero were going to wrong serial port...so was applying wrong offset. Corrected code and re-setting bias offsets for both axes.

Now working well – running from 190052

Bollocks...checking on mastlogger – all appeared running OK, however, noticed no MTiG files – none since 0800 yesterday (16th), but there were 2 copies of regular logger running...so data since at least 0800 yesterday will be garbled.

Stopped all and restarted 171358

Fog lifted after dinner tonight. Raining.

2027 – MTi on mast stopped before last restart...stopping all loggers, cycle MTi power, and restart at 2028 (note MTi file starts 1 second after the others due to separate calls to executables – new files on the hour start at same time.

2320 – Joe’s MTi stopped sometime 2100-2200 – killed loggers, power cycling and restarting 232409

2014/07/18

0945 All working

1015 – MTi on lidar table crashed. Restarted. At crash the table ends up tilted a couple of degrees off, though servo positions both report approx zero. When table horizontal the servo positions are approx roll = -1.23, pitch = -1.95 (ship pitch and roll both ~ 0.2deg). Should ideally figure out a way to reset the servo positions to zero for all table nests level.

1034 – anchoring.

1130 – fog bank moving in. Wind picked up a bit.

1225 – preparing for waverider deployment

- 1228 – put waverider on power...OK, but light died by the time we were ready to deploy – checked batteries – only ~2.5 V, should be 6V.

- Replaced batteries, back on power about 1300, in water 1318. Lying alongside ship all the time – couldn’t get it past stern to be carried free by wind/waves without it first cutting back across stern and area where coring work was going on. Think it would actually be OK if deployed from port side of back end...Orjan not likely to be convinced of that.

- Started pulling back 1500, on deck 1516.

- Maintained data record throughout deployment – probably OK for most of spectrum – at least as good as a SBWR. Vertical displacement record looks OK.

Riegl not seeing much while anchored – no foam to scatter from.

Motion table analysis – looked at ship and table roll and dRdt. Table doing a good job in general – few excursions. Both table roll and dRdt show a phase difference of order -50-60° wrt ship at the dominant scale of ship motion (~6.4s period, 0.1556Hz)(I think that means leading – lidar roll controlled by ship dRdt which leads ship roll by 90°. Lidar roll lags ship dRdt by ~35° (=90-55!)...approximately half a second.

Pitch correction doesn’t look as good as roll..but difficult to tell since ship pitch is quite small anyway for data I’ve looked at. May need to extend history array for lag correction – currently minimal (1 sample)(at moment a single history length is applied to both roll and pitch...might need to use different lengths).

Looked at recent mast data – there are a lot of invalid data values cropping up in Metek data stream – there were few or none 3 days ago. Might be rain induced...water on transducers? Need to watch this.

1930 Backing up yesterday’s lidar data.

2024 – Joe’s MTi stopped – restarting system 202702

On midnight sonde duty tonight.

2014/07/19

0115 – all OK.

1020 – motion table MTi stopped. Loaded revised stabletable code with recent history variables set with 2-sample lag. Restarted 102313. Revised code also applies offsets to the servo motor positions to try and get table level when MTi fails.

Lidar and radiometer OK.

Mast logger MTi stopped 0700-0800. Power cycled and restarted loggers.

Running backups.

Cleared out lidar hard disk through 2014-07-12.

CHECKING Moxa storage.

Riegl logger SDcard 99% full – clearing out early files through 15th.

KT15logger sdcard only 17% full.

Lidar table USB key 11% full

Joelogger 76% full – clearing files through 15th (now 54%)

Mastlogger 23% full.

1100 – on anchor. T = 0.8, wind picked up a little – small whitecaps.

Ola emailed – getting SAR imagery over ship – would really like wave measurements. Got OK to deploy waverider from starboard aft – behind storage containers...might drift across  to port if wind/waves sit as yesterday...will give it a go after lunch.

SAR map orders for next few days are listed below. All are either early morning or late evening – probably not going to get buoy out at matching times, but can run during day – two passes today, one just gone one late tonight – first will miss us, but 2nd should get current position in...though we may have moved by then.

SAR requests give centre position and 4 corners (I think)

SM

2014-07-19T08:12:01

VV

77.0567

123.0004

75.9958   78.2331   78.1087   75.8892

125.8731  121.2161  120.0546  124.8578

SM

2014-07-19T22:32:40

VV

77.2734

128.3608

75.8619   78.5990   78.6927   75.9400

126.7928  131.0958  129.8170  125.7375

SM

2014-07-20T07:54:54

VV

77.301

130.0454

76.0967   78.6094   78.4963   76.0016

132.9558  128.2699  127.0422  131.9136

SM

2014-07-21T07:37:47

VV

77.2107

128.9709

76.0086   78.5389   78.4016   75.8938

132.4898  126.5300  125.3746  131.4891

SM

2014-07-22T23:15:15

VV

77.3725

127.666

76.1145   78.5031   78.6415   76.2308

125.2209  131.1989  130.0365  124.2077

Widescan:

WS

2014-07-20T22:14:22

HH

79.3391

137.6459

75.6931   82.3050   83.1791   76.1793

133.3249  151.3610  139.4399  126.4579

Deployed waverider:

- power on ~1240

- in water 1250

Initially deployed from podt side, but drifting to starboard. Moved tether to starboard aft quarter – drifting nicely off to starboard aft – must be significant current to carry it that way (confirmed by pull on cable to sediment core).

1818 – 1825 pulling in towards ship – buoy was drifting too far to port and likely to get in the way of imminent coring work.

1829 – resumed pull in to recover buoy

1835 – on deck.

Waves built slightly during the day, the died down a little early evening.

1900-2000 – Joe’s MTi stopped. Power cycling and restarting his system @ 202703

Everything else looks OK.

Metek still had lots of invalid data points last night...error codes most 200 some 080 some 000 (which doesn’t match any of the error messages listed) – 200 and 080 imply implausible values...vecocity or T out of range.

Manual -> if many data marked invalid need to recalibrate.

2049 – trying a pre-emptive power cycle of MTis on the motion table – see if they’ll run all night without stopping. Restarted 205830.

2014/07/20

0900 All running.

Running backups.

Short drifting stations all morning...

0945 – snowing.

Checked lidar stabilisation – roll has a +ve perturbation of 0.2-0.3° every 10 minutes...response to lidar head moving to do wind profile and changing weight distribution!

2 sample lag adjustment has brought table roll almost into phase with ship dRdt, ~17° lag at highest frequency (~4 second period) and in phase at longer period (~9 seconds). Two distinct ship roll periods last night (file 140719_180000.08).

Lidar table MTi stopped around 1500. Restarted 152346.

Servo position offset adjustment didn’t work – settled tilted back by a few degrees. ..sign wrong on pitch? Updated code and restarted again 152818.

Mastlogger MTi stopped between 1700 and 1800. Restarted 192538.

1015 – all running OK.

2014/07/21

0800 - Joe’s MTi stopped between 0300 and 0400. Restarted 080624

Everything else running OK.

Cleared out lidar hard disk through 17th. 150GB free.

1115 – going up mast to sort out Metek.

Warmer this morning, metek not throwing out any bad data messages! -> cal may be right on the edge of being OK, and cooling pushes it just outside limits.

Stopped mast logger 11:09

Path lengths all OK within a few tenths of a mm.

Metek not generating bad data messages while testing – turned QC strictness to 100 (MD=100) – produced some. Tried adjusting path lengths by up to ±1mm to see if this improved data quality – generally made things worse, suggesting path lengths are OK as they are. Assume the problem is the temperature having been a bit off when calibrated, so cal is now marginal. Changing ‘cal temperature’ (TC=?????) makes no difference at this point – only used during calibration. So...nothing can be done to improve matters without getting it all off mast and recalibrating. I think a marginal T cal will only really impact absolute temperature not T perturbations. Opted to turn quality control checks OFF (MD=0) and sanity check the data ourselves.

Restarted logger 121209

Looking at MTi data from Joe’s system - ~3% of messages are corrupted. These all suffer a byte slip (or more) within the message – I think because the CSAT comms is running so slow (9600 baud – only rate supported on RS232 interface) that if it’s reading a byte while an MTi message is being sent it takes longer than time to send multiple bytes from MTi (running at 115200 baud). This means not only is the message corrupted, but at least 1 message is then slipped and all messages after that point are out of sync with CSAT – the slip gets worse over time as more and more messages are slipped. Might help to slow MTi comms down? It’s actual data production rate is ~14200 bits per second, so 38400 or 57600 baud should do. May still get some slips?

2100 stopped Joe’s logger. Reset MTi to 38400 baud and 20Hz (was at 40, but CSAT is only at 20).

Restarted his loggers at 221723

Everything else still running.

Pre-emptive restart of MTi units on lidar table @ 222300

2014/07/22

0043 – all running.

Backing up yesterday.

Very calm, raining.

0730 – still calm...still light rain.

Joe’s MTi data looking better, but not perfect – still some slipped bytes / missing messages in some files.

CSAT is more modern than my manual – will (probably) support 19200 baud (Joe’s manual is 2012, but sonics are pre-2008)...will try changing setup, though this is not entirely straightforward. Manual indicates will only change if rs232 driver not powered permanently, but need RTS line asserting from PC end...suspect that’s not the mode we’re using?

Stopped Joe’s logger 0900

Should be able to change mode as follows (see page 42-43 of current manual), from terminal comms prog ( ./sercomm /dev/ttyM1 rs232 B9600 CR) send command ‘T’ to enter terminal mode

‘??’ sends current config (may need to enter characters quickly – I think it times out if too long a gap)

‘br 1’ should switch to 19200 baud – this is reflected in output of ??

However, baud rate is not actually changed until RTS line de-asserted. Power cycling reverts to previous settings with 9600 baud.

I think RTS is asserted by the CRTSCTS flag in the terminal definition in sercomm ... tried changing terminal mode to remove CRTSCTS flag as sercomm exits, but still no joy.

Failed to change CSAT baud rate for now.

Restarted loggers 104108

Checked metek files from late last night – still have a handful of ‘invalid data’ messages (~20 an hour) + spotted a couple of obviously very bad values in data.

Found pukka Campbell RS232 cable – will go up mast and try and change baud rate with laptop and pcomm at some point soon.

1602 – both Joe’s MTi and CSAT files for 160000 are empty...stopped loggers

Both devices are outputting data...ah SDCARD is full...deleting old files.

Restarted logger 161026

Weird thing with Joe’s MTi since changing setting yesterday – from sercomm terminal comms it looks like it’s just outputting a repeated really short message – if output piped to a file and examined in hexdump, appears to just be the message headers – this is reason I thought MTi was in a mess after trying to change baud rate from Moxa last night, so went up mast to fix from MTiManager.  From logger, however, the data is fine. Wonder if last byte of header/checksum or start of message is some weird ascii control character that causes terminal to junk the rest of the message?

Mastlogger USB keys is 47% full.

1830 – anchoring.

Lidar table MTi crashed – restarted system at 185646

Sign change on servo pitch control has it sitting at sensible angle now.

Looking at metek data files – sample frequency must be slightly off. Getting 10 or 11 samples over 72000 in the hour -> half a second out of sync with MTi by end of file. Unless issue is really the system clock...quite possible.

2300 – mast MTi stopped sometime 2100-2200. Stopped and restarted 230018.

On midnight radiosonde launch.

2014/07/23

0040 – all running

Clear, warm (+4.5C), low wind. Almost no waves... Hs ~10cm ?

1010 – all running OK.

1412 – Joe’s MTi stopped between 1300-1400. Power cycled and restarted at 142125

Tried sending the MTi a StartMeasuring command, but didn’t help.

Very calm all day, Hs ~cm.

2023 - Lidar table MTi stopped sometime in past half hour or so. Restarted 202314

NB. Can do a restart without disabling motors if you’re fast. Since it’s controlling on servos we can pull the plug on the MTi units, plug back in then kill the stabletable process (ctrl-c) and immediately restart (up arrow to recall previous command line, and enter) – kill and restart of code takes a couple of seconds.

2107 – bit of rain starting.

Looking at MTData2 parsing function for mast. A couple of thoughts:

- Might be able to improve data recovery in bad messages. At the moment if we find a bad packet within a message we flag the message as bad and search for next one. However, a byte slip within message affects only the packets AFTER the slip (have often already read some packets before finding unknown packet header) and missing byte(s) may only really affect a single packet, just that others are now out sync with where we expect them – could search and recover other packets. For e.g. there are more missing SampleTimeCoarse values than SampleTimeFine – which appears first in message.
No single unique ID for ‘a packet’, but can simply backup a bit and keep searching for valid packets? NB if bytes slipped effective message length will be less than that stated in header...don’t want to read ahead into next message or we’ll lose track of sample number.

MessageCount and time SampleTimeCoarse/Fine variables provide definitive times for packets within a message, and a means of identifying missing messages.

- Since we found an unrecognized packet header the byte slip occurred:

  - within previous packet, in which case previous packet data is corrupt but unflagged – ought to handle this. Current packet may be OK, just slipped back in byte sequence

  - within the header itself – nothing we can do with that since we cannot ID packet type.

The byte slip within message and junking of all subsequent packets in message means we are missing more data for packets that appear toward end of message than toward start – the MessageCounter has very fewer missing values than there are bad messages flagged – it appears at start of message so often read before the byte skip and flag set. There are a few wild MessageCounter values implying byte slip within that packet.

- Byte slip within a message should mean that part (or all) of the following message header gets included by logger within current message, so logger would skip a message since it would not find a valid header within the next block of bytes read in. Should show up in jumps in MessageCounter

- If all of next header included, then read_MTData2  will find it, be unable (probably) to find a valid packet after it, and move on to next.

There are few bad MessageCounter values (appear at start of message), and most match bad message flags...but have found a bad counter value that is not flagged. Could occur if byte slip occurs within the counter data bytes AND the slip brings a packet header into the location where next one is expected. The following counter is good BUT a value is skipped because the slip results in next message header not being found where expected and parser going on to following message

Expect counter:		n  n+1  n+2  n+3  n+4  n+5 . . .

Get counter:		n  n+1  BAD  n+4  n+5 . . .

Think we need to revise logger for MTi (actually for all BINARY format data) – should look for message header as a running test so it finds new message start whenever it occurs and doesn’t miss it following a few missing bytes within previous message. Then write to file whatever it got of previous message regardless of length.

Looking at MTi file 140719_060000 – GPS millisecond of week (iTOW) -> first sample in the file is 16 seconds into GPS hour...ah...GPS iTOW is not UTC (adjusted for leap seconds). UCT time matches start of file time to <~0.25ms.

2014/07/24

0945 – all running OK.

1654 – Joe’s MTi stopped...restarted 165733

1712 – pre-emptive restart of MTi units on lidar table – roll in particular is a bit unstable when starting up – oscillated by up to ~1-2 degrees. Settles down over ~ 30-60 seconds .

1028 – mast MTi stopped between 2000 and 2100 – restarted

222913

Mid-cruise dinner tonight (well, mid-leg...almost, but ocean team will be frantic on station when we’re actually half way).

Late – wind picking up, some whitecapping. Still no real waves!

2014/07/25

0915 – all well.

Foggy, bright, wind picked up a bit.

Yesterday Dom found that the lidar scans all seemed to have azimuth set +90° from what they should be. RHI scans were at 60, 90, 120 – all over starboard side, not 330, 0, 30. VAD ran 295-200 not 205-110 (ie 20° aft of port beam through forward to 20° aft of starboard beam).

Backed up the files, and edited them all to have correct values.

5 point wind files left as they are with azimuths of 0,90,180,270 for 70° elevations.

Restarted this morning, but no change...after lunch figured out I needed to reload the edited files through the schedule manager. Working properly now.

1105 – clearing old files from Leeds and joe’s mast loggers.

KT15 logger sdcard 25% full.

Riegl logger sdcard 83% full – clearing old files

Cleared raw data through 22nd from lidar.

1727 – Joe’s MTi stopped between 1400-1500, restarted 173131

1945 – pre-emptive restart of MTi units on lidar table.

2124 – pre-emptive restart of MTi on the mast, logger back on 212441

2014/07/26

1000 – all OK.

Running backups – 11:10 failed on mastlogger. File system readonly – last file written was 0800 start..look like full files so filesystem failed on attempt to open new files.

Unmounted USB. Remount failed...no media found.

Power-cycled moxa...twice – never comes up on first time.

USB auto-mounted OK when system booted.

Manual backup of mast data.

Restarted logger 112447

Comparing ship and MTi velocities – the ship is lagged  ~15 seconds compared to MTi...I think it’s timestamp is GPS time not UTC! Fits with GPS time offset on MTi. Both velocities and GPS location match very well.

MTi yaw (EulerAngles(:,3)) is given wrt local east (ENU reference frame), thus heading is 90-yaw+30 (accounting for 30 degree orientation offset).

The heading calculated from MTi and that from ship nav do not agree very well - ~6 deg difference (after correcting for 30 degree offset of MTi from ship axis), but this is somewhat variable. Two possible issues here:

- MTi may be referenced to magnetic not true north (although the MTi-G ought to calculate true north when GPS available)?

- the MTi has not had a correction for magnetic field distortions from the ship calculated – no opportunity to do this – could easily account for varying heading offset from ship

1700 – Joe’s MTi stopped sometime in last hour. Restarted 170725

Issue of lidar table being unstable when first started up solved – MTi units seem to take ~20 seconds or so to establish a stable solution for Euler angles, which show some wild (though thankfully fairly small) and unrealistic changes in first 10 seconds or so:

This behaviour is seen on all of the units immediately after power up. Doesn’t appear in the direct measurements of rotation rates, must result from kalman filter and initially unknown orientation and motion.

Examining status byte in legacy mode output this roughly corresponds to initial 30 second period before a GPS fix is obtained...but it’s not clear why that should affect Euler angles. Filter status flag indicates the filter is valid (inputs within range and complete)...guess it can be valid but not yet converged to solution.

For table – wait ~1 minute after power cycling the motion packs before starting up the stabletable software.

Radiosonde night tonight.

2115 – MTi on lidar table has stopped. Restarted 211752

Pre-emptive restart of mast MTi, loggers restarted at 234615

All else is running OK.

2014/07/27

1040 – all OK. Bright, high cloud, sun coming through. Almost warm out of wind (5°C)

Running backups

1130 – noticed radiometer comms lost, don’t think that was lost when I first came in. Restarted at 1134 – seems to have stabilised quite quickly.

1400 – suddenly foggy. Much cooler, 3.3C. Getting close to the ice edge.

1830 – Joe’s MTi stopped. Restarted 183347

Clear skies, sun is out – quite nice out of wind.

Motion correction code:

There is a significant difference between the complementary filter derived Euler angles and those from the MTi. They agree well for high frequency motions (below) with periods of order seconds...

and reasonably well on long time scales:

But there are marked differences at intermediate time scales – periods of order 10s of seconds:

Power spectra of roll angle – both figs the same but overlaid reversed:

Possible causes of differences between the two approaches:

- complementary filtering is an approximation to the true motion – in particular low-period pitch and roll estimates are not actually true euler angles, only approximations to them.

- Kalman filter in the MTi might give too much weight to magnetic field measurements, which are uncorrected for distortions caused by the ship.

On balance I’m inclined to think the MTi angles are more likely to be accurate.

Loading 140719_120000.00.MTiG – packet types appearing that shouldn’t be there! Quarternion, Pressure, FreeAcceleration, RotationMatrix...taking AGES* to load. File used above is just an hour and a half earlier and doesn’t have these...might be byte slips – getting random byte in 2nd byte of packet ID...will then read data in wrongly...instead of bailing out and looking for next message.

*10 minutes in...still not finished loading...file is small (14MB rather than 20MB -> LOTS of missing bytes, probably a real mess. Why?)

Hmmm – getting a small file or two, together, once a day – suspect these are times when data backup is taking place and the system is stressed (they are about the right times). Should perhaps stop logger for backup...maybe just do mast logger every few days rather than as part of bulk backup script? More bloody problems....

2054 – pre-emptive restart of MTi units on lidar table.

2128 – pre-emptive restart of MTi on mast logger. Logger back on 212826

2306 – matlab still trying to load that file!

In among very marginal ice – lots of small bits and floes about – wave state much lower than earlier...though not sure what direction fetch is relative to ice.

2014-07-28

0840 – all running

Off Bennett Island, largest in ‘de Long’ chain of islands.

Matlab STILL trying to import that MTi file...killed it.

Ran matlab import of the broken file again with bad-message reporting turned on – it’s almost all unknown packet types. These short files are junk.

Checked other loggers – Joe’s looks like MTi files may be suspect during backup – 1 slightly short file each day. Other’s all look OK.

Finding...unhandled conditions in the MTData2 import and cleanup functions  - all related to broken messages.

Think the platform motion code is OK now...probably. Makes sense when compared with both direct ship and MTi velocities. MTi yaw can be wild at times...don’t know what’s going on there. Have to use ship heading + high rate complementary filtered z-gyro to get final yaw.

1925 – finished backing up lidar data from yesterday – lidar seems to have stopped around 1630 (?)

Stopped, closed down, and restarted lidar software...it ‘encountered a problem’ and closed.

Scanner Utility won’t run either.

Shutting down lidar PC and rebooting...

Up and running again about 2000.

Joe’s MTi stopped between 1900 and 2000 – stopped and power-cycled.

Taking opportunity to backup everything through yesterday and clear old files off the SDcard (77% full). Restarted logger @ 202014

Pre-emptive restart of mast MTi at 2058, logger restarted 205905

Pre-emptive restart of MTi on lidar table at 2100, system restarted 210120

2014-07-29

0845 – all running.

Making heavy weather of getting through ice on east side of Bennett Island.

In and out of cloud today – some bright sunny periods, some overcast. T ~ 0.5C, windy and cold out.

1902 – tried stopping Joe’s logger and sending a reset + measure command to his MTi to see if this resents whatever counter is causing it to stop every day. Restarted loggers 190455

Pre-emptive restart of MTi on lidar table at 2030, system restarted 203100.

Pre-emptive restart of mast MTi at 2133, logger restarted 213441

2313 – Joe’s MTi has stopped. Restarted 231519

2014-07-30

0830 – all running fine

Foggy. Sat still all night waiting for visibility to improve, underway sometime this morning.

0900-1000 Per welding a bracket onto scissor lift frame...aerosol generation, but shouldn’t affect CLASP – we’re underway so reasonable headwind.

Backing up lidar and clearing out older raw files through July 28.

Dom found that last night odd thing happened on KT15 logger.  New files started at 225956.14 – both empty, then new ones again at 230000.00 KT15-2 is same size as usual, KT15-1 is a bit larger by ~70-80 bytes.

Checked other systems and ALL the logger’s did this – the faster rate ones capturing a small quantitity of data before starting new file. Suspect that what happens is:

- System time check in logger code clocks the new hour...

- Cron job syncs system time to ship’s timeserver – this has changed back by ~4 seconds so clocks all reset to just before the hour

- Logger function to open new file is called, which gets (new) time for filename

- 4 seconds later the hour is clocked again...and new files started again

This is worrying cos it implies that ship timeserver is only syncing to it’s reference (GPS) on an infrequent basis and is then drifting...although check of MTi UTC time against file start time early in cruise showed a match to within something like a millisecond.

Checked back through data record, same thing happened at 10:00:00 on July 13, jump back in time by ~2.5 seconds – on KT15 and riegl and Joe’s mast, but not on my mastlogger (why? – system busy, so cron job ran late resetting time after the hour had passed? – tried to check this, looking for jumps between GPS/UTC and system time within the 100000 MTi file, but this is a short file – backup must have been running – checked metek data file, systime jumps back 2.5 seconds a few seconds into the file).

Checked MTi UTC time for 1st sample in file for a range of files between 12th and 26th – there is some variability, but all look good to within .03s -> big jumps are not due to a slow drift in timeserver clock being corrected.

Mast logger files even weirder...there’s the 225957.20 files, ,the 230000.02 (full) then 230000.06 – just a dozen or so samples – did we clock over the hour 3 times?

- Once starting short 230000 files, then

- Once but time jumped back before files opened 225957 files

- Final time when we hit the hour again for 230000 second time.

NOTE TO SELF – we need to run our own timeserver sync’d to GPS (UTC) time so we know what’s going on.

1429 – doing scp of a single 20MB MTi file from mast logger – should corrupt the 140730_140000 MTi file about half way through.

1505 stopped mast logger to backup data (from 29th) – takes almost an hour for 1 day.

1600 – pressure washing under foremast.

Backing up 27th and 28th.

16:15 – 16:30 ish – crew jet-spraying close to bottom of mast. Top of mast probably clear from any moisture and spray influence, but mid mast and below maybe not. - Dom

1815 – power cycled MTi on mast,

1819 – restarted mast logger 182008

1820 – backing up data from Joe’s mast logger – left logger running.

Trying to rewrite logger code to avoid missing a message after a slipped byte in previous message...problem comes if the byte slip is inside a header...then have no sync and no sensible wat to time stamp fake (zeroed) messages to keep file structure in sync.

On midnight radiosonde.

2130 – on station, v-little motion. Pre-emptive restart of MTi units on lidar table. Restart at 213320.

2014-07-31

0143 – all OK

1045 Running backups for all but mast.

Joe’s MTi stopped about 0400-0500 this morning.

Backing up Joe’s data from 30th before restarting at 135742

Revised logging code compiles...does it work?

1840 – MTi on lidar table stopped sometime since 1800. Restarted 185034.

2100 – backing up mast data from yesterday – logger running. Relative wind direction 135deg, so turbulence data probably crap anyway.

2337 – pre-emptive reset of mast MTi. Logger restart at 233748

All else OK

2014-08-01

0910 – all seems to be running OK.

Doing backups.

KT15logger sdcard at 34%

Riegl logger sdcard at 71% - cleaned out old files through 29th, now sdcard at 24%

Lidar table USB at 23%

Mast USB at 17%

Joe sdcard at 19%

Running import of all metek data (cleaned) into matlab – problems before July 10 when we changed metek config – broken lines mean we have some issues with setting sample time properly.  Checked some early files and sample frequency seems to be 50Hz not 40Hz (and on 4th, 20Hz?)

140711_150000.06.metek – last line of data has incomplete time, nothing on line after the minute, and several blank lines afterwards (very long ones). Next file starts 140711_161830.00 -> logger was stopped, but not cleanly – ah, 1552 USB filesystem went read-only.

Deleted last few lines of ascii file.

USB filesystem -> read only

140711_150000

140715_130000

All files for these times will likely be corrupted at the end – FAT not correctly written so end of file is not correctly marked and may run on into whatever was already/previously in that address.

Ran out all metek (cleaned) -> matlab up to 140730-230000

1700 – Joe’s MTi stopped 1500-1600, backup up yesterday’s data, restarted logger @ 173735 – CSAT didn’t come back up...not outputting data. Power cycled again, restarted @ 174512 – OK now.

Michael’s been looking at the CSAT data and finding lots of periods of crap data – clearly daft values of winds and T – looks like this is related to vibration screwing up the transit times. Don’t see anything like it on the metek.

1943 – MTi on lidar table stopped in last ~15 minutes. Restarted @ 194305

Starting to run out MTiG files from mast to matlab. Skipping files we think are highly corrupted (length < 20MB for a full hour file). Haven’t corruption tested files that are less than an hour – no simple test without examining file in detail. Takes ~1-2 minutes per file.

Found the 140711_150000 file corrupted by USB filesytem fail – end of file has a big block of zero bytes. Went in manually, found offset of last good message, and then copied file upto that offset.

Copied corrupt and .fixed files to ‘broken files’ directory. Then replaced original with fixed file – imports OK.

Corrected file from 140715_130000 also.

Breaking ice at 5kts, rolling around quite a bit (well up 2 degrees) quite violently. Motion table doing well – seems to keep within 0.1 degree most of time.

Ice is pretty solid – no leads, but ~50% melt ponds.

Dom found some evidence that number of errors on metek correlations with high humidity (>90%) – could be water on heads, or attenuation in fog? Still lots of zero errors at high RH.

2120 – doing a pre-emptive reset of MTi on mast. Restart at: 212651

In thick fog – can see loss of lidar signal as it thickens clearly:

2014-08-02

0830 – lidar table MTi stopped sometime after 0800, restarted 083226. First time it has stopped so soon after a restart.

Backing up mast 140731 – logger still running, but relative wind is from stern so fluxes are rubbish anyway.

In thick fog, lidar hardly getting any penetration through it.

Running out MTiG files to matlab, 140713_080000 crashed import code – unexpected end of file at when trying to read the logger system time (read_MTData2, line 137). John has an end of file check & bail out just before this implying he’s hit this problem in testing, but:

- Why is there and end of file here at all – logger should append systime to data message before getting the chance to close file – they’re consecutive lines in the code.

- The end of file test immediately before read of systime returned false – feof(fd) fails unless you attempt to read past the end of file.

Close look – at the feof test before read, the file pointer is 3 bytes from end of file -> write of system time was interrupted. Can’t see why  - next file starts normally. There are a lot of bad packets in this file (1612 ~1%) and next file is short -> backup was underway for next file and probably started during this one, dropping lots of packets, so our file ends unexpected because we missed ~5 bytes in this message.

Have inserted check that file pointer is more than 8 bytes from end of file.

Added a check to trap the garbage at end of files corrupted by USB going read-only. Can now read these without first truncating the files.

Got a couple of big rolls while breaking ice – up to 5 degrees! Between 0900 and 1000 – good test of table.

Mast backup still running – up to 1700. ~ 2 hours for 1 day while loggers running.

1140 – thick fog, lidar completely attenuated.

1350: MTi import may be stuck on file 140723_050000 - has been on it for 10 minutes, nothing else has taken longer than 2 minutes – file is not noticeably short and next file starts on the hour and is not short – too early in day to be running backup anyway. Giving it a bit longer.

Killed it after 20 minutes – ctrl-c when debugging on errors is turned on dumps you in the function workspace. File pointer was near end of file, and code stopped at line 140 – has an unknown packet ID and pushing pointer back to just after the last header...BUT, we’re only 465 bytes from end of file and the last ‘msg’ block read to search for header was short – just 470 bytes. Searching in that block only 1 header is found...presumably the one for message in which we just found an unknown packet. The readbytes counter was = 0, so we will keep looping and stepping back until we find a header, reading forward and finding bad packet...endlessly.

Added another check to see if we’re nearly at the end of file within unknown packet condition...if msg variable is <512 (but not empty) then set alldone flag true.

Problem with 140725_160000.06.MTiG

“Number of data messages = 158180

Number of bad (unknown) packets = 344 = 0.2%

Warning: Variable 'MTi' cannot be saved to a MAT-file whose version is older than 7.3.

To save this variable, use the -v7.3 switch.

Skipping...

> In import_acse_MTiG_wrapper at 46 “

? – line 46 doesn’t try to save the file...not trying to save to old file version ?

Matlab file created is 1kB.

140728_170000.00.MTiG saved out as 1kB too

140731_000000.02.MTiG ditto

Went back and looked at these individually – they are picking up unknown packets following byte slip and randomly identifying packets of type SPGSVI which are  [157860x2044 double]...HUGE. Structure then exceeds maximum variable (or file?) size for the default v5.0 file versions.

Just put a check in to delete these fields.

1500 fog getting thicker...can hardly see anything, few 10s of m.

Synchronising metek and MTi (and anything else for that matter). Metek sampling internal is not exactly 20Hz – getting a consistent 11 extra points per hour – can’t simply take time = start + N/sf – by the end of timeseries we’re half a second out.

True sampling frequency = 20.0030555555...Hz (72011/3600)

2044 – pre-emptive restart of lidar table MTi units, restart at: 204459

2130 – Joe’s MTi stopped in last half hour. Stopped loggers, backing up data from yesterday.

Restarted at : 214352

Pre-emptive restart of MTi on my mast logger, restart at 213628

2014-08-03

1000 – all running OK. Backing up lidar.

Running out CLASP data.

Issues: 140707_160000.00.CLASP corrupt from about 2/3 of way through – CLASP stays corrupted until 140708_200000.00. Files moved to bad-CLASP directory.

No other import problems on any CLASP files to date.

Lidar tilts looking good in heavier motion yesterday. Will try increasing the mean-tilt feedback scaler 20% to see if we can minimise the tilts associated with the motion of lidar hear (2100 and 2700 above).

1900 – joe’s MTi stopped sometime in last hour. Stopped logger & backing up data from 140802.

SDcard is 55% full, so clearing old data through 140802_230000.

Restarted 191630.

2056 – raining!

Doing pre-emptive restarts of MTi units on mast and lidar table.

Mast restarted: 205923

Lidar table restarted: 205842 – changed rscaler and pscaler to 0.6 from 0.5 to see if we can correct tilt after head turns faster...increasing these values too much will however result in overshooting instability – need to make changes with care.

On midnight sonde duty.

2014-08-04

0100 – going up to finish sounding – proper heavy rain, large drops. Decks all half an inch deep!

Sonde show T increased by 10deg in lowest 30-40m from +1C at surface.

1030 – all working. Running backups.

Back in fog...

Looking at period just before/after change in lidar table pscaler/rscaler values – subjectively the lidar roll (red) seems a bit noisier. Recovery from lidar head movement is faster, but there may be more overshooting the rest of the time.  Hard to tell because ship motion become more violent over time around the point the change was implemented.

(big spike in lidar motion just after restart above is before controllers activated – it’s just following the ship motion). Looking a bit earlier:

I think the change has made things worse. Ship motion is more extreme around 1300-1500, but lidar motion less so than after 2300. Will change settings back later today. The high value might work OK if control loop ran faster than 10Hz. Because it imposes a higher rotation rate, we need to sample position faster otherwise we can overshoot horizontal in between samples. Currently limited by response of NUDAM A/D module...and perhaps the D/A module?

1130 – on station since 1000, now reorienting for coring work – wind is from aft. Shutting down mast logger to backup 3 days of data and clear some old files. Finished ~1345

Cleared files through 140803

Power cycled MTi, and restarted logger at 140052

1215 – on station, motionless. Stopped lidartable and changed r/pscaler back to 0.5, restarted at 121646. Lidar close to horizontal throughout.

Run out all ship motion calculations through July 31.

1640 – underway again.

1740 – Joe’s MTi stopped between 1600 and 1700. Stopped logger, backing up yesterday’s data

Restarted at: 175234

Stopped because of poor visibility in fog.

2012 – doing a pre-emptive restart of lidar table MTis while we’re stationary. Restart at: 201501, controllers back on about 2017.

2100 – the fog has cleared and the sun come out.

2115 – underway again.

2014-08-05

0130 – all OK

0844 – all OK.

Slight low level haze, no cloud...but slowly building through morning.

1000 – cloud lowered and became fog again very rapidly:

Lifted again just as rapidly.

Backed up lidar, cleared out all lidar raw files older than 2 days.

Clear, patches of high cloud. Lidar shows uniform backscatter (aerosol) up to ~1.5km

Seen 2 seals this morning – first wildlife for ages.

What happens to lidar here?:

Wiped window – no change.

1250 – updated logger code on both turbulence systems. Added an extra flush of serial buffers just before entering logging loop – the system waited for next whole second before opening files and starting up but didn’t flush buffers, so first file after starting up *might* have extra data if instruments internally buffered serial ports.

Restarted joe’s at 125112

Restarted mine at 125516

1806 - MTi on lidar table stopped. Restart at:180854, controllers on at 181650 (got distracted!)

Looking at offset between MTi UTC and logger system time – UTC of first MTi sample vs file start time. Red points are the raw MTi files, blue are after cleaning up.

Close up of red

A lot of variability even in raw MTi files and something odd going on in cleaned up files. Big differences in red point result from changes to system clock via timeserver...

In cleaned files, plot difference between UTC and system time for all UTC packets, plotted against UTC time in seconds from start of 3rd file:

Jumps around a lot – and there is overlap in UTC as file changes:

This must be introduced in the clean-up routine...arse.

...tracked it to the creation of the regular time base in the clean up routine – had neglected to add the nanoseconds component of UTC time to seconds for initial time. Fixed and re-cleaned all raw MTiG files.

Now much more regular offset, slowly changing through file. Overlap is now 2 samples...0.05s drift through file

The downward spikes in UTC-systime are triangular features (as above) where the arrival time lags sample time increasingly and then catches back up. The interval between the minima is ~20 seconds, though there is not such a feature every 20 seconds. I assume these result from phase interactions between the different sampling periods for different instruments. The drift over time must result from either the MTi sample interval not being quite 40Hz (it’s time stamp is spot on, but manual implies accuracy of 10ppm (1.44 sample intervals over a 1 hour record)) or a drift in moxa system clock, corrected on the hour by sync to NTP server. There are, on average, approximately 2 extra samples per hour over the 144000 expected. The UTC time between first and last samples in an hour is on average 0.0297s longer than 1 hour = 1.19 samples, so approx 2 samples accounting for interval between files.

Some of the cleaned up MT files have a NaN or two in systime at end of file – results from the interpolation of systime onto the standardised time base where there are no actual systime values outside the limits of timebase...no extrapolation beyond data range. Could extrapolate, but might get slightly wild values in some cases.

Lidar pitch and roll wrt table need checking – was started up with table running, so close to level, but it’s reported pitch at startup is 1.219 and roll of 0.096 – don’t know how good/variable these are since only sampled when not running. A 1.2 degree pitch offset is significant for winds.

2014-08-06

0215 joe’s MTi stopped before midnight, stopped logger, backed up 140804. 140805, restarted at 140806_024931

1020 – all running OK.

Cleared old files off the riegl logger (was at 63%).

Cleared all july files off KT15 logger.

1250 – Lidar table MTi stopped. Restarted @ 125232. Controllers at 125350.

Stopped and restarted lidar to check pitch/roll – with table level (±0.05) pitch is about 0.5-0.6° (jitter is ~0.2° or so), roll about 0.1 to 0.2° (NB pitch is opposite sign to motion packs...bow up is +ve; roll signs are the same).

1920 – Patrick stopping the LGR soon for maintenance for half an hour or so.

140806_190000.03.LGR has a data gap within the file.

2015 – back in thin fog/low cloud.

2129 – pre-emptive restart of MTi on mast, restart at: 213057

2348 – Joe’s MTi stopped 1000-1100. Restarted at 235220

Since about 1900 the air aloft (>1km) is DRY...bottom of scale on radiometer.

Looking at ship motion calculated from MTi. Below – vertical velocity from MTi (green) and via complementary filter approach. The MTi has some clearly erroneous features...a vertical velocity of up to 0.3 m s-1 for ~40s?

This feature occurs in horizontal as well:

Cyan is MTi ‘u’, red is complementary filter ‘u’ -> we can’t trust the MTi velocity as is. On the large scale comparison is good:

So we might be OK using MTi velocity low-pass filtered within the CF calculations.

Above power spectra for vertical velocity before (blue) and after (green) motion correction...not much motion. Note lift at high frequency – stable conditions, we’re under-resolving the turbulence and getting aliasing – need to take care with frequency limits for inertial dissipation estimates – stay below ~3-4Hz.

Note I have moved the very short files resulting from the jump back in time at 140729_230000 – they screwed up sonic/MTi time matching...and are useless anyway. Files moved to ‘time-glitch’ in raw data directory.

2014-08-07

0800 – all OK. Running backups. Still VERY dry air above the BL – high pressure squashing everything down, clear and sunny. (more humid air aloft returned late in morning)

On station. Relative wind 60° off the bow.

1457 – stopped mast logger for backup of data from August 4-6. On station with wind from aft...some of time anyway...lots of manoeuvring going on.

Backup finished and restarted logger 171252

MTi on lidar table stopped – restarted at 173447, controllers at 1737

Joe’s MTi stopped sometime 1800-1900, restarted at 193359

(didn’t backup since running a backup to USB on the RAID at the moment – doing full backup to 1TB USB disk in preparation for end of cruise. Will keep this updated for taking home.)

22:31 Pre-emptive restart of MTi on mast, logger restart at 223348

Ditto for lidar table. Restart at 225526, controllers at 2257

On late radiosonde.

2014-08-08

0125 – all OK.

1030 – all OK.

1500 in shallow fog...rime building up on metal surfaces –

1700 – rime visible on licor, metek nice and clear. Fog quite tenuous now, but visible in lidar. T = -1.5.

Michael found ice on the KT15 lenses today – scraped off with fingernail. This might be more of a problem during leg 2...make sure to check regularly (at radiosonde launch) ditto webcams.

1710 – Joe’s MTi stopped in last half hour or so. Stopped logger & backing up data from 6th and 7th.

Restarted at: 173838

1912 – on station, wind from behind – stopping mast logger to backup yesterday’s data.

Power cycled MTi. Restarted logger at: 200028

2001 – pre-emptive restart of MTi units on lidar table. Logger back at 200353, controllers at 20:06.

Hot dog party on the foredeck – all the planned SWERUS stations are complete...on to do a few bonus stations.

2014-08-09

Both Joe’s MTi and CSAT stopped producing data about 0800-0900 this morning.

SDCARD full (oops) – backing up data and clearing card.

Restarted 134529

Clear sky, dry air aloft. Most of leads and melt ponds frozen over today. T = -2 around lunch (local midnight), ice forming on deck.

Mid-afternoon more open water. Warming a little, now -1.

1658 – lidar table MTi stopped in last half hour or so. Restarted at 170053.

1704 – pre-emptive restart of MTi on mast. Restart at 170408.

1955 – all OK. Bright and sunny still – feels almost warm out in the sun.

2014-08-10

0815 – all running OK.

Clear and sunny again. More open water and smaller floes, thinner ice. Lidar seeing almost nothing.

Temperature just above freezing.

First sunset/sunrise!

1355 – lidar table MTi stopped in last half hour or so. Restarted 135615, controllers 1358

1725 – Joe’s MTi stopped sometime in last hour. Backing up yesterday’s data. Restart at: 173925

2048 – pre-emptive restart of MTi on mast. Restart at 294904

Nothing but noise visible on lidar real-time display.

Midnight - Polar bears and walruses!

2014-08-11

0840 – all running OK.

In open water and a thin fog layer – blue sky visible through it. Can just see it on lidar – very thin.

Swell running of ~1-2m.

Cleared out old lidar raw data files through August 8.

1120 – Joe’s MTi stopped 0900-1000. Stopped logger, backing up 140810. Restarted at: 113807.

1130 – now about the darkest time of day – getting proper twilight...very grim out. Temperature = 0C, some ice on railings.

12:12 – pre-emptive restart of MTis on lidar table, running again at 121347, controllers at 1216

1222 – pre-emptive restart of MTi on mast. Logger restart at : 122303

1830 – fog finally lifting. Was a really thin layer, now a deep layer of cloud with complex vertical structure:

No!...noticed elevation is 0.0 while it is in stare mode – it’s just looking out sideways – this is horizontal structure. Arse.

Rebooted the system – when it restarted lidar reported ‘no ATS card found’ – clicked OK on pop-up and the sysinfo box reported no data acquisition card found, and asked for a reboot. Have shut down lidar and windows, and done a hard power down (1925)...

...1949 – lidar is up again and fully recovered...needed the power cycle of the lidar system, not just a PC reboot.

In thin fog or very low cloud – visibility is higher than earlier in the day, but highly variable.

Dom dug back through lidar files - it had been scanning ONLY horizontally since 1800 on August 1st.

On midnight radiosonde. BL and low cloud only 60m deep, shallow inversion and then deep layer of more slowly increasing temperature. Surface T +2.5

Finally a ship roll of ±3 degrees – table staying within ~0.1 degree.

2340 – pre-emptive restart of MTi on lidar table. Software restart 234403, controllers at 23:47

2340 - Wind from aft. Stopped mast logger and backing up data from Aug 8/9/10.

Restart at 140812_024927

2014-08-12

02:50 – all OK.

09:40 – all OK. Bouncing around quite hard. Backing up most of loggers. Cleared old files from riegl logger.

Nearly clear skies, lidar shows surface aerosol layer and a couple of thin elevated layers above:

Evening – heading back for the ice. Too choppy to do the CTD work planned in open water. Clear skies and bright and sunny, but very windy.

Some thoughts for future cruises:

- Run out own timeserver synced to GPS

- Log 2 fixed GPS receivers at either end of ship to do a GPS-based heading of the ship. Should both have same position errors, so heading should be good – same approach as ASCOS ice floe orientation – need to estimate heading error.

- RS485 for as many systems as possible – certainly for motion packs on tables – too much motor noise causing interference.

- REALLY need to have as much processing code sorted in advance as possible – need to keep on top of routine processing and data QC checks

- Need to sort out logging for the mast system with high through-put of data. Everything should be on as close to the same baud rate as possible. Need to trap ALL headers as they come in, not just when they hit front of data buffer – avoid losing a message after a byte slip.

  - Might want to consider a serial to Ethernet hub and running Ethernet to a more powerful logging system back off the mast?

- Need to get our own mean T and RH sensors.

2020, lidar table roll seems to have a rather larger range – up to 0.3° than I would expect. Watching it up top it seems to be a bit unstable – overshooting the horizontal? Was doing much better last night with greater ship motion – may be frequency of motion?

Doing a pre-emptive restart of MTi units on it. Back running at: 202923, controllers at: 2032

2110 – just entering the ice edge.

2014-08-13

0035 – Joe’s MTi stopped 2100-2200. Stopped logger. Backing up data from august 11 & 12

Restarted at 010546.

Pre-emptive restart of MTi on mast. Restarted 004316.

Clear and sunny.

1000 – overcast, T = -2, everything running. Thin low-level cloud + 2 thin decks above that visible on lidar.

1537 – lidar MTi stopped. Restarted at 153826, controllers at: 1540

Setup USB disk on ReadyNAS and set a daily incremental backup ready to take off the ship in barrow.

Packed up tether for waverider.

Matt left seasnake in water as we entered the ice last night – it got a bit beat up and stopped working.

2334 – pre-emptive restart of MTi on mast. Restarted @ 233627

2014-08-14

0110 – restart of Joe’s MTi. Logger restarted 011221

1100 – all OK.

All surface leads and melt ponds froze over over ‘night’.

Moving off soon to do a transit out/in to MIZ following suggestion from Ola.

1200 – underway again. ETA MIZ/open water ~1630

14:30 – Dom found MTi on lidar table stopped – restarting as I came in container. Restarted 143024, controllers at 1432.

2010 – Joe’s MTi stopped. Backing up data and restarting: 203000

2122 – pre-emptive restart of mast MTi – back up: 212317

2230 – stopped in MIZ – big bit of open water but ice visible all around.

Waverider on power ~2240

In water 222530

Clear of ship 2227

Pull in start 2350

On deck 2356

Moving on to open ocean for another deployment – waverdier left on power.

2014-08-15

0250 – pre-emptive restart of MTi on lidar table, restart at 025201, controllers at 025845

Coming on station for next waverider deployment – still quite a bit of ice about as small floes and bits, but waves better developed. Wind has picked up to ~10 m/s from ~6 at last station. Patches of fog about...

Buoy in water 03:24, clear of ship 03:26

Start pull in 04:30, on deck 04:34

Arse – log file indicates repeated restart after file error – probably a result of the false power up and down when initially starting it. RDT file is empty  but *.SDT file is there –  buoy-calculated spectra and stats are OK (but poorly timed – 30 minute avg period, and only out for 1 hour so at best have a single spectrum. First deployment is longer, so may have 2 or 3).

1200 – in ice. Ice forming on deck and railings, T = -2. Foggy.

1252 – lidar is in stare mode but with elevation of 3 degrees and azimuth of 270 not 310. Don’t think it’s been awol long...realtime display was showing a wind profile or PPI scan when I checked on it in last hour...about time I started to do backup...is backup process related to it going awol...if run during an active scan?

Doing a hard power cycle.

1325 – lidar up and running normally again.

Paul discussing time stamps with Axel – checked radio transmission of UTC time...matches his watch and logging system. Check the server Axel ‘thinks’ generates ship data and it too is on UTC...has ship timestamp changed during cruise...maybe after server crash.

Looking at latest shipmotion files...they all have wrong date/time don’t understand why – the basic MTi files have correct time.  – Ah...file load loop in do_acse_platform_motion_wrapper

just worked through files(n).name, not files(doit(n)).name – corrected and reprocessing all platform motion.

Later – check up of shipnav vs MTi data & timestamp in MTi show 16-second lag remains throughout.

Backing up data for Michael and Igor.

Wind direction poor (255) – will stop and backup mast as soon as initial backup for Michael done.

2256 – joe’s mast logger frozen.

Stopped my mast logger to backup – wind from 150 relative so turbulence data garbage at the moment. Backing up 11-14th...will take ~ 3 hours.

Power cycle Joe’s system – no route to host. Powee cycled again after radiosonde (2340) – back up again...no idea where problem lay. No route to mast Campbell logger from 7th deck while doing sonde.

On midnight sonde tonight.

2014-08-16

Mast logger restart at: 022832

Backing up joe’s logger (08/14), restart at: 035702

0239: Pre-emptive restart of lidar table MTi, up again at: 023036, controllers at: 023425

1130 – all running OK. Small drifts of snow around deck.

1450 – light snow falling – very fine flakes. T = -2.4 Leads are open but melt ponds around us frozen over.

CSAT totally iced up – ditto licor.

1524 – pre-emptive restart of MTi on mast. Running again at: 152711

1630 – pre-emptive restart of MTi on lidar table, running at : 163302, controllers at: 163515

2014-08-17

0414 Joe’s MTi stopped...but CSAT is iced up anyway – stopping logger and backing up.

All the melt ponds and small leads frozen over.

0420 - Pre-emptive restart of MTi on lidar table. Software up at 042202, controllers: 042400

0435 – pre-emptive restart of mast MTi – running at 043807

0800 – ship switched from UTC to local time, back to 0000.

1400UTC – underway again

1425UTC – pre-emptive restart of mast MTi, running again: 142631

Foggy, freezing – rime building up on surfaces – lots of rime on mast ~3-4 cm thick.

2144UTC – pre-emptive restart of lidar table MTi, software up at 214559, controllers on at 2148

2014-08-18

0220UTC – temperature slowly rising, now -0.3C. In near open ocean – just some small bits of ice floating around. Got some proper (if low) swell again. Still very foggy.

On 1200UTC radiosonde...0400 local.

1330 – premeptive restart of lidar table Mti – running 133352, controllers: 135555

Pre-emptive restart of mast MTi, running: 133420

1900 – most of ice has broken off instruments on foremast – CSAT not quite clear yet. T = 1.1C.

2155 – CSAT is clear of ice – restarted MTi and logger at: 215723

2014-08-19

0043 – dropping anchor off Barrow

Mast logger’s USB key just went read only. Stopping logger, reboot, and backup data from 15th-18th.

Lidar table restarted 032121

1615 – cleared USB key and restarted mast logger, up at: 161802

1640 – restarted joe’s mast logger, up at: 164204

1656 – restarted lidar table a couple of times to demo to Barbara. Back up properly at 165510, controllers at 1657.

Final backup of RAID taken.

2014-08-20

0717 - Pre-emptive restart of mast MTi, restart at : 071900

Pre-emptive restart of lidar table MTi, at: 072038, controllers at: 072238

    - Rotation in Barrow –

nb: dates in logger format (140820) are always UTC. Dates in MM-DD-YYYY format, and time as HH:MM, e.g. diary day entries, are ship time.

Ship time is Alaska time (UTC – 8hr, GMT BST – 9hr).

Backup status from Leg 1:

- ‘all’ backed up to (including) 140818

- joe backed up to (including) 140819

- mast backed up to (including) 140818

1000 - Restarted Joe Logger: _180520.28.CSAT / _180520.38.MTi

Lidar motion table restarted at approx. same time.

Backed_up_all 140819

Backed_up_all 140820

1407 – lidar stopped and full data down load started. General system check over and raw data deleted from LiDAR HD.

1440 – Radiometer stopped for stem check and full data down load

1446 – Radiometer restarted

17:27 – stopped mast, MTi off,

backup_mast 140819

backup_mast 140820

18:32 MTi on.

18:35 Mast restarted (*_023513.*).

19:00 Lidar motion stopped.

19:02 Lidar motion restarted (*_030213.60.*).

2014-08-21

0700 – lidar restarted

0900 – Oden set sail from Barrow westwards

Problems with Methane system monitoring after movement of triple lab Macmini:

See notes on it – all 3 systems still running but unable to connect to the two LGRs from the Mac.

1710 Joe MTi stopped 140821_23

Stopped Joe logger

backup_joe 140820

backup_joe 140821

backup_all 140821

Power cycled Joe kit

Restarted Joe logger 140822_013302.*

1920 – lidar table was in panic mode

restarted, 140822_031847.57.*

1930 – preemptive restart of mast MTi – 140822_033155.*

2014-08-22

Ship time moved to UTC -12 (shift occurred at 0400 – which became 0000)

Entered Russian EEZ at approx. 0830

Light swell, after totally flat conditions for first ~ 10 hours sailing.

0845 pre-emptive restart of Lidar table (140822_204834.65.*).

0900 pre-emptive restart of mast MTi (140822_210243.*).

1210 backup all 140822

1215 restart Joe mast (Georgia having problems with connecting to mast humidity sensor) –

now unable to connect to Joe Logger… Georgia touched the battery charger, could this be a problem? Georgia pressed mode button on Battery charger 5 – I’ve changed it to agm mode, and I can connect again… BB confirmed agm mode is correct one.

joe logger restarted (140823_003325.*).

1900 changed lens cover on cam 1 as it was very scratched (ice removal?).

2000 Radiosonde email computer problem, 0600 UTC sounding not emailed until ~ 1000 UTC.

2022 pre-emptive restart of motion table (140823_082250.*).

pre-emptive restart of mast MTi (140823_082302.).

2014-08-23

Low pressure system moved in overnight, with ~ 14m/s winds onto the stern. Midnight sounding very difficult, took three attempts after first two balloons departed without sonde attached.

05:45 Lidar elevation stuck at 3 deg. Correction procedure:

- Stop data acquisition

- Close stream line software

- Open scanner utilites

- Lock at elevation & azimuth motor statue. One of them may well say overloaded

- If true disable motors

- Enable motors

- Search for origin

- Set to Az=310 El 90 and check it gets there

- Park the head

- Restartstream line software

- Start acquisition

System seems to be ok now

07:30 Radiometer receiver 2 has lost temperature stability and from the record did so for a while around midnight. These periods are corresponding to big changes in the ambient temperature – we’ve just gone through a cold front.

0840 joe logger mti crash

backup_joe 140822, restart joe (140823_205554.*).

1600 backup_all 140823

1856 pre-emptive restart of motion table (140824_070000.*)

1930 pre-emptive restart mast MTi (140824_073329.*).

1935 pre-emptive restart joe MTi (140824_074855.*).

backup joe 140823

2014-08-24

Conditions calm overnight and CTD/coring/small boat work started. Another low pressure system forecast for after lunch though.

0940 – stop mast, (on station, winds from stern).

backup_mast 140821

backup mast 140822

1040 – stopped Lidar table motion to enable mounting of GoPro

restarted Lidar motion (140824_230000.03.*).

1040 mounted GoPro on Lidar motion table – use with wifi remote.

1125 – restarted mast logging (140824_232725.*).

1240 – backup all 140824

1832 – pre-emptive restart of Lidar motion (140825_063555.*).

1940 – pre-emptive restart of Joe MTi (140825_073936.*).

Filmed multi corer using GoPro helmet cam – spotted trawler/factory ship on horizon. Conditions still fairly calm, though forecast to worsen overnight. More CTDs while conditions allow, and then will drag the Russian cable around a bit more. Then we are due to leave the nr Wrangel island work area and run for the ice, ETA according to ship gossip tomorrow lunch time.

Cruise track below is missing Oden for some reason. Also shows part of the first leg track. Second leg came from Barrow (East), backtracked, and then wandered around NE of the island.

Ola keen on getting the buoy out. BB and I will prep and look to deploy it when we get near ice. Deeper water should give longer cores/CTD and make deployment worthwhile –

2014-08-25

Calm seas, winds ~ 7m/s. Strong current, drifting at ~ 2 kn. Conditions forecast to be calm today so plan is for CTD transect, following by coring station(s?) this afternoon. BB and I will attempt buoy deployments during coring. Strong winds expected overnight/morning, hopefully well be on our way to the ice then.

Feel very tired/lethargic today (JP) – possibly due to getting thrashed at ping pong by Ola.

1110 – stop joe mast

backup_joe 140824

Restart joe mast (140825_233203.*).

1120 – stop mast logger (on station, winds from stern).

backup_mast 140823

Restart mast (140826_012949.*).

Shop open after lunch, mostly ginormous sizes left, assume everyone on the first leg was small and slim!

1330 - backup all 140825

1440 – Lidar motion crashed, restarted (140826_024334.*).

1830 – attempted first leg two buoy deployment during open ocean coring station. Light winds onto port beam. Deployment fine, but buoy stayed next to ship – apparently Oden drifting at 1knot due to current and wind – wind s may b e too weak to push the Oden away from Buoy, and currents/waves pushing buoy onto ship. At least BB and I got to practise deployment and recovery.

2100 – pre-emptive restart of lidar motion (140826_091347.*), and took gopro off table to recharge.

Winds due to pick up so assistance may be required with sondes.

2014-08-26

1130 – winds on stern so stopped mast logging/MTi.

backup mast 140824

backup mast 140825

backup mast 140826

restarted mast (140827_049945.*).

1230 – replaced card in buoy, it is ready for next deployment, hopefully will go better than first – Ian says a similar issue occurred on one of his deployments

Some sort of issue with blog posting – missing apostrohes in web blog but not apparent in my version – will double check on next post.

1500 – backup all 140826

Entered sea ice! Small stuff quickly made way for growlers (?) – breaking has started. Very exciting but in heavy fog so visibility poor. Steaming north for ~ 15 hours to area 2.

1600 Dan added a spacer to Riegl mount to see if we could get it a better image. Checked first file, not getting much of a return (in previous position return fairly good, at least when we’re streaming – though data nonsense obv). Check again tomorrow then may have to move it back.

1700 – joe mast MTi crash, restart (140827_053022.*).

backup joe 140825

backup joe 140826

1850 – pre-emptive restart of Lidar motion (140827_065242.*).

19:00 Radiometer rec2 temperature stability going red – env temp is dropping so might be that it will come back to green.

2014-08-27

0545 – radiometer temp stability gone red on both rec1 and rec 2.

06:16 radiometer rec1 stable again but rec2 is oscillating quite a lot never exceed 1k but stability should be <0.05k. Env temp is warming so it may be a gradient problem again.

0830 – left Russian EEZ around now.

1330 - backup all 140827

Josef took Met Team photo – bitter wind onto our faces but we managed to smile!

Need an ice scraper for the ip cameras – looks like Michael was using something metallic during the first leg which scratched the shit out of the port camera lens – have replaced it, but would be good to have some sort of plastic scraper.

Actaully, B has managed to clean them with hand warmth, so no problem.

Looked at Riegl data from this morning (140827_19 to 23) with Riegl in new position ~ 10 deg further out, return is poor, 1 in 30 maybe. Ola suggests putting it on the bow. There is a possible spot but angle will be similar to the new bridge top position. Ola gonna check with Sergio if we might get a better return from the lower z. Want to make sure a move will be worthwhile as it will be a pig to do. Need to check with Ian too…

1700 – another attempted buoy deployment, current again too strong and buoy determined to head out the back of the ship. Pulled it in and tried lee ward side on the off chance it would work, but no. Coring abandoned due to current problems, so about to deploy over stern, but then CTD also abandoned, so station ended and no chance to deploy. Plenty of practise pulling the thing onto deck… Next time.

1830 – lidar motion crashed, restarted (140828_063440.*).

1840 – mast MTi crashed, restarted (140828_064700.*).

Actually, winds on stern, so stopped logger again.

backup mast 140827

Restarted mast logger (140828_074045.*).

2000 – pre-emptive restart of joe MTi (140828_080611.*).

2014-08-28

Busy morning deploying waverider – success though! Not least in allowing the crew to see how it can be deployed and so getting the nod to do it during coring stations from now on, will allow for more, longer and easier deployments. Data from first deployment may be ok, not sure. From second data looks great.

0910 – first waverider deployment went in water (folder 20140828).

After initial dodge of a passing iceberg, first deployment went well, and was due to continue through CTD and coring, but had to end rather hurriedly when CTD got caught on a ice berg (was pulled right out to port beam, scary) and ship had to manouver. All fine in the end.

1100 – second deployment went in (folder 20140828.2).

Moving back and forth doing multibeam all day, with occasional stations, should get another chance to do buoy this afternoon, hopefully wont miss out on pancakes!

1300 – backup all 140828

We have been leaving the methane ‘laser room’ door open as it gets very hot – Jan Backman, Stockholm bio guy, wants it closed due to noise, says that is why there is a separate room in first place. Log book shows temp readings of 116 (in laser room) and these suggest door was open during first leg. Checking with Brett – in mean time have agreed with Jan that they open the door when they are not working in the lab. Have also removed inner cover of white air vent, which has created a nice draft in laser room.

1500 – I (JP) saw first polar bear off port stern from the bridge – long way off so no photos :-(

1600 – backup joe 140827

backup joe 140828

pre-emptive restart lidar motion (140829_040436.*).

pre-emptive restart mast MTi (140829_040949.*).

pre-emptive restart joe MTi (140829_042528.*).

Winds too high so evening station cancelled – two planned tomorrow morning weather permitting.

Another polar bear, off the port side, was apparently initially very close at first though was distant when I saw it. I heard Clint yelling so managed to get out in time to get a picture/video.

2014-08-29

0830 – buoy deployment, in water at approx. 0830. Used about 2/3 of tether as worried about sea ice. Used all tether at about 0930. Recovered just after 1000. Ola got some images of the ship’s ice radar, and the buoy data (folder 20140829.1) looks good so a good deployment, all went very smoothly.

Was meant to be a longer station but the coring winch has broken so we ended early and started multibeaming while they try and fix the winch. Apparently backup winch has too-thick cable so is limited to around 500m – hopefully they can repare the first winch!

Some gossip that the CTDers blame the buoy – ie us, for getting the CTD cable snagged on a berg yesterday. Not sure why, think they are just being stupid. Ola has set them right I think.

Plan for day is to continue doing this back and forth area, kind of like erasing this bit of the Artic from the cruise map. Back and forth is messing with the radiometer though due to changing temp from changing wind direction.

Methane update – all who use lab (with exception of Jan) are happy to leave door open. It is temp sensitive (in that if the cooler breaks, no way to fix) but should be ok now as will only be closed when Jan in there (not that often) – I think there was some Stockholm politics that we have ended up in the middle of…

1240 – backup all 140829

1335 – Stopped mast, winds at ~ 130deg

backup mast 140828

1345 – pre-emptive restart Lidar motion (140830_014908.*).

1430 – restarted mast (140830_023323.*).

pre-emptive restart joe mast (140830_024417.*).

1740 – turned buoy on in prep for another station. Station delayed  till after dinner. Left buoy turned on. Station just a CTD as still trying to fix coring winch. Buoy in water at ~ 1850, away from ship around 1900, recovered around 1950. Data looks good, light winds and started close to ice so wave field very small.

2014-08-30

0830 – lidar motion crash, restarted (140830_203212.*).

0930 – buoy deployment during a CTD, coring winch swap and then a test coring using the replaced winch. Buoy in at 9.38, away from ship at 9.52 and recovery began at 11.54. 10 m/s winds and drifted 2 nautical miles, should be good data! Ola could see ice and whitecapping on the radar images, is going to see if he can spot the buoy too. Data in 20140830.2 folder. Couldn’t read raw file on my mac for some reason, but could on B’s laptop and all looked good.

1200 – butted up again sea ice pack for lunch, and for VIP meeting afterwards to decide plan of action given various coring winch developments.

1240 stopped joe mast, winds on port / stern.

backup joe 140829

backup joe 140830

Restarted Joe mast (140831_011054.*).

0130 – stopped mast (winds on stern, still butted up against ice).

backup mast 140829

Restarted mast (140831_022347.*).

backup all 140830

Prepped two GoPros for a deployment with the buoy, fingers crossed!

1430 – cleared some data off the KT15 logger after double checking backups. Should be enough space on these to the end of the cruise now. Did same for Lidar motion.

Checked the Riegl logger – it had stopped after 140830__040000.00.* and in fact all the files from 140828_040000.* to the above were empty! Not a disaster as data probably not usable, but still I should have checked. Nothing untoward in logger.log Nevermind, cleared off some space and restarted, seems to be logging happily now…

1745 – Welcome dinner, a bit late, but very nice (Steak, chips, pudding and wine) – everyone suited up, we then had to unsuit fairly sharpish for…

1940 Buoy deployment during a gravity core station. Short station but balmy conditions and lovely sunset. Attached two GoPros, one to buoy and one to the rear most float. Buoy in water at 1958, in waves areound 2005, recovered at ~ 2040. Couldn’t put it out to far as there was discussion of repositioning, but Ola thought it was in undisturbed waves. All recovered safely, data looks fine (20140831.1).

Will have a look at what is on the GoPros tonight in the bar…

2110 – pre-emptive restart Lidar motion (140831_091115.*).

2014-08-31

JP – A bit of a late start for me, after an late night – B & D already had the buoy in the water, no issues apart from a bit of guilt on my part.

0830 – buoy deployment during long coring station (long as they had an issue with the blaock and some ginormous thing they wanted to pass over it for the piston core). Buoy in water about 0845, recovery begun at around 1055 and on deck just after 11. Data good (20140831.2).

Due to be about 24 hours of seismics, for which we steam, so have a break from buoys till tomorrow morning.

1315 – Joe mast had stopped – has Georgia been restarting it? Need to make sure she tells me if so. Must have happened within the last hour or so. Restarted it (140901_011457.*).

backup all 140831

1440 – Put Riegl back in original position.

Cleaned ice off IP cameras.

1620 – mast logger had stopped, restarted (140901_042056.*).

1850 – pre-emptive restart Lidar motion (140901_065425.*).

2014-09-01

05:45 morning sounding away. Just got into lab to find the lidar has shutitsleft down. Why I don’t know but done a hard power restart. Hope I can get it back up and that it hasn’t cooled too much. It may be the same problem Ian encountered on the first leg with windows having been on too long. Its now a case of wait and see if it comes up.

06:10 lidar came back up. Reason for shut down was that the power dipped to 20V at 16:09UTC. The system will start up ok but the internal temperature is at 9C (env at -3 with considerable wind chill). When you accept settings and actually initiate measurement the internal heaters are kicking in and pulling the power down to under 20 and shutting the system down.

Trying to get the lidar back up. Saved the settings file to settings_old. Set the system shutdown voltage to 20V (from 20.5) but this didn’t help. The internal temperature had risen by a degree to 10.1. See what it is this time round. At the moment the heaters don’t start until the background measurements have finished and true measurements have started. Heaters on at start option in file is set to FALSE  - try setting this to TRUE and see what happens – this only refers to what happens when the stream line software starts not when the system boots. Will have to be quick to catch the stem coming on line and going through its auto power up (approx 20min from repower). The other option is to leave the system powered up but not measuring – see what effect the internal heating from the pc has  - GO FOR THIS OPTOIN FIRST

07:30:Just with the PC on the internal temp has risen to 11 C – try leaving it and go see to the sonde – see what we are at when I get back.

08:15: internal temperature at 16.3 C – wait till it gets to 20  then try firing up. It may be that the heaters have failed and are short circuit – if this is the case we can shut them off I think by setting Heating thermostat fitted to false or TEC fitted to false

08:17 set Heating thermostat fitted to FALSE – measurement software started with no ill effects – initialise measurement – system shut down at 08:22. On diagnostics page – temperature measurement line had gone.

08:45: system back up. Internal temperature 13.2. set Heating thermostat fitted to TRUE. Set

TEC fitted = FALSE (this should turn the heaters off)

09:00 Restart Stream line software TEC button still there and goes green when start checks Internal temperature 16.3. In Setting file there is something that says startup temperature 20 not sure if that means it won’t start up until you get to this. Wait another 15 mins

09:15 Restart Stream line software TEC button gone. Internal temperature 16.3. try starting measurements – nope system shup down 09:18 restart. If its the heaters then having them on at system start up will cause the power to drop before measurements are started. If it stays up an drops out at the point of making a measurement then its something in the data acquisition line (card seem ok) _ can also turn off depole as an option

09:40 All settings as above – turned depole off (internal temp = 11) system shut down. Problem NOT Depole channel

10:00 restart – system uncontrollable – through either connection reboot again 10:18 – sytem came up cleanly this time – phew

10:50 using scanner utility test out motors. Motors are responding ok – full movement. Put head in park position.

01/09/2014 16:08:45	19.34	12.58	0	20.86

01/09/2014 18:16:50	9.14	21.83	0	20.72

01/09/2014 18:52:02	10.16	20.20	0	19.07

01/09/2014 20:21:03	17.30	13.67	0	19.25

01/09/2014 21:17:22	17.30	14.21	0	17.97

01/09/2014 21:43:51	13.22	19.11	0	19.48

01/09/2014 22:15:37	13.22	18.57	0	19.21

Above from system parameters file – system failure around 16:10

Last data in STARE file at 16.129058 (~7 mins past) , cross STARE 16.119158 (~7 min past), last data in user 1 (wind file) 16.127814 (~ 7 mins past) – user 2-5 last data all before above

From system_log

Power cut (20.078963 V)	010914-160923 – this is power down that started things

System power up	01/09/2014 18:09:09 – indicates stream line software powering components

System power up	01/09/2014 18:15:41

Power cut (20.078963 V)	010914-181653

System power up	01/09/2014 18:42:39

System power up	01/09/2014 18:45:18

System power up	01/09/2014 18:51:12

Power cut (19.070282 V)	010914-185157

System power up	01/09/2014 19:16:30

System power up	01/09/2014 19:17:43

System power up	01/09/2014 19:22:39

System power up	01/09/2014 20:13:31

System power up	01/09/2014 20:19:35

Power cut (19.253678 V)	010914-202058

Power cut (18.336695 V)	010914-202105

System power up	01/09/2014 20:45:26

System power up	01/09/2014 20:47:34

System power up	01/09/2014 20:50:51

System power up	01/09/2014 21:02:37

System power up	01/09/2014 21:15:19

Power cut (17.969902 V)	010914-211717

System power up	01/09/2014 21:41:51

Power cut (19.482924 V)	010914-214346

System power up	01/09/2014 22:08:16

System Auto recover	010914-221504

Power cut (19.207829 V)	010914-221532

System power up	01/09/2014 22:41:31

11:18 internal temp 15.3 – need to help with balloon launch.

12:25 internal temperature 19.3 leave for a little bit longer and see if I can get it upto 20C

Set TEC fitted = TRUE (as in original file). TEC is definitely to do with the heater. Had to contact HALO during INUPIAQ and JUS went in and “turned the TEC controller up a bit so that it gives some more heat.” The setting is currently -25. I’m assuming we could turn it down by making the number more +’ve.

13:00 Internal Temperature 20.4 –allow to start measurement – didn’t work rebooting 13:10

13:32 System back up internal temperature 14.2. Again failure due to power (18.7 at time of cut out)

02/09/2014 01:07:33	20.36	10.95	0	19.76

Entry in system parameter file is above only difference if power in 19 rather than 23 -24V

Set TEC heat to -5 (default is -25) system shut down – reboot 13:50

14:12 system back up (internal T = 12.1) in just 20 mins can lose 5 C  temperature wise. Looking at the logs the power at shut down was 19.98 (TEC set to -5).

System parm file shows

02/09/2014 01:47:19	18.32	13.67	0	19.99

At time of shut down

Set:

witch off voltage = 10.0 (original 20V),

TEC fitted = FALSE (original TRUE)

TEC heat = -1, (original -25)

Heating thermostat fitted = FALSE (Original true)

Allow internal temperature to rise

Started system internal T-14  - system DID NOT CRASH but scanner head did not move to STARE position  - is at AZ=0 EL=0;

Had to do shutdown of system but leaving pC on to be able to get motors to respond – rerun software and stopped it before measurement started. Internal heaters are now on but internal temperature has dropped to 13.2. Leave for a while until temperature gets towards 20 then fire it up again.

15:00

TEC fitted = TRUE

Heating thermostat fitted = TRUE

REm to restart stream line software for setting to take effects

Wait until after meeting to test – still got head position problems but its not crashing at the moment

15:45 Internal temp 14.2 Env temp gone up -1.8

TEC heat = -25,

System has come up, head is doing the right thing and the internal temperature is rising. Shut off currently set at 10V . Have edited file so that it will be 15V at the next start up.

16:10 I think what we need to do is put insulation under the power boxes and wrap the up in bubble wrap for added protect. The only things that has changed is that the environmental temperature has risen and the wind chill has dropped.

16:20 System operating and temperature now at 17C. It has done a wind scan ok.

==================

0815 – joe mast had crashed, restarted (140901_201702.*).

backup all 140901

Decent fluxes today, winds around 15 m/s all morning and onto the bow.

1300 – immobilised Stockholm SW sensor as has been flapping around in breeze. Just cable tied outer gymbal which seemed to do the trick, at about 1340. Did the same to LW as it had same, if smaller problem, at aroun 1350.

1400 – added time lapse GoPro to bridge top.

Set GoPro recording wave radar on bridge – Ola to see if there is a way to get screen grabs of it instead but GoPro will do in a pinch, need to see how long battery and memory last – this one started at around 1455.

1650 – pre-emptive lidar motion restart (140902_045034.*).

Pre-emptive restart mast (140902_045423.*).

2000 - GoPro on bridge lasted about 3 hours on battery, taking about 600 Mb of images (7Mp M setting, 1 pic per 60s). Memory card is about 30Gb, so will do at least 5 days on that. Need to find way to power it on bridge, Ola going to ask and then will rig something up.

GoPro outside doing 1 pic per 30s lasted just over an hour. Nice time lapse though, but cold affected battery life I imagine.

I was destroyed in my first PingPong Cup 2014 game, to Adam. Ho hum.

2014-09-02

0850 – Stop joe mast, winds close to stern at CTD station in small puddle (so no buoy).

Backup Joe 140831

Backup Joe 140901

Restarted Joe mast after CTD back (140902_224001.*).

0910 – Stop mast

Backup mast 140830

Restarted mast (140902_215829.*).

1110 – Lidar motion crashed, restarted (140902_231506.*).

Began flux processing workflow, starting with MTiG import.

1123 – stopped mast as winds on stern again.

Backup mast 140831

Backup mast 140901

Restarted mast (140903_022156.*).

1200 – Bear! Mum and cub spotted after lunch and approached ship to within 10 m or so, everyone got a good luck and photo opportunity, all hands very pleased.

1400 – backup all 140902

1455 – set GoPro watching bridge wave radar going, using power this time. Should have space for 5 days data on memory card, will check though.

1500 – bear and cub reappeared lots of photos again (and clearly visible on IP cameras again) hung around till at least 1600.

1905 – pre-emptive restart Lidar motion (140903_070811.*).

2014-09-03

0900 – mast MTi stopped between 0500 and 0600, restarted (140903_210354.*).

1145 – Lidar motion crashed completely, had to do full power cycle,everything came up ok. Moxa seems to be having same booting problems as mast moxa. Set it going at around 12. At 1445, again did full power cycle as not sure about the table angle reported by stable table. All came up and looks ok…

1300 – buoy deployment, in water at 0100 UTC, away from ship about 0110, recovery began sometime around 0200. Data good, in folder 20140904.1. Light wind and initially close to ice, very little wave motion.

1430 – Joe mast had stopped, sometime after 12, restarted (140904_022627.*).

1440 – backup all 140903

1600 – buoy deployment in water 4.02, away 4.10, recovery started 5.38. All smooth, data in 20140904.2. Similar conditions to first.

1920 – pre-emptive restart mast (140904_072347.*).

Pre-emptive restart lidar motion (140904_072704.*).

2000 – buoy deployment, in just after 8.00, away from ship 8.13, recovery just after 9.30. Data good, Folder 20140904.3

2014-09-04

0930 – stopped joe mast while on station (< 1 m/s winds!).

backup joe 140902

backup joe 140903

Restarted joe mast (140904_215856.*).

Stopped mast while on station.

Backup mast 140902

Restarted mast (140904_224105.*).

Backup all 140903 – had to do again as DiskStation connection was interrupted during backup yesterday.

12:30 Replacing the PPI at 0 elevation for a full 360 at 70 elevtation. Why – got gib storm coming want to look at divergence and also calibrate the accuracy of the 5 point. This scan takes 3 mins and the total scan to 9.21.

2014-09-05

0840 – pre-emptive restart Lidar motion (140905_204014.*).

Joe’s Campbell sonic has been giving iffy data – visual inspection shows it covered in ice, including on the tranducers and heating elements. Checked data. 140903_22 is bad, very high velocities. 140901_22 looks ok, so this may just be a recent problem.

Planning to go up mast with G at next long (coring) station if conditions allow, will try and clean ice off.

Checked recent metek and licor data, which look fine, so shouldn’t need to go to top of mast.

1230 – backup all 140905

1255 – stopped joe as iced up

backup joe 140904

backup joe 140905

Restarted joe mast (140906_011905.*).

Crap – mast MTi stopped 140905_140000 onwards, but I didn’t notice, looking at the wrong day when I was checking file sizes. Stupid.

Restarted mast (140906_012412.*).

1900 – buoy deployment, in water 1905, away 1915, had to avoid ice around 2000, recovery started 2032, data good (20140906.1).

1930 – went up mast with G to look at CSAT – ice had melted off – lot of corrosion around heating element though, burned out? Tested voltage on heater input to box – 13V – couldn’t detect resistance, so heating circuit may be blown.

2000 – stopped mast logger while on station

Backup mast 140903

Restarted mast (140906_085209.*).

Stopped joe to get data off (no power cycle), restarted (140906_085753.*).

2110 – pre-emptive restart lidar motion (140906_090832.*).

2014-09-06

Long day yesterday, I think all the met team is intending to take it fairly easy today. Captain’s Birthday Party this eve too.

0930 – pre-emptive restart Lidar table (140906_212847.*).

1240 – joe logger stopped, restarted (140907_004430.*).

1240 – backup all 140906

1300 – downloaded Bridge radar cam images. Only one day (140903) out of four saved, though the GoPro indicated it was working the whole time. Dam. Set it back running, will need to check more often.

1420 – HatPro decided to stop talking. Restarted software, all seems fine.

1430 – stopped mast, restarted (140907_023653.*).

1700 – pre-emptive restart lidar motion (140907_045319.*).

2014-09-07

Not at my perkiest after The Old Man’s do last night, still, science goes on.

In Russian EEZ now.

1100 – joe MTi had stopped, restarted (140907_232239.*).

Pre-emptive lidar restart (140907_232938.*).

1220 – on station with winds on stern, stopped Joe mast.

Backup Joe 140906

Backup Joe 140907

Restarted Joe (140908_004110.*).

1240 – stopped mast.

Backup mast 140904

Restarted mast (140908_015510.*).

Ola noticed some missing images on mx3 on September 1st between 09.45 and 13.45 UTC. Also some missing images earlier in the day. Similar problem on mx1 and mx2 so probably a network/power issue on bridge top during this time, all seem fine now.

1400 – backup all 140907

1940 – pre-emptive restart lidar motion (140908_074335.*).

2014-09-08

1220 – backup all 140908

1300 – on station, joe MTi crashed, stopped Joe.

Backup joe 140908

Restarted joe (140909_021350.*).

1330 – stopped mast

Backup mast 140905

Restarted mast (140909_021028.*).

1530 – pre-emptive restart lidar motion (140909_033554.*).

1615 – on station again, stopped mast

Backup mast 140906

Backup mast 140907

Restarted (140909_054338.*).

1550 – took photos of watch with ip cameras to check time sync – image names (camera time) accurate to within 30 seconds, ReadyNAS raid slow by about 8 minutes, NTP time sync not working I guess…

(also realised that I have been telling people the wrong cameras to look at, port is 3, starboard is 1).

Did a check on KT15s too – put hand in front of them for:

Fore KT15

03:53 - 10 seconds

Aft KT15

03:54 - 10 seconds

Bridge GoPro still not working right, only stored ~ 4 hours of data this time. No idea why it not working.

2014-09-09

Long CTD and coring transect, yesterday, overnight and continuing today. Entering deeper water (1500 at 0830). Final station after coffee at 2000m then 20hr steaming.

1035 – secured bridgetop SW PIR with wood so totally immobile – secured by 1050.

Rerouted sonde gas cylinder cable to new box.

1050 – lidar set back to original scan pattern PPI

1100– pre-emptive lidar motion restart (140909_230637.*).

1130 – on station and nearly no wind, so stopped mast.

Backup mast 140908

Backup mast 140909

Restarted mast (140910_005424.*).

1300 – backup all 140909

1554 – stopped joe.

Backup Joe 140909

Restarted Joe (140910_044408.*).

Radar GoPro stored about 20 hours of data this time. Maybe if I download the data in the morning and evening we can get a near complete time series. Worried that as I have to remove battery to ‘reset’ the camera before I can get the data, something is being lost then?

1700 – Georgia says mast CSAT still giving out mostly bad data. I had a look, most files since we checked it (140906_0700) are bollocks – 50 m/s vertical winds, spiking etc. Fairly certain the heaters have burned out. Best thing to do seems to be swap it out. Will set up one of the spares tomorrow morning, then hopefully swap at one of the afternoon stations before we hit open water.

1900 – stopping Joe mast, B looking at CSAT to figure it out.

2010 – pre-emptive restart lidar motion (140910_082103.*).

2014-09-10

1030 – mast Mti stopped, restarted mast (140910_223103.*).

1032 – pre-emptive restart lidar motion (140910_223441.*).

Tested waveradar antenna – saw buoy but no GPS not clear that Waverider found GPS. Fore downward antenna wouldn’t mount, worried starting to f*** the thread, Riegl kind of in way.

1230 – backup all 140910

Backup Joe 140910 (Joe not running as CSAT duff, change imminent).

1400 – aborted buoy deployment, on ice edge and too much swell so engines staying on…

2000 – pre-emptive restart lidar motion (140911_080341.*).

2005 – pre-emptive restart mast (140911_080706.*).

2014-09-11

0830 – pre-emptive restart lidar motion (140911_203832.*).

1500 – buoy deployment, in water 3.22, recovery around 4. Had to bring buoy in before then due to amnouvering. Data good, in 20140912.1

Backup all 140911

In swell so not sure when will get up mast. Restarted Joe mast just in case can get useful data off it (140912_044112.*).

1800 – buoy deployment, in water 18:35:20, away from ship 18:41, pulled in some due to manouver at 18:54, recovery at approx. 21:00. Data good, in 20140912.2

Stopped Joe mast prior to heading up mast (last file 140912_070000.*).

1900 – Went up mast to replace CSAT sonic. All went well. Heater connection looked pretty corroded, put some tape over seal but doubt it will hurt much. If go up again could put self-amalgamating tape on. Also could try treating mid-mast rotronic with heat gun as it is working intermittently.

Restarted Joe mast (140912_090248.*). Test data tomorrow, no point now.

2120 – pre-emptive restart mast MTi (140912_092121.*).

Pre-emptive restart lidar motion (140912_092327.*).

2014-09-12

Left Russian EEZ at approx. 0300.

Calibration of multibeam using sphere in morning, followed with ~ 13 hours of steaming (north) to next work area.

1220 – stopped Joe to get data and check new CSAT

Backup Joe 140912

Restarted Joe (140913_003529.*).

Backup all 140912

Checked new CSAT data from 140912 – looks to be working ok, w time series looks realistic at least. Currently snowing (though air temp only just below freezing) so will be interesting if get any ice build up.

1555 – pre-emptive restart mast (140913_035803.*).

Pre-emptive restart lidar motion (140913_040000.*).

2014-09-13

1240 – backup all 140913

1255 – pre-emptive restart lidar motion (140914_005551.*).

1320 – stopped mast as seemed like we were on station, though we then moved off

Backup mast 140910

Restarted mast (140914_020459.*).

Joe MTi stopped.

Backup Joe 140913

Restarted Joe (140914_021939.*).

1440 – stopped mast as on station

Backup mast 140911

Backup mast 140912

Backup mast 140913

1445 – buoy deployment, in water 144830, away 1455 stayed fairly close to ship. At around 1630 came close to ship – away again at 1645. Recovery started at 1740. 20140914.1

1600 – went up mast with G again to look at rotronic – G used heat gun on it but only effect seemed to be to melt the lower casing. Sensor looked ok. Water beading on CSAT transducers – check when wind on bow again to make sure is being blown off. Metek/licor looked fine.

Restarted mast (140914_072357.*).

1945 – pre-emptive restart lidar motion (140914_074617.*).

2100 – buoy deployment, in at 0900, away 0905, recovery began 1005. 20140914.2

2014-09-14

0825 – pre-emptive restart lidar motion (140914_202708.*).

1000 – buoy deployment, in water 10:21:20, away 10:25, recovery 12:43. Winds around 7 m/s, open ocean with swell. SAR overpass at ~ 10:00. Data (20140914.3) looks good.

1230 – on station, stopped Joe

Backup joe 140914

Restarted Joe (140915_003942.*).

Backup all 140914

1430 – G power cycled Joe mast so logger stopped.

Restart Joe (140915_042233.*).

1655 – pre-emptive restart mast (140915_045935.*).

1700 – while doing sonde, checked IP cameras. Camera 2 (fore) was tilted so horizon at ~ 30 degrees. Tilted back to level but felt loose – vibrations? Need to check image etc and reposition.

1855 – pre-emptive restart lidar motion (140915_065641.*).

2014-09-15

Still steaming around Box 4 – initial transect finished and now EM and multibeam until at least this eve. Dead calm so nice day to catch up on writing/coding etc.

0935 – pre-emptive restart lidar motion (140915_214157.*).

0945 – winds on stern during EM line, so stopped mast

Backup mast 140914

Restarted mast (140915_223912.*).

1100 – IP camera 2 (fore) had been tilted – see previous day entry. Went up and retightened various bolts on it, probably loose from vibrations, noticeably worse on fore camera than on port/starboard ones. Tilt had occurred from 12-09-2014, 23:08:29 image, was corrected 15-09-2014, 05:14, tightened 15-09-2014 between 23:20:33 and 23:25:33 inclusive, and repositioned to point slightly lower (to match position held up until tilt occured)  16-09-2014, 02:03:41.

1230 – backup all 140915

1250 – stopped joe,

Backup Joe 140915

Restarted Joe (140916_010216.*).

1400 – moved IP camera 2 (see above).

1900 – pre-emptive restart lidar motion (140916_070701.*).

2014-09-16

Multibeam mapping scheduled all day, unclear if there will be any stations. Smallish swell, around 1m, but mostly beam on and moderate wavelength and ship is rolling a fair bit.

Excitingly, might get a helicopter visit from the Polarstern this afternoon, delivering a package (beer?). Will have to shift balloon launcher though.

0855 – pre-emptive restart lidar motion (140916_205647.*).

1130 – sometime after 11 lost connectivity with joe logger. After rebooting twice could connect again and set running (140916_234919.*).

1220 – pre-emptive restart mast MTi (140917_002203.*).

1500 – Helicopter from Polarstern arrived for a visit. Got some good photos. Didn’t need to move balloon launcher.

1800 – buoy deployment, in water 18:35:30, away 18:37, recovery 20:13. Data (20140917) is good. First deployment with enough swell/waves to mean we had to use the wave motion to help recovery.

2040 – pre-emptive restart lidar motion (140917_084610.*).

2014-09-17

Swell about 2.5 m and winds > 10 m/s so ship rocking and rolling quite a bit – several degrees on table. EM mapping all day, then maybe running for cover tomorrow, little chance of any station work for 48hrs.

1000 – joe mast MTi stopped from 0600, restarted (140917_221207.*).

Pre-emptive restart mast MTi (140917_221448.*).

Pre-emptive restart lidar motion (140917_221717.*).

Rolling most of the day, little work got done.

2035 – pre-emptive restart lidar motion (140918_083906.*).

Pre-emptive restart Joe MTi (140918_085532.*).

Pre-emptive restart mast MTi  (140918_085234.*).

Backup all 140917

2014-09-18

Birthdays all round in the met team. Cake/pancakes/punch/beer planned for later.

Steaming north to the ice, swell from stern still so not too much roll. There was one 180deg turn last night to go back over an interesting feature with the multibeam, caused an unexpected large roll which caught lots of people off guard.

0950 – pre-emptive restart lidar motion (140918_215207.*).

1300 – backup all 140918

1400 – cleared data off of the Riegl logger.

1620 – winds on stern, stopping Joe MTi.

Backup Joe 140916

Backup Joe 140917

Backup Joe 140918

Restarted Joe (140919_045906.*).

2014-09-19

Somewhat blurry. Oden mapping near ice at ~ 85N. Will be steaming all morning then possible CTD (buoy) after afternoon coffee.

1000 – pre-emptive restart lidar motion (140919_220707.*).

1400 – about 1245 the mast logger went weird and stopped writing. Spotted at around 1400, had to restart logger, seems  to be fine now. Also power cycled MTi (140920_021528.*).

1600 – Buoy deployment during ~2000m CTD. Winds ~ 7 m/s. Buoy in 16:08:20, away 16:12, recovery started 17:35. Dan lost his hat pulling the buoy up. Data good, in 20140920.1

1800 – Joe mast MTi had stopped at 1600 – typical. Restarted (140920_062205.*).

1949 – pre-emptive restart lidar motion (140920_075114.*).

2014-09-20

At 85N, 151E, mapping continues, with coring station in morning, plus possible afternoon station to put in some ice buoys.

0930 – pre-emptive restart lidar motion (140920_213349.*).

1000 – buoy deployment, in pancake (?) ice, wind less than 3.5 m/s, some swell, ~ 1 m. Initial port side deployment, in water at 10:33:20. Changed to starboard side, recovered, and in water at 10:50/51/52:05 (can’t remember exact minute). Away from 10:54 – to 10:56 I think. Recovered at 12:44. Good deployment, though as Oden clears a path as it drifts, buoy was in water rather than actually in the ice. May have some wind wave signal, but could filter that out easily enough. Ola says there may also be some reflection from the ship…. Data in 20140920.2 looks good.

1020 – While on station, stopped Mast.

Backup mast 140915

Backup mast 140916

Backup mast 140917

Backup mast 140918

Restart mast (140921_014804.*).

1350 – backup all 140920

1405 – pre-emptive restart Joe mast (140921_020651.*).

1920 – pre-emptive restart lidar motion (140921_072255.*).

2014-09-21

1400 – Joe mast stopped, restarted (140922_022855.*).

1400 – stopped mast while on station.

Backup mast 140919

Backup mast 140920

Backup mast 140921

Restarted mast (140922_050053.*).

1400 – buoy deployment. Data looks good 20140922.1. Ola has times from his camera.

1700 – stopped Joe mast while on station.

Backup Joe 140919

Backup Joe 140920

Backup Joe 140921

Restarted Joe (140922_053259.*).

1740 – backup all 140921

1845 – pre-emptive restart lidar motion (140922_064954.*).

2014-09-22

0920 – pre-emptive restart lidar motion (140922_212208.*).

1120 – joe mast stopped. Restarted (140922_232200.*).

1400 – pre-emptive restart mast MTi (140923_020000.*).

Backup all 140922

1850 – pre-emptive restart lidar motion (140923_065312.*).

2014-09-23

0850 – pre-emptive restart lidar motion (140923_205150.*).

0900 – stopped mast as winds on stern.

Backup mast 140922

Restarted mast (140923_214621.*).

0950 – Joe mast MTi had stopped. Winds still on stern anyway.

Backup Joe 140922

Restarted Joe (140923_220038.*).

1330 – backup all 140923

1420 – winds on stern again, stopped mast logging.

Backup mast 140923

Restarted mast (140924_034158.*).

1835 – pre-emptive restart lidar motion (140924_065025.*).

2014-09-24

1130 – buoy deployment, recovery started 12:05:20. Data in 20140924, looks good.

1230 – Joe MTi stopped.

Backup Joe 140923

Backup Joe 140924

Restart Joe (140925_010351.*).

Pre-emptive restart lidar motion (140925_003433.*).

Backup all 140924

1440 – on station with winds from stern. Stopped mast logger.

Backup mast 140924

Restarted mast (140925_033513.*).

1940 – pre-emptive restart lidar motion (140925_073927.*).

2014-09-25

1230 – Mast logger seems to have stopped writing after lunch. Stopped and restarted.

Restarted mast (140926_004800.*).

Pre-emptive restart lidar motion (140926_004830.*).

1300 – Joe Mti stopped.

Restarted Joe mast (140926_010551.*).

Dam, started mast logger with motion turned off.

Restarted mast (140926_010730.*).

2100 – pre-emptive restart lidar motion (140926_090714.*).

2110 – pre-emptive restart mast MTi (140926_091033.*).

Pre-emptive restart Joe MTi (140926_091500.*).

2014-09-26

In ice for final packing ahead of transit. Motion tables now secured. Will still need to do pre-emptive restarts to keep MTis logging.

Mast pretty iced up (-9degC this morning) – ice visible around licor struts and all over CSAT, including transducers. Assume heaters have failed.

0845 – lidar motion table secured, and lidar MTis restarted.

1310 – stopped mast while stationary with winds from stern.

Backup mast 140925

Backup mast 140926

Restarted mast (140927_025720.*).

1500 – backup all 140926

1540 – stopped Joe mast while on station and winds from stern (and iced up).

Backup Joe 140925

Backup Joe 140926

Restart Joe mast (140927_041149.*).

Going to be problematic doing the joe restart during transit as CTD contained closed up. Few minutes work to open it up, but wont be possible in heavy sea. CSAT also unlikely to be working until we get warmer air, which might not be until we reach heavy seas, argh.

0100 – pre-emptive restart mast MTi (140927_130228.*).

Pre-emptive restart lidar motion (140927_130304.*).

2014-09-27

Transiting. Still in ice at the moment. End of cruise party this evening, followed by 14 hour ship time change at 0800 OLT tomorrow (0800 OLT becomes 2200 OLT).

1410 – pre-emptive restart lidar motion (140928_021235.*).

Backup all 140927

1610 – pre-emptive restart mast MTi (140928_041625.*).

Pre-emptive restart Joe mast (140928_042217.*).

2014-09-29

OLT has changed to GMT + 2, ie has moved forwards 14 hours.

0850 – lidar motion had crashed, restarted (140929_064923.*).

Mast MTi had stopped at midnight UTC, restarted (140929_065446.*).

Joe MTi had stopped at 0300 UTC, restated (140929_070241.*).

0905 – backup all 140928

Transiting South West – likely to get some stinky conditions during open water Barents Sea crossing on Wednesday/Thursday/Friday. Science may stop then as we may not be able to do sondes, and certainly wont be able to do the Joe mast restart (tricky getting into CTD container even now).

2014-09-30

18Z and 00Z soundings overnight failed to archive properly as disk was full. B has addressed the issue.

Stopped the GoPro XBand radar time lapse capture – no sea ice in vicinity for remainder of cruise.

0830 – lidar motion had stopped, restarted logging (140930_063523.*).

Mast MTi had stopped at about 0600 – restarted (140930_063534.*).

Backup all 140929

0910 – pre-emptive restart Joe MTi (140930_071021.*).

1545 – pre-emptive restart lidar motion (140930_134904.*).

Pre-emptive restart mast (140930_135006.*).

Pre-emptive restart Joe mast (140930_135627.*).

2014-10-01

0840 – pre-emptive restart lidar motion (141001_064335.*).

0850 – pre-emptive restart Joe Mast (141001_065218.*).

Pre-emptive restart mast (141001_070053.*).

Backup all 140930

1635 – pre-emptive restart lidar motion (141001_143303.*).

Mast logger has done the strange crash thing (from 1000) Rebooted logger (and MTi).

Restarted mast (141001_143546.*).

Pre-emptive restart Joe mast (141001_144151.*).

2014-10-02