The PSD radar group operated a microwave radiometer (MWR) manufactured by Radiometrics Inc. (Boulder) for this cruise.  A matlab program is used to read hourly .raw files, strip out selected information, and write new files with the raw 21-s time resolution (micro_s.txt) and hourly time resolution (micro_h.txt).  The data on the files are as follows:

micro_s.txt

1 decimal day-of-year

2 IWV, integrated atmospheric water vapor (column precipitable water), cm

3 IWL, integrated cloud liquid content, cm

4 tau 20, optical thickness at 23 GHZ

5 tb 20, brightness temperature at 23 GHZ

6 tau 30, optical thickness at 31 GHZ

7 tb 30, brightness temperature at 31 GHZ

8 mode, instrument mode 00 is fix angle pointing 10 is tip curve calibration

9 tilt angle, for tip cal

10 cf20, calibration coefficient 23 GHz

11 cf30, calibration coefficient 31 GHz

12 sky20, detector voltage 23 Ghz pointing

13 nsky20, detector voltage 31 Ghz pointing + noise diode

14 bb20, detector voltage 23 Ghz black body

15 nbb20, detector voltage 23 Ghz black body + noise diode

16 tbb20, temperature of black body (K)

17 sky30, detector voltage 31 Ghz pointing

16 nsky30, detector voltage 31 Ghz pointing + noise diode

19 bb30, detector voltage 31 Ghz black body

20 nbb30, detector voltage 31 Ghz black body + noise diode

21 tbb30, temperature of black body (K)

22 pitch, deg

23 roll, deg

micro_hr.txt and micro_min.txt

1 decimal day-of-year

2 IWC, integrated atmospheric water vapor (column precipitable water), cm

3 IWL, integrated cloud liquid content, cm

4 number of 21-s values in hourly median

5 standard deviation of IWV, cm

6 standard deviation of IWL, cm