Josh said he put a box over the starboard sonic and it went to 0 on the bridge read-out.

Took pictures  and video on bow of wind sensors.: ~ 12Z

Bow into the wind. Prop-vane staying ~ 10 deg CCW of 0. I think this may be due to the current

Ship pointing into the wind at 1.5 kts

Bridge read-outs obviously show 10-15 deg  counter clockwise offset in the direction for the Stbd sonic

Bridge read-out 1009.16

Calibration Dec 29, 2015

45’ from bridge to surface (from drawings read by Capt.)