## 1-32
Launch | UTC | S/N | Launch time UTC | Max Ht | Min P | Rate | Duration (s) | Duration (hr) | Total flight | Delta T | Delta RH | Comment | He Tank #
Test |  | L5033243 | 20160216190257 | 19798 | 57.6 | 3-4 | 4388 | 1.2189 | 1.3319 | -0.06 | 0.18 | 200gm | 1
1 | 4:00 | L5033429 | 20160217032854 | 23114 | 33.4 | 5 | 4896 | 1.36 | 1.5975 | -0.18 | 0.25 | 350gm | 1
2 | 8:00 | L5013832 | 20160217072835 | 27604 | 16.4 | 3-4 | 6004 | 1.6678 | 1.8436 | -0.21 | 0.08 | 350gm | 1
3 | 12:00 | L5033435 | 20160217111020 | 25430 | 22.94 | 5 | 6542 | 1.8172 | 2.0356 | -0.1 | 0.22 | 350gm | 2
4 | 16:00 | L5013824 | 20160217153553 | 29006 | 13.2 | 5 | 7106 | 1.9739 | 2.1267 | -0.16 | -0.06 | Lost signal/ relaunch G-IV | 2
5 | 20:00 | L5013805 | 20160217213231 | 25496 | 22.9 | 4 | 4992 | 1.3867 | 1.5139 | -0.18 | 0.04 | 2 balloons | 2,3
6 | 0:00 | L5037839 | [9 empty] | sonde fell off no relaunch | 3
7 | 4:00 | L5013816 | 20160218032503 | 23767 | 29.9 | 4 | 4646 | 1.2906 | 1.4822 | -0.19 | 0.03 | 350gm | 3
8 | 8:00 | L5013655 | 20160218070725 | 24798 | 25.5 | 4 | 4996 | 1.3878 | 1.5683 | -0.16 | 0.13 |  | 4
9 | 12:00 | L5033445 | 20160218111057 | 17793 | 82.1 | 5 | 3936 | 1.0933 | 1.3306 | -0.09 | 0.09 |  | 4
10 | 16:00 | L5013660 | 20160218151001 | 26769 | 18.6 | 4-5 | 5642 | 1.5672 | 1.7639 | -0.15 | 0.21 |  | 4
11 | 20:00 | L5013654 | 20160218192340 | 25749 | 21.9 | 4-5 | 5782 | 1.6061 | 1.7817 | -0.14 | 0.22 | emptied partial bottle | 5
12 | 21:50 | L5013701 | [9 empty] | lost sonde..rain/gust | 5
13 | 21:50 | L5033623 | 20160218220212 | 23695 | 30.5 | 5 | 5130 | 1.425 | 1.6517 | None | None | G-IV comparison GPS antenna drop-out | 5
14 | 4:00 | L5033615 | 20160219031448 | 27182 | 17.5 | 4-5 | 6418 | 1.7828 | 2.485 | -0.1 | 0.25 | local time change +1hr | 5
15 | 8:00 | L5013688 | 20160219970557 | 23725 | 30.3 | 5 | 5448 | 1.5133 | 1.825 | -0.16 | -0.16 |  | 6
16 | 12:00 | L5013622 | 20160219112157 | 25673 | 30.3 | 5 | 5072 | 1.4089 | 1.5883 | -0.13 | 0 | 2 balloons same sonde | 6
17 | 16:00 | L5013672 | 20160219151716 | 24741 | 25.6 | 5 | 4848 | 1.3467 | 1.5444 | -0.14 | 0.22 |  | 6
18 | 20:00 | L5013687 | 20160219190631 | 28217 | 15 | 4-5 | 6368 | 1.7689 | 1.9683 | -0.17 | 0.36 |  | 7
19 | 0:00 | L5013673 | [9 empty] | 2 balloons same sonde hit crane | 7
20 | 4:00 | L5013665 | 20160220030949 | 27258 | 17.3 | 5 | 6171 | 1.7142 | 1.7244 | -0.15 | 0.23 | had ship maneuver | 7
21 | 8:00 | L5013658 | 20160220070903 | 26170 | 20.6 | 5 | 6940 | 1.9278 | 2.1317 | -0.23 | 0.1 | ship moved 45 deg/ port aft | 8
22 | 12:00 | L5013669 | 20160220110740 | 28177 | 15 | 3 | 10024 | 2.7844 | 2.9789 | -0.2 | 0.14 | ship moved 45 deg/ port aft | 8
23 | 16:00 | L5033838 | 20160220150750 | 21390 | 44.2 | 5 | 4693 | 1.3036 | 1.5506 | -0.11 | 0.19 | port aft launch | 9
24 | 20:00 | L5033887 | 20160220190945 | 27389 | 17 | 5 | 6474 | 1.7983 | 1.9817 | -0.21 | 0.07 | port aft launch | 9
25 | 0:00 | L5013675 | 20160220231008 | 28236 | 14.9 | 5 | 6268 | 1.7411 | 1.9411 | -0.15 | -0.04 | port aft launch | 9
26 | 4:00 | L5013676 | 20160221030657 | 25066 | 24.4 | 5 | 4672 | 1.2978 | 1.4783 | -0.19 | 0.1 | port aft launch | 9
27 | 8:00 | L5033861 | 20160221070859 | 26461 | 19.7 | 4.4 | 5970 | 1.6583 | 1.85 | -0.12 | 0.1 | port aft launch | 10
28 | 12:00 | L5013671 | 20160221111128 | 28024 | 15.4 | 4.2 | 6606 | 1.835 | 2.02 | -0.11 | -0.2 | port aft launch | 10
29 | 16:00 | L5013674 | 20160221150947 | 28785 | 13.7 | 5 | 6642 | 1.845 | 2.1483 | -0.12 | 0.11 | port aft launch | 10
30 | 20:00 | L5013664 | 20160221191311 | 26123 | 20.7 | 5 | 4308 | 1.1967 | 1.5039 | -0.23 | 0.02 | port aft launch | 10
31 | 0:00 | L5033888 | 20160221234708 | 22796 | 35.1 | 5 | 4418 | 1.2272 | 1.5806 | -0.16 | 0.19 | G-IV comparison | 11
32 | 6:00 | L5033835 | 20160222050817 | 24822 | 25.4 | 5 | 4706 | 1.3072 |  | -0.21 | 0.38 | on station 9N 140W | 11
Average |  |  |  | 25441.8 | 25.9013 |  |  | 1.5751 | 1.8044 | 0.22936
Max |  |  |  | 29006 | 82.1 |  |  | 2.7844 | 2.9789 | 0.19444
Min |  |  |  | 17793 | 13.2 |  |  | 1.0933 | 1.3306 | 0.23722
Average down flight
Note on I1: Author: This is just for the up part
Note on N24: Author: Bottle only had ~800 PSI got two balloons, but 2nd was super slow!! WMO message may not have made it to Boulder and then GTS on time.

## 32-64
Launch | UTC | S/N | Launch time UTC | Max Ht | Min P | Rate | Duration (s) | Duration (hr) | Total flight | Delta T | Delta RH | Comment | He Tank # | Manual start
33 | 9:00 | L5033873 | 20160222081028 | 26510 | 19.5 | 5 | 6276 | 1.7433 | 1.935 | -0.06 | 0.15 | on station | 11
34 | 12:00 | L5033895 | 20160222111225 | 24842 | 25.2 | 5 | 5132 | 1.4256 | 1.6328 | -0.3 | 0.06 | on station | 11
35 | 15:00 | L5033862 | 20160222141301 | 18514 | 72.3 | 5 | 4426 | 1.2294 | 1.2294 | -0.12 | 0.17 | on station Poor winds GPS issues | 12
36 | 18:00 | L5033853 | 20160222181544 | 18514 | 72.3 | 5 | 4426 | 1.2294 | 1.2294 | -0.12 | 0.13 | circling buoy | 12
37 | 21:00 | L5033889 | 20160222201443 | 16806 | 98.2 | 5 | 4136 | 1.1489 | 1.1489 | -0.12 | 0.13 | circling buoy | 12
38 | 0:00 | L5043526 | 20160222231547 | 21593 | 42.7 | 5 | 4714 | 1.3094 | 1.3094 | 0.13 | -0.15 | on way to 7N | 12+
39 | 3:00 | L5023278 | 20160223021125 | 20200 | 54 | 4-5 | 4744 | 1.3178 | 1.3178 | -0.1 | 0.04 | had to reboot SPS several times before local SV. | 13
40 | 6:00 | L5043566 | 20160223051242 | 25514 | 22.8 | 5 | 5232 | 1.4533 | 1.4533 | -0.16 | -0.01 | int'm GPS | 13
41 | 9:00 | L5023252 | 20160223081232 | 26603 | 19.3 | 5 | 5302 | 1.4728 | 1.4728 | -0.2 | 0.1 | STRB ft. CTD cast | 13
42 | 12:00 | L5043650 | 20160223111524 | 2830 | 726.8 | 5 | 658 | 0.18278 | 0.18278 | -0.12 | 0.1 | SPS220 issues | 13
43 | 15:00 | L5133363 | 20160223142422 | [6 empty] | -0.04 | 0.13 | ran without GPS Failed | 14
44 | 18:00 | L5113185 | 20160223171831 | 26025 | 21.1 | 4-5 | 4864 | 1.3511 | 1.6272 | 1.6239 | 0.13 | no GPS/winds | 14 | x
45 | 21:00 | L5133382 | 20160223201031 | 28021 | 15.4 | 5 | 5698 | 1.5828 | 1.8489 | -0.07 | 0.1 | no GPS/winds | 14 | x
46 | 0:00 | L5043418 | 20160223231616 | 24403 | 27.1 | 5 | 5970 | 1.6583 | 2.06 | -0.09 | -0.04 | no GPS/winds | 14 | x
47 | 3:00 | L5033894 | 20160224021026 | 26672 | 19 | 4-5 | 6142 | 1.7061 | 1.9833 | -0.24 | 0.19 | Trying GPS again. | 15 | x
48 | 6:00 | L5033871 | 20160224051529 | 28289 | 14.7 | 3-4 | 8052 | 2.2367 | 1.9833 | -0.14 | 0.15 | stopped manually | 15 | x
49 | 9:00 | L5023759 | 20160224081254 | 26783 | 18.7 | 3-4 | 6436 | 1.7878 | 1.9833 | -0.13 | -0.12 |  | 15 | x
50 | 12:00 | L5033896 | 20160224110710 | 25502 | 22.7 | 5 | 5990 | 1.6639 | 1.9833 | -0.25 | -0.04 |  | 15 | x
51 | 15:00 | L5033893 | 20160224142326 | 26964 | 18.1 | 4-5 | 5614 | 1.5594 | 1.9833 | -0.18 | 0.01 | Auto start | 16-2
52 | 18:00 | L5033892 | 20160224171127 | 28703 | 13.8 | 4-5 | 6205 | 1.7236 | 1.94 | -0.18 | 0.11 | Auto start Bad RH | 16
53 | 21:00 | Failed | [9 empty] | SPS220 error again no relaunch | 16-17
54 | 3:00 | L5033880 | 20160224021312 | 26115 | 20.6 | 4-5 | 6012 | 1.67 | 2.1756 | -0.07 | 0.12 | No 00Z No Winds | 17 | x
55 | 6:00 | L5033891 | 20160225051409 | 24047 | 28.6 | 5 | 4550 | 1.2639 |  | -0.18 | -0.16 | No winds | 17 | x
56 | 9:00 | L5033850 | 20160225082028 | 26865 | 18.5 | 4-5 | 5838 | 1.6217 |  | -0.15 | 0.11 | No Winds | 17 | x
57 | 12:00 | L5033865 | 20160225110647 | 25501 | 22.7 | 4.4 | 5830 | 1.6194 | 1.3572 | -0.03 | 0.06 | No Winds | 17 | x
58 | 15:00 | L5033867 | 20160225140818 | 23747 | 29.4 | 6.2 | 3854 | 1.0706 | 1.3572 | -0.19 | 0.1 | No winds | 18 | x
59 | 18:00 | L5033866 | 20160225164420 | 24896 | 25.1 | 5.05 | 4888 | 1.3578 | 1.5678 | -0.26 | 0.06 | No winds | 18 | x
60 | 21:00 | L5033898 | 20160225202152 | 25963 | 21.2 | 5.4 | 4754 | 1.3206 | 1.5678 | -0.21 |  | Winds again | 18 | x
61 | 0:00 | [10 empty] | No errors just stopped 915s after manual start | 19 | x
62 | 0:00 | [10 empty] | No errors just stopped 600s after manual start | 19 | x
63 | 3:00 | L5033807 | 20160226021322 | 23964 | 28.9 | 4.1 | 5788 | 1.6078 | 1.8839 | -0.24 | 0.15 | No winds | 19 | x
64 | 6:00 | L5033877 | 20160226050941 | 26238 | 20.4 | 5.4 | 4892 | 1.3589 |  | -0.3 | 0.26 | No Winds | 19 | x
Average |  |  |  | 23950.8571 | 54.9679 |  |  | 1.4526 | 1.6086
Max |  |  |  | 28703 | 726.8 |  |  | 2.2367 | 2.1756
Min |  |  |  | 2830 | 13.8 |  |  | 0.18278 | 0.18278
Note on I1: Author: This is just for the up part
Note on J4: Author: No down manual stop to flight to test GPS and finish in time for next launch.
Note on J5: Author: No down manual stop
Note on M5: Author: Still losing GPS later in launch even though we moved antenna. Satellites return for a short timeif I unplug and plug in cabel to GPS antenna Lost local satellite data ~12000m ininto launch. Also see only one bar for signal strength most of launch.
Note on D6: Author: manually shutdown flight after it stoped receiving any data (4902) Not sureif GPS antenna testing caused this. Unusual amount of time for manual stop!
Note on J6: Author: No down manual stop
Note on M6: Author: Still losing GPS later in launch even though we moved antenna. Satellites return for a short timeif I unplug and plug in cabel to GPS antenna Lost local satellite data ~12000m ininto launch. Also see only one bar for signal strength most of launch.
Note on D7: Author: Manual stop no down data hung at4742 21582 42.8 5829 40.39 RAW
Note on J7: Author: No down manual stop
Note on M7: Author: Author: Still losing GPS later in launch Satellites return for a short timeif I unplug and plug in cabel to GPS antenna Lost local satellite data Strong sonde signal
Note on D8: Author: Manual stop lost signal no down
Note on E8: Author: Manual stop no down data lost signal above ~80mb
Note on J8: Author: No down manual stop
Note on M8: Author: Ship receiver had SV, but SPS did see any until after several reboots
Note on J9: Author: No down manual stop
Note on J10: Author: No down manual stop
Note on J11: Author: No down manual stop
Note on D13: Author: Manual Start Time 20160223171337
Note on M13: Author: We do have down data Only WTEC ASCCI file, no LatLon file.
Note on D14: Author: Manual Start Time 20160223200524
Note on M14: Author: We do have down data Only WTEC ASCCI file, not LatLon file.
Note on D15: Author: Manual Start Time 20160223230926
Note on M15: Author: We do have down data Only WTEC ASCCI file, not LatLon file.
Note on D16: Author: Manual Start Time 20160224020534
Note on M16: Author: Great GPS all the way up!!
Note on D17: Author: ManualStart time 20160224050914
Note on M17: Author: Manual start see table
Note on D18: Author: Manual Start Time 20160224080647
Note on M18: Author: Manual start see table
Note on D19: Author: Manual Launch Time 20160224105954
Note on M19: Author: Manual start see table
Note on D23: Author: Manual LaunchTime 20160224020829
Note on D24: Author: ManualLaunch Tme 20160224050844
Note on D25: Author: Manual Reale Time 20160225082028
Note on D26: Author: Manual Reale Time 20160225110647
Note on D27: Author: Manual Launch Time 20160225140223
Note on D28: Author: Manual Launch Time 20160225140223
Note on D29: Author: Manual Launch Time 20160225201716
Note on D32: Author: Manual Launch Time 20160206020701
Note on D33: Author: Manual Launch Time 20160226050400

## 65-96
Launch | UTC | S/N | Launch time UTC | Max Ht | Min P | Ascent Rate | Duration (s) | Duration (hr) | Total flight | Delta T | Delta RH | Comment | He Tank # | Manual | Lat | Lon
65 | 9:00 | L5033816 | 20160226080754 | 26299 | 20.2 | 4.3 | 6066 | 1.685 | 1.8839 | -0.23 | 0.26 | No winds | 20 | x | .57 N | 139.97 W
66 | 12:00 | L5033808 | 20160226111116 | 25419 | 23 | 5.3 | 4800 | 1.3333 |  | -0.08 | -0.01-0.06 | No winds | 20 | x | 0.105N | 139.74 W
67 | 15:00 | L5013849 | 20160226140754 | 24776 | 25.3 | 4.88 | 5066 | 1.4072 | 1.6917 | -0.19 | 0.16 | No winds | 20 | x | .01 N | 139.96 W
68 | 18:00 | L5033796 | 20160226170403 | 25436 | 23 | 5.2 | 4872 | 1.3533 | 1.6578 | -0.11 | 0.03 | No winds | 20-21 | x | .01 N | 139.96 W
69 | 21:00 | L5033801 | 20160226201110 | 25907 | 21.3 | 5.6 | 4624 | 1.2844 | 1.5372 | -0.15 | 0.03 | No winds | 21 | x | .015 N | 139.953 W
70 | 0:00 | L5013844 | 20160226230647 | 22985 | 33.8 | 4.8 | 4746 | 1.3183 | 1.6944 | -0.2 | 0.17 | No winds | 21 | x | .03 N | 139.99 W
71 | 3:00 | L5033801 | 20160227021743 | 24077 | 28.4 | 6. | 4026 | 1.1183 | 1.4672 | -0.15 | 0.16 | No winds | 21-22 | x | .03 N | 139.95 W
72 | 6:00 | L5033802 | 20160227051047 | 19135 | 64.7 | 4.65 | 4116 | 1.1433 |  | -0.09 | -0.04 | No Winds | 22 | x | .035 N | 139.99 W
73 | 9:00 | L5033881 | 20160227081126 | 24332 | 27.4 | 5.2 | 4684 | 1.3011 |  | -0.1 | 0.14 | Raining | 22 | x | .045 N | 139.12 W
74 | 12:00 | L5033805 | 20160227111447 | 19454 | 60.8 | 5.3 | 3654 | 1.015 |  | -0.22 | 0.03 | Raining | 22 | x | .03 N | 139.52 W
75 | 15:00 | L5033881 | 20160227141052 | 26799 | 18.5 | 5.2 | 5120 | 1.4222 | 1.755 | -0.24 | 0.19 | Auto | 23 |  | .033 N | 140.026 W
76 | 18:00 | L5013542 | 20160227173646 | 24682 | 26 | 5.5 | 4452 | 1.2367 | 1.5311 | -0.17 | 0.55 | Delayed | 23 | x | .02 N | 139.97 W
77 | 21:00 | L5013683 | 20160227201714 | 28250 | 14.9 | 4.4 | 6358 | 1.7661 | 1.9572 | -0.28 | 0.15 |  | 23 |  | .033 N | 140.029 W
78 | 0:00 | L5013573 | 20160227231729 | 26356 | 19.9 | 5.25 | 5010 | 1.3917 | 1.6567 | -0.14 | 0.05 | Winds!! | 23-24
79 | 3:00 | L5033890 | 20160228021214 | 26734 | 18.8 | 4.78 | 5578 | 1.5494 | 1.7289 | -0.13 | 0.1 | Winds!! | 24
80 | 6:00 | L5033879 | 20160228051213 | 19189 | 64 | 5 | 3846 | 1.0683 |  | -0.19 | 0.17 | Winds!! | 24
81 | 9:00 | L5013894 | 20160228081902 | 26658 | 19.1 | 5.2 | 5082 | 1.4117 | 1.5178 | -0.1 | 0.16 | Winds | 24-25
82 | 12:00 | L5033883 | 20160228111631 | 26786 | 18.6 | 5.4 | 4934 | 1.3706 |  | -0.13 | 0.1 | Winds | 25
83 | 15:00 | L5033886 | 20160228141233 | 24695 | 25.8 | 5.2 | 4754 | 1.3206 | 1.7289 | -0.16 | 0.07 | Winds | 25
84 | 18:00 | L5033882 | 20160228170305 | 27442 | 16.9 | 5.2 | 5258 | 1.4606 | 1.6528 | -0.16 | 0.02 | Winds | 25
85 | 21:00 | L5033878 | 20160228201013 | 21632 | 42.4 | 4.4 | 4888 | 1.3578 | 1.5178 | -0.12 | 0.12 | Winds/200gm | 25
86 | 0:00 | L5033876 | 20160228231311 | [6 empty] | -0.22 | 0.14 | Killed program accidentally | 26 | no data
87 | 0:00 | L5013557 | 20160226234606 | 17072 | 93.3 | 5.5 | 3102 | 0.86167 | 0.86167 | 0 | 0 | Winds | 26
88 | 3:00 | L5013528 | 20160229021026 | 26217 | 20.3 | 5.5 | 4774 | 1.3261 | 1.6 | -0.15 | 0.02 | Winds | 26
89 | 6:00 | L5013563 | 20160229050935 | 27055 | 17.9 | 5.4 | 4990 | 1.3861 |  | -0.21 | 0.1 | Winds | 26-27
90 | 9:00 | L5013558 | 20160229081446 | 25447 | 23 | 5.6 | 4522 | 1.2561 | 1.59 | -0.18 | 0.09 | Winds | 27
91 | 12:00 | L5013531 | 20160229112130 | 24965 | 24.7 | 5.5 | 4548 | 1.2633 |  | -0.19 | 0.05 | No winds | 27 | x | 3.8 S | 139.96 W
92 | 15:00 | L5013567 | 20160229141408 | 21852 | 40.6 | 5.75 | 3794 | 1.0539 | 1.2267 | -0.21 | 0.12 | Winds | 27-28
93 | 18:00 | L5013570 | 20160229170919 | 9420 | 314.7 | 4.4 | 2134 | 0.59278 | 0.60556 | -0.16 | 0.13 | Winds | 28 | UPP210A error
94 | 21:00 | L5013564 | 20160229202750 | 10181 | 283.5 | 5 | 1992 | 0.55333 | 0.82889 | -0.14 | 0.11 | Winds | 28 | UPP210A error
95 | 0:00 | L5013569 | 20160229232850 | 26898 | 18.3 | 5.2 | 5088 | 1.4133 | 1.6006 | -0.09 | 0.1 | Winds | 28
96 | 3:00 | L5013526 | 20160301021625 | 25769 | 21.8 | 4.95 | 5196 | 1.4433 | 1.685 | -0.06 | 0.12 | Winds | 29
Average |  |  |  | 23610.2903 | 47.4484 |  |  | 1.2731 | 1.5207
Max |  |  |  | 28250 | 314.7 |  |  | 1.7661 | 1.9572
Min |  |  |  | 9420 | 14.9 |  |  | 0.55333 | 0.60556
Note on I1: Author: This is just for the up part
Note on D2: Author: Mannual launch Time
Note on D3: Author: Manual Launch Time 20160226110743
Note on D4: Author: Manual Launch Time 2016021626140144
Note on D5: Author: Manual LaunchTime 20160226165753
Note on D6: Author: 20160226200652
Note on D7: Author: Manual Launch Time 20160226230130
Note on D8: Author: Manual Launch Time 20160227020821
Note on D9: Author: Manual 20160227050733
Note on E9: Author: odd shaped balloon
Note on D10: Author: Manual 081126
Note on D11: Author: Manual 110838
Note on E11: Author: odd shaped balloon
Note on D13: Author: Manual 20160227173106
Note on L13: Author: Not reconditioned in order to speed up launch
Note on M13: Author: Delsyed due to buoy operations
Note on D14: Author: Manual 2016022720
Note on E17: Author: odd shaped balloon
Note on M24: Author: Possible interference by first sonde..forgot to offset freq Manually stopped
Note on D28: Author: Manual 20160229111727

## 97-128
Launch | UTC | S/N | Launch time UTC | Max Ht | Min P | Ascent Rate | Duration (s) | Duration (hr) | Total flight | Delta T | Delta RH | Comment | He Tank # | Manual | Lat | Lon
97 | 6:00 | L5013568 | 20160301050644 | 17562 | 85.6 | =SUM(D252016) | 3520 | 0.97778 |  | -0.16 | 0.04 | Winds | 29
98 | 9:00 | L5013530 | 20160301081404 | 25697 | 22.1 | 4.85 | 5296 | 1.4711 |  | -0.14 | 0.19 | Winds | 29
99 | 12:00 | L5013571 | 20160301111717 | 18310 | 74.6 | 4.6 | 3982 | 1.1061 |  | -0.14 | 0.12 | Winds | 29-30
100 | 15:00 | L5013561 | 20160301141712 | 27574 | 16.4 | 4.5 | 6080 | 1.6889 | 2.0478 | -0.07 | 0.09 | Winds | 30
101 | 18:00 | L5013533 | 20160301171219 | 25456 | 23 | 5.8 | 4364 | 1.2122 | 1.3878 | -0.07 | 0.09 | Winds | 30
102 | 21:00 | L5013527 | 20160301201606 | 29108 | 13 | 5.1 | 5630 | 1.5639 | 1.8133 | -0.11 | 0.34 | Winds | 30
103 | 0:00 | L5013535 | 20160301231530 | 26118 | 20.6 | 5.6 | 4622 | 1.2839 | 1.5694 | -0.14 | 0.14 | Winds | 30-31
104 | 3:00 | L5013548 | 20160302022102 | 19514 | 60.6 | 3.55 | 5496 | 1.5267 |  | -0.05 | 0.65 | Winds 200 gm | 31 | 2 bal/sondes
105 | 6:00 | L5013534 | 20160302050655 | 26047 | 20.9 | 5.3 | 4958 | 1.3772 |  | -0.14 | 0.11 | Winds | 31
106 | 9:00 | L5023129 | 20160302081938 | 24908 | 25 | 5.4 | 4646 | 1.2906 |  | -0.1 | -0.23 | Winds | 31-32
107 | 12:00 | L5013532 | 20160302111446 | 17766 | 82.2 | 5.1 | 3498 | 0.97167 |  | -0.11 | 0.1 | Winds | 32
108 | 15:00 | L5023165 | 20160302141319 | 26221 | 20.2 | 5.7 | 4604 | 1.2789 |  | -0.08 | 0.04 | Winds | 32
109 | 18:00 | L5023185 | 20160302172136 | 26469 | 19.4 | 5.2 | 5066 | 1.4072 | 1.5867 | -0.07 | 0.02 | Winds | 32-33
110 | 21:00 | L5023173 | 20160302202012 | 27260 | 17.2 | 4.4 | 6170 | 1.7139 |  | -0.12 | -0.01 | Winds | 33
111 | 0:00 | L5023139 | 20160302231723 | 25940 | 21.1 | 4.99 | 5226 | 1.4517 | 1.6506 | -0.18 | 0.08 | Winds | 33
112 | 3:00 | L5023142 | 20160303021801 | 16995 | 95.1 | 6.7 | 2538 | 0.705 |  | -0.07 | 0.49 | Winds | 33 | first sonde (5023196) failed RH in GC. Discarded.
113 | 6:00 | L5023144 | 20160303051001 | 26112 | 20.6 | 4.5 | 5786 | 1.6072 |  | -0.09 | -0.96 | Winds | 33-34
114 | 9:00 | L5023185 | 20160303081131 | 26775 | 18.6 | 5.1 | 5292 | 1.47 |  | -0.1 | -0.03 | Winds | 34
115 | 12:00 | L5023143 | 20160303110930 | 25140 | 24 | 4.76 | 5276 | 1.4656 |  | -0.15 | -0.07 | Winds | 34
116 | 15:00 | L5023191 | 20160303140938 | 26973 | 17.9 | 5 | 5382 | 1.495 |  | -0.08 | -0.19 | Winds | 34
117 | 18:00 | L5033631 | 20160303171411 | 27003 | 17.9 | 5.3 | 5064 | 1.4067 | 1.575 | -0.13 | 0.03 | Winds | 35 | Bad satellite geometry no winds calculated??
118 | 21:00 | L5033502 | 20160303201217 | 28314 | 14.6 | 4.7 | 5972 | 1.6589 | 1.8322 | -0.03 | -0.21 | Winds | 35
119 | 0:00 | L5033625 | 20160303231929 | 26803 | 18.4 | 5.2 | 5088 | 1.4133 | 1.5894 | -0.1 | 0 | Winds | 35
120 | 3:00 | L5033624 | 20160304021208 | 26945 | 18.1 | 4.9 | 5512 | 1.5311 | 1.8294 | -0.14 | 0.05 | Winds | 35
121 | 6:00 | L5033631 | 20160304050829 | 28334 | 14.6 | 4.5 | 6256 | 1.7378 |  | -0.07 | -0.03 | Winds | 35-36
122 | 9:00 | L5033622 | 20160304081308 | 27592 | 16.3 | 4.6 | 5964 | 1.6567 |  | -0.02 | -0.11 | Winds | 36
123 | 12:00 | L5033638 | 20160304111501 | 27400 | 16.7 | 4.6 | 5932 | 1.6478 |  | -0.1 | 0.02 | Winds | 36
124 | 15:00 | L5033630 | 20160304141221 | 26738 | 18.6 | 5.1 | 5262 | 1.4617 | 1.6533 | -0.07 | -0.01 | Winds | 36
125 | 18:00 | L5133381 | 20160304171240 | 26930 | 18 | 4.6 | 5842 | 1.6228 | 1.8044 | -0.15 | -0.32 | Winds | 37
126 | 21:00 | L5133376 | 20160304202025 | 27897 | 15.5 | 4.8 | 5804 | 1.6122 |  | -0.21 | 0.23 | Winds | 37
127 | 0:00 | L5133249 | 20160304231522 | 27725 | 15.9 | 4.7 | 5898 | 1.6383 | 1.9233 | -0.2 | 0.11 | Winds | 37
128 | 3:00 | L513043 | 20160305021445 | 26307 | 19.8 | 5.1 | 5140 | 1.4278 | 1.6 | -0.18 | 0.24 | Winds | 37
Average |  |  |  | 25435.4062 | 28.2031 |  |  | 1.4337 | 1.7045
Max |  |  |  | 29108 | 95.1 |  |  | 1.7378 | 2.0478
Min |  |  |  | 16995 | 13 |  |  | 0.705 | 1.3878
Note on I1: Author: This is just for the up part
Note on J1: Author: Up and dn time
Note on M22: Author: New saw raw gps except for a few blips during setup. Therefore no winds!! Bad sonde??

## 129-160
Launch | UTC | S/N | Launch time UTC | Max Ht | Min P | Ascent Rate | Duration (s) | Duration (hr) | Total flight | Delta T | Delta RH | Comment | He Tank # | Manual | Lat | Lon
129 | 6:00 | L5113250 | 20160305050520 | 26504 | 19.3 | 4.4 | 6066 | 1.685 |  | -0.13 | 0.27 | Winds | 38
130 | 9:00 | L5133240 | 20160305081223 | 25631 | 22.1 | 4.6 | 5518 | 1.5328 |  | -0.26 | 0.23 | Winds | 38
131 | 12:00 | L514293 | 20160305111055 | 26580 | 19 | 4.68 | 5680 | 1.5778 |  | -0.2 | 0.09 | Winds | 38
132 | 15:00 | L5053502 | 20160305141542 | 26646 | 18.8 | 5.1 | 5242 | 1.4561 | 1.6306 | -0.18 | 0.17 | Winds | 38-39
133 | 18:00 | L5133262 | 20160305171758 | 4982 | 561 | 5.6 | 852 | 0.23667 | 0.285 | -0.09 | 0.07 | Winds | 39 | unwinder stuck
134 | 21:00 | L5023264 | 20160305202556 | 27176 | 17.3 | 4.7 | 5804 | 1.6122 | 1.7894 | -0.17 | 0.6 | Winds | 39
135 | 0:00 | L5133308 | 20160305231134 | 28469 | 14.1 | 4.4 | 6468 | 1.7967 | 1.9822 | -0.12 | 0.2 | Winds | 39
136 | 3:00 | L5143136 | 20160306021249 | 14500 | 144.9 | 5.7 | 2530 | 0.70278 | 0.81389 | -0.17 | 0.12 | Winds | 39-40
137 | 6:00 | L5133294 | 20160306050632 | 27119 | 17.6 | 4.4 | 6130 | 1.7028 |  | -0.12 | 0.14 | Winds | 40
138 | 9:00 | L5023417 | 20160306081138 | 27634 | 16.2 | 4.6 | 6072 | 1.6867 |  | -0.11 | -0.12 | Winds | 40
139 | 12:00 | L5013724 | 20160306111616 | 26278 | 19.8 | 4.96 | 5296 | 1.4711 | 1.4711 | -0.13 | 0.16 | Winds | 40-41
140 | 15:00 | L5143176 | 20160306142735 | 22399 | 37 | 5.5 | 4078 | 1.1328 | 1.3722 | -0.14 | 0.36 | Winds | 41 | 2 sondes/balloons
141 | 18:00 | L5143191 | 20160306142735 | 26531 | 19.3 | 4.6 | 5770 | 1.6028 | 1.6922 | -0.12 | -0.1 | Winds | 41
142 | 21:00 | L5143003 | 20160306202400 | 26066 | 20.6 | 5 | 5144 | 1.4289 | 1.6067 | -0.12 | 0.13 | Winds | 42
143 | 0:00 | L5143190 | 20160306231504 | 26288 | 19.8 | 4.9 | 5366 | 1.4906 | 1.6706 | -0.13 | -0.18 | Winds | 42
144 | 3:00 | L5143046 | 20160307021041 | 25785 | 21.5 | 4.8 | 5308 | 1.4744 | 1.6589 | -0.14 | 0.05 | Winds | 42
145 | 6:00 | L5143177 | 20160307051412 | 26015 | 20.8 | 4.7 | 5482 | 1.5228 | 1.7106 | -0.08 | 0.03 | Winds | 42-43
146 | 9:00 | L4943245 | 20160307081321 | 26578 | 19.1 | 5.6 | 4774 | 1.3261 | 1.5 | -0.14 | 0.16 | Winds | 43
147 | 12:00 | L5143318 | 20160307111048 | 24653 | 25.7 | 4.86 | 5072 | 1.4089 | 1.6144 | -0.15 | -0.16 | Winds | 43
148 | 15:00 | L5143182 | 20160307140956 | 22915 | 34.1 | 5 | 4568 | 1.2689 | 1.4806 | -0.22 | -0.15 | Winds | 43
149 | 18:00 | L5143166 | 20160307171738 | 26134 | 20.4 | 4.8 | 5432 | 1.5089 | 1.6983 | 0.01 | 0.08 | Winds | 43-44
150 | 21:00 | L5143180 | 20160307200533 | 27013 | 17.8 | 5.7 | 4668 | 1.2967 | 1.4961 | -0.21 | 0.04 | Winds | 44
151 | 0:00 | L5143178 | 20160307231017 | 27054 | 17.6 | 5 | 5452 | 1.5144 | 1.6611 | -0.17 | 0.05 | Winds | 44
152 | 3:00 | L5143189 | 20160308020817 | 27380 | 16.7 | 4.5 | 6069 | 1.6858 |  | -0.16 | -0.03 | Winds | 44
152 | 6:00 | L5043208 | 20160308051338 | 17340 | 88.7 | 5.4 | 3204 | 0.89 | 1.1261 | -0.21 | 0.33 | Winds | 44-45
154 | 9:00 | L5143179 | 20160308081202 | 27847 | 15.7 | 3.7 | 7590 | 2.1083 | 2.3094 | -0.16 | 0.04 | Winds | 45
155 | 12:00 | L5143258 | 20160308111207 | 26393 | 19.6 | 4.48 | 5894 | 1.6372 | 1.8194 | -0.16 | 0.03 | Winds | 45
156 | 15:00 | L5143317 | 20160308141454 | 26424 | 19.5 | 5.7 | 4644 | 1.29 | 1.4706 | -0.12 | 0.03 | Winds | 45
157 | 18:00 | L5143289 | 20160308172305 | 5158 | 549.6 | 4.9 | 1054 | 0.29278 | 1.4706 |  |  | Winds | 46 | Bad GPS 2 sonde
158 | 21:00 | L5143315 | 20160308202814 | 26655 | 18.8 | 5.2 | 5128 | 1.4244 | 1.6 | -0.2 | 0.05 | Winds | 46
159 | 0:00 | L15433-3 | 20160308231548 | 26440 | 19.4 | 4.6 | 5710 | 1.5861 | 1.77 | -0.18 | -0.15 | Winds | 46
160 | 3:00 | L5143304 | 20160309021459 | 26993 | 17.9 | 5.4 | 4996 | 1.3878 | 1.55 | -0.17 | -0.14 | Winds | 46-47
Average |  |  |  | 24361.875 | 59.6781 |  |  | 1.3981 | 1.5481
Max |  |  |  | 28469 | 561 |  |  | 2.1083 | 2.3094
Min |  |  |  | 4982 | 14.1 |  |  | 0.23667 | 0.285
Note on I1: Author: This is just for the up part
Note on J1: Author: Up and dn time
Note on M30: Author: System seem to hang, SPS ligths stated cycling after the launch ws finished. Power cycle cleared

## 161-192
Launch | UTC | S/N | Launch time UTC | Max Ht | Min P | Ascent Rate | Duration (s) | Duration (hr) | Total flight | Delta T | Delta RH | Comment | He Tank #
161 | 6:00 | L5143307 | 20160309050508 | 26441 | 19.7 | 5 | 5266 | 1.46 | 1.64 | -0.22 | 0.26 | Winds | 47
162 | 9:00 | L5143297 | [9 empty] | Failed | 47
162 | 9:00 | L5013884 | 20160309083313 | 25483 | 22.7 | 6 | 4212 | 1.17 | 1.35 | -0.12 | 0.37 | Winds | 47-48 | 2 sondes, 3 balloons
163 | 12:00 | L5013889 | [9 empty] | Failed | 48
163 | 12:00 | L5013883 | 20160309112456 | 27276 | 17 | 4.7 | 5832 | 1.62 | 1.6283 | -0.16 | 0.44 | Winds | 48-49 | 2 sondes 2 balloons
164 | 15:00 | L5013868 | 20160309141432 | 26269 | 20 | 5 | 5244 | 1.4567 |  | -0.26 | -0.02 | Winds | 49
165 | 18:00 | L5013885 | 20160309171603 | 25782 | 21.7 | 5.5 | 4646 | 1.2906 |  | -0.16 | 0.35 | Winds | 49
166 | 21:00 | L5013896 | 20160309201506 | 27879 | 15.6 | 4.8 | 5740 | 1.5944 | 1.6283 | -0.24 | 0.09 | Winds | 49
167 | 0:00 | L5013862 | 20160309231222 | 27067 | 17.7 | 4,8 | 5628 | 1.5633 | 1.7383 | -0.11 | -0.11 | Winds | 50
168 | 3:00 | L5013895 | 20160310021025 | 27084 | 17.6 | 5.2 | 5206 | 1.4461 | 1.91 | -0.26 | -0.01 | Winds | 50
169 | 6:00 | L5013513 | 20160310050431 | 26648 | 18.9 | 4.5 | 5862 | 1.6283 | 1.93 | -0.22 | -0.01 | Winds | 50
170 | 9:00 | L5013877 | [9 empty] | Failed | 50-51
171 | 12:00 | L5033848 | 20160310111205 | 26174 | 20.2 | 5.2 | 5042 | 1.4006 |  | Didn't write down |  | Winds | 51
172 | 15:00 | L5013522 | 20160310142724 | 26947 | 18 | 4.85 | 5550 | 1.5417 | 1.7144 | -0.03 | 0.11 | Winds | 51 | 2 balloons 2 sondes
173 | 18:00 | L5033845 | 20160310171447 | 25723 | 21.8 | 5.1 | 5006 | 1.3906 | 1.7833 | -0.47 | -0.13 | Winds | 51-52
174 | 21:00 | L5013688 | 20160310200559 | 27162 | 17.4 | 5 | 5418 | 1.505 | 1.6817 | -0.16 | 0 | Winds | 52
175 | 0:00 | L5013529 | 20160310230906 | 27192 | 17.3 | 4.9 | 5542 | 1.5394 | 1.71 | -0.1 | 0 | Winds | 52
176 | 3:00 | L5033847 | 20160311020311 | 25635 | 22 | 5.1 | 4988 | 1.3856 | 1.5728 | -0.18 | 0.09 | Winds | 52-53
177 | 6:00 | L5013519 | 20160311051037 | 26705 | 18.8 | 4.7 | 5720 | 1.5889 | 1.78 | -0.12 | 0.07 | Winds | 53
178 | 9:00 | L5033843 | 20160311081047 | 26523 | 19.3 | 4.6 | 5756 | 1.5989 | 1.9 | -0.13 | 0.04 | Winds | 53
179 | 12:00 | L5013537 | 20160311111248 | 26407 | 19.6 | 5.1 | 5188 | 1.4411 | 1.7389 | -0.2 | 0.18 | Winds | 53
180 | 15:00 | L5013575 | 20160311141452 | 25534 | 22.4 | 4.7 | 5384 | 1.4956 | 1.6817 | -0.14 | 0.02 | Winds | 53-54
181 | 18:00 | L5013574 | 20160311171252 | 26824 | 18.5 | 5 | 5342 | 1.4839 | 1.7372 | -0.15 | 0 | Winds | 54
182 | 21:00 | L5013545 | 20160311201718 | 28063 | 15.1 | 4.6 | 6148 | 1.7078 | 1.8928 | -0.19 | -0.06 | Winds | 54
183 | 0:00 | L5013555 | 20160312231120 | 27255 | 17.1 | 4.6 | 5934 | 1.6483 | 1.8928 | -0.18 | 0.02 | Winds | 54-55
184 | 3:00 | L5013526 | 20160312020852 | 24858 | 26 | 6.1 | 4020 | 1.1167 | 1.2872 | -0.2 | -0.02 | Winds | 55
185 | 6:00 | L5013572 | 20160312050943 | 26578 | 19.1 | 4.6 | 5824 | 1.6178 | 1.2872 | -0.18 | -0.22 | Winds | 55
186 | 9:00 | L5013576 | 20160312081107 | 27076 | 17.7 | 4.9 | 5580 | 1.55 | 1.74 | -0.26 | -0.16 | Winds | 55
187 | 12:00 | L5013869 | 20160312111341 | 25082 | 24 | 4.6 | 5446 | 1.5128 | 1.6967 | -0.22 | 0.12 | Winds | 55-56
188 | 15:00 | L5013855 | 20160312140951 | 27717 | 15.9 | 4.9 | 5672 | 1.5756 | 1.7472 | -0.15 | -0.02 | Winds | 56
189 | 18:00 | L5013880 | 20160312171053 | 27467 | 16.6 | 5 | 5422 | 1.5061 | 1.7011 | -0.25 | 0.03 | Winds | 56
190 | 21:00 | L5013846 | 20160312200751 | 26087 | 20.5 | 5.3 | 4930 | 1.3694 | 1.56 | -0.15 | -0.11 | Winds | 56
191 | 0:00 | L5013870 | 20160312231015 | 27849 | 15.6 | 4.7 | 5920 | 1.6444 | 1.8194 | -0.26 | 0.06 | Winds | 57
192 | 6:00 | L5033833 | [6 empty] | 1.8194 |  |  | Winds | 57 | 2 balloons 1 sonde
Average |  |  |  | 26626.2333 | 19.1267 |  |  | 1.495 | 1.6989
Max |  |  |  | 28063 | 26 |  |  | 1.7078 | 1.93
Min |  |  |  | 24858 | 15.1 |  |  | 1.1167 | 1.2872
Note on I1: Author: This is just for the up part
Note on J1: Author: Up and dn time

## 193-211
Launch | UTC | S/N | Launch time UTC | Max Ht | Min P | Ascent Rate | Duration (s) | Duration (hr) | Total flight | Delta T | Delta RH | Comment | He Tank #
193 | 12:00 | L5043040 | 20160313112308 | 25686 | 21.8 | 5.4 | 4768 | 1.3244 | 1.5217 | -0.13 | -0.04 | Winds | 57-58
194 | 18:00 | L5023761 | 20160313171259 | 27626 | 16.1 | 5 | 5362 | 1.4894 | 1.7183 | -0.1 | -0.17 | Winds | 58
195 | 0:00 | L5043032 | 20160313230834 | 24882 | 24.7 | 4.7 | 5302 | 1.4728 | 1.65 | -0.32 | -0.02 | Winds | 58
196 | 6:00 | L5043064 | [9 empty] | Winds | 58 | string broke
197 | 12:00 | L5013556 | 20160314111843 | 27022 | 17.5 | 4.9 | 5552 | 1.5422 | 1.8744 | -0.18 | -0.05 | Winds | 58-59
198 | 18:00 | L5013559 | 20160314171233 | 27431 | 16.6 | 4.2 | 6564 | 1.8233 | 1.9867 | -0.16 | -0.15 | Winds | 59
199 | 0:00 | L5013874 | 20160314230910 | 26547 | 19 | 5 | 5286 | 1.4683 | 1.6256 | -1.7 | -0.06 | Winds | 59
200 | 6:00 | L5013566 | [6 empty] | 1.6256 |  |  | Winds | 59 | hit A-Frame!
201 | 12:00 | L5013879 | 20160315111256 | 26289 | 19.8 | 5.4 | 4880 | 1.3556 | 1.54 | -0.18 | -0.26 | Winds | 59-60
202 | 18:00 | L5033518 | 20160315170752 | 25365 | 23.1 | 5 | 5064 | 1.4067 | 1.5828 | -0.07 | -0.4 | Winds | 60
203 | 0:00 | L5013871 | 20160315231115 | 24525 | 26.2 | 4.4 | 5552 | 1.5422 | 1.8178 | -0.16 | 0.23 | Winds | 60
204 | 6:00 | L5013521 | 20160316050806 | 28225 | 14.7 | 4.4 | 6716 | 1.8656 | 2.06 | -0.27 | 0.28 | Winds | 60 | In Mexican waters: CO confirms clearance to launch radiosondes
205 | 12:00 | L5033442 | 20160316111039 | 10585 | 252.9 | 6 | 1720 | 0.47778 | 5.8939 | -0.21 | 0.11 | Winds | 61
206 | 18:00 | L5033434 | 20160316171707 | 6569 | 449.7 | 5.8 | 1134 | 0.315 | 0.73889 |  |  | Winds | 61 | Shellback ceremony/SPS220 errors
207 | 0:00 | [6 empty] | 0
208 | 6:00 | [6 empty] | 0
209 | 12:00 | [6 empty] | 0
210 | 18:00 | [6 empty] | 0
211 | 0:00 | [6 empty] | 0
Note on I1: Author: This is just for the up part
Note on J1: Author: Up and dn time
Note on M12: Author: Special battery less He
Note on M15: Author: SPS220 errors at 411 mb

## Total
1 | 4:00 | L5033429 | 20160217032854 | 23114 | 33.4 | 5 | 4896 | 1.36 | 1.5975
2 | 8:00 | L5013832 | 20160217072835 | 27604 | 16.4 | 3-4 | 6004 | 1.6678 | 1.8436
3 | 12:00 | L5033435 | 20160217111020 | 25430 | 22.94 | 5 | 6542 | 1.8172 | 2.0356
4 | 16:00 | L5013824 | 20160217153553 | 29006 | 13.2 | 5 | 7106 | 1.9739 | 2.1267
5 | 20:00 | L5013805 | 20160217213231 | 25496 | 22.9 | 4 | 4992 | 1.3867 | 1.5139
6 | 0:00 | L5037839
7 | 4:00 | L5013816 | 20160218032503 | 23767 | 29.9 | 4 | 4646 | 1.2906 | 1.4822
8 | 8:00 | L5013655 | 20160218070725 | 24798 | 25.5 | 4 | 4996 | 1.3878 | 1.5683
9 | 12:00 | L5033445 | 20160218111057 | 17793 | 82.1 | 5 | 3936 | 1.0933 | 1.3306
10 | 16:00 | L5013660 | 20160218151001 | 26769 | 18.6 | 4-5 | 5642 | 1.5672 | 1.7639
11 | 20:00 | L5013654 | 20160218192340 | 25749 | 21.9 | 4-5 | 5782 | 1.6061 | 1.7817
12 | 21:50 | L5013701
13 | 21:50 | L5033623 | 20160218220212 | 23695 | 30.5 | 5 | 5130 | 1.425 | 1.6517
14 | 4:00 | L5033615 | 20160219031448 | 27182 | 17.5 | 4-5 | 6418 | 1.7828 | 2.485
15 | 8:00 | L5013688 | 20160219970557 | 23725 | 30.3 | 5 | 5448 | 1.5133 | 1.825
16 | 12:00 | L5013622 | 20160219112157 | 25673 | 30.3 | 5 | 5072 | 1.4089 | 1.5883
17 | 16:00 | L5013672 | 20160219151716 | 24741 | 25.6 | 5 | 4848 | 1.3467 | 1.5444
18 | 20:00 | L5013687 | 20160219190631 | 28217 | 15 | 4-5 | 6368 | 1.7689 | 1.9683
19 | 0:00 | L5013673
20 | 4:00 | L5013665 | 20160220030949 | 27258 | 17.3 | 5 | 6171 | 1.7142 | 1.7244
21 | 8:00 | L5013658 | 20160220070903 | 26170 | 20.6 | 5 | 6940 | 1.9278 | 2.1317
22 | 12:00 | L5013669 | 20160220110740 | 28177 | 15 | 3 | 10024 | 2.7844 | 2.9789
23 | 16:00 | L5033838 | 20160220150750 | 21390 | 44.2 | 5 | 4693 | 1.3036 | 1.5506
24 | 20:00 | L5033887 | 20160220190945 | 27389 | 17 | 5 | 6474 | 1.7983 | 1.9817
25 | 0:00 | L5013675 | 20160220231008 | 28236 | 14.9 | 5 | 6268 | 1.7411 | 1.9411
26 | 4:00 | L5013676 | 20160221030657 | 25066 | 24.4 | 5 | 4672 | 1.2978 | 1.4783
27 | 8:00 | L5033861 | 20160221070859 | 26461 | 19.7 | 4.4 | 5970 | 1.6583 | 1.85
28 | 12:00 | L5013671 | 20160221111128 | 28024 | 15.4 | 4.2 | 6606 | 1.835 | 2.02
29 | 16:00 | L5013674 | 20160221150947 | 28785 | 13.7 | 5 | 6642 | 1.845 | 2.1483
30 | 20:00 | L5013664 | 20160221191311 | 26123 | 20.7 | 5 | 4308 | 1.1967 | 1.5039
31 | 0:00 | L5033888 | 20160221234708 | 22796 | 35.1 | 5 | 4418 | 1.2272 | 1.5806
32 | 6:00 | L5033835 | 20160222050817 | 24822 | 25.4 | 5 | 4706 | 1.3072
33 | 9:00 | L5033873 | 20160222081028 | 26510 | 19.5 | 5 | 6276 | 1.7433 | 1.935
34 | 12:00 | L5033895 | 20160222111225 | 24842 | 25.2 | 5 | 5132 | 1.4256 | 1.6328
35 | 15:00 | L5033862 | 20160222141301 | 18514 | 72.3 | 5 | 4426 | 1.2294 | 1.2294
36 | 18:00 | L5033853 | 20160222181544 | 18514 | 72.3 | 5 | 4426 | 1.2294 | 1.2294
37 | 21:00 | L5033889 | 20160222201443 | 16806 | 98.2 | 5 | 4136 | 1.1489 | 1.1489
38 | 0:00 | L5043526 | 20160222231547 | 21593 | 42.7 | 5 | 4714 | 1.3094 | 1.3094
39 | 3:00 | L5023278 | 20160223021125 | 20200 | 54 | 4-5 | 4744 | 1.3178 | 1.3178
40 | 6:00 | L5043566 | 20160223051242 | 25514 | 22.8 | 5 | 5232 | 1.4533 | 1.4533
41 | 9:00 | L5023252 | 20160223081232 | 26603 | 19.3 | 5 | 5302 | 1.4728 | 1.4728
42 | 12:00 | L5043650 | 20160223111524 |  |  | 5 | 658 | 0.18278 | 0.18278
43 | 15:00 | L5133363 | 20160223142422
44 | 18:00 | L5113185 | 20160223171831 | 26025 | 21.1 | 4-5 | 4864 | 1.3511 | 1.6272
45 | 21:00 | L5133382 | 20160223201031 | 28021 | 15.4 | 5 | 5698 | 1.5828 | 1.8489
46 | 0:00 | L5043418 | 20160223231616 | 24403 | 27.1 | 5 | 5970 | 1.6583 | 2.06
47 | 3:00 | L5033894 | 20160224021026 | 26672 | 19 | 4-5 | 6142 | 1.7061 | 1.9833
48 | 6:00 | L5033871 | 20160224051529 | 28289 | 14.7 | 3-4 | 8052 | 2.2367 | 1.9833
49 | 9:00 | L5023759 | 20160224081254 | 26783 | 18.7 | 3-4 | 6436 | 1.7878 | 1.9833
50 | 12:00 | L5033896 | 20160224110710 | 25502 | 22.7 | 5 | 5990 | 1.6639 | 1.9833
51 | 15:00 | L5033893 | 20160224142326 | 26964 | 18.1 | 4-5 | 5614 | 1.5594 | 1.9833
52 | 18:00 | L5033892 | 20160224171127 | 28703 | 13.8 | 4-5 | 6205 | 1.7236 | 1.94
53 | 21:00 | Failed
54 | 3:00 | L5033880 | 20160224021312 | 26115 | 20.6 | 4-5 | 6012 | 1.67 | 2.1756
55 | 6:00 | L5033891 | 20160225051409 | 24047 | 28.6 | 5 | 4550 | 1.2639
56 | 9:00 | L5033850 | 20160225082028 | 26865 | 18.5 | 4-5 | 5838 | 1.6217
57 | 12:00 | L5033865 | 20160225110647 | 25501 | 22.7 | 4.4 | 5830 | 1.6194 | 1.3572
58 | 15:00 | L5033867 | 20160225140818 | 23747 | 29.4 | 6.2 | 3854 | 1.0706 | 1.3572
59 | 18:00 | L5033866 | 20160225164420 | 24896 | 25.1 | 5.05 | 4888 | 1.3578 | 1.5678
60 | 21:00 | L5033898 | 20160225202152 | 25963 | 21.2 | 5.4 | 4754 | 1.3206 | 1.5678
61 | 0:00
62 | 0:00
63 | 3:00 | L5033807 | 20160226021322 | 23964 | 28.9 | 4.1 | 5788 | 1.6078 | 1.8839
64 | 6:00 | L5033877 | 20160226050941 | 26238 | 20.4 | 5.4 | 4892 | 1.3589
65 | 9:00 | L5033816 | 20160226080754 | 26299 | 20.2 | 4.3 | 6066 | 1.685 | 1.8839
66 | 12:00 | L5033808 | 20160226111116 | 25419 | 23 | 5.3 | 4800 | 1.3333
67 | 15:00 | L5013849 | 20160226140754 | 24776 | 25.3 | 4.88 | 5066 | 1.4072 | 1.6917
68 | 18:00 | L5033796 | 20160226170403 | 25436 | 23 | 5.2 | 4872 | 1.3533 | 1.6578
69 | 21:00 | L5033801 | 20160226201110 | 25907 | 21.3 | 5.6 | 4624 | 1.2844 | 1.5372
70 | 0:00 | L5013844 | 20160226230647 | 22985 | 33.8 | 4.8 | 4746 | 1.3183 | 1.6944
71 | 3:00 | L5033801 | 20160227021743 | 24077 | 28.4 | 6. | 4026 | 1.1183 | 1.4672
72 | 6:00 | L5033802 | 20160227051047 | 19135 | 64.7 | 4.65 | 4116 | 1.1433
73 | 9:00 | L5033881 | 20160227081126 | 24332 | 27.4 | 5.2 | 4684 | 1.3011
74 | 12:00 | L5033805 | 20160227111447 | 19454 | 60.8 | 5.3 | 3654 | 1.015
75 | 15:00 | L5033881 | 20160227141052 | 26799 | 18.5 | 5.2 | 5120 | 1.4222 | 1.755
76 | 18:00 | L5013542 | 20160227173646 | 24682 | 26 | 5.5 | 4452 | 1.2367 | 1.5311
77 | 21:00 | L5013683 | 20160227201714 | 28250 | 14.9 | 4.4 | 6358 | 1.7661 | 1.9572
78 | 0:00 | L5013573 | 20160227231729 | 26356 | 19.9 | 5.25 | 5010 | 1.3917 | 1.6567
79 | 3:00 | L5033890 | 20160228021214 | 26734 | 18.8 | 4.78 | 5578 | 1.5494 | 1.7289
80 | 6:00 | L5033879 | 20160228051213 | 19189 | 64 | 5 | 3846 | 1.0683
81 | 9:00 | L5013894 | 20160228081902 | 26658 | 19.1 | 5.2 | 5082 | 1.4117 | 1.5178
82 | 12:00 | L5033883 | 20160228111631 | 26786 | 18.6 | 5.4 | 4934 | 1.3706
83 | 15:00 | L5033886 | 20160228141233 | 24695 | 25.8 | 5.2 | 4754 | 1.3206 | 1.7289
84 | 18:00 | L5033882 | 20160228170305 | 27442 | 16.9 | 5.2 | 5258 | 1.4606 | 1.6528
85 | 21:00 | L5033878 | 20160228201013 | 21632 | 42.4 | 4.4 | 4888 | 1.3578 | 1.5178
86 | 0:00 | L5033876 | 20160228231311
87 | 0:00 | L5013557 | 20160226234606 | 17072 | 93.3 | 5.5 | 3102 | 0.86167 | 0.86167
88 | 3:00 | L5013528 | 20160229021026 | 26217 | 20.3 | 5.5 | 4774 | 1.3261 | 1.6
89 | 6:00 | L5013563 | 20160229050935 | 27055 | 17.9 | 5.4 | 4990 | 1.3861
90 | 9:00 | L5013558 | 20160229081446 | 25447 | 23 | 5.6 | 4522 | 1.2561 | 1.59
91 | 12:00 | L5013531 | 20160229112130 | 24965 | 24.7 | 5.5 | 4548 | 1.2633
92 | 15:00 | L5013567 | 20160229141408 | 21852 | 40.6 | 5.75 | 3794 | 1.0539 | 1.2267
93 | 18:00 | L5013570 | 20160229170919 | 9420 | 314.7 | 4.4 | 2134 | 0.59278 | 0.60556
94 | 21:00 | L5013564 | 20160229202750 | 10181 | 283.5 | 5 | 1992 | 0.55333 | 0.82889
95 | 0:00 | L5013569 | 20160229232850 | 26898 | 18.3 | 5.2 | 5088 | 1.4133 | 1.6006
96 | 3:00 | L5013526 | 20160301021625 | 25769 | 21.8 | 4.95 | 5196 | 1.4433 | 1.685
97 | 6:00 | L5013568 | 20160301050644 | 17562 | 85.6 | 5 | 3520 | 0.97778
98 | 9:00 | L5013530 | 20160301081404 | 25697 | 22.1 | 4.85 | 5296 | 1.4711
99 | 12:00 | L5013571 | 20160301111717 | 18310 | 74.6 | 4.6 | 3982 | 1.1061
100 | 15:00 | L5013561 | 20160301141712 | 27574 | 16.4 | 4.5 | 6080 | 1.6889 | 2.0478
101 | 18:00 | L5013533 | 20160301171219 | 25456 | 23 | 5.8 | 4364 | 1.2122 | 1.3878
102 | 21:00 | L5013527 | 20160301201606 | 29108 | 13 | 5.1 | 5630 | 1.5639 | 1.8133
103 | 0:00 | L5013535 | 20160301231530 | 26118 | 20.6 | 5.6 | 4622 | 1.2839 | 1.5694
104 | 3:00 | L5013548 | 20160302022102 | 19514 | 60.6 | 3.55 | 5496 | 1.5267
105 | 6:00 | L5013534 | 20160302050655 | 26047 | 20.9 | 5.3 | 4958 | 1.3772
106 | 9:00 | L5023129 | 20160302081938 | 24908 | 25 | 5.4 | 4646 | 1.2906
107 | 12:00 | L5013532 | 20160302111446 | 17766 | 82.2 | 5.1 | 3498 | 0.97167
108 | 15:00 | L5023165 | 20160302141319 | 26221 | 20.2 | 5.7 | 4604 | 1.2789
109 | 18:00 | L5023185 | 20160302172136 | 26469 | 19.4 | 5.2 | 5066 | 1.4072 | 1.5867
110 | 21:00 | L5023173 | 20160302202012 | 27260 | 17.2 | 4.4 | 6170 | 1.7139
111 | 0:00 | L5023139 | 20160302231723 | 25940 | 21.1 | 4.99 | 5226 | 1.4517 | 1.6506
112 | 3:00 | L5023142 | 20160303021801 | 16995 | 95.1 | 6.7 | 2538 | 0.705
113 | 6:00 | L5023144 | 20160303051001 | 26112 | 20.6 | 4.5 | 5786 | 1.6072
114 | 9:00 | L5023185 | 20160303081131 | 26775 | 18.6 | 5.1 | 5292 | 1.47
115 | 12:00 | L5023143 | 20160303110930 | 25140 | 24 | 4.76 | 5276 | 1.4656
116 | 15:00 | L5023191 | 20160303140938 | 26973 | 17.9 | 5 | 5382 | 1.495
117 | 18:00 | L5033631 | 20160303171411 | 27003 | 17.9 | 5.3 | 5064 | 1.4067 | 1.575
118 | 21:00 | L5033502 | 20160303201217 | 28314 | 14.6 | 4.7 | 5972 | 1.6589 | 1.8322
119 | 0:00 | L5033625 | 20160303231929 | 26803 | 18.4 | 5.2 | 5088 | 1.4133 | 1.5894
120 | 3:00 | L5033624 | 20160304021208 | 26945 | 18.1 | 4.9 | 5512 | 1.5311 | 1.8294
121 | 6:00 | L5033631 | 20160304050829 | 28334 | 14.6 | 4.5 | 6256 | 1.7378
122 | 9:00 | L5033622 | 20160304081308 | 27592 | 16.3 | 4.6 | 5964 | 1.6567
123 | 12:00 | L5033638 | 20160304111501 | 27400 | 16.7 | 4.6 | 5932 | 1.6478
124 | 15:00 | L5033630 | 20160304141221 | 26738 | 18.6 | 5.1 | 5262 | 1.4617 | 1.6533
125 | 18:00 | L5133381 | 20160304171240 | 26930 | 18 | 4.6 | 5842 | 1.6228 | 1.8044
126 | 21:00 | L5133376 | 20160304202025 | 27897 | 15.5 | 4.8 | 5804 | 1.6122
127 | 0:00 | L5133249 | 20160304231522 | 27725 | 15.9 | 4.7 | 5898 | 1.6383 | 1.9233
128 | 3:00 | L513043 | 20160305021445 | 26307 | 19.8 | 5.1 | 5140 | 1.4278 | 1.6
129 | 6:00 | L5113250 | 20160305050520 | 26504 | 19.3 | 4.4 | 6066 | 1.685
130 | 9:00 | L5133240 | 20160305081223 | 25631 | 22.1 | 4.6 | 5518 | 1.5328
131 | 12:00 | L514293 | 20160305111055 | 26580 | 19 | 4.68 | 5680 | 1.5778
132 | 15:00 | L5053502 | 20160305141542 | 26646 | 18.8 | 5.1 | 5242 | 1.4561 | 1.6306
133 | 18:00 | L5133262 | 20160305171758 |  |  | 5.6 | 852 | 0.23667 | 0.285
134 | 21:00 | L5023264 | 20160305202556 | 27176 | 17.3 | 4.7 | 5804 | 1.6122 | 1.7894
135 | 0:00 | L5133308 | 20160305231134 | 28469 | 14.1 | 4.4 | 6468 | 1.7967 | 1.9822
136 | 3:00 | L5143136 | 20160306021249 | 14500 | 144.9 | 5.7 | 2530 | 0.70278 | 0.81389
137 | 6:00 | L5133294 | 20160306050632 | 27119 | 17.6 | 4.4 | 6130 | 1.7028
138 | 9:00 | L5023417 | 20160306081138 | 27634 | 16.2 | 4.6 | 6072 | 1.6867
139 | 12:00 | L5013724 | 20160306111616 | 26278 | 19.8 | 4.96 | 5296 | 1.4711 | 1.4711
140 | 15:00 | L5143176 | 20160306142735 | 22399 | 37 | 5.5 | 4078 | 1.1328 | 1.3722
141 | 18:00 | L5143191 | 20160306142735 | 26531 | 19.3 | 4.6 | 5770 | 1.6028 | 1.6922
142 | 21:00 | L5143003 | 20160306202400 | 26066 | 20.6 | 5 | 5144 | 1.4289 | 1.6067
143 | 0:00 | L5143190 | 20160306231504 | 26288 | 19.8 | 4.9 | 5366 | 1.4906 | 1.6706
144 | 3:00 | L5143046 | 20160307021041 | 25785 | 21.5 | 4.8 | 5308 | 1.4744 | 1.6589
145 | 6:00 | L5143177 | 20160307051412 | 26015 | 20.8 | 4.7 | 5482 | 1.5228 | 1.7106
146 | 9:00 | L4943245 | 20160307081321 | 26578 | 19.1 | 5.6 | 4774 | 1.3261 | 1.5
147 | 12:00 | L5143318 | 20160307111048 | 24653 | 25.7 | 4.86 | 5072 | 1.4089 | 1.6144
148 | 15:00 | L5143182 | 20160307140956 | 22915 | 34.1 | 5 | 4568 | 1.2689 | 1.4806
149 | 18:00 | L5143166 | 20160307171738 | 26134 | 20.4 | 4.8 | 5432 | 1.5089 | 1.6983
150 | 21:00 | L5143180 | 20160307200533 | 27013 | 17.8 | 5.7 | 4668 | 1.2967 | 1.4961
151 | 0:00 | L5143178 | 20160307231017 | 27054 | 17.6 | 5 | 5452 | 1.5144 | 1.6611
152 | 3:00 | L5143189 | 20160308020817 | 27380 | 16.7 | 4.5 | 6069 | 1.6858
152 | 6:00 | L5043208 | 20160308051338 | 17340 | 88.7 | 5.4 | 3204 | 0.89 | 1.1261
154 | 9:00 | L5143179 | 20160308081202 | 27847 | 15.7 | 3.7 | 7590 | 2.1083 | 2.3094
155 | 12:00 | L5143258 | 20160308111207 | 26393 | 19.6 | 4.48 | 5894 | 1.6372 | 1.8194
156 | 15:00 | L5143317 | 20160308141454 | 26424 | 19.5 | 5.7 | 4644 | 1.29 | 1.4706
157 | 18:00 | L5143289 | 20160308172305 |  |  | 4.9 | 1054 | 0.29278 | 1.4706
158 | 21:00 | L5143315 | 20160308202814 | 26655 | 18.8 | 5.2 | 5128 | 1.4244 | 1.6
159 | 0:00 | L15433-3 | 20160308231548 | 26440 | 19.4 | 4.6 | 5710 | 1.5861 | 1.77
160 | 3:00 | L5143304 | 20160309021459 | 26993 | 17.9 | 5.4 | 4996 | 1.3878 | 1.55
161 | 6:00 | L5143307 | 20160309050508 | 26441 | 19.7 | 5 | 5266 | 1.46 | 1.64
162 | 9:00 | L5143297
162 | 9:00 | L5013884 | 20160309083313 | 25483 | 22.7 | 6 | 4212 | 1.17 | 1.35
163 | 12:00 | L5013889
163 | 12:00 | L5013883 | 20160309112456 | 27276 | 17 | 4.7 | 5832 | 1.62 | 1.6283
164 | 15:00 | L5013868 | 20160309141432 | 26269 | 20 | 5 | 5244 | 1.4567
165 | 18:00 | L5013885 | 20160309171603 | 25782 | 21.7 | 5.5 | 4646 | 1.2906
166 | 21:00 | L5013896 | 20160309201506 | 27879 | 15.6 | 4.8 | 5740 | 1.5944 | 1.6283
167 | 0:00 | L5013862 | 20160309231222 | 27067 | 17.7 | 4,8 | 5628 | 1.5633 | 1.7383
168 | 3:00 | L5013895 | 20160310021025 | 27084 | 17.6 | 5.2 | 5206 | 1.4461 | 1.91
169 | 6:00 | L5013513 | 20160310050431 | 26648 | 18.9 | 4.5 | 5862 | 1.6283 | 1.93
170 | 9:00 | L5013877
171 | 12:00 | L5033848 | 20160310111205 | 26174 | 20.2 | 5.2 | 5042 | 1.4006
172 | 15:00 | L5013522 | 20160310142724 | 26947 | 18 | 4.85 | 5550 | 1.5417 | 1.7144
173 | 18:00 | L5033845 | 20160310171447 | 25723 | 21.8 | 5.1 | 5006 | 1.3906 | 1.7833
174 | 21:00 | L5013688 | 20160310200559 | 27162 | 17.4 | 5 | 5418 | 1.505 | 1.6817
175 | 0:00 | L5013529 | 20160310230906 | 27192 | 17.3 | 4.9 | 5542 | 1.5394 | 1.71
176 | 3:00 | L5033847 | 20160311020311 | 25635 | 22 | 5.1 | 4988 | 1.3856 | 1.5728
177 | 6:00 | L5013519 | 20160311051037 | 26705 | 18.8 | 4.7 | 5720 | 1.5889 | 1.78
178 | 9:00 | L5033843 | 20160311081047 | 26523 | 19.3 | 4.6 | 5756 | 1.5989 | 1.9
179 | 12:00 | L5013537 | 20160311111248 | 26407 | 19.6 | 5.1 | 5188 | 1.4411 | 1.7389
180 | 15:00 | L5013575 | 20160311141452 | 25534 | 22.4 | 4.7 | 5384 | 1.4956 | 1.6817
181 | 18:00 | L5013574 | 20160311171252 | 26824 | 18.5 | 5 | 5342 | 1.4839 | 1.7372
182 | 21:00 | L5013545 | 20160311201718 | 28063 | 15.1 | 4.6 | 6148 | 1.7078 | 1.8928
183 | 0:00 | L5013555 | 20160312231120 | 27255 | 17.1 | 4.6 | 5934 | 1.6483 | 1.8928
184 | 3:00 | L5013526 | 20160312020852 | 24858 | 26 | 6.1 | 4020 | 1.1167 | 1.2872
185 | 6:00 | L5013572 | 20160312050943 | 26578 | 19.1 | 4.6 | 5824 | 1.6178 | 1.2872
186 | 9:00 | L5013576 | 20160312081107 | 27076 | 17.7 | 4.9 | 5580 | 1.55 | 1.74
187 | 12:00 | L5013869 | 20160312111341 | 25082 | 24 | 4.6 | 5446 | 1.5128 | 1.6967
188 | 15:00 | L5013855 | 20160312140951 | 27717 | 15.9 | 4.9 | 5672 | 1.5756 | 1.7472
189 | 18:00 | L5013880 | 20160312171053 | 27467 | 16.6 | 5 | 5422 | 1.5061 | 1.7011
190 | 21:00 | L5013846 | 20160312200751 | 26087 | 20.5 | 5.3 | 4930 | 1.3694 | 1.56
191 | 0:00 | L5013870 | 20160312231015 | 27849 | 15.6 | 4.7 | 5920 | 1.6444 | 1.8194
192 | 6:00 | L5033833
193 | 12:00 | L5043040 | 20160313112308 | 25686 | 21.8 | 5.4 | 4768 | 1.3244 | 1.5217
194 | 18:00 | L5023761 | 20160313171259 | 27626 | 16.1 | 5 | 5362 | 1.4894 | 1.7183
195 | 0:00 | L5043032 | 20160313230834 | 24882 | 24.7 | 4.7 | 5302 | 1.47 | 1.65
196 | 6:00 | L5043064
197 | 12:00 | L5013556 | 20160314111843 | 27022 | 17.5 | 4.9 | 5552 | 1.5422 | 1.8744
198 | 18:00 | L5013559 | 20160314171233 | 27431 | 16.6 | 4.2 | 6564 | 1.8233 | 1.9867
199 | 0:00 | L5013874 | 20160314230910 | 26547 | 19 | 5 | 5286 | 1.4683 | 1.6256
200 | 6:00 | L5013566 | [6 empty] | 1.6256
201 | 12:00 | L5013879 | 20160315111256 | 26289 | 19.8 | 5.4 | 4880 | 1.3556 | 1.54
202 | 18:00 | L5033518 | 20160315170752 | 25365 | 23.1 | 5 | 5064 | 1.4067 | 1.5828
203 | 0:00 | L5013871 | 20160315231115 | 24525 | 26.2 | 4.4 | 5552 | 1.5422 | 1.8178
Average |  |  |  | 25322.883 | 29.0577 |  |  | 1.4401 | 1.6535
Max |  |  |  | 29108 | 314.7 |  |  | 2.7844 | 2.9789
Min |  |  |  | 9420 | 13 |  |  | 0.18278 | 0.18278
Note on J35: Author: No down manual stop to flight to test GPS and finish in time for next launch.
Note on J36: Author: No down manual stop
Note on D37: Author: manually shutdown flight after it stoped receiving any data (4902) Not sureif GPS antenna testing caused this. Unusual amount of time for manual stop!
Note on J37: Author: No down manual stop
Note on D38: Author: Manual stop no down data hung at4742 21582 42.8 5829 40.39 RAW
Note on J38: Author: No down manual stop
Note on D39: Author: Manual stop lost signal no down
Note on E39: Author: Manual stop no down data lost signal above ~80mb
Note on J39: Author: No down manual stop
Note on J40: Author: No down manual stop
Note on J41: Author: No down manual stop
Note on E42: Author: 2830
Note on F42: Author: 726 mb below minimum accepted relaunch
Note on J42: Author: No down manual stop
Note on D44: Author: Manual Start Time 20160223171337
Note on D45: Author: Manual Start Time 20160223200524
Note on D46: Author: Manual Start Time 20160223230926
Note on D47: Author: Manual Start Time 20160224020534
Note on D48: Author: ManualStart time 20160224050914
Note on D49: Author: Manual Start Time 20160224080647
Note on D50: Author: Manual Launch Time 20160224105954
Note on D54: Author: Manual LaunchTime 20160224020829
Note on D55: Author: ManualLaunch Tme 20160224050844
Note on D56: Author: Manual Reale Time 20160225082028
Note on D57: Author: Manual Reale Time 20160225110647
Note on D58: Author: Manual Launch Time 20160225140223
Note on D59: Author: Manual Launch Time 20160225140223
Note on D60: Author: Manual Launch Time 20160225201716
Note on D63: Author: Manual Launch Time 20160206020701
Note on D64: Author: Manual Launch Time 20160226050400
Note on D65: Author: Mannual launch Time
Note on D66: Author: Manual Launch Time 20160226110743
Note on D67: Author: Manual Launch Time 2016021626140144
Note on D68: Author: Manual LaunchTime 20160226165753
Note on D69: Author: 20160226200652
Note on D70: Author: Manual Launch Time 20160226230130
Note on D71: Author: Manual Launch Time 20160227020821
Note on D72: Author: Manual 20160227050733
Note on E72: Author: odd shaped balloon
Note on D73: Author: Manual 081126
Note on D74: Author: Manual 110838
Note on E74: Author: odd shaped balloon
Note on D76: Author: Manual 20160227173106
Note on D77: Author: Manual 2016022720
Note on E80: Author: odd shaped balloon
Note on D91: Author: Manual 20160229111727
Note on E133: Author: 4982
Note on F133: Author: 561 below minimum
Note on E157: Author: 5158
Note on F157: Author: 549 below minimum cutoff

## Manual-Launches
This table is information about when we were having issues with the SPS220 and Dan said we should manually start launches.
Chris discovered a few launches later that when we reprocessed these launches it produced flags for the RH.
It was determined that when reprocessing we should click on Auto start so the processing began when the balloon actually went up
and not when we pushed the manual button.
The times on the original .dc3db files was the time the manual button was pushed. When you reprocess with Auto and Archive the
data file it now puts the real launch time.
Launch | UTC | Raw UTC | Reprocessed UTC | Max Ht | Min P | Comment | Lat | Lon
44 | 18:00 | 20160223171337 | 20160223171832 | 26025 | 21.1 | Manual launch no winds | 5.75 N | 140W
45 | 21:00 | 20160223200524 | 20160223201031 | 28021 | 15.4 | Manual launch no winds | 5.19 N | 140 W
46 | 0:00 | 20160223230926 | 20160223231616 | 24403 | 27.1 | Manual launch no winds | 5.02 N | 139.98 W
47 | 3:00 | 20160224020535 | 20160224021026 | 26672 | 19 | Manual launch winds | 5.009 N | 139.993 W
48 | 6:00 | 20160224050914 | 20160224051529 | 28289 | 14.7 | Manual launch winds | 4.95 N | 139.988 W
49 | 9:00 | 20160224080647 | 20160224081254 | 26783 | 18.7 | Manual launch winds | 4.411 N | 139.986 W
50 | 12:00 | 20160224105954 | 20160224110710 | 25502 | 22.7 | Manual launch winds | 4.0 N | 139.985 W
54 | 3:00 | 20160224020829 | 20160224021312 | 26115 | 20.6 | Manual launch no winds | 1.98 N | 140.03 W
55 | 6:00 | 20160225050844 | 20160225051409 | 24047 | 28.6 | Manual launch no winds | 1.97 N | 140.019 W
56 | 9:00 | 20160225081450 | 20160225082028 | 26865 | 18.5 | Manual launch no winds | 1.89 N | 140.15 W
57 | 12:00 | 20160225110118 | 20160225110647 | 25501 | 22.7 | Manual launch no winds | 1.9 N | 139.92 W
58 | 15:00 | 20160225140223 | 20160225140818 | 23847 | 29.4 | Manual launch no winds | 1.97 N | 140.07 W
59 | 18:00 | 20160225163836 | 20160225164420 | 24896 | 25.1 | Manual launch no winds | 1.96 N | 140.07 W
60 | 21:00 | 20160225201716 | 20160225202152 | 25963 | 21.2 | Manual Launch winds | 1.98 N | 140.006 W
63 | 3:00 | 20160226020701 | 20160226021322 | 23964 | 28.9 | Manual launch no winds | 1.34 N | 139.99 W
64 | 6:00 | 20160226050400 | 20160226050941 | 26238 | 20.4 | Manual launch no winds | .99 N | 139.99 W
65 | 9:00 | 20160226080228 | 20160226080754 | 26299 | 20.2 | Manual launch no winds | .57 N | 139.97 W
66 | 12:00 | 20160226110742 | 20160226111116 | 25419 | 23 | Manual launch no winds | 0.105N | 139.74 W
67 | 15:00 | 20160226140144 | 20160226140754 | 24776 | 25.3 | Manual launch no winds | .01 N | 139.96 W
68 | 18:00 | 20160226165753 | 20160226170403 | 25436 | 23 | Manual launch no winds | .01 N | 139.96 W
69 | 21:00 | 20160226200652 | 20160226201110 | 25907 | 21.3 | Manual launch no winds | .015 N | 139.953 W
70 | 0:00 | 20160226230130 | 20160226230647 | 25907 | 21.3 | Manual launch no winds | .03 N | 139.99 W
71 | 3:00 | 20160227021743 | 20160227021743 | 24077 | 28.4 | Manual launch no winds | .03 N | 139.95 W
72 | 6:00 | 20160227051047 | 20160227051047 | 19135 | 64.7 | Manual launch no winds | .035 N | 139.99 W
73 | 9:00 | 20160227081126 | 20160227081126 | 24332 | 27.4 | Manual launch no winds | .045 N | 139.12 W
74 | 12:00 | 20160227111447 | 20160227111447 | 19454 | 60.8 | Manual launch no winds | .03 N | 139.52 W
75 | 15:00 | 20160227141052 | 20160227141052 | 26799 | 18.5 | Auto Launch | .033 N | 140.026 W
76 | 18:00 | 20160227173106 | 20160227173646 | 24862 | 26 | Manual launch no winds | .02 N | 139.97 W
91 | 12:00 | 20160229111727 | 20160229112130 | 24965 | 24.7 | Manual Launch No Winds | 3.8 S | 139.96 W
Note on G9: Author: Great GPS all the way up!!
Note on G10: Author: Great GPS all the way up!!
Note on G11: Author: Great GPS all the way up!!
Note on G16: Author: Great GPS all the way up!!
Note on G17: Author: Great GPS all the way up!!
Note on G18: Author: Great GPS all the way up!!
Note on G19: Author: Great GPS all the way up!!
Note on G20: Author: Great GPS all the way up!!
Note on G21: Author: Great GPS all the way up!!
Note on G22: Author: Great GPS all the way up!!
Note on G23: Author: Great GPS all the way up!!
Note on G24: Author: Great GPS all the way up!!
Note on G25: Author: Great GPS all the way up!!
Note on G26: Author: Great GPS all the way up!!
Note on G27: Author: Great GPS all the way up!!
Note on G28: Author: Great GPS all the way up!!
Note on G29: Author: Great GPS all the way up!!
Note on G30: Author: Great GPS all the way up!!
Note on C31: Author: Manual Launch Time 20160227020821
Note on D31: Author: Manual Launch Time 20160227020821
Note on G31: Author: Great GPS all the way up!!
Note on C32: Author: Manual 050733
Note on D32: Author: Manual 050733
Note on G32: Author: Great GPS all the way up!!
Note on C33: Author: Manual 081126
Note on D33: Author: Manual 081126
Note on G33: Author: Great GPS all the way up!!
Note on C34: Author: Manual 110838
Note on D34: Author: Manual 110838
Note on G34: Author: Great GPS all the way up!!
Note on G35: Author: Great GPS all the way up!!
Note on G36: Author: Great GPS all the way up!!
Note on G37: Author: Great GPS all the way up!!

## Schedule
Launch | Date (UTC) | Time UTC | Time Local | Date Local | Prep Local
182 | 2016-03-11 | 21:00 | 13:00 | 2016-03-11 | 11:50 | F
183 | 2016-03-12 | 0:00 | 16:00 | 2016-03-11 | 14:50 | F
184 | 2016-03-12 | 3:00 | 19:00 | 2016-03-11 | 17:50 | F
185 | 2016-03-12 | 6:00 | 22:00 | 2016-03-11 | 20:50 | F
186 | 2016-03-12 | 9:00 | 1:00 | 2016-03-12 | 23:50 | F
187 | 2016-03-12 | 12:00 | 4:00 | 2016-03-12 | 2:50 | Sat
188 | 2016-03-12 | 15:00 | 7:00 | 2016-03-12 | 5:50 | Sat
189 | 2016-03-12 | 18:00 | 10:00 | 2016-03-12 | 8:50 | Sat
190 | 2016-03-12 | 21:00 | 13:00 | 2016-03-12 | 11:50 | Sat
191 | 2016-03-13 | 0:00 | 16:00 | 2016-03-12 | 14:50 | Sat
192 | 2016-03-13 | 6:00 | 22:00 | 2016-03-12 | 20:50 | Sat
193 | 2016-03-13 | 12:00 | 4:00 | 2016-03-13 | 2:50 | Sun
194 | 2016-03-13 | 18:00 | 10:00 | 2016-03-13 | 8:50 | Sun
195 | 2016-03-14 | 0:00 | 16:00 | 2016-03-13 | 14:50 | Sun
196 | 2016-03-14 | 6:00 | 22:00 | 2016-03-13 | 20:50 | Sun
197 | 2016-03-14 | 12:00 | 4:00 | 2016-03-14 | 2:50 | M
198 | 2016-03-14 | 18:00 | 10:00 | 2016-03-14 | 8:50 | M
199 | 2016-03-15 | 0:00 | 16:00 | 2016-03-14 | 14:50 | M
200 | 2016-03-15 | 6:00 | 22:00 | 2016-03-14 | 20:50 | M
201 | 2016-03-15 | 12:00 | 4:00 | 2016-03-15 | 2:50 | T
202 | 2016-03-15 | 18:00 | 10:00 | 2016-03-15 | 8:50 | T
203 | 2016-03-16 | 0:00 | 16:00 | 2016-03-15 | 14:50 | T
204 | 2016-03-16 | 6:00 | 22:00 | 2016-03-15 | 20:50 | T
205 | 2016-03-16 | 12:00 | 4:00 | 2016-03-16 | 2:50 | W
206 | 2016-03-16 | 18:00 | 10:00 | 2016-03-16 | 8:50 | W
207 | 2016-03-17 | 0:00 | 16:00 | 2016-03-16 | 14:50 | W
208 | 2016-03-17 | 6:00 | 22:00 | 2016-03-16 | 20:50 | W
209 | 2016-03-17 | 12:00 | 4:00 | 2016-03-17 | 2:50 | Th
210 | 2016-03-17 | 18:00 | 10:00 | 2016-03-17 | 8:50 | Th
211 | 2016-03-18 | 0:00 | 16:00 | 2016-03-17 | 14:50 | Th