L.Bariteau

April 10, 2008

Preliminary bulk fluxes the SO GasEx 2008

Readme for flux summary files

The data file ‘flux_5hf_GasexIII_08.txt ‘contains computations of bulk meteorological variables and fluxes derived from the PSD system based on preliminary analysis done during the SO GasEx 2008 cruise.  Most quantities given are subject to future modification based on accounting for other sources of data and revised calibrations.  No direct turbulent flux calculations are included in this present data.

The file is 32 columns and 10656 lines covering Julian days 62 (March 2nd) through 98 (April 7).  The data columns are not labeled so they can be directly acquired with a MATLAB ‘load’ statement.

x=load('your_local_directory\ flux_5hf_GasexIII_08.txt’);%read file with 5-min average data; set your local directory

The columns are as follows:

jdy=x(:,1);%julian day at beginning of time average

U=x(:,2);%true wind,PSD sonic (m/s) (z=18 m)

dir=x(:,3);%true wind direction, PSD sonic (deg) (z=18 m)

tsnk=x(:,4);%sea snake temperature,PSD, 0.05 m depth (C)

tsg=x(:,5);%tsg water temperature, 5 m depth, (C)

sal=x(:,6);%tsg salinity (psu)

ta=x(:,7);%air temperature, PSD (C) (z=15 m)

qse=x(:,8);%sea surface specific humidity,from snake (g/kg)

qa=x(:,9);%air specific humidity, PSD (g/kg) (z=15 m)

psp=x(:,10);%downward solar flux, PSD units (W/m^2)

rl=x(:,11);%downward IR flux,  PSD units (W/m^2)

org1=x(:,12);%rainrate, PSD STI optical rain gauge, uncorrected (mm/hr)

ushp=x(:,13);%ship speed, SCS gps (m/s)

head=x(:,14);%ship heading, , SCS laser ring gyro (deg)

urel=x(:,15);%relative wind speed, PSD (m/s)

reldir=x(:,16);%relative wind direction (from),clockwise rel ship's bow, PSD sonic (deg)

lat=x(:,17);%latitude, deg  (SCS pcode)

lon=x(:,18);%longitude, deg (SCS pcode)

zts=x(:,19);%depth for bulk flux Ts reference, =0.05 when snake is used

sig_u=x(:,20);%std dev of ship speed, m/s (>.2 indicates maneuver)

taub=x(:,21);%bulk wind stress along mean wind, N/m^2

hsb=x(:,22);%bulk sensible heat flux, W/m^2

hlb=x(:,23);%bulk latent heat flux, W/m^2 (includes Webb et al. correction)

hrain=x(:,24);%rain heat flux, as per Gosnell et al 1995, W/m^2

ta_im=x(:,25);% IMET air temp, C (z=15 m)

qa_im=x(:,26););% IMET air specific humidity, g/kg (z=15 m)

s_ship=x(:,27);% IMET true wind speed, m/s (z=15 m)

dir_ship=x(:,28);% IMET true wind direction, deg (z=15 m)

psp_ship=x(:,29);%IMET solar flux, W/m^2

pir_ship=x(:,30);%IMET IR flux, W/m^2

barpress=x(:,31);%atmospheric pressure, PSD (mb)

RH=x(:,32);%Relative Humidity, PSD (%)

The data in this file comes from three sources: The PSD sonic anemometer (acquired at 10 Hz), the ships SCS system (acquired at 0.5 Hz), and the PSD mean measurement systems (sampled at 10 sec and averaged to 1 min).  The sonic is 5 channels of data; the SCS file is 17 channels, and the PSD mean system is 77 channels.  A series of programs are run that read these data files, decode them, and write daily text files at 1 min time resolution.  A second set of programs reads the daily 1-min text files, time matches the three data sources, averages them to 5 or 30 minutes, computes fluxes, and writes new daily flux files.  The 5 and 30-min daily flux files have been combined into the following files flux_5hf_GasexIII_08.txt and flux_30hf_GasexIII_08.txt.

Further experimental details are as follows:

True wind speed is computed from the sonic anemometer using the ship’s GPS system; thus, it is interpreted as the speed relative to the fixed earth.  Some modest flow distortion corrections have been used in an attempt to reduce the transitions when stopping for stations.

SST is from the PSD seasnake, which read about 0.3 C higher than the ship’s TSG.

Air temperature and humidity are derived from PSD (aspirated Vaisala HMP-325).  The IMET values are within 2% RH and 0.2 C of the IMET system.

Longwave flux was obtained from 2 Eppley PIR units, logged and computed as per Fairall et al. Jtech, 1998.  Ship LW data is reliable; ship unit reads about 3 W/m^2 lower than PSD in clear conditions.

Shortwave flux was obtained from 2 Eppley PSP units.  One ship PSP unit read 2% higher than PSD unit, other agreed with PSD unit.  The ship unit has a positive bias (about 2 W/m^2) at night.  The PSD unit has a small negative bias at night (well-known PIR cold bias)

The rainrate was obtained from the PSD STI optical raingauge (Model 705), which had a no rain offset of 0.07 mm/h.  This system had an erratic noise level on its ‘no rain’ offset.

Air sea fluxes were computed using the COARE bulk algorithm version 3.0.

Figure 1.  Meteorological conditions during GasExIII from JD 62 to JD 97 (March 2nd to April 6th, 2008). From the top, the panels show the wind speed (m/s), the wind direction in degrees relative to N, the air temperature and SST (red) (degC), the incident shortwave and longwave (red) radiations (W/m2), the relative humidity (%) and the barometric pressure (mb).

Figure 2.  Surface fluxes during GasExIII from JD 62 to JD 97 (March 2nd to April 6th, 2008). From the top, the panels show the longitudinal component of the wind stress (N.m-2), the net heat flux (W.m-2), the solar flux (W.m-2), the net longwave radiation flux (W. m-2), the sensible heat flux (W. m-2) and the latent heat flux (W. m-2).